## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Commissioning |  | Commissioning | 81339d19-514c-4691-998e-e782daf34f49
| checkpoint | Bulk Hot Water
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checklist | Common Area Water |  | Common Area Water | 08ae596b-80d9-4532-8647-c9a780ee35b7
| checkpoint | Rainwater
| checkpoint | Hot Water
| checkpoint | Hot Water Lagged
| checkpoint | Cold Water
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checkpoint | Test Rain Water
| checkpoint | Fire Caulking
| checkpoint | Cold Water Meter Installation
| checklist | Drains |  | Drains | 04b855d3-d4b3-4af4-8205-3b432d673905
| checkpoint | Drains installed
| checkpoint | Correct pipework used for acoustic related area.
| checkpoint | Smoke Seal Penetrations
| checkpoint | Acoustic Lagging
| checkpoint | Acoustic clips used
| checkpoint | Testing (Water/Air)
| checkpoint | Confirm RCP and drain heights are correct.
| checklist | Fit Off |  | Fit Off | 8c765d3d-855d-4cf6-88be-d6b8f58effb7
| checkpoint | Wash Plane basin
| checkpoint | Basin Waste/Bottle Trap
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | WC Installed
| checkpoint | Urinal Installed
| checkpoint | DDA WC installed
| checkpoint | DDA WC Set Out Compliant
| checkpoint | DDA Shower Set Out Compliant
| checklist | Inground Water ITP |  | Inground Water ITP | fdebd33c-71bc-4465-aff1-0a310faff877
| checkpoint | Material installed.
| checkpoint | Installed as Per Approved Shop Drawing
| checkpoint | Pipework bedded correctly
| checkpoint | Pressure test as per AS 3500.1:2021
| checkpoint | Marker Tape Installed
| checkpoint | Backfill Completed
| checklist | Inground works |  | Inground works | edf7f070-6475-4fc0-8b9a-10e11fd7cff4
| checkpoint | Sewer pump pit installed
| checkpoint | Stormwater pump pit installed
| checkpoint | Civil pits installed
| checkpoint | Top of pits installed to correct height
| checkpoint | Sewer pipework installed
| checkpoint | Testing of drains
| checkpoint | Correct locations of all pits / drainage points
| checkpoint | GIT installed
| checkpoint | Trade Waste Installed
| checkpoint | Boundary trap connection
| checkpoint | Legal point of discharge
| checkpoint | Water tap in
| checklist | Penetrations |  | Penetrations | b610678d-4453-454c-93b3-adc39fc13c3c
| checkpoint | Set Out
| checkpoint | Fire Collar Installation
| checkpoint | Cast in Drains c/w Polilag
| checklist | Plant and equipment |  | Plant and equipment | dde4415b-9bc1-4c06-9d3d-0d80c27ad812
| checkpoint | Hot water system
| checkpoint | Cold water pump
| checkpoint | Cold water break tank
| checkpoint | Rainwater pump
| checkpoint | Rainwater tank / Diversion valve
| checkpoint | Water meter assembly
| checkpoint | GIT'S
| checklist | Rough In |  | Rough In | f4a3ac4f-0c6e-4265-b48e-acfaf9a4e2a6
| checkpoint | High Level Rough In
| checkpoint | Wall Set Out
| checkpoint | Wall Rough In
| checkpoint | Waste Rollovers
| checkpoint | Test Water