## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned |  |  | checklist | Waikato - First Fix - Switchboards |  |  |  |  | Yes | Waikato - First Fix - Switchboards | b6e162b5-0dd5-43db-9a65-402fb9762981
checkpoint-group |  |  | section | Electrical
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Cables clearly labelled
checkpoint-status |  |  | checkpoint | Check all cables have been bought into switchboard
checkpoint-status |  |  | checkpoint | Mains cable installed
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Data
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Cables clearly labelled
checkpoint-status |  |  | checkpoint | Check all cables have been bought into board
checkpoint-status |  |  | checkpoint | Interior fibre cable installed
checkpoint-status |  |  | checkpoint | Photos
checklist-flat |  |  | checklist | Waikato - BTS Install |  |  |  |  | Yes | Waikato - BTS Install | bda7aa68-2a84-46e5-89c0-9a4cba057b1c
checkpoint-status |  |  | checkpoint | Location as per plan / discussion
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Earth electrode installed
checkpoint-status |  |  | checkpoint | Earth tag installed
checkpoint-status |  |  | checkpoint | Earth clamp installed
checkpoint-status |  |  | checkpoint | Zinc spray applied
checkpoint-status |  |  | checkpoint | Earth toby installed and secured in place
checkpoint-status |  |  | checkpoint | Danger sign installed
checkpoint-status |  |  | checkpoint | Terminations checked for tightness
checkpoint-status |  |  | checkpoint | Cable installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Cable bought up next to gyro / pole
checkpoint-status |  |  | checkpoint | Test results recorded
checkpoint-status |  |  | checkpoint | COC complete
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Waikato - Second Fix - Living/Bedroom/Garage |  |  |  |  | Yes | Waikato - Second Fix - Living/Bedroom/Garage | 372c4b58-bb3d-4aa7-b57d-f94482f97fd9
checkpoint-group |  |  | section | Power outlets
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-group |  |  | section | Light Switches
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-group |  |  | section | Light Fixtures
checkpoint-status |  |  | checkpoint | Correct fixtures installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan / client preference
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-sectioned |  |  | checklist | Waikato - Second Fix - Kitchen |  |  |  |  | Yes | Waikato - Second Fix - Kitchen | b2e548d2-b655-45b5-ab57-f7f97b2ee34c
checkpoint-group |  |  | section | Power outlets
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Sink earth bond connected
checkpoint-group |  |  | section | Light Switches
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-group |  |  | section | Light Fixtures
checkpoint-status |  |  | checkpoint | Correct fixtures installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan / client preference
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-group |  |  | section | Appliances
checkpoint-status |  |  | checkpoint | HOB installed and secured
checkpoint-status |  |  | checkpoint | Oven installed and secured
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-sectioned |  |  | checklist | Waikato - First Fix - Kitchen/Living/Photos/Bedrooms/Garage/Hallway |  |  |  |  | Yes | Waikato - First Fix - Kitchen/Living/Photos/Bedrooms/Garage/Hallway | 0a95b0d4-f75a-4198-be58-13fb1ee8361a
checkpoint-group |  |  | section | Flush Boxes
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Cabling
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Separation between data and power
checkpoint-group |  |  | section | Lights
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | measurements recorded
checkpoint-status |  |  | checkpoint | Nogging installed
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-sectioned |  |  | checklist | Waikato - Second Fix - Laundry/Scullery |  |  |  |  | Yes | Waikato - Second Fix - Laundry/Scullery | be1fc487-d3f0-49b6-b060-0322c756279c
checkpoint-group |  |  | section | Power outlets
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-group |  |  | section | Light Switches
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-group |  |  | section | Light Fixtures
checkpoint-status |  |  | checkpoint | Correct fixtures installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-group |  |  | section | Fans
checkpoint-status |  |  | checkpoint | Interior grill installed
checkpoint-status |  |  | checkpoint | Exterior grill installed
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-flat |  |  | checklist | Waikato - Strip Out |  |  |  |  | Yes | Waikato - Strip Out | de2a5f6e-df6e-4404-ad82-68102fa3d241
checkpoint-status |  |  | checkpoint | Flush boxes cut as per plan
checkpoint-status |  |  | checkpoint | Fans cut as per plan
checkpoint-status |  |  | checkpoint | Lights cut as per plan
checkpoint-status |  |  | checkpoint | Exterior lights have been bought out centre / as per pre-wire
checkpoint-status |  |  | checkpoint | Cables stripped
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Cables clearly labelled
checkpoint-status |  |  | checkpoint | Complete final walkthrough check
checkpoint-status |  |  | checkpoint | Damages and remedials documented
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Kitchen |  |  |  |  | Yes | SYS - PT - Kitchen | b630536e-0bc6-4b5a-9d95-434e3530cf0c
checkpoint-group |  |  | section | Flush Boxes
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Cabling
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Seperation between data and power
checkpoint-group |  |  | section | Lights
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | Measurments recorded
checkpoint-status |  |  | checkpoint | Nogging installed
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-sectioned |  |  | checklist | Laundry |  |  |  |  | Yes | SYS - PT - Laundry | 39d3f5fb-84ad-4725-8766-14ffd886ffac
checkpoint-group |  |  | section | Flush Boxes
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Cabling
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Seperation between data and power
checkpoint-group |  |  | section | Lights
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | Measurments recorded
checkpoint-status |  |  | checkpoint | Nogging installed
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Fans
checkpoint-status |  |  | checkpoint | Installed in accesible location
checkpoint-status |  |  | checkpoint | Power plug fit-off
checkpoint-status |  |  | checkpoint | Ducts run flat and straight
checkpoint-status |  |  | checkpoint | Measurments recorded
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-sectioned |  |  | checklist | Waikato - Second Fix - Exterior |  |  |  |  | Yes | Waikato - Second Fix - Exterior | 74340ddb-870b-47b4-ba8b-7af4a677f1b8
checkpoint-group |  |  | section | Power outlets
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Danger sign installed
checkpoint-group |  |  | section | Light Switches
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-group |  |  | section | Light Fixtures
checkpoint-status |  |  | checkpoint | Correct fixtures installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Settings adjusted (sensores + timers)
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-status |  |  | checkpoint | Landscape lighting (cable disconnected)
checkpoint-group |  |  | section | Fans
checkpoint-status |  |  | checkpoint | Exterior grill installed
checkpoint-status |  |  | checkpoint | Installed square
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-sectioned |  |  | checklist | Exterior |  |  |  |  | Yes | SYS - PT - Exterior | 74a48b0d-d94e-4d05-98bd-1b1d1e713135
checkpoint-group |  |  | section | Cabling
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Seperation between data and power
checkpoint-status |  |  | checkpoint | Dektite waterproofing seals installed
checkpoint-group |  |  | section | Lights
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | Measurments recorded
checkpoint-status |  |  | checkpoint | Nogging installed
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Fans
checkpoint-status |  |  | checkpoint | Measurments recorded
checkpoint-status |  |  | checkpoint | Grills installed
checkpoint-group |  |  | section | Earthing
checkpoint-status |  |  | checkpoint | Earth electrode installed
checkpoint-status |  |  | checkpoint | Earth tag installed
checkpoint-status |  |  | checkpoint | Earth clamp installed
checkpoint-status |  |  | checkpoint | Zinc spray applied
checkpoint-status |  |  | checkpoint | Earth toby installed and secured in place
checkpoint-group |  |  | section | Fibre
checkpoint-status |  |  | checkpoint | Interior fibre cable installed through trade seal
checkpoint-status |  |  | checkpoint | Exterior fibre cable installed through trade seal
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-sectioned |  |  | checklist | Waikato - Solar installation |  |  |  |  | Yes | Waikato - Solar installation | 11667f50-d36d-4fca-a6ce-587c61ab6a19
checkpoint-group |  |  | section | Switchboard
checkpoint-status |  |  | checkpoint | Cables clearly labelled
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Correctly rated MCB installed
checkpoint-status |  |  | checkpoint | Neutrals and earths connected
checkpoint-status |  |  | checkpoint | Module rail earth bonding connected
checkpoint-status |  |  | checkpoint | Terminations checked for tightness
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Masking blanks installed
checkpoint-status |  |  | checkpoint | Masking panel labelled with circuits
checkpoint-status |  |  | checkpoint | PV Label kit installed
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Inverter
checkpoint-status |  |  | checkpoint | Inverter location as per plan
checkpoint-status |  |  | checkpoint | Inverter installed level
checkpoint-status |  |  | checkpoint | Inverter installed as per manufacturer's instructions
checkpoint-status |  |  | checkpoint | AC circuit installed
checkpoint-status |  |  | checkpoint | AC circuit clearly labelled
checkpoint-status |  |  | checkpoint | AC isolator installed level
checkpoint-status |  |  | checkpoint | AC isolator correctly rated
checkpoint-status |  |  | checkpoint | AC cable terminated and checked for tightness
checkpoint-status |  |  | checkpoint | DC circuit installed
checkpoint-status |  |  | checkpoint | DC circuit clearly labelled
checkpoint-status |  |  | checkpoint | DC isolator installed level
checkpoint-status |  |  | checkpoint | DC isolator correctly rated
checkpoint-status |  |  | checkpoint | DC inverter plug-ends connected
checkpoint-status |  |  | checkpoint | DC cable terminated and checked for tightness
checkpoint-status |  |  | checkpoint | Cat6 network cable connected
checkpoint-status |  |  | checkpoint | Separation between data and power
checkpoint-status |  |  | checkpoint | PV Label kit installed
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Cable / conduit
checkpoint-status |  |  | checkpoint | Cable adequately supported
checkpoint-status |  |  | checkpoint | Cable adequately protected
checkpoint-status |  |  | checkpoint | Conduit installed in accessible areas
checkpoint-status |  |  | checkpoint | DC Conduit labelled every 600mm
checkpoint-status |  |  | checkpoint | Conduit is solar type
checkpoint-status |  |  | checkpoint | Earth bond installed per array
checkpoint-status |  |  | checkpoint | Earth bond installed between rails
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Rails / modules
checkpoint-status |  |  | checkpoint | Correct support feet installed
checkpoint-status |  |  | checkpoint | Support feet installed into purlin
checkpoint-status |  |  | checkpoint | Rails installed straight
checkpoint-status |  |  | checkpoint | Rails adequately supported
checkpoint-status |  |  | checkpoint | Rail components checked for tightness
checkpoint-status |  |  | checkpoint | Module layout as per plan
checkpoint-status |  |  | checkpoint | Modules installed straight
checkpoint-status |  |  | checkpoint | Module cabling kept off roof
checkpoint-status |  |  | checkpoint | Module earth plates installed
checkpoint-status |  |  | checkpoint | Module components checked for tightness
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Compliance
checkpoint-status |  |  | checkpoint | COC complete eForms
checkpoint-status |  |  | checkpoint | ESC complete eForms
checkpoint-status |  |  | checkpoint | Test results complete eForms
checkpoint-status |  |  | checkpoint | Commissioning sheet complete eForms
checkpoint-status |  |  | checkpoint | Documents uploaded eForms
checklist-sectioned |  |  | checklist | Waikato - Second Fix - Hallway |  |  |  |  | Yes | Waikato - Second Fix - Hallway | acf2e1c7-e124-443b-b381-35ea22422f54
checkpoint-group |  |  | section | Power outlets
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-group |  |  | section | Light Switches
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-group |  |  | section | Light Fixtures
checkpoint-status |  |  | checkpoint | Correct fixtures installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan / client preference
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-group |  |  | section | Hot Water Cylinder
checkpoint-status |  |  | checkpoint | Connection kit installed
checkpoint-status |  |  | checkpoint | Earth bond tested
checkpoint-status |  |  | checkpoint | Load test completed
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-flat |  |  | checklist | Waikato - Compliance |  |  |  |  | Yes | Waikato - Compliance | 08db38da-92b4-4b4c-8855-25b7d42e353b
checkpoint-status |  |  | checkpoint | COC complete eForms
checkpoint-status |  |  | checkpoint | ESC complete eForms
checkpoint-status |  |  | checkpoint | Test results complete eForms
checkpoint-status |  |  | checkpoint | Documents uploaded eForms
checklist-flat |  |  | checklist | Walkthrough |  |  |  |  | Yes | Walkthrough Checklist | 8c9e4cc8-4855-4dd0-a19a-06e69d577294
checkpoint-status |  |  | checkpoint | Power outlet locations confirmed and marked
checkpoint-status |  |  | checkpoint | Light switch locations confirmed and marked
checkpoint-status |  |  | checkpoint | Switchboard locations confirmed and marked
checkpoint-status |  |  | checkpoint | Bathroom outlet locations confirmed and marked
checkpoint-status |  |  | checkpoint | Bathroom outlets vertical or horizontal
checkpoint-status |  |  | checkpoint | Towel rail locations confirmed and marked
checkpoint-status |  |  | checkpoint | Interior light locations confirmed
checkpoint-status |  |  | checkpoint | Exterior light locations confirmed and marked
checkpoint-status |  |  | checkpoint | Exterior fan grills soffit mount or wall mount
checkpoint-status |  |  | checkpoint | CCTV locations confirmed
checkpoint-status |  |  | checkpoint | CCTV soffit mount or wall mount
checkpoint-status |  |  | checkpoint | Aerial locations confirmed
checkpoint-status |  |  | checkpoint | Aerial cabling location confirmed and marked
checkpoint-status |  |  | checkpoint | Plans updated with changes
checklist-sectioned |  |  | checklist | Waikato - First Fix - Laundry/Scullery |  |  |  |  | Yes | Waikato - First Fix - Laundry/Scullery | e323409b-5910-4f07-99f2-7d8248e246e2
checkpoint-group |  |  | section | Flush Boxes
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Cabling
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Separation between data and power
checkpoint-group |  |  | section | Lights
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | measurements recorded
checkpoint-status |  |  | checkpoint | Nogging installed
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Fans
checkpoint-status |  |  | checkpoint | Installed in accessible location
checkpoint-status |  |  | checkpoint | Power plug fit-off
checkpoint-status |  |  | checkpoint | Ducts run flat and straight
checkpoint-status |  |  | checkpoint | measurements recorded
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-sectioned |  |  | checklist | Waikato - Second Fix - Bathroom/Ensuite |  |  |  |  | Yes | Waikato - Second Fix - Bathroom/Ensuite | e6dd1688-4809-4124-90c2-6b6a313e15f0
checkpoint-group |  |  | section | Power outlets
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-group |  |  | section | Light Switches
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-group |  |  | section | Light Fixtures
checkpoint-status |  |  | checkpoint | Correct fixtures installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-group |  |  | section | Fans
checkpoint-status |  |  | checkpoint | Interior grill installed
checkpoint-status |  |  | checkpoint | Exterior grill installed
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-group |  |  | section | Towel rail
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-flat |  |  | checklist | Strip Out |  |  |  |  | Yes | SYS - PT - Strip Out | 84a6a19a-1ab3-42c3-aad7-338320af4709
checkpoint-status |  |  | checkpoint | Flush boxes cut as per plan
checkpoint-status |  |  | checkpoint | Fans cut as per plan
checkpoint-status |  |  | checkpoint | Lights cut as per plan
checkpoint-status |  |  | checkpoint | Exterior lights have been bought out centre / as per pre-wire
checkpoint-status |  |  | checkpoint | Cables stripped
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Cables clearly labelled
checkpoint-status |  |  | checkpoint | Complete final walkthrough check
checkpoint-status |  |  | checkpoint | Damages and remidials documented
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Waikato - First Fix - Bathrooms/Ensuite |  |  |  |  | Yes | Waikato - First Fix - Bathrooms/Ensuite | f66ec01d-8f2a-491b-a2da-e3ce9ac8e4d0
checkpoint-group |  |  | section | Flush Boxes
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Nogging installed for towel rail
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Cabling
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Separation between data and power
checkpoint-group |  |  | section | Lights
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | measurements recorded
checkpoint-status |  |  | checkpoint | Nogging installed
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Fans
checkpoint-status |  |  | checkpoint | Installed in accessible location
checkpoint-status |  |  | checkpoint | Surface socket fit-off and lead taped on (inline fan)
checkpoint-status |  |  | checkpoint | Ducts run flat and straight
checkpoint-status |  |  | checkpoint | measurements recorded
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-sectioned |  |  | checklist | Mains Install |  |  |  |  | Yes | SYS - PT - Mains Install | 8eb6a355-9d4f-4eab-8c37-1ca5a3b73cbc
checkpoint-group |  |  | section | Electrical
checkpoint-status |  |  | checkpoint | Cable installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed through concrete slab
checkpoint-status |  |  | checkpoint | Cable bought up next to gyro / pole
checkpoint-status |  |  | checkpoint | Cable clearly labelled
checkpoint-status |  |  | checkpoint | Cable size and measurments recorded
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Telecom / Fibre
checkpoint-status |  |  | checkpoint | Cable installed at minimum depth of 400mm
checkpoint-status |  |  | checkpoint | Approved exterior fibre cable used
checkpoint-status |  |  | checkpoint | Cable installed through concrete slab
checkpoint-status |  |  | checkpoint | Cable bought up next to gyro / pole
checkpoint-status |  |  | checkpoint | Cable measurments recorded
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Waikato - Mains Install |  |  |  |  | Yes | Waikato - Mains Install | 273f51c5-df48-4767-b14f-9d362e9da687
checkpoint-group |  |  | section | Electrical
checkpoint-status |  |  | checkpoint | Cable installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed through concrete slab
checkpoint-status |  |  | checkpoint | Cable bought up next to gyro / pole
checkpoint-status |  |  | checkpoint | Cable clearly labelled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Telecom / Fibre
checkpoint-status |  |  | checkpoint | Cable installed at minimum depth of 400mm
checkpoint-status |  |  | checkpoint | Approved exterior fibre cable used
checkpoint-status |  |  | checkpoint | Cable installed through concrete slab
checkpoint-status |  |  | checkpoint | Cable bought up next to gyro / pole
checkpoint-status |  |  | checkpoint | Cable measurements recorded
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Waikato - Second Fix - Switchboards |  |  |  |  | Yes | Waikato - Second Fix - Switchboards | 68509898-f649-4685-b073-8bf8e8bcedad
checkpoint-group |  |  | section | Electrical
checkpoint-status |  |  | checkpoint | Cables clearly labelled
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Switchboard bonded
checkpoint-status |  |  | checkpoint | Neutrals and earths labelled
checkpoint-status |  |  | checkpoint | Terminations checked for tightness
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Masking blanks installed
checkpoint-status |  |  | checkpoint | Masking panel labelled with circuits
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Data
checkpoint-status |  |  | checkpoint | Cables clearly labelled
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Board bonded
checkpoint-status |  |  | checkpoint | Terminations checked for tightness
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Waikato - First Fix - Exterior |  |  |  |  | Yes | Waikato - First Fix - Exterior | ca11423d-48b6-4b80-9978-9871b783d7a2
checkpoint-group |  |  | section | Cabling
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Separation between data and power
checkpoint-status |  |  | checkpoint | Dektite waterproofing seals installed
checkpoint-group |  |  | section | Lights
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | measurements recorded
checkpoint-status |  |  | checkpoint | Nogging installed
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Fans
checkpoint-status |  |  | checkpoint | measurements recorded
checkpoint-status |  |  | checkpoint | Grills installed
checkpoint-group |  |  | section | Earthing
checkpoint-status |  |  | checkpoint | Earth electrode installed
checkpoint-status |  |  | checkpoint | Earth tag installed
checkpoint-status |  |  | checkpoint | Earth clamp installed
checkpoint-status |  |  | checkpoint | Zinc spray applied
checkpoint-status |  |  | checkpoint | Earth toby installed and secured in place
checkpoint-group |  |  | section | Fibre
checkpoint-status |  |  | checkpoint | Interior fibre cable installed through trade seal
checkpoint-status |  |  | checkpoint | Exterior fibre cable installed through trade seal
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checkpoint-group |  |  | section | Aerial
checkpoint-status |  |  | checkpoint | Pre-install photo
checkpoint-status |  |  | checkpoint | Coax cables clearly labelled
checkpoint-status |  |  | checkpoint | Aerial installed to roof
checkpoint-status |  |  | checkpoint | Aerial installed with correct orientation
checkpoint-status |  |  | checkpoint | Aerial installed level
checkpoint-status |  |  | checkpoint | Check tightness of fixings and fittings
checkpoint-status |  |  | checkpoint | Test signal levels
checkpoint-status |  |  | checkpoint | Clean roof area
checkpoint-status |  |  | checkpoint | Installed Splitter in cabinet if required
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Bathroom |  |  |  |  | Yes | SYS - PT - Bathroom | 023714e5-caae-4be9-b6d7-cf765dcc071b
checkpoint-group |  |  | section | Flush Boxes
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Nogging installed for towel rail
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Cabling
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Seperation between data and power
checkpoint-group |  |  | section | Lights
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | Measurments recorded
checkpoint-status |  |  | checkpoint | Nogging installed
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Fans
checkpoint-status |  |  | checkpoint | Installed in accesible location
checkpoint-status |  |  | checkpoint | Surface socket fit-off and lead taped on (inline fan)
checkpoint-status |  |  | checkpoint | Ducts run flat and straight
checkpoint-status |  |  | checkpoint | Measurments recorded
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-group |  |  | section | Photos
checkpoint-status |  |  | checkpoint | Uploaded