## Project Structure
Folder Structure |  |  |  | Checklists | #NAME?
Site QA
Switchboard's
Ground Floor
|  |  | Main Switchboard | Switchboards
Cable Tray
Ground Floor & Level 1
|  |  | Warehouse | Cable Tray
First Fix
Ground Floor
|  |  | Warehouse | First Fix Electrical
|  |  | Show Room | First Fix Electrical
|  |  | Managers Office | First Fix Electrical
|  |  | Trade Support Office | First Fix Electrical
|  |  | Customer Service Office | First Fix Electrical
|  |  | Inventory | First Fix Electrical
|  |  | ACC Toilet & Shower & Passage | First Fix Electrical
|  |  | Stairwell | First Fix Electrical
|  |  | Inwards Goods | First Fix Electrical
|  |  | Dispatch | First Fix Electrical
Level 1
|  |  | Account Managers | First Fix Electrical
|  |  | Staff | First Fix Electrical
|  |  | Male Toilet | First Fix Electrical
|  |  | Female Toilet | First Fix Electrical
|  |  | Passage | First Fix Electrical
|  |  | Storage / Comms Room | First Fix Electrical
Exterior
|  |  | Exterior | First Fix Electrical
Second Fix
Ground Floor
|  |  | Warehouse | Second Fix Electrical
|  |  | Show Room | Second Fix Electrical
|  |  | Managers Office | Second Fix Electrical
|  |  | Trade Support Office | Second Fix Electrical
|  |  | Customer Service Office | Second Fix Electrical
|  |  | Inventory | Second Fix Electrical
|  |  | ACC Toilet & Shower & Passage | Second Fix Electrical
|  |  | Stairwell | Second Fix Electrical
|  |  | Inwards Goods | Second Fix Electrical
|  |  | Dispatch | Second Fix Electrical
Level 1
|  |  | Account Managers | Second Fix Electrical
|  |  | Staff | Second Fix Electrical
|  |  | Male Toilet | Second Fix Electrical
|  |  | Female Toilet | Second Fix Electrical
|  |  | Passage | Second Fix Electrical
|  |  | Storage / Comms Room | Second Fix Electrical
Exterior
|  |  | Exterior | Second Fix Electrical

## First Fix Electrical
type | name
checklist | QA - First Fix
section | Flush Boxes
checkpoint | Height as per plan
checkpoint | Location as per plan
checkpoint | Fire rated boxes installed where necessary
checkpoint | Acoustic boxes installed where necessary
section | Cabling
checkpoint | Power cables installed correctly
checkpoint | Lighting cables installed correctly
checkpoint | Power cables wired from correct RCD location
checkpoint | Circuits clearly labelled
checkpoint | Separation between Data and Power at 300mm or as specified
checkpoint | All cables secured via cable ties with ends cut
section | QA - Lights
checkpoint | Setout Correct
checkpoint | Cabling in correct location
checkpoint | Emergency/ Exit Lighting
checkpoint | Nogging installed for Electrical Services
section | Photos

## Cable Tray
Section | Cable Tray
Checkpoint | Unistrutt Filed & Painted
Checkpoint | Hangers Spaced as Specified
Checkpoint | Correct Size Cable Tray Installed
Checkpoint | Tray Joined Correctly
Checkpoint | Hangers Sceismicly Restrained / Under 400mm drop
Checkpoint | Tray Fastened to Hangers
Checkpoint | Correct Anchors used fixing to Ceiling / Walls
Checkpoint | Cable Tray Bonded
section | Photos

## Switchboards
section | Switchboard
checkpoint | Spatial certificate signed if required
checkpoint | Fixings installed in wall correctly if board is wall mounted
checkpoint | All clearances sighted to ensure location is compliant
checkpoint | All cables correctly installed in protection device and earth and neutral bars and fully secured
checkpoint | Cables neatly dressed
checkpoint | Phase tabs on chassy covered
checkpoint | All earths and neutrals labelled to match phase numbers
checkpoint | Switchboard is clean on the inside and outside
checkpoint | Masking blanks installed
checkpoint | DB legend installed
checkpoint | Feisst label on the door installed
section | Photos

## Second Fix Electrical
type | name | values
checklist | QA - Second fix
section | Power Outlets
checkpoint | Correct type installed
checkpoint | Correctly installed with terminations all secured properly
checkpoint | Outlet Installed level
checkpoint | Circuit Tested and results recorded
checkpoint | Description Labelled on the outlet face with vivid and with dymo labeller on cover plate and ensure label is level
section | Light Switches
checkpoint | Correct type installed
checkpoint | Correctly installed with terminations all secured properly
checkpoint | Light switch Installed level
checkpoint | Circuit Tested and results recorded
checkpoint | Description Labelled on the outlet face with vivid and with dymo labeller on cover plate and ensure label is level
section | Light Fixtures
checkpoint | Correct type installed
checkpoint | Correctly installed with terminations all secured properly
checkpoint | Tested for operation
section | Photos