## Structure
Site QA
Basement
|  | Zone 1 | Zone checklist
|  | Zone 2 | Zone checklist
|  | Zone 3 | Zone checklist
|  | Zone 4 | Zone checklist
|  | Zone 5 | Zone checklist
Level 1
|  | Zone 1 | Zone checklist
|  |  | FIRE WALL PATH | checklist
|  |  | SMOKE WALL PATH | checklist
|  |  | GENERIC HEAVY WALL ITEM AS PER DESIGN WALL LOCATION PLAN | checklist
|  | Zone 2 | Zone checklist
|  |  | FIRE WALL PATH | checklist
|  |  | SMOKE WALL PATH | checklist
|  |  | GENERIC HEAVY WALL ITEM AS PER DESIGN WALL LOCATION PLAN | checklist
|  | Zone 3 | Zone checklist
|  | Led lining - CT SCAN MID.061.004 | Lead lined checklist
|  | Led lining - X-RAY MID.062.002 | Lead lined checklist
|  | Led lining - X-RAY MID.062.003 | Lead lined checklist
|  | FIRE WALL PATH | checklist
|  | SMOKE WALL PATH | checklist
|  | GENERIC HEAVY WALL ITEM AS PER DESIGN WALL LOCATION PLAN | checklist
|  | Zone 4 | Zone checklist
|  | Led lining - FLUOR MID.080006 | Lead lined checklist
|  | Led lining - ANGIO DSA MID.078.006 | Lead lined checklist
|  | Led lining - CT SCAN MID.077.009 | Lead lined checklist
|  | Led lining - ANGIO MID.077.007 | Lead lined checklist
|  | Led lining - CT SCAN MID.079.004 | Lead lined checklist
|  | Pressure room - STR STER STK MID.125.005 | Pressure room checklist
|  | Pressure room - STER SETU FLR MID.080.008 | Pressure room checklist
|  | Pressure room - FLUOR. MID.080.006 | Pressure room checklist
|  | Pressure room - STER SETU DSA MID.078.001 | Pressure room checklist
|  | Pressure room - STER SETU ANG MID.077.001 | Pressure room checklist
|  | FIRE WALL PATH | Fire wall path checklist
|  | SMOKE WALL PATH | SMOKE WALL PATH checklist
|  | GENERIC HEAVY WALL ITEM AS PER DESIGN WALL LOCATION PLAN | checklist
|  | Zone 5 | Zone checklist

## Checklists
Zone checklist
Setout
Soffit Insulation
Speedpanel
Frame Walls
Install Noggins
Plaster wall sheeting
Frame ceilings
Sheet ceiling
Stop & Sand
Ceiling tile install
Lead lining checklist
IN ROOM HEAVY WALL DESIGN LEAD APRON / GENERAL X RAY
HEAVY DOOR/ WINDOW DESIGN
PLY SUBSTRATE
LEAD TO DOOR FRAME
LEAD KG/HEIGHT TO WALLS
IN WALL SERVICE REAR SHIELDING
Pressure room checklist
Soffit caulk seal
Track caulk seal
Pressure Box install / caulked
Plaster full caulk inc Pressure Box
75mm angle caulked in to Soffit and Wall
Door frame Seal caulk
FIRE WALL PATH checklist
Frame walls
Heavy door Design
Fire Door Frame
Penetrations box out
Sheet and Caulk
SMOKE WALL PATH checklist
Frame walls
Penetrations box out
Full Height Sheet and Caulk
GENERIC HEAVY WALL ITEM AS PER DESIGN WALL LOCATION PLAN
Framed as per Studco Design