## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
62ab4bd6-9925-4b68-9127-c1d10ae48aa9 | checklist | Ω (126 Newgrange Blvd) Project Photos |  | Project Photos
f819ef54-43e3-43c5-9a62-e3bb104e9c11 | checkpoint | Attach Photos and Comments
256bef58-c8b9-4f4e-bebe-e5987fbc4d0e | checklist | Ω (126 Newgrange Blvd) Backflow Test Report |  | Backflow Test Report
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
859d1745-bbd7-43ef-8dab-4f2c0d72fda6 | checkpoint | Description of property or vehicle
c22ca31f-6857-5cd2-a47f-de05a97249ec | note | The description must identify all land or vehicles covered in the application
1b94b7b3-d78d-5fe0-a410-695b548db0a5 | textbox | Street address (number, street, suburb and postcode)
b047ab88-672c-5354-9f07-f576d55de7fc | textbox | Water authority property service / installation number
8fe81aa1-4807-5c3d-bf39-413322388800 | textbox | Water meter number
41c89a87-344d-4483-b420-2ee085590421 | checkpoint | Type of test
23383302-5c47-5569-9140-237a7aa6a54b | tickbox | Commissioning of new device
33e75c72-2c8f-5468-b7db-82873ea2bc22 | tickbox | Replacement
3f3c46ef-5c6d-53c2-b48e-4cac5da226f7 | tickbox | Annual
02203c6f-c974-5ffa-8015-d1f6a5c3fec3 | tickbox | Repairs
c67e7664-4430-53e4-82f0-e869b434a762 | tickbox | Decommission
5cea0ddf-9439-43a0-ba57-d77c53dc7ade | checkpoint | Backflow prevention device location
bc93848d-2209-5b99-8736-1c134f99f3d1 | textbox | Location of device (eg: Northwest side of building @ FHR external)
6cabc185-5494-5e92-bf5c-ab3779c33e8f | textbox | Mains pressure (kPa)
3b563167-8613-567f-9c84-21fcc76a107f | textbox | Time and date of test
a71d8cdc-c2dd-4816-a7ac-dfb13dda61fb | checkpoint | Main device
ce92db6f-7996-5db9-b60f-399723135789 | tickbox | RPZD (E)
65c1d2fd-6db4-5d05-9b63-0ec90b15a379 | tickbox | DCV (F)
a97d1700-4e5e-5170-b99a-c2194eae3733 | tickbox | SCVT (I)
ab57c716-c21a-531a-ab39-e2a8dd99aa2b | tickbox | Containment
880ff7d4-3b60-5e0e-a837-91681e883e0f | tickbox | Zone
f1538b54-f31f-5bf9-99e0-5a61560a0de4 | tickbox | Individual
d7ba4dac-6ba2-56e6-babc-4d750a1d320a | textbox | Make
5c1b90d5-e4f6-577e-b9e4-4645fc8d95b5 | textbox | Size mm
f5fa4c2d-3773-5d49-9348-df62d1859dc0 | textbox | Model
6e640134-a5bd-54f5-b889-204e7b2cfd0a | textbox | Serial number
9044c0b1-5863-52ba-86ea-abd27d142f96 | button | Cleaned strainer | Yes,No,N/A
9e222735-0723-59b9-b152-12e4d52b778c | button | Upstream IV | Leaked,Tight
77a91dc9-22fd-55b2-9999-f2cede04a8fa | button | Downstream IV | Leaked,Tight
3e0cefe9-185a-5fa9-8282-08ce1d27d39c | textbox | Check valve #1 (kPa)
7edd708a-793f-53c9-944a-046c2861d17b | textbox | Check valve #2 (kPa)
4615df86-9d15-57fd-a2fd-9188d0855d59 | textbox | Relief valve opened
395f5d14-0d8a-4fdf-93b8-7b5391a70f4a | checkpoint | Device installation notes
d212f442-a57c-5605-85a3-9d6c827cd42d | button | Isolating padlocks installed | Yes,No
8fed1a6d-1cfe-556b-868c-8b9d40a32809 | button | Installation complies with AS/NZS 3500.1 | Yes,No
ea551c08-068b-4282-b08b-f9c6a6a2f227 | checkpoint | Test kit
2415e464-329e-5614-bb34-0958a22ed376 | textbox | Test kit serial number
190ee41f-809b-5ee5-bd9b-95b78efbc212 | date | Date last calibrated
ecee7d0b-d63d-4006-be6d-452048fbefba | checkpoint | Authorised testers details
3b47a8ae-f865-56f0-806b-8f728227d246 | textbox | Testers name
a44c2469-b8df-59ae-8cd7-96bcac44dd8b | textbox | Registration licence number
ef3c5f3e-127d-594e-8485-14498eef5950 | textbox | Phone number
fee2cffa-fdb1-4f40-a63d-29e18d8290ec | checkpoint-no-value | Licence person
d64f8e1f-e690-5b1b-82e7-cc4818418326 | note | Full company name - Geschke plumbing
ef2e3871-8cf9-5560-89a8-e881851532e5 | note | Licensed tester name – David Geschke
37bb3539-a73b-5523-be97-8db7ee92e765 | note | Licence number -50043
2111bad7-766e-44d1-9c76-c53708addf48 | checkpoint | I hereby state that the information provided in this form is a true and accurate record. I have tested the above device/s in accordance with AS/NZS 2845.3:2020
4d719cd7-5321-5889-ab31-a1835f068fbc | note | Note: Failed devices must be repaired and retested within 20 business days as per the Water (Estimation, Supply and Sewerage) Regulation 2014.
4a123522-a371-5e1f-bacf-20daec810ba2 | textbox | Signature licenced plumber
8d05729b-6640-5b94-a2b8-b061f03f8352 | date | Date
da9659f0-a7a2-5534-b6ca-c426e027d116 | textbox | Signature tester
2c77f3b1-eef6-51d8-a808-4d4f0d0df6a1 | date | Date