## Project Structure
QA Folder Structure |  | Checklists
Site QA
Coring
Coring
Drains
Drains
Rough In
Rough In
Fit Off
Fit Off
Commissioning
Commissioning

## New checklists
type | name | values | prefix | postfix | usage count | user addable
checklist | CORING
checkpoint | PENO'S CHECKED AGAINST DRAWINGS
checkpoint | PERMIT OBTAINED
checkpoint | SPOTTER FOR CORE
checkpoint | AREA CLEANED UPON COMPLETION
checkpoint | PENO'S COVERED AND MADE SAFE
checklist | Drains
checkpoint | DRAINAGE COMPLETE
checkpoint | HAS ALL DRAINAGE BEEN FIRE RATED (MUST ATTACH PHOTO)
checkpoint | HAVE ALL OPEN POINTS BEEN CAPPED
checklist | Rough In
checkpoint | ROUGH IN COMPLETE
checkpoint | CROSS CONNECTIONS CHECKED
checkpoint | WATER PRESSURE TESTED
checkpoint | HAVE THE PIPES BEEN ADEQUATELY CLIPPED
checkpoint | FW CLEANED, COVERED AND CLEAR OF DEBRIS
checkpoint | AAV REQUIRED?
checkpoint | FIXTURE SET OUT CORRECT AS PER DRAWINGS
checklist | FIT OFF
checkpoint | FIXTURES COMPLETE (ATTACH PHOTOS OF ALL FIXTURES)
checklist | Commissioning
checkpoint | FIXTURES COMPLETE (ATTACH PHOTOS OF ALL FIXTURES)
checkpoint | TEMPERATURES CHECKED