## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | 55762cde-d180-490b-9e85-aa7d30dd0163 |  | checklist | Test Sheets (Lightning) |  |  |  |  | Yes | Test Sheet Checklist | 43fed1fc-a5e7-40b0-a5c6-6dc16fad4e03
checkpoint-status | 3ddfb8e9-2385-460e-92b2-4a47ec92fd29 |  | checkpoint | Ductor Testing Completed
checkpoint-status | 18fa8b4b-a99b-4ffd-9ac6-b6cda67e0c34 |  | checkpoint | Earth Resistance and Continuity Testing Completed
checklist-flat | aa18d1fe-820d-45ee-bc7a-7ac3c8d53e67 |  | checklist | Wricon Terminal Plates |  |  |  |  | Yes | Wricon Terminal Plate Checklist | 8233be39-9c37-4eb6-8be3-dbb0910d06f0
checkpoint-status | 3508dd01-ba96-4c9b-8ce8-2d9537874fde |  | checkpoint | Wricon Welded to Column
checkpoint-status | 878b992e-0ff4-4974-aac5-3c584873f481 |  | checkpoint | Terminal Plates Cast into face of columns
checklist-flat | 85efc019-cd2b-48ca-b014-c766512dd09a |  | checklist | Earth Pit |  |  |  |  | Yes | Earth Pit Checklist | 9839d77f-19af-4167-b344-651e7709ed8c
checkpoint-status | bea09e05-6f30-467d-a30c-77d17ab3212e |  | checkpoint | Earth Pit Installed
checkpoint-status | 8bb2e4f8-8ed3-4af5-86cb-3fcbc9a3ebad |  | checkpoint | Terminal Plate Cast Into top of pile cap
checklist-flat | 0c264f22-5d7f-4975-ae7c-5922adae0327 |  | checklist | Test Sheet (Generator) |  |  |  |  | Yes | Test Sheet Checklist (Generator) | b1b036da-a964-4211-a896-cdd355cb7a2d
checkpoint-status | d329cee9-36b3-4a37-b5c2-b49c74036ef5 |  | checkpoint | 3 Phase Submain Cable Testing Completed
checkpoint-status | 0c780b05-8cd0-4d93-9ce4-14ece0ef1e4e |  | checkpoint | Earth Loop Impedance Completed
checkpoint-status | e5be6fd1-42bc-46e2-a8e8-b2e912e92a38 |  | checkpoint | Thermal Imaging Completed
checkpoint-status | 87201ea6-6194-49cb-aa57-6306563e8dfb |  | checkpoint | Secondary Injection Testing Completed
checklist-flat | dd326841-07b4-4056-8d24-7f21b8d4b158 |  | checklist | Photos |  |  |  |  | Yes | Photos Checklist | cfd74bcd-8a7c-4cc5-9dee-ee8bd3cf885b
checkpoint-status | b142ab69-3131-4bb7-85c6-76a0b942a42d |  | checkpoint | Photos