## Project Structure
Folder Structure |  |  |  | Checklists
Site QA
Level 5 - Patient Rooms / Ops Theatres
|  | Drawings |  | Drawings
FCU 1
|  |  | FCU | Fan Coil Unit Installation Checklist
|  |  | Ductwork | Ductwork Installation Checklist
|  |  | Pipework | Pipework Installation Checklist
|  |  | Pressure Test | Pipe Pressure Test Report Checklist
FCU 2
|  |  | FCU Checklist | Fan Coil Unit Installation Checklist
|  |  | Ductwork | Ductwork Installation Checklist
|  |  | Pipework | Pipework Installation Checklist
|  |  | Pressure Test | Pipe Pressure Test Report Checklist
FCU 3
|  |  | FCU Checklist | Fan Coil Unit Installation Checklist
|  |  | Ductwork | Ductwork Installation Checklist
|  |  | Pipework | Pipework Installation Checklist
|  |  | Pressure Test | Pipe Pressure Test Report Checklist
Level 6 - Plantroom
|  | Drawings |  | Drawings
FCU 4
|  |  | FCU Checklist | Fan Coil Unit Installation Checklist
|  |  | Ductwork | Ductwork Installation Checklist
|  |  | Pipework | Pipework Installation Checklist
|  |  | Pressure Test | Pipe Pressure Test Report Checklist
FCU 5
|  |  | FCU Checklist | Fan Coil Unit Installation Checklist
|  |  | Ductwork | Ductwork Installation Checklist
|  |  | Pipework | Pipework Installation Checklist
|  |  | Pressure Test | Pipe Pressure Test Report Checklist
FCU 6
|  |  | FCU Checklist | Fan Coil Unit Installation Checklist
|  |  | Ductwork | Ductwork Installation Checklist
|  |  | Pipework | Pipework Installation Checklist
|  |  | Pressure Test | Pipe Pressure Test Report Checklist
Roof
|  | Drawings |  | Drawings

## Checklists
type | name | values
checklist-flat | AHU Installation Checklist
checkpoint | Check equipment installed in correct location
checkpoint | Correct Model No checked & referenced
checkpoint | Fan section checked
checkpoint | Belts, pulleys, guards fitted & checked
checkpoint | Internal supports & spring mounts checked
checkpoint | Flexible connections checked
checkpoint | Coils & Filters checked
checkpoint | Checked traps & drains, flow from trays with unit running
checkpoint | Coil fins not damaged
checkpoint | Coils installed correctly
checkpoint | Commissioning report attached
checklist-flat | Boiler Installation Checklist
checkpoint | Correct Model No checked & referenced
checkpoint | Equipment installed in correct location
checkpoint | Vibration Isolation checked
checkpoint | Boilers checked
checkpoint | Installed to manufacturers instructions
checkpoint | Combustion air / mechanical ventilation available
checkpoint | Clearance for servicing & inspection checked
checkpoint | Condensate drain off boiler vessel
checkpoint | Flue installation checked
checkpoint | Checked against manufacturer literature
checkpoint | Correct flue size
checkpoint | Fan installed correctly (if required)
checkpoint | Adequate brackets & support
checkpoint | Provision to disconnect the stack for servicing & inspection
checkpoint | Clear & unobstructed
checkpoint | Drain and test points to boiler flues
checkpoint | Gas pipework checked
checkpoint | Line size checked against schedule
checkpoint | Conducted leak test
checkpoint | Correct boiler inlet gas pressure ≤7 kPa - checked against manufacturer literature
checkpoint | Insulation checked
checkpoint | Flue checked against spec / drawing
checkpoint | Controls checked
checkpoint | Sensors, controllers, switches fitted to flue and pipes
checkpoint | Wiring/tubing to devices to boiler checked
checklist-flat | Chiller Installation Checklist
checkpoint | Correct Model No checked & referenced
checkpoint | Equipment installed in correct location
checkpoint | Springs & mounts checked against schedule
checkpoint | Chillers checked
checkpoint | Installed to manufacturer's instructions
checkpoint | Pipe removal & clearances for tube clean / withdrawal
checkpoint | Fan - air cooled chillers checked
checkpoint | Belts, pulleys & guards fitted
checkpoint | Fan direction of airflow checked
checkpoint | Supports & spring mounts checked
checkpoint | Insulation checked
checkpoint | Chiller unit checked
checkpoint | Controls checked
checkpoint | Sensors, controllers, switches fitted to chiller and pipes
checkpoint | Wiring/tubing to devices checked
checkpoint | Corrosion protection of vessels checked
checkpoint | Refrigerant leak detection checked
checkpoint | Commissioning report attached
checklist-flat | Cooling Tower Installation Checklist
checkpoint | Correct Model No checked & referenced
checkpoint | Equipment installed in correct location
checkpoint | Vibration Isolation checked
checkpoint | Cooling towers checked
checkpoint | Installed to manufacturers instructions
checkpoint | Access covers in place and sealed
checkpoint | Sump head above pumps
checkpoint | Air intake clearances adequate
checkpoint | Multiple towers at same height with balance line
checkpoint | Cleaning access
checkpoint | Fan checked
checkpoint | Belts, pulleys, guards fitted
checkpoint | Fan direction of airflow checked
checkpoint | Internal supports & spring mounts checked
checkpoint | Discharge Ductwork/Attenuation
checkpoint | Water treatment to Subcontractor's recommendations
checkpoint | Side stream filtration to Supplier recommendations
checkpoint | Commissioning report attached
checklist-flat | Ductwork Installation Checklist
checkpoint | Position & height checked against drawing
checkpoint | Spigots checked
checkpoint | Joinery (including clips) checked
checkpoint | Stiffening checked
checkpoint | Sealing checked
checkpoint | Hangers (including booker rod cut back) checked
checkpoint | Canvas connection (include type) checked
checkpoint | Equipment installation checked
checkpoint | Equipment connections (size/Type) checked
checkpoint | VCD’s & MVCD’s open & marked
checkpoint | External insulation checked
checkpoint | Kitchen exhaust duct graded towards hoods and drains
checkpoint | Kitchen exhaust duct installed with access panels (every 3 meters & change in direction) and drains
checkpoint | Ductwork checked
checkpoint | Ductwork exposed to weather
checkpoint | Top of ductwork cross broken
checkpoint | Joints & flex connections weather proofed (flashings)
checkpoint | Roof cowls secured and weather proofed
checkpoint | Commissioning report attached
checklist-flat | Fan Coil Unit Installation Checklist
checkpoint | Correct Model & Serial No. checked & referenced
checkpoint | Equipment installed in correct location
checkpoint | External springs and mounts checked against schedule
checkpoint | Clearance & access checked
checkpoint | Fan section checked
checkpoint | Belts, pulleys, guards fitted
checkpoint | Internal supports & spring mounts checked
checkpoint | Flexible connections checked against drawing
checkpoint | Coils & filters checked
checkpoint | Traps, drains, flow from trays checked without unit running
checkpoint | Coil fins not damaged
checkpoint | Coils installed correctly
checkpoint | Insulation not damaged
checkpoint | Painting/labelling checked
checkpoint | Unit labelled and checked against drawing / schedule
checkpoint | Pipe labelled and checked against specification
checkpoint | Control valves tags checked against drawings / schedule
checkpoint | VSD labelled as per drawings / schedule
checkpoint | Commissioning report attached
checklist-flat | Fan Installation Checklist
checkpoint | Correct Model No checked & referenced
checkpoint | Equipment installed in correct location
checkpoint | External springs & mounts checked
checkpoint | Fan checked
checkpoint | Belts, pulleys, guards fitted
checkpoint | Fan airflow direction checked
checkpoint | Flexible connections checked
checkpoint | Fan insulation (if required) (acoustic) checked
checkpoint | Labelling checked
checkpoint | Equipment labelled
checkpoint | VSD installed and labelled (If Applicable)
checkpoint | Commissioning report attached
checklist-flat | Fire Penetration Register
checkpoint | Fire installation details (pass once details entered)
text | Item no
text | Level
text | Grid ref
text | Penetration detail
text | Penetration construction
text | Penetration thickness (mm)
text | Size (W x H mm)
text | Integrity (FRL)
text | Service
text | System description
label | Upload photographs below
checkpoint | Manufacture details - pass once details entered
text | DTS/test report/certificate reference
checkpoint | Installation checklist - pass once details entered
checklist-flat | Package Units Installation Checklist
checkpoint | Correct Model No checked & referenced
checkpoint | Equipment installed in correct location
checkpoint | External springs & mounts checked
checkpoint | Fan & compressor checked
checkpoint | Belts, pulleys, guards fitted
checkpoint | Internal supports & spring mounts checked
checkpoint | Flexible connections checked against drawing
checkpoint | General items checked
checkpoint | Traps & drains, flow from trays checked without unit running
checkpoint | Coil fins not damaged
checkpoint | Coils installed correctly
checkpoint | Painting / labelling checked
checkpoint | Unit casing checked
checkpoint | Ductwork - is touch up required
checkpoint | Pipework - is touch up required
checkpoint | Unit labelled and checked against drawing / schedule
checkpoint | Pipe labelled and checked
checkpoint | Control valves tags checked against drawing / schedule
checkpoint | VSD labelled and checked
checkpoint | Commissioning report attached
checklist-flat | Pipework Installation Checklist
checkpoint | Position, height, sizing checked against drawings
checkpoint | Bracketing checked (to accommodate springs where applicable)
checkpoint | Insulation blocks checked against specification
checkpoint | Valves checked against specification
checkpoint | Pipework labelling checked
checkpoint | BMS Provisions located and installed correctly
checkpoint | Provision for expansion
checkpoint | Anchors & Guides checked against specification
checkpoint | Air Vents checked against specification
checkpoint | Expansion tanks
checkpoint | Drain down points checked against specification
checkpoint | Pressure Test
checkpoint | Pipe sleeves & fire seals checked against specification
checkpoint | Service Access checked against drawing / specification
checkpoint | Clearance for insulation & sheathing as per specification
checkpoint | Commissioning report attached
checklist | Pipe Pressure Test Report Checklist
section | Checks
checkpoint | Pressure kPa checked against specification
checkpoint | Allowable drop kPa checked against specification
checkpoint | Duration hour / minute checked against specification
checkpoint | Marked up schematic attached
checkpoint | Marked up layout attached
section | Test record
checkpoint | Test start - pass once entered
text | Date
text | Time
checkpoint | Initial pressure kPa - pass once entered
text | Initial pressure (kPa)
checkpoint | Test finish - pass once entered
text | Date
text | Time
checkpoint | Final pressure kpa - pass once entered
text | Final pressure (kPa)
checklist-flat | Pump Installation Checklist
checkpoint | Correct model no checked against schedule
checkpoint | Correct inertia base
checkpoint | Equipment installed in correct location
checkpoint | External springs & mounts checked
checkpoint | Installed to manufacturer's instructions
checkpoint | Pump alignment checked (by manufacturer)
checkpoint | Bearings greased
checkpoint | Gland seals piped
checkpoint | Condensate tray fall checked
checkpoint | Condensate tray pipework checked
checkpoint | No external forces on pump from pipework etc
checkpoint | Commissioning report attached
checklist-flat | Split AC\VRV Unit Installation Checklist
checkpoint | Correct model no checked against schedule
checkpoint | External springs & mounts checked
checkpoint | Fan coil unit checked
checkpoint | Traps, drains, flow from trays checked
checkpoint | Coil fins not damaged
checkpoint | Supports checked
checkpoint | Clearance & access checked
checkpoint | Spring mounts checked (if required)
checkpoint | Condenser checked
checkpoint | Installed to manufacturers instructions & approved detail
checkpoint | Fan/coil guards fitted correctly
checkpoint | Access covers in place, sealed, pipes connected
checkpoint | Coil fins not damaged
checkpoint | Coil fins installed correctly
checkpoint | Air intake/discharge clearances adequate
checkpoint | Cleaning access checked
checkpoint | Spring mounts checked against schedule (if required)
checkpoint | Fan checked
checkpoint | Belts, pulleys, guards fitted
checkpoint | Fan direction of airflow checked
checkpoint | Internal supports & spring mounts checked
checkpoint | Refrigerant pipework checked
checkpoint | Line size checked against schedule
checkpoint | Pressure tested
checkpoint | Clearance and access checked
checkpoint | Pipework lagging checked
checkpoint | Electrical checked
checkpoint | Termination at equipment checked
checkpoint | Controls checked
checkpoint | Sensors, controllers, switches fitted to pipe
checkpoint | Wiring/tubing to devices checked
checkpoint | Termination at controllers & devices checked
checkpoint | Commissioning report attached
checklist-flat | VAV Unit Installation Checklist
checkpoint | Correct model no checked against schedule
checkpoint | Correct location & orientation checked
checkpoint | Duct insulation details checked
checkpoint | Heating / coils checked (if applicable)
checkpoint | Coil fins not damaged
checkpoint | Coils installed correctly
checkpoint | Electric heater checked (if applicable)
checkpoint | Heater element cleared of debris
checkpoint | Element fins not damaged
checkpoint | Element installed correctly
checkpoint | Heater size/stages correct (checked against schedule)
checkpoint | Insulation checked
checkpoint | Check against specification/drawing
checkpoint | Ductwork checked
checkpoint | Pipework checked
checkpoint | Duct connection details checked
checkpoint | Commissioning report attached
checklist | Fire Damper
checkpoint | Opening in fire rated construction built correctly
select | Fire damper mechanism type | Curtain, Motorised, Slab, Intumescent, Other
checkpoint | Does the structure match that for which damper was tested
checkpoint | Check damper orientation (i.e. upside down or not)
checkpoint | Damper airflow direction checked
checkpoint | Is the damper mechanism within wall structure
checkpoint | Is the damper expansion material fitted between damper and penetration
checkpoint | Check that the fusible link is fitted and has the correct temperature rating
checkpoint | Check damper blades are fully open
checkpoint | Check damper closure is not impeded (drop test)
checkpoint | Confirm an access panel in the duct is provided and allows access to reset damper
checkpoint | If motorised, is the actuator fixed to the damper body (attach photo)
checkpoint | Confirm break away bolts / fixings have been used (plastic or aluminium) [attach photo]
checkpoint | Are retaining angles fitted (attach photo)
checkpoint | Is the damper labelled with information as required by AS 1682.1 (attach photo)
checkpoint | Attach photo(s) around damper with flanges off, confirming clearances as required by AS 1682.1
checkpoint | Attach photo(s) inside damper through access panel of blades, linkage etc.
checkpoint | Attach photo(s) with flanges on.
checkpoint | Commissioning report attached