## Master List Templates
Id | Type | Name | Values | Prompting Name | Resource Id
95e6a37e-c04e-5454-8569-03c007769290 | checklist | Add Daily Site Diary Checklist |  | Daily Site Diary | 7b4bc66d-8362-4ae1-8841-9da3f1a08cae
b28657e2-1d6f-5cff-8431-638086a78f88 | checkpoint | Attach relevant photos and documents
a0aa1e95-7be9-5273-93ad-0a4cdb5a0105 | textbox | Time on Site
6e01c180-492e-5bc1-846e-44c9ec3ba0fd | textbox | Time off site
cc06bdd5-5b85-5a28-9e44-ff5e9b91bfc9 | textbox | Vehicles
fb855924-f052-5943-a728-9d0aa7209e7e | textbox | Plant
3d411984-77f6-511c-bd18-d4e2cb7af5bc | textbox | Ryder Plumbing Staff Onsite (list names)
b2dd6a10-3c75-594a-b010-c82e31bba2c8 | checkpoint | Traffic Control
4282f31f-2616-5e84-98b3-dea740c5204f | textbox | Number of Controllers
6af20406-29c6-5820-bfd8-6f6b179ae183 | textbox | Time on Site
e8432972-8cd3-58b5-b2a0-6a8e47ff03a3 | textbox | Time off site
c6b2d807-6078-5bf0-a611-6fa603d8b934 | textbox | Deliveries / Sub Contractors:
04311a32-ab01-5672-80c7-40242106970c | checkpoint | Works Completed
a43dab55-b108-5858-8ed9-a0edff0978d4 | checkpoint | Incomplete Works (add details in comments)
abf45e58-1e2d-5ac5-b0f7-5887cb9f3b1e | signoff | Signed off by Ryder Plumbing
dec38953-c69f-5c3e-b975-23fb953eea18 | checklist | Big Ticket Items (In Ground) |  | Big Ticket Items (In Ground) | d369094d-0097-43d6-89da-227dce580e7f
3d2b255c-a2e0-50e1-a39d-c4a75d329a3e | checkpoint | Sewer pump well
a5095a73-c3b7-5a5f-805f-481345139ec4 | checkpoint | Storwater pump well
eb164eea-d654-5768-a781-64766f9bad6c | checkpoint | Stormwater pits
77862efd-1238-55b5-973c-9b994d8539da | checkpoint | Grease interceptor trap
be8d9312-dabc-56e8-b24d-821366efe05a | checkpoint | Conduits rain to IFC location
8f174586-371e-5ef2-b365-56e64f44bebf | checkpoint | Torpedo tanks
954a9bd5-5bff-5d66-955b-cdf3c0c4605b | checkpoint | Stormwater detention system
91b821b2-763a-5bc5-8f7f-f5fed0a0cd15 | checkpoint | LPOD
419dc550-807c-510f-9051-27c762b5c5e5 | checkpoint | Water tap in

## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Above Ground Pits/Pumps/Tanks Checklist |  | Above Ground Pits/Pumps/Tanks Checklist | c8f000ec-c8e5-4850-88cf-f4de1b7cb420
| checkpoint | Diversion valve
| checkpoint | Rainwater pump set
| checkpoint | Rainwater tanks
| checkpoint | Sewer pump installed
| checkpoint | Sewer control panel
| checkpoint | Stormwater pump installed
| checkpoint | Stormwater control panel
| checkpoint | Grease interceptor trap
| checkpoint | Hot water unit installation
| checkpoint | Main Meter assembly
| checkpoint | Main Gas Meter cupboard
| checklist | Add Daily Site Diary Checklist |  | Daily Site Diary | bd5abf8c-4ae0-41a8-b629-a6c2a94994b2
| checkpoint | Attach relevant photos and documents
00a01268-9f88-535c-b15b-5be03dcb08f8 | textbox | Time on Site
0b767554-eb89-51b3-8f7e-acaba4c1f48a | textbox | Time off site
ac8247a5-e62a-5c9f-ae3c-b1434fb562d2 | textbox | Vehicles
66d3ea77-1531-59e5-bd9a-4a58851f9c8b | textbox | Plant
c4450817-d9f9-59c2-a44a-d8ea36f1a84a | textbox | Ryder Plumbing Staff Onsite (list names)
| checkpoint | Traffic Control
89998085-26f7-5e1c-92f2-da537f8ad91b | textbox | Number of Controllers
ff96a31d-9705-51d5-b83e-5e8f90e0f27b | textbox | Time on Site
ad237b9b-b223-5d8e-b3e1-ff3caed4327f | textbox | Time off site
2810b889-9798-5514-89a8-ef3dd35e2df4 | textbox | Deliveries / Sub Contractors:
| checkpoint | Works Completed
| checkpoint | Incomplete Works (add details in comments)
| signoff | Signed off by Ryder Plumbing
| checklist | Add Toolbox Meeting Checklist |  | Toolbox Meeting Checklist | 20c482c9-a1e5-476f-8535-053fc222157e
| section | Attendance
| checkpoint | Attendance - list of attendees added below
| checkpoint | Apologies - list of non-attendees added below
| section | Minutes
| checkpoint | Actions from last meeting
| checkpoint | Administration
| checkpoint | HR
cf0daa76-a8be-5814-a2cc-53b5ec778228 | note | e.g - Site recognition, any HR issues?
| checkpoint | Safety: (including hazards / near misses / controls / site specific)
| checkpoint | Environment: (including hazards / controls / incidents / impacts)
| checkpoint | Training
6bb589c0-7688-5942-b0e7-f1984330e3b0 | note | Competency Assessment Guides (Apprentices) if applicable – are they up to date?
| checkpoint | Plant & Equipment
| checkpoint | Issues & Customer Feedback
| checkpoint | Client/Job specific information:
| checkpoint | Memo’s and other office correspondence
| section | Document Review
| checkpoint | Document uploaded below if applicable
| section | New Business / Other
| checkpoint | Any new business / other comments added below
| section | Meeting Closure
| checkpoint | Meeting Closed
15dbc8ea-d91e-5ce9-a3b3-42131240438f | textbox | Meeting Closed time
8fa0f2c2-6c31-5e80-aed7-76868af99a27 | textbox | Date for next meeting
f8f2040b-2685-5748-87c3-7b25b6edd291 | textbox | Minutes taken by (Name)
| checklist | Basement Pumps/Tanks/Booster Pump Checklist |  | Pumps/Tanks/Booster Pump | 1bc9af14-4e01-4fb6-bb54-1070ceed6777
| checkpoint | Domestic cold water booster pump
| checkpoint | Domestic cold water break tank
| checkpoint | Rainwater pump set
| checkpoint | Rainwater tanks
| checkpoint | Sewer pump board installed
| checkpoint | Stormwater pump board installed
| checkpoint | Suspended Pollutant trap
| checkpoint | Diversion valve
| checkpoint | OSD tank (if applicable)
| checkpoint | Smoke sealed
| checkpoint | Tested
| checkpoint | Fire rated if necessary
| checkpoint | Water meter assembly
| checklist | Commissioning Checklist |  | Commissioning | a4c5a4e4-43ba-4640-8034-b7f9b6c950b6
| checkpoint | Includes female/male/DDA bathroom, kitchen
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checkpoint | Run Cycle on Dishwasher
| checklist | Corridor Checklist |  | Corridor | 02f9dec6-d8d9-46b2-8d3c-80da08085c3d
| checkpoint | Rainwater
| checkpoint | Hot Water
| checkpoint | Hot Water Lagged
| checkpoint | Cold Water
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checkpoint | Test Rain Water
| checkpoint | Fire Caulking (Corridor to Apt)
| checkpoint | Cold Water Meter Manifold
| checklist | Fit Off Checklist |  | Fit Off | 4ee04e8b-f778-471e-8b6e-652366db22f5
| section | Kitchen Fit Off
| checkpoint | Kitchen Mini Stops
| checkpoint | Kitchen Sink Waste
| checkpoint | Kitchen Sink Mixer
| checkpoint | Kitchen Dishwasher
| checkpoint | Kitchen Cooktop
| section | Female Bathroom Fit Off
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checkpoint | Bathroom Urinal
| checkpoint | Bath tubs
| checkpoint | Floor wastes - cleared of blockages
| section | Male Bathroom Fit Off
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checkpoint | Bathroom Urinal
| checkpoint | Bath tubs
| checkpoint | Floor wastes - cleared of blockages
| section | DDA Bathroom Fit Off
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checkpoint | Bathroom Urinal
| checkpoint | Bath tubs
| checkpoint | Floor wastes - cleared of blockages
| checklist | Hot Water Unit Checklist |  | Hot Water Unit | 42f3b545-c856-450f-839f-b7b0f7a7049c
| checkpoint | Hot water unit installation
| checkpoint | Copper works installation
| checkpoint | Smoke sealed
| checkpoint | Fire rated
| checkpoint | Tested
| checklist | In-Ground Pits/Pumps/Tanks Checklist |  | Pits/Pumps/Tanks | f35e87f5-9aed-4021-831f-999681092569
| checkpoint | Sewer pump well
| checkpoint | Storwater pump well
| checkpoint | Stormwater pits
| checkpoint | Grease interceptor trap
| checkpoint | Conduits rain to IFC location
| checkpoint | Torpedo tanks
| checkpoint | Stormwater detention system
| checklist | In-Ground Sewer Drainage Checklist |  | Sewer Drainage | 1b1aabf1-b720-4842-adfe-b7f60d7530f0
| checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
| checkpoint | Pipework installation
| checkpoint | Pipework checked for correct invert levels & gradients
| checkpoint | Book inspection with VBA for in-ground drainage.
| checkpoint | Ensure all backfill is in accordance to specifications & compaction requirements.
| checkpoint | Test sewer
| checklist | In-Ground Stormwater Drainage Checklist |  | Stormwater Drainage | c229e7d1-04ce-4bb6-b733-7c80aef3e2b8
| checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
| checkpoint | Pipework installation
| checkpoint | Pipework checked for correct invert levels & gradients
| checkpoint | Pits checked for correct invert levels & finished floor levels
| checkpoint | Ensure correct locations of pits.
| checkpoint | Ensure all backfill is in accordance to specifications & compaction requirements.
| checklist | Levels Suspended Drainage Checklist |  | Suspended Drainage | fc1bd261-be5f-40cc-a4a8-5f9406abe9e5
| checkpoint | Pipework, material and fittings installed as per approved IFC Drawing. Includes female/male/DDA bathroom, kitchen
| checkpoint | Pipework installation
| checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
| checkpoint | Smoke seal penetrations
| checkpoint | Fire collars installed if necessary
| checklist | Penetrations Checklist |  | Penetrations | c6e4f923-5665-48cc-a066-642a67211634
| checkpoint | All works to be set our as per approved IFC drawings.
| checkpoint | Fire collar installation
| checkpoint | Cast in drains
| checkpoint | Photos of collar end labelling referencing fire matrix if required
| checklist | Rough In Checklist |  | Rough In | 5bd34784-a16b-4a77-8715-d2da79c93c34
| checkpoint | Includes female/male/DDA bathroom, kitchen
| checkpoint | High Level Rough In
| checkpoint | Wall Set Out
| checkpoint | Wall Rough In
| checkpoint | Waste Rollovers
| checkpoint | Gas
| checkpoint | Test Water
| checkpoint | Fire collar installed if necessary
| checklist | Storm Water Grates Checklist |  | Storm Water Grates | f443da95-8cf9-452d-b437-429c689b11bc
| checkpoint | Grates installed
| checkpoint | Smoke sealed
| checkpoint | Fire rated
| checkpoint | Tested
| checklist | Suspended Copper Works Checklist |  | Suspended Copper Works | a7f093ce-bff7-4f17-9903-28412b96b3f7
| checkpoint | Pipework installed - domestic hot/cold/rain water
| checkpoint | Smoke seal penetrations
| checkpoint | Fire rated if necessary
| checkpoint | Tested
| checklist | Vents Checklist |  | Vents | b67474bb-92a0-422d-a6e6-4b78c1379bb1
| checkpoint | Vents installed
| checkpoint | Smoke sealed
| checkpoint | Fire rated
| checkpoint | Tested