## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
| checklist | Fit Off Checklist |  | Fit Off |  | 0995f908-51ea-4d5d-a670-2bf7a9714e67
| section | Laundry Fit Off
| checkpoint | Laundry Trough
| checkpoint | Laundry Trough Mixer
| checkpoint | Laundry Trough Mini Stops
| checkpoint | Laundry Trough Waste
| checkpoint | Hot Water Unit
| checkpoint | Floor wastes - cleared of blockages
| section | Kitchen Fit Off
| checkpoint | Kitchen Mini Stops
| checkpoint | Kitchen Sink Waste
| checkpoint | Kitchen Sink Mixer
| checkpoint | Kitchen Dishwasher
| checkpoint | Balcony Tap
| section | Bathroom Fit Off
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checkpoint | Bath tubs
| checkpoint | Floor wastes - cleared of blockages
| section | Testing
| checkpoint | Tested on test gauge hot cold
| checkpoint | Tested on test gauge rainwater