## Master List Templates
Id | Type | Name | Values | Prompting Name
95e6a37e-c04e-5454-8569-03c007769290 | checklist | Add Daily Site Diary Checklist |  | Daily Site Diary
b28657e2-1d6f-5cff-8431-638086a78f88 | checkpoint | Attach relevant photos and documents
a0aa1e95-7be9-5273-93ad-0a4cdb5a0105 | textbox | Time on Site
6e01c180-492e-5bc1-846e-44c9ec3ba0fd | textbox | Time off site
cc06bdd5-5b85-5a28-9e44-ff5e9b91bfc9 | textbox | Vehicles
fb855924-f052-5943-a728-9d0aa7209e7e | textbox | Plant
3d411984-77f6-511c-bd18-d4e2cb7af5bc | textbox | Ryder Plumbing Staff Onsite (list names)
b2dd6a10-3c75-594a-b010-c82e31bba2c8 | checkpoint | Traffic Control
4282f31f-2616-5e84-98b3-dea740c5204f | textbox | Number of Controllers
6af20406-29c6-5820-bfd8-6f6b179ae183 | textbox | Time on Site
e8432972-8cd3-58b5-b2a0-6a8e47ff03a3 | textbox | Time off site
c6b2d807-6078-5bf0-a611-6fa603d8b934 | textbox | Deliveries / Sub Contractors:
04311a32-ab01-5672-80c7-40242106970c | checkpoint | Works Completed
a43dab55-b108-5858-8ed9-a0edff0978d4 | checkpoint | Incomplete Works (add details in comments)
abf45e58-1e2d-5ac5-b0f7-5887cb9f3b1e | signoff | Signed off by Ryder Plumbing
01696bf7-ca70-5635-90d0-b43a3f576e36 | checklist | Add Day Docket Checklist |  | Day Docket
834b544e-1884-545f-b7c9-feff5a088790 | checkpoint | Details added below
076ea351-ee99-52b1-bc88-fa1da0cd5568 | textbox | Work completed
86263006-2daf-508f-a03d-0e3325378d83 | textbox | Materials required
56694a2f-e40d-58de-8621-8e9907dd9780 | textbox | Staff
b98285a1-97f5-546b-a501-bd1a018c0425 | dropdown | Hours | 1, 2, 3, 4, 5, 6, 7, 8
c2f3b9eb-fd7d-5acd-a61c-5b01244070a0 | checkpoint | Signed off by Ryder Plumbing
ccdc81a5-97fd-5f10-83c6-e399c64f2ad1 | signoff | Signed off by Builder
b1d75fe3-f606-59b4-a595-c317cf3fbf25 | checklist | Add Toolbox Meeting Checklist |  | Toolbox Meeting Checklist
26caafa5-524e-56bc-8075-33820baa224a | section | Attendance
5256d9b4-2b4c-595c-afdc-9195c85ff107 | checkpoint | Attendance - list of attendees added below
b29631b4-02bd-5ff5-84c7-872d498130b6 | checkpoint | Apologies - list of non-attendees added below
600c1ddc-d9fe-5ba8-b413-ae0f5c160607 | section | Minutes
42f1f46f-982c-5ca0-8af5-fb0060c543fd | checkpoint | Actions from last meeting
3dcbd81f-d4b6-5a19-a1de-4bf27a8b0032 | checkpoint | Administration
e4c8d22e-94c7-54b3-bedd-21986dca5f22 | checkpoint | HR
9ceb5fa4-0e85-51f5-aa2f-21a56b40f49f | note | e.g - Site recognition, any HR issues?
1efe922f-e2dd-50fe-baf5-1dfd1b51605e | checkpoint | Safety: (including hazards / near misses / controls / site specific)
5cec7992-6765-59b4-861a-78a234a02b39 | checkpoint | Environment: (including hazards / controls / incidents / impacts)
820304ce-df57-54a2-b804-b4117be4130d | checkpoint | Training
de149223-7ce3-5a55-b99d-c6266f490d80 | note | Competency Assessment Guides (Apprentices) if applicable – are they up to date?
70c29a40-a9ae-550f-a17c-01137d086b31 | checkpoint | Plant & Equipment
8a217b59-d26c-5c35-9f13-fbd8079849d0 | checkpoint | Issues & Customer Feedback
0f517173-ebf3-5ee5-b3bb-8eef64f9909c | checkpoint | Client/Job specific information:
2c286bdb-931d-51ee-a423-5c532da66d74 | checkpoint | Memo’s and other office correspondence
fab5f675-f7a5-531f-b6b4-79946e85832c | section | Document Review
163d54db-6008-583f-b947-9ca634f01642 | checkpoint | Document uploaded below if applicable
39223ca6-e1e0-5e88-8170-53ab5cd52db4 | section | New Business / Other
235f597b-c4b8-5ad4-89eb-976891de1f30 | checkpoint | Any new business / other comments added below
b03d2ee9-2366-529b-9c79-979d38382d23 | section | Meeting Closure
eafddae0-65a3-5e03-bff3-63c2b651be31 | checkpoint | Meeting Closed
d622f4e7-c56f-582d-9f5c-3816909456e2 | textbox | Meeting Closed time
f8ce80a0-9375-5798-9154-bdc82658c1c6 | textbox | Date for next meeting
11483643-0507-56a9-a277-96e66fd241f1 | textbox | Minutes taken by (Name)
dec38953-c69f-5c3e-b975-23fb953eea18 | checklist | Big Ticket Items (In Ground) |  | Big Ticket Items (In Ground)
3d2b255c-a2e0-50e1-a39d-c4a75d329a3e | checkpoint | Sewer pump well
a5095a73-c3b7-5a5f-805f-481345139ec4 | checkpoint | Storwater pump well
eb164eea-d654-5768-a781-64766f9bad6c | checkpoint | Stormwater pits
77862efd-1238-55b5-973c-9b994d8539da | checkpoint | Grease interceptor trap
be8d9312-dabc-56e8-b24d-821366efe05a | checkpoint | Conduits rain to IFC location
8f174586-371e-5ef2-b365-56e64f44bebf | checkpoint | Torpedo tanks
954a9bd5-5bff-5d66-955b-cdf3c0c4605b | checkpoint | Stormwater detention system
91b821b2-763a-5bc5-8f7f-f5fed0a0cd15 | checkpoint | LPOD
419dc550-807c-510f-9051-27c762b5c5e5 | checkpoint | Water tap in

## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
04f8e1e7-de47-411a-a288-68792264df70 | checklist | Apartment Fit Off Checklist |  | Apartment Fit Off Checklist
f829359b-7ff8-48d3-aa71-6e60a274b0cf | section | Laundry Fit Off
4660dda1-3fe9-4366-898f-e995fdac7659 | checkpoint | Laundry Trough
89e7e683-44da-4dde-96e8-263936ab0ebe | checkpoint | Laundry Trough Mixer
f432b348-bda7-4346-b491-132b09f90629 | checkpoint | Laundry Trough Mini Stops
834d659b-d6bb-46a0-b103-eb8fe14b31d2 | checkpoint | Laundry Trough Waste
86a75ff2-1352-4ffc-be07-197416254a88 | checkpoint | Floor waste clear of blockages
9076da63-a681-45fe-b31f-e8813af111b8 | section | Kitchen Fit Off
01a97e4f-0cfa-4d7b-b094-74586a3aeaf4 | checkpoint | Kitchen Mini Stops
16dadecb-017b-4974-9d0f-08f7c6729b75 | checkpoint | Kitchen Sink Waste
345fdfa5-de03-4756-bb29-acd00a102f8c | checkpoint | Kitchen Sink Mixer
d7d053e9-0ad8-4749-88be-2569e1ad8d8a | checkpoint | Kitchen Dishwasher
cfb47bef-8e61-4698-9513-7ae24bae4486 | section | Bathroom Fit Off
f39303d2-bc55-49fa-a93a-a9aca7908009 | checkpoint | Bathroom Shower Mixer
6b1a44fb-8191-4fea-b38a-14666c187d41 | checkpoint | Bathroom Shower Rail/Rose
8dea0eb7-45ab-4cdc-ac1c-201a57eb1121 | checkpoint | Bathroom Basin
0c981894-6d06-4504-bf59-b93bd63dc776 | checkpoint | Bathroom Basin Mixer
93d9279a-1c4d-4310-be83-68e635c21d97 | checkpoint | Bathroom waste
31ac4192-09bc-440f-a16c-a36fb6460fa9 | checkpoint | Bathroom Toilet
26287412-e48c-4d62-90a1-3e1439c68b10 | checkpoint | Floor waste clear of blockages
0fd1ea25-e107-4145-976c-6c6aa3fe9d0b | section | Bathroom Fit Off EN SUITE
1c50348a-9cf1-40f3-9414-992c4a0013c8 | checkpoint | Bathroom Shower Mixer
d1d45c57-c7ca-4a54-8526-471bc72c1bee | checkpoint | Bathroom Shower Rail/Rose
43c958e6-7f57-4d6b-8e1f-52e1db1513ec | checkpoint | Bathroom Basin
a1da8cfc-2497-4659-804c-00dd26270535 | checkpoint | Bathroom Basin Mixer
d86c5d23-7981-4bf7-a080-1831545e057a | checkpoint | Bathroom Bottle/PVC Trap
0a9a7cec-b2c0-46dd-aa5c-1fd563db9a0e | checkpoint | Bathroom Toilet
fe28e681-737d-4a50-b091-0fec06e302d6 | checkpoint | Floor waste clear of blockages
326c2fea-9f35-4248-be0d-752b049bba64 | checklist | Apartment Suspended Drainage Checklist |  | Apartment Suspended Drainage Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
b099f6ba-2bd1-42e9-89ce-117ff1e38516 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing. Includes bathroom, bathroom ensuite, kitchen, laundry
6a018edb-9a6a-4ff3-ac46-a77902e6ad54 | checkpoint | Pipework installation
916fc240-e171-4896-90a4-00dff6dc650c | checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
63adce28-4013-423f-b08f-0f4f4992cd85 | checkpoint | Smoke seal penetrations
24a5cebb-f6d0-41fb-aa17-c1b129499e84 | checkpoint | Fire collars installed if necessary
e9da7c48-fc82-4305-a7aa-8c2b4d3a54ce | checkpoint | No sewer/stormwater cross connects
bb7547ce-91f9-4426-81f8-1f336c5b91a7 | checklist | Basement Pumps/Tanks/Booster Pump Checklist |  | Basement Pumps/Tanks/Booster Pump Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
9b6411c0-3a10-4f17-bffc-f31256487695 | checkpoint | Domestic cold water booster pump
0082c169-9f62-457c-83f4-c71d7cbb808b | checkpoint | Domestic cold water break tank
e8eaf70d-3c92-4f1c-acb4-306fec387227 | checkpoint | Rainwater pump set
4aa77bca-bb47-40e8-b746-0037e5a822d6 | checkpoint | Rainwater tanks
fc5b70db-ed48-49d5-95b6-81ba273f2c43 | checkpoint | Sewer pump control panel installed
c894834f-5b82-461d-a834-1dbed3c31481 | checkpoint | Stormwater pump control panel installed
cf97c2cc-9ee1-4327-998b-09f703e72010 | checkpoint | Grease interceptor trap
aede9b3e-7467-48f6-aea4-b7120e72823a | checkpoint | Diversion valve
6721ba60-f5ba-4134-b705-e25c3ad9549e | checkpoint | OSD tank
f0a07b08-3a76-4860-9308-b7dc7a089652 | checkpoint | Water meter assembly
8105d941-a0b0-4a67-afd0-4c4772f51894 | checkpoint | Battery back up
dec07107-a4f2-465b-a7e6-9d98a081cc9a | checkpoint | LPOD
ba0aae3c-1386-4052-a1c6-5731273e75b2 | checkpoint | Water tap in
2273b25e-4782-48a2-9edb-23fc5d86811a | checklist | Commissioning Checklist |  | Commissioning Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
19cc4b23-dffe-41c9-a3bd-6eab1a137000 | checkpoint | For apartments includes bathroom, bathroom ensuite, kitchen, laundry
5979d892-34dc-4bca-9177-b6aacf4936e4 | checkpoint | Test Hot Water Temperature
1143cce9-0beb-4045-8ecc-5472a0e50b81 | checkpoint | Test Waste for leaks
b986ed12-94b1-4874-b687-012dbd99eba2 | checkpoint | Run Cycle on Dishwasher
55718da3-ebc1-4c0c-bca1-ee9b9ab90076 | checkpoint | check tempering valves are not blocked
47d99362-31a8-4134-a06d-cde23f50fbd9 | checklist | Corridor Checklist |  | Corridor Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
be437624-f516-4fde-9167-bfd9431c2ec4 | checkpoint | Rainwater
bdcdb92c-6df2-4f6a-9973-3aee44fdd65a | checkpoint | Hot Water
1226b954-0574-4567-95f1-25e52f0e4b26 | checkpoint | Hot Water Lagged
514b1184-f489-4fdb-8b99-94721a7aa7c7 | checkpoint | Cold Water
fd2e1ad8-8d08-4294-afd4-5cf6954fe320 | checkpoint | Meter Manifold/Riser cupboard
fa34acd8-9486-4bf8-b231-bf3ae1dc6d4e | checkpoint | Fire collars installed if necessary
e3e6997b-a920-46ad-9fe4-7d4c3ce4fc83 | checkpoint | Testing complete - cold/hot/rainwater all tested together
07e210b9-b30d-41cc-b842-133cd90185a4 | checkpoint | Signed off by Ryder Plumbing
fb0a3de4-6910-4110-ac5a-24fa1c171247 | signoff | Signed off by Builder
b27f4939-9f84-473c-92bd-b805aa544d72 | checklist | Gas Works Checklist |  | Gas Works Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
b493c4fb-7794-4d2f-9c15-49d3974506cd | checkpoint | Gas Meter Room set up
087b26b9-7230-45d6-be8e-12e35e96a18c | checkpoint | Gas pipe installation
487d7e7c-667c-4b3f-b1fa-8f06ec6e6d71 | checkpoint | Pipe anchor/slide guides (if nessesary)
824aeec2-18d1-4733-8999-b5bced06d9a5 | checkpoint | Smoke sealed
bf623d47-0ab1-4481-8b54-b139b4503f31 | checkpoint | Gas shut off valve's (if nessesary)
f48b7d9e-70b5-4be1-b892-47bfaf000131 | checkpoint | Gas tested
beb1a403-bfe1-4a7a-a19c-b98c24450106 | checkpoint | Fire rated
0b69d907-2c63-4a32-b016-79b18f3ec7e8 | checkpoint | Signed off by Ryder Plumbing
c6a67548-99c8-4c67-b84c-fc570200855c | signoff | Signed off by Builder
43be48d4-a5cf-4669-b9ee-e2438e42c150 | checklist | Hot Water Unit Checklist |  | Hot Water Unit Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
840ba567-d065-4f2c-9e1c-44ee5bbb5c19 | checkpoint | Hot water unit installation
05237d5e-1d17-4e2b-8b00-4f265c1236c0 | checkpoint | Copper works installation
17cbb413-2f91-4293-a7fe-4d720acb65d1 | checkpoint | Smoke sealed
c09be755-e2e0-4828-8c90-9d92917c3e8f | checkpoint | Fire rated
cc9b49af-5831-406b-80b2-e88f091f2e74 | checkpoint | Tested
9c5e9c68-a9e9-43f9-a782-75c359be6b56 | checklist | In-Ground Pits/Pumps/Tanks Checklist |  | In-Ground Pits/Pumps/Tanks Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
ddfcb4e3-7d47-4307-b245-1b3d4326560b | checkpoint | Stormwater pump well
6c07fefe-4cea-42ea-8bc3-82d653e95ed5 | checkpoint | Sewer pump well
4fd65ce5-7ca5-4af1-b383-ce50f05d094e | checkpoint | Sewer Conduits rain to IFC location
f78dfd4a-57aa-4014-b31f-626f587e2a49 | checkpoint | Stormwater Conduits rain to IFC location
6fd51da0-59ac-46fd-997c-498081fdae24 | checkpoint | Stormwater pits
b22d32cb-92fc-425f-a53e-f209889e978b | checklist | In-Ground Sewer Drainage Checklist |  | In-Ground Sewer Drainage Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
f090c99c-4ee9-4c23-a545-cab6a47b05d3 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
4eff3f05-54e5-4d11-87b2-e74b8ddca3ab | checkpoint | Pipework installation
a53989c9-55bd-4a9c-87a7-80132dce2bf7 | checkpoint | Pipework checked for correct invert levels & gradients
6ce26d46-3c39-4fe2-96a3-80b6fdc1f319 | checkpoint | Ensure all backfill is in accordance to specifications & compaction requirements.
397cc7fc-c7c8-46ee-8fb4-1d1815de733d | checklist | In-Ground Stormwater Drainage Checklist |  | In-Ground Stormwater Drainage Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
c22e3161-2ace-412f-924d-94c699b35e36 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
0ffce7a1-ce05-4db1-b12a-14dde598a1d2 | checkpoint | Pipework installation
66bad46e-01f9-4a53-b2e4-b96dae34ab9e | checkpoint | Pipework checked for correct invert levels & gradients
51b769b0-982e-41ac-933c-80ab5d3d24fc | checkpoint | Pits checked for correct invert levels & finished floor levels
e2103e8c-1e0b-41cd-a2a9-b7bbba87295f | checkpoint | Ensure all backfill is in accordance to specifications & compaction requirements.
c41561df-0d2b-4d1a-b0a9-674a1254c772 | checklist | Levels Suspended Drainage Checklist |  | Levels Suspended Drainage Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
a55f87a3-1548-4af1-bb28-4949150a10f7 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing. Includes female/male/DDA bathroom, kitchen
9bfc70eb-37d1-41f2-8232-f2e75b69cb87 | checkpoint | Pipework installation
2ba3e793-1c56-4acc-b255-30f09efc322a | checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
075c1a18-5ce5-448c-92ee-fe4a6f20f9f4 | checkpoint | Smoke seal penetrations
d63fef72-007c-4ffc-8625-696e84e145da | checkpoint | Fire collars installed if necessary
8a202128-e315-4030-8ded-6856a775e00a | checklist | other area Commissioning Checklist |  | other area Commissioning Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
dc7e07d5-a9ae-4501-af1f-65324a7247cb | checkpoint | includes DDA, Cleaners room, GYM, female/male bathrooms/outdoor kitchens
b7bde494-058e-42f9-a09f-7f759b9de669 | checkpoint | Test Hot Water Temperature
a2bd39ea-64db-4aa2-b992-98ea584d9916 | checkpoint | Test Waste for leaks
492e70de-896d-4925-8682-d17aad970ae6 | checkpoint | check tempering valves are not blocked
8157cff1-1f01-44d6-b590-68f921b21388 | checklist | Other area Rough In checklist |  | Other area Rough In checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
b1042c91-a3a3-46bf-b820-c5f07479abbb | checkpoint | Includes female/male/DDA bathroom, Cleaners Room, GYM/outdoor kitchen
00a08239-3455-4307-96e3-a8f2b76be639 | checkpoint | High Level Rough In
f28986b6-f922-4b91-895b-67c452092f02 | checkpoint | Wall Set Out
7b451936-d30f-4c45-a785-193151ab7a12 | checkpoint | Wall Rough In
90449a23-7dd6-412c-a549-b3a4fc897f58 | checkpoint | Waste Rollovers
9f07f54d-0db7-424c-8da5-c739535de4d9 | checkpoint | No hot/cold cross connections
943554c2-183d-4a0f-b8e2-b7923e0e3169 | checkpoint | Test Water
9fc5323d-331d-4638-a583-c32144b667d6 | checkpoint | Signed off by Ryder Plumbing
f0e3b9c0-cb4a-45c3-a510-211d995de14e | signoff | Signed off by Builder
8e0b8560-c1c1-4b46-bfae-f8ffd7aebf27 | checklist | Other Areas Fit Off Checklist |  | Other Areas Fit Off Checklist
330000dd-f5a2-4c6d-8d2f-9e92c016bd5f | section | Kitchen/Butler's Pantry Fit Off
d98bc409-d842-4c33-a8c6-5f7ed498249e | checkpoint | Kitchen Mini Stops
18253f28-82f5-460f-82ce-9a8fa929bc37 | checkpoint | Kitchen Sink Waste
9b864b23-9cef-4995-a6ae-4ee37908a88b | checkpoint | Kitchen Sink Mixer
97903ffa-c12f-425c-81c6-427800b8e4bc | checkpoint | Kitchen Dishwasher
ec583630-a5df-4a23-a12e-a228543080e0 | section | Female Bathroom Fit Off
60083153-9af5-4870-98c8-8ce69b6bd3cd | checkpoint | Bathroom Shower Mixer's
ed769666-7d97-494a-8b9a-bbd11016e214 | checkpoint | Bathroom Shower Rail/Rose's
a2f8f630-a606-40a1-8a68-2401f9bba922 | checkpoint | Bathroom Basin's
ec1b9c40-86f4-458a-8c6f-76194d49750c | checkpoint | Bathroom Basin Mixer's
1f229d75-fe31-4045-a14a-5f7731cbafa1 | checkpoint | Bathroom Bottle/pvc trap's
0a504556-435e-4a49-befa-7291dc45d393 | checkpoint | Bathroom Toilet's
8a435b4c-0f24-41fc-84e8-fdf4b41d9fef | section | Male Bathroom Fit Off
21f7539a-6679-486d-8dee-6a87b7e27822 | checkpoint | Bathroom Shower Mixer's
e59cb35f-94c7-4796-b2f7-1991aebede0e | checkpoint | Bathroom Shower Rail/Rose's
c6683f23-0971-408e-bb4d-09903dee6a2f | checkpoint | Bathroom Basin's
7a00cb54-b22b-411a-b5cf-e487e3f9e043 | checkpoint | Bathroom Basin Mixer's
27923e16-8d2d-40b2-9f56-73bc00defc3a | checkpoint | Bathroom Bottle/pvc trap's
4c2595c1-2a45-4755-9b58-2959e1efdb79 | checkpoint | Bathroom Toilet's
3c072987-de8c-475c-9ec3-366a8465571e | checkpoint | Bathroom Urinal's
db9ed413-cf1f-45bf-93fa-7b4ffeaf2d28 | section | Bathroom Fit 2
48292f91-130f-4f77-98a6-8c194c6bba29 | checkpoint | Bathroom Shower Mixer
f3f8cb72-f68b-4fe4-b9fb-104b19fada6b | checkpoint | Bathroom Shower Rail/Rose
1cf97e08-1411-45e1-8267-eb217a031afb | checkpoint | Bathroom Basin
19bac65f-91fe-4e23-af90-294ceefe89b9 | checkpoint | Bathroom Basin Mixer
9a8902b2-7a33-4741-84ed-a6205d808794 | checkpoint | Bathroom Bottle/PVC Trap
c63a172d-f93f-4afc-977c-8f987b0e64cf | checkpoint | Bathroom Toilet
3812d3f5-d563-4bbb-aaa2-5231fa6aa14b | checkpoint | Floor waste clear of blockages
b40a9843-4d98-4ca1-ae89-dc33fea9941a | section | DDA Bathroom Fit Off
14447eb8-f264-4a81-9c68-08f3ba516e32 | checkpoint | Bathroom Basin
6d4fc97c-d6b0-45e5-b637-ba12253fd576 | checkpoint | Bathroom Basin Mixer
b7151a82-c91f-4172-86c8-13f4bb223b9d | checkpoint | Bathroom Bottle/pvc trap
97a195bf-049d-4a49-acf9-ff959852ea50 | checkpoint | shower rail
6e56ec0b-3a4f-44d2-8e5e-a5379348202a | checkpoint | shower rail
d4d09632-6903-45c4-8fed-3d12203c2ace | checkpoint | Bathroom Toilet
43352ff6-d9d6-4fc7-99c3-bc38cc5baecf | section | Cleaners Room Fit Off
43de3b56-2814-42dd-a10d-fad08abf6ffa | checkpoint | Cleaners sink
a4221b12-80de-46bf-9ef5-880b79586fe7 | checkpoint | Cleaners sink tap set
2e423f39-52eb-42b5-9a71-09ffc8e97ee1 | checkpoint | Cleaners sink waste
8ddcd20f-c08d-4204-bc27-759a2fe0c524 | section | GYM Fit Off
9191e4f4-83dc-4856-851f-558443327710 | checkpoint | Drink fountain
979bb5aa-b14a-4238-99b4-a1d712a06947 | checkpoint | mini stop
64597254-5dff-42b6-a011-05bd5956cbb0 | checkpoint | Drink fountain waste
23de07b4-e059-4afe-ab00-3d4d8af86566 | checklist | Other Areas Suspended Drainage Checklist |  | Other Areas Suspended Drainage Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
6520f586-e0d2-45a6-9527-700a46ca4050 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing.
e5f892cc-8ac7-4ef8-90d7-650fa0db253c | checkpoint | Pipework installation
cff0c52d-f496-4352-a3fd-0420aab1941e | checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
dd6dc0e6-0b15-48c4-a88a-de49f98fda78 | checkpoint | Smoke seal penetrations
4b47bb41-cd88-44c8-9f12-9686134ec5d1 | checkpoint | Fire collars installed if necessary
7936fb3f-eb82-42b5-9a0c-7fdb6b0e1c47 | checklist | Penetrations Checklist |  | Penetrations Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
316cc0d9-de61-4d08-a04a-2967398f6faf | checkpoint | All works to be set out as per approved IFC drawings.
279b8c8a-b2d9-46f7-a787-b260a48e92e6 | checkpoint | Fire collar installation
6c632523-bc5c-494a-98b2-2fd290104221 | checkpoint | Cast in drains
56353fb9-714e-4e53-bc39-c276287d2e19 | checkpoint | Photos of collar end labelling referencing fire matrix if required
0db153e0-5640-4fec-80a5-b140ba34d11f | checklist | Rough In Checklist |  | Rough In Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
b2b68eb2-36fe-42fc-a32b-93b0beb92c22 | checkpoint | For apartments includes bathroom, bathroom ensuite, kitchen, laundry
8a7d2ad4-f43c-4536-b0dc-cf73a39d1c96 | checkpoint | High Level Rough In
33380f94-e785-410a-b3b8-ca3f3a610d74 | checkpoint | Wall Set Out
093bda28-3353-4ec9-8d69-ccc15bd9c5cb | checkpoint | Wall Rough In
2ec6886f-1053-426a-aa48-cbd63137f52d | checkpoint | Waste Rollovers
0afd282c-254b-4581-9c5d-5811b462bf57 | checkpoint | No hot/cold cross connections
95805806-f05a-41cf-bb86-bd7138a990b1 | checkpoint | Gas
5b0dbaac-7f47-447f-b649-2e931fa5cb60 | checkpoint | Test Water
b7beadf5-4532-4c3a-95b9-38c3cf692ca8 | checkpoint | Testing complete - cold/hot/rainwater all tested together
29330378-93cf-4fd8-a8c9-a6955bed3d70 | checkpoint | Signed off by Ryder Plumbing
a4d00693-e96e-4c51-8c84-7afecdccd502 | signoff | Signed off by Builder
186cce85-a5e6-46db-b96c-1e168c42947e | checklist | Storm Water Grates Checklist |  | Storm Water Grates Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
5f914031-109f-4b6f-8eb2-2db4a83ae9d9 | checkpoint | Grates installed
1b20be6b-e7d9-47f8-9334-a6aa34485425 | checkpoint | Smoke sealed
22d9c611-f77c-4c5b-8018-14e05b176a4d | checkpoint | Fire rated
dbcc1550-3934-4de1-bea0-1163f9431cb7 | checkpoint | Tested
ded9c43d-c94d-4066-b3c8-d13ce8e9d3d4 | checklist | Suspended Copper Works Checklist |  | Suspended Copper Works Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
cdcd40a4-506d-424f-ad50-5cc3fe5b64ab | checkpoint | Pipework installed - domestic hot/cold/rain water/GAS
6bd39492-82d3-46de-8d8a-02da9f22bdc5 | checkpoint | Smoke seal penetrations
a8ab4ff6-0bb2-4178-9cff-d39437dc44ba | checkpoint | Tested
ecc69602-5068-4aed-99c5-fc2dc37809f8 | checkpoint | Fire rated if necessary
338148ce-ec92-47ca-a731-bfba319f654b | checklist | Suspended Sewer Drainage Checklist |  | Suspended Sewer Drainage Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
aa88d2c6-ea38-4a88-a720-ccaeeeae7227 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
e8f0df09-2c62-4d73-95dd-19a520104628 | checkpoint | Pipework installation
f746d93b-940b-498e-8a31-884fb1d436fa | checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
745635b5-ec88-4c7f-9437-cdde71c07f7d | checkpoint | Smoke seal penetrations
cc9ddc4f-a132-4ba5-b5e9-a25751cbffff | checkpoint | Fire collars installed if necessary
aa68e107-ae70-43d6-96bb-207c03bdd34b | checkpoint | Test sewer
0ed5efe2-ec36-405f-a4aa-21a8645aea6e | checkpoint | No sewer/stormwater cross connects
671e8139-cf1a-47d5-bdbc-3927c8a7af50 | checklist | Suspended Stormwater Drainage Checklist |  | Suspended Stormwater Drainage Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
7d1c6afa-72bb-4618-84d3-f7fdbf0ef42b | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
c7df06d9-630a-403e-8744-5e18a3008ef9 | checkpoint | Pipework installation
1af883a0-ecdb-435d-bb05-7940406b129a | checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
d3fefa64-9dec-4456-b77b-c4f6fe9d4f82 | checkpoint | Smoke seal penetrations
fcba6562-c8f6-4e2d-b589-9140b77c606a | checkpoint | Fire collars installed if necessary
9d7f9c00-25ea-4d77-9421-92f8ea589b45 | checkpoint | No sewer/stormwater cross connects
b6096cb1-c0dc-4b77-8336-62423ae5a404 | checklist | Vents Checklist |  | Vents Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
818ae03d-6a34-4e00-9460-dc62a3c4d512 | checkpoint | Vents installed
45260e94-2191-4eec-9165-735925816b01 | checkpoint | Smoke sealed
1797c044-dff8-45f3-9b28-340912073fcd | checkpoint | Fire rated
e28316ce-5d2a-4f08-a5d4-21be58ca431f | checkpoint | Tested