## Master List Templates
Id | Type | Name | Values | Prompting Name
95e6a37e-c04e-5454-8569-03c007769290 | checklist | Add Daily Site Diary Checklist |  | Daily Site Diary
b28657e2-1d6f-5cff-8431-638086a78f88 | checkpoint | Attach relevant photos and documents
a0aa1e95-7be9-5273-93ad-0a4cdb5a0105 | textbox | Time on Site
6e01c180-492e-5bc1-846e-44c9ec3ba0fd | textbox | Time off site
cc06bdd5-5b85-5a28-9e44-ff5e9b91bfc9 | textbox | Vehicles
fb855924-f052-5943-a728-9d0aa7209e7e | textbox | Plant
3d411984-77f6-511c-bd18-d4e2cb7af5bc | textbox | Ryder Plumbing Staff Onsite (list names)
b2dd6a10-3c75-594a-b010-c82e31bba2c8 | checkpoint | Traffic Control
4282f31f-2616-5e84-98b3-dea740c5204f | textbox | Number of Controllers
6af20406-29c6-5820-bfd8-6f6b179ae183 | textbox | Time on Site
e8432972-8cd3-58b5-b2a0-6a8e47ff03a3 | textbox | Time off site
c6b2d807-6078-5bf0-a611-6fa603d8b934 | textbox | Deliveries / Sub Contractors:
04311a32-ab01-5672-80c7-40242106970c | checkpoint | Works Completed
a43dab55-b108-5858-8ed9-a0edff0978d4 | checkpoint | Incomplete Works (add details in comments)
abf45e58-1e2d-5ac5-b0f7-5887cb9f3b1e | signoff | Signed off by Ryder Plumbing
01696bf7-ca70-5635-90d0-b43a3f576e36 | checklist | Add Day Docket Checklist |  | Day Docket
834b544e-1884-545f-b7c9-feff5a088790 | checkpoint | Details added below
076ea351-ee99-52b1-bc88-fa1da0cd5568 | textbox | Work completed
86263006-2daf-508f-a03d-0e3325378d83 | textbox | Materials required
56694a2f-e40d-58de-8621-8e9907dd9780 | textbox | Staff
b98285a1-97f5-546b-a501-bd1a018c0425 | dropdown | Hours | 1, 2, 3, 4, 5, 6, 7, 8
c2f3b9eb-fd7d-5acd-a61c-5b01244070a0 | checkpoint | Signed off by Ryder Plumbing
ccdc81a5-97fd-5f10-83c6-e399c64f2ad1 | signoff | Signed off by Builder
b1d75fe3-f606-59b4-a595-c317cf3fbf25 | checklist | Add Toolbox Meeting Checklist |  | Toolbox Meeting Checklist
26caafa5-524e-56bc-8075-33820baa224a | section | Attendance
5256d9b4-2b4c-595c-afdc-9195c85ff107 | checkpoint | Attendance - list of attendees added below
b29631b4-02bd-5ff5-84c7-872d498130b6 | checkpoint | Apologies - list of non-attendees added below
600c1ddc-d9fe-5ba8-b413-ae0f5c160607 | section | Minutes
42f1f46f-982c-5ca0-8af5-fb0060c543fd | checkpoint | Actions from last meeting
3dcbd81f-d4b6-5a19-a1de-4bf27a8b0032 | checkpoint | Administration
e4c8d22e-94c7-54b3-bedd-21986dca5f22 | checkpoint | HR
9ceb5fa4-0e85-51f5-aa2f-21a56b40f49f | note | e.g - Site recognition, any HR issues?
1efe922f-e2dd-50fe-baf5-1dfd1b51605e | checkpoint | Safety: (including hazards / near misses / controls / site specific)
5cec7992-6765-59b4-861a-78a234a02b39 | checkpoint | Environment: (including hazards / controls / incidents / impacts)
820304ce-df57-54a2-b804-b4117be4130d | checkpoint | Training
de149223-7ce3-5a55-b99d-c6266f490d80 | note | Competency Assessment Guides (Apprentices) if applicable – are they up to date?
70c29a40-a9ae-550f-a17c-01137d086b31 | checkpoint | Plant & Equipment
8a217b59-d26c-5c35-9f13-fbd8079849d0 | checkpoint | Issues & Customer Feedback
0f517173-ebf3-5ee5-b3bb-8eef64f9909c | checkpoint | Client/Job specific information:
2c286bdb-931d-51ee-a423-5c532da66d74 | checkpoint | Memo’s and other office correspondence
fab5f675-f7a5-531f-b6b4-79946e85832c | section | Document Review
163d54db-6008-583f-b947-9ca634f01642 | checkpoint | Document uploaded below if applicable
39223ca6-e1e0-5e88-8170-53ab5cd52db4 | section | New Business / Other
235f597b-c4b8-5ad4-89eb-976891de1f30 | checkpoint | Any new business / other comments added below
b03d2ee9-2366-529b-9c79-979d38382d23 | section | Meeting Closure
eafddae0-65a3-5e03-bff3-63c2b651be31 | checkpoint | Meeting Closed
d622f4e7-c56f-582d-9f5c-3816909456e2 | textbox | Meeting Closed time
f8ce80a0-9375-5798-9154-bdc82658c1c6 | textbox | Date for next meeting
11483643-0507-56a9-a277-96e66fd241f1 | textbox | Minutes taken by (Name)
dec38953-c69f-5c3e-b975-23fb953eea18 | checklist | Big Ticket Items (In Ground) |  | Big Ticket Items (In Ground)
3d2b255c-a2e0-50e1-a39d-c4a75d329a3e | checkpoint | Sewer pump well
a5095a73-c3b7-5a5f-805f-481345139ec4 | checkpoint | Storwater pump well
eb164eea-d654-5768-a781-64766f9bad6c | checkpoint | Stormwater pits
77862efd-1238-55b5-973c-9b994d8539da | checkpoint | Grease interceptor trap
be8d9312-dabc-56e8-b24d-821366efe05a | checkpoint | Conduits rain to IFC location
8f174586-371e-5ef2-b365-56e64f44bebf | checkpoint | Torpedo tanks
954a9bd5-5bff-5d66-955b-cdf3c0c4605b | checkpoint | Stormwater detention system
91b821b2-763a-5bc5-8f7f-f5fed0a0cd15 | checkpoint | LPOD
419dc550-807c-510f-9051-27c762b5c5e5 | checkpoint | Water tap in

## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
9b5c4c2f-06b9-5d22-8dde-642aca031dc6 | checklist | Apartment Fit Off Checklist |  | Apartment Fit Off Checklist
d5243bb1-a049-5acb-a3d7-432480330c88 | section | Laundry Fit Off
7a9d52d9-806d-5852-9e18-ad3cf27c5094 | checkpoint | Laundry Trough
f27351a9-06cc-5af7-ba90-63ea8a3cdf92 | checkpoint | Laundry Trough Mixer
69971eee-2bff-5d22-af4e-d00041df398d | checkpoint | Laundry Trough Mini Stops
ee63238d-b1bf-5ab6-a231-323ef73678ed | checkpoint | Laundry Trough Waste
2105d8a4-766c-59e1-8267-a18860ea4608 | checkpoint | Floor wastes - cleared of blockages
b653a264-0b33-4ad7-aca2-4ace80fe19d7 | checkpoint | Camera drainage for no break
82cb59cf-874d-5d6e-9c63-b657b1756f6e | section | Kitchen Fit Off
9eb51200-9a80-537f-9963-e6fac099557f | checkpoint | Kitchen Mini Stops
f6aead0f-6603-5c8e-aba1-6294a0aac975 | checkpoint | Kitchen Sink Waste
10c9bd02-e23c-55e7-96e1-e386782fdb7c | checkpoint | Kitchen Sink Mixer
8123d8df-1194-51a0-b1c6-fa50cd52f4cf | checkpoint | Kitchen Dishwasher
a9936c99-01ed-5658-97e7-6e830be984ad | checkpoint | Kitchen Cooktop
9d27d4a0-2490-49e4-b6c6-e510d14c9533 | checkpoint | Camera drainage for no break
6b029464-66d8-576c-ba07-967a41bc1b49 | section | Bathroom Fit Off
afdd413b-0d5b-5d01-823b-9624440494b7 | checkpoint | Bathroom Shower Mixer
71e2276e-de63-54fb-8288-f4b466d01b45 | checkpoint | Bathroom Shower Rail/Rose
c7a1e4be-1bee-566a-a30d-fd11146f2daf | checkpoint | Bathroom Basin
e9dcf165-bb52-5476-9427-b32ef369cd9f | checkpoint | Bathroom Basin Mixer
2b42754c-4163-5fcb-9227-0ccf04481215 | checkpoint | Bathroom Bottle Trap
e0049621-ae59-5bc3-8141-9aa0a2de341c | checkpoint | Bathroom Toilet
653149c8-cd43-5aaf-bde1-13396977eed8 | checkpoint | Bathroom Urinal
38dded02-7431-56ed-b06b-f0d8dce8c7eb | checkpoint | Bath tubs
611c9419-404b-467b-813c-0bb2988e5fef | checkpoint | Floor wastes - cleared of blockages
2b9f9b1d-f957-45ad-b66d-f3404f9db6b9 | checkpoint | Camera drainage for no break
e02bee4a-f9e6-521b-82dc-cf98e5212d8e | checklist | Apartment Suspended Drainage Checklist |  | Apartment Suspended Drainage Checklist
5176dc88-a672-5444-9d9d-49f6c4077888 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing. Includes bathroom, bathroom ensuite, kitchen, laundry
1eb97970-0ca0-50e9-b173-941fc1808d88 | checkpoint | Pipework installation
17959c10-d012-51d4-878d-a9af8b510ad7 | checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
4ddeb97d-29fc-5124-958f-da498b6e4d0a | checkpoint | Smoke seal penetrations
ace8927e-1017-5d65-b05e-e5e21ae437e5 | checkpoint | Fire collars installed if necessary
f9da4976-d28a-51f3-a3bd-7befc69f3b84 | checklist | Basement Pumps/Tanks/Booster Pump Checklist |  | Basement Pumps/Tanks/Booster Pump Checklist
f6a50b22-0291-56da-b30b-5a32cddea01c | checkpoint | Domestic cold water booster pump
21f49ce5-6904-5f61-a7fc-0a177053a6a2 | checkpoint | Domestic cold water break tank
2f908b81-0327-5a3d-91b8-d524df87415c | checkpoint | Rainwater pump set
927d7673-9bc9-5480-844b-7d89352fe0de | checkpoint | Rainwater tanks
62349bcb-f9d6-5cd1-8202-963f0885120a | checkpoint | Sewer pump board installed
1611c81c-6ed3-5cc2-a14e-67be37d71b0a | checkpoint | Stormwater pump board installed
23024902-8046-5d5b-9e1d-8774b47a960d | checkpoint | Suspended Pollutant trap
a870eaf9-b91d-565e-8ac3-f09527c32b90 | checkpoint | Diversion valve
327cc159-e7f4-5bac-94b9-57ec8bee2d3d | checkpoint | OSD tank (if applicable)
576615c5-2667-59da-b6a3-ce43022621ec | checkpoint | Smoke sealed
e0847fec-63e7-5aad-8931-d36db300808a | checkpoint | Tested
b40a37b4-8f62-54cc-afe1-e3ec036a803e | checkpoint | Fire rated if necessary
b6fc9146-9c36-5cd2-8336-4e8a08889b94 | checkpoint | Water meter assembly
d9ba33f7-eb42-556e-90c0-c7014249b0bc | checklist | Commissioning Checklist |  | Commissioning Checklist
97e3b170-8e3b-5c85-b5b7-a286e47d6648 | checkpoint | Includes female/male/DDA bathroom, kitchen
a8ae02de-e2fa-58ef-988c-e3e34cb79943 | checkpoint | Test Hot Water Temperature
c8e9714d-8675-50f7-9e85-9dc412d74034 | checkpoint | Test Waste for leaks
ef697b48-4e7d-5f0e-a759-a903b196dc53 | checkpoint | Run Cycle on Dishwasher
c793f479-b881-5287-a25d-b3f0927c5ce2 | checklist | Corridor Checklist |  | Corridor Checklist
2a3cedb6-ace6-5ceb-93e1-9888017183e2 | checkpoint | Rainwater
43c1cf16-5c12-5d78-913a-05325ae1ee28 | checkpoint | Hot Water
00cce065-70bf-5383-8586-26592e896b12 | checkpoint | Hot Water Lagged
56c898de-69c3-5cca-bba6-32891a686ab0 | checkpoint | Cold Water
9523ac52-1b8e-5d95-a33a-2080d7ce3eb9 | checkpoint | Test Hot Water
557724a2-272d-5956-97ba-ef8a2b02007a | checkpoint | Test Cold Water
a0faff2c-0eb6-525c-938a-834fba9ffdcd | checkpoint | Test Rain Water
c7d609a6-0e67-5335-8795-d130948d9b2e | checkpoint | Fire Caulking (Corridor to Apt)
097d18a7-9ff4-5c9d-8cd1-283341043d6c | checkpoint | Cold Water Meter Manifold
8aa8999e-95e1-4e96-b4c8-293cc6c13d7e | checklist | Corridor Checklist (+Gas Works) |  | Corridor Checklist
92dcda7a-08e4-46b9-b1c1-556ea07c1a89 | section | Details
2a3cedb6-ace6-5ceb-93e1-9888017183e2 | checkpoint | Rainwater
43c1cf16-5c12-5d78-913a-05325ae1ee28 | checkpoint | Hot Water
00cce065-70bf-5383-8586-26592e896b12 | checkpoint | Hot Water Lagged
56c898de-69c3-5cca-bba6-32891a686ab0 | checkpoint | Cold Water
9523ac52-1b8e-5d95-a33a-2080d7ce3eb9 | checkpoint | Test Hot Water
557724a2-272d-5956-97ba-ef8a2b02007a | checkpoint | Test Cold Water
a0faff2c-0eb6-525c-938a-834fba9ffdcd | checkpoint | Test Rain Water
c7d609a6-0e67-5335-8795-d130948d9b2e | checkpoint | Fire Caulking (Corridor to Apt)
097d18a7-9ff4-5c9d-8cd1-283341043d6c | checkpoint | Cold Water Meter Manifold
f7a3600f-f361-4d9b-ba66-2aff1f5d35d4 | checkpoint | Gas Meter set up (Ground floor only)
f2ab9509-7317-491e-ad0d-b15af1d18634 | checkpoint | Gas pipe installation
b61a97af-0d4e-4aec-8202-dc166c1bc334 | checkpoint | Smoke sealed
943b39ed-f8f8-4031-94b8-3432665cbd5d | checkpoint | Gas tested
ef8d92a4-250f-4d07-bcf4-44d53128be71 | checkpoint | Fire rated
6b8545eb-16bd-56b0-9735-f2c3e4086e0e | checklist | Gas Works Checklist |  | Gas Works Checklist
fd9f6a53-4ca1-5437-a5f9-5ad60d1f22ac | checkpoint | Gas Meter set up (Ground floor only)
364e8474-782e-5242-a12d-b61b2ed23b94 | checkpoint | Gas Riser room pipe installation
796665f7-0d2e-5905-a2bd-e4df4449a8df | checkpoint | Pipe anchor/slide guides
576615c5-2667-59da-b6a3-ce43022621ec | checkpoint | Smoke sealed
79ac16e9-53cd-521b-acab-1cdc5541bdce | checkpoint | Gas tested
6fde508e-f0e5-5e71-821c-5c8971658a30 | checkpoint | Fire rated
721b8eb1-6c66-5ab9-b7ae-a5c3616d85ef | checklist | Hot Water Unit Checklist |  | Hot Water Unit Checklist
0027e536-684a-5bcb-8c65-9b437acf2ed5 | checkpoint | Hot water unit installation
e449cb98-173a-5a2c-866b-6339ff7b4d98 | checkpoint | Copper works installation
576615c5-2667-59da-b6a3-ce43022621ec | checkpoint | Smoke sealed
6fde508e-f0e5-5e71-821c-5c8971658a30 | checkpoint | Fire rated
e0847fec-63e7-5aad-8931-d36db300808a | checkpoint | Tested
bbff52cf-de8f-5e72-825b-65be2dead17f | checklist | In-Ground Pits/Pumps/Tanks Checklist |  | In-Ground Pits/Pumps/Tanks Checklist
3d2b255c-a2e0-50e1-a39d-c4a75d329a3e | checkpoint | Sewer pump well
a5095a73-c3b7-5a5f-805f-481345139ec4 | checkpoint | Storwater pump well
eb164eea-d654-5768-a781-64766f9bad6c | checkpoint | Stormwater pits
be8d9312-dabc-56e8-b24d-821366efe05a | checkpoint | Conduits rain to IFC location
954a9bd5-5bff-5d66-955b-cdf3c0c4605b | checkpoint | Stormwater detention system
e5c9b3a2-b9ed-46b0-aa2b-e9f0c7dc469c | checkpoint | Cold water booster pump
e006d746-5147-4269-b120-b53cfc8ec908 | checkpoint | Rainwater booster pump
3ccccf7f-a0c0-4d13-96b4-b2c54dba9808 | checkpoint | Div valve
a3f6880f-96a3-4890-a3e5-ba3d23c8d4ca | checkpoint | Break Tank
c92ef551-15d6-4156-8b12-48612529a62d | checkpoint | Circ pump
cb161c38-6d48-4765-a92b-2ab9a74cfd52 | checkpoint | Rainwater tank
fe1aedee-f26c-419f-bc65-2e4fe95273be | checkpoint | Main meter assembly
f633e476-c65b-53be-8f29-2d8071de05cd | checklist | In-Ground Sewer Drainage Checklist |  | In-Ground Sewer Drainage Checklist
a8010e7b-930a-53b0-a87f-8694532b8ac4 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
1eb97970-0ca0-50e9-b173-941fc1808d88 | checkpoint | Pipework installation
f47936f6-d67b-59f7-bf52-2d8ca801ae7c | checkpoint | Pipework checked for correct invert levels & gradients
c83d96c1-9675-5779-89a5-53fa11837814 | checkpoint | Book inspection with VBA for in-ground drainage.
7c482080-55ac-5d8b-9e95-18f2b34741c3 | checkpoint | Ensure all backfill is in accordance to specifications & compaction requirements.
5700401d-0875-55e3-9ff5-a39b8ecb3b9d | checkpoint | Test sewer
0a3d42d1-8ab1-5030-b42f-23bff1b7b1c6 | checklist | In-Ground Stormwater Drainage Checklist |  | In-Ground Stormwater Drainage Checklist
a8010e7b-930a-53b0-a87f-8694532b8ac4 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
1eb97970-0ca0-50e9-b173-941fc1808d88 | checkpoint | Pipework installation
f47936f6-d67b-59f7-bf52-2d8ca801ae7c | checkpoint | Pipework checked for correct invert levels & gradients
adef2381-68f9-5382-bfd1-b8c9b73b7010 | checkpoint | Pits checked for correct invert levels & finished floor levels
686dd0b8-f1be-53e7-8003-3212a3c86f82 | checkpoint | Ensure correct locations of pits.
7c482080-55ac-5d8b-9e95-18f2b34741c3 | checkpoint | Ensure all backfill is in accordance to specifications & compaction requirements.
73e5fa6f-2b72-5767-8297-8589fbf2512b | checklist | Levels Suspended Drainage Checklist |  | Levels Suspended Drainage Checklist
938ad722-fba9-526b-b00a-728ee02481a3 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing. Includes female/male/DDA bathroom, kitchen
1eb97970-0ca0-50e9-b173-941fc1808d88 | checkpoint | Pipework installation
17959c10-d012-51d4-878d-a9af8b510ad7 | checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
4ddeb97d-29fc-5124-958f-da498b6e4d0a | checkpoint | Smoke seal penetrations
ace8927e-1017-5d65-b05e-e5e21ae437e5 | checkpoint | Fire collars installed if necessary
415f0532-e56f-548a-a293-21c1ce82e3a3 | checklist | Other Areas Fit Off Checklist |  | Other Areas Fit Off Checklist
4651fcbc-0825-5f88-9480-76d409b511ec | section | Kitchen/Butler's Pantry Fit Off
9eb51200-9a80-537f-9963-e6fac099557f | checkpoint | Kitchen Mini Stops
f6aead0f-6603-5c8e-aba1-6294a0aac975 | checkpoint | Kitchen Sink Waste
10c9bd02-e23c-55e7-96e1-e386782fdb7c | checkpoint | Kitchen Sink Mixer
8123d8df-1194-51a0-b1c6-fa50cd52f4cf | checkpoint | Kitchen Dishwasher
a9936c99-01ed-5658-97e7-6e830be984ad | checkpoint | Kitchen Cooktop
e0cc149c-07b4-52a0-b7ed-eea87cfe8d0c | section | Female Bathroom Fit Off
afdd413b-0d5b-5d01-823b-9624440494b7 | checkpoint | Bathroom Shower Mixer
71e2276e-de63-54fb-8288-f4b466d01b45 | checkpoint | Bathroom Shower Rail/Rose
c7a1e4be-1bee-566a-a30d-fd11146f2daf | checkpoint | Bathroom Basin
e9dcf165-bb52-5476-9427-b32ef369cd9f | checkpoint | Bathroom Basin Mixer
2b42754c-4163-5fcb-9227-0ccf04481215 | checkpoint | Bathroom Bottle Trap
e0049621-ae59-5bc3-8141-9aa0a2de341c | checkpoint | Bathroom Toilet
653149c8-cd43-5aaf-bde1-13396977eed8 | checkpoint | Bathroom Urinal
38dded02-7431-56ed-b06b-f0d8dce8c7eb | checkpoint | Bath tubs
2105d8a4-766c-59e1-8267-a18860ea4608 | checkpoint | Floor wastes - cleared of blockages
7333d2a6-2dd2-5aba-9ab8-623f0685277b | section | Male Bathroom Fit Off
0b437247-fd16-428f-b6ab-21635eb54859 | checkpoint | Bathroom Shower Mixer
8ebf99f0-6c51-474f-bc5e-987c0afe42c6 | checkpoint | Bathroom Shower Rail/Rose
d07987c8-abf5-47ed-a5d3-83d27a39afb6 | checkpoint | Bathroom Basin
eae86cf8-e40b-4e24-82bc-290412fa8c6b | checkpoint | Bathroom Basin Mixer
c5ea33cc-0ddd-4f76-af8c-72b4d140e9dc | checkpoint | Bathroom Bottle Trap
f573973e-cd7f-40b7-b114-27ceaa4c1f3d | checkpoint | Bathroom Toilet
559b6f98-a9fe-438d-84b8-5222f1bebb9e | checkpoint | Bathroom Urinal
e0ff61ed-534f-4537-a0eb-1fd6812042e2 | checkpoint | Bath tubs
5d26323b-7c52-4370-a969-ef2e463d6a44 | checkpoint | Floor wastes - cleared of blockages
08b707bc-e856-5913-8f4d-07e72951e50f | section | DDA Bathroom Fit Off
b371be69-f5f0-465b-9f37-476520e0069d | checkpoint | Bathroom Shower Mixer
1fea94e3-6ef6-48e1-a679-1547dc2a60ac | checkpoint | Bathroom Shower Rail/Rose
5b1d99c8-74e8-4a46-b889-f1610ee126ea | checkpoint | Bathroom Basin
0b5cedd4-37f4-4d83-834c-10d1030cbea5 | checkpoint | Bathroom Basin Mixer
2892fedf-8117-4ec0-93a0-58e662039a3a | checkpoint | Bathroom Bottle Trap
cdc7a5cf-6c8d-43a7-9748-b4fbbd66c81a | checkpoint | Bathroom Toilet
a411d898-2e2e-435b-a07f-01d95707687f | checkpoint | Bathroom Urinal
129e32b9-82ee-4d23-a8e4-06351b576391 | checkpoint | Bath tubs
404e25c4-07bf-4e7c-b0c1-272f922c8064 | checkpoint | Floor wastes - cleared of blockages
3677f84d-e9fb-50ac-92fc-16d07e1f9cba | checklist | Other Areas Suspended Drainage Checklist |  | Other Areas Suspended Drainage Checklist
66db9c0a-b2ae-557d-8f78-49fc65f97cf3 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing.
1eb97970-0ca0-50e9-b173-941fc1808d88 | checkpoint | Pipework installation
17959c10-d012-51d4-878d-a9af8b510ad7 | checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
4ddeb97d-29fc-5124-958f-da498b6e4d0a | checkpoint | Smoke seal penetrations
ace8927e-1017-5d65-b05e-e5e21ae437e5 | checkpoint | Fire collars installed if necessary
eb1b1fbd-ccc7-5c8b-9c63-e8660769c2cd | checklist | Penetrations Checklist |  | Penetrations Checklist
124e620b-a38f-51f9-afc5-00e157087cfb | checkpoint | All works to be set our as per approved IFC drawings.
c0bb8807-f949-5279-89b1-635c2c0eda2a | checkpoint | Fire collar installation
8f23cc34-c45e-5e76-8bc7-45130c2a5b9b | checkpoint | Cast in drains
913125c4-a189-5ed7-8613-b5c64f89a1ee | checkpoint | Photos of collar end labelling referencing fire matrix if required
d563f8cb-22ab-589d-a2f1-51c8b9bd7a33 | checklist | Rough In Checklist |  | Rough In Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
435eccdd-99c7-5028-b2b9-9fd826a21e03 | checkpoint | For apartments includes bathroom, bathroom ensuite, kitchen, laundry
76d3e11b-aae0-5900-94d4-e7194390248b | checkpoint | For other areas includes female/male/DDA bathroom, kitchen
24664337-0db9-5c63-b6fd-6a554f38de87 | checkpoint | High Level Rough In
8456b11a-a465-508b-989b-cd9fa6c7d30a | checkpoint | Wall Set Out
2ade7e23-323d-5d5c-b0fb-7d0ecfa42959 | checkpoint | Wall Rough In
41e6f510-351e-526c-ab37-070cfda9fd26 | checkpoint | Waste Rollovers
a1196773-3cde-40aa-b868-bf65d4245af9 | checkpoint | No hot/cold cross connections
77034eae-63f8-5a8e-81a7-c04e52b3091d | checkpoint | Gas
1ab8e1e6-b3b5-536a-bbae-a2c82bca3187 | checkpoint | Test Water
85a72cb9-34a6-5398-be1c-e732361ef3ec | checkpoint | Fire collar installed if necessary
30096f14-a386-5b8d-8f3a-163023938bae | checklist | Storm Water Grates Checklist |  | Storm Water Grates Checklist
5e61e348-a055-5cda-a768-7ab942fe3989 | checkpoint | Grates installed
576615c5-2667-59da-b6a3-ce43022621ec | checkpoint | Smoke sealed
6fde508e-f0e5-5e71-821c-5c8971658a30 | checkpoint | Fire rated
e0847fec-63e7-5aad-8931-d36db300808a | checkpoint | Tested
7514387d-938b-577b-89c4-ba1fecf287d4 | checklist | Suspended Copper Works Checklist |  | Suspended Copper Works Checklist
193250ed-85bc-5d16-be92-b224b78f1adf | checkpoint | Pipework installed - domestic hot/cold/rain water
4ddeb97d-29fc-5124-958f-da498b6e4d0a | checkpoint | Smoke seal penetrations
e0847fec-63e7-5aad-8931-d36db300808a | checkpoint | Tested
b40a37b4-8f62-54cc-afe1-e3ec036a803e | checkpoint | Fire rated if necessary
6537e9e8-8722-545f-a2bb-73a26fd524bb | checklist | Suspended Sewer Drainage Checklist |  | Suspended Sewer Drainage Checklist
a8010e7b-930a-53b0-a87f-8694532b8ac4 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
1eb97970-0ca0-50e9-b173-941fc1808d88 | checkpoint | Pipework installation
17959c10-d012-51d4-878d-a9af8b510ad7 | checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
4ddeb97d-29fc-5124-958f-da498b6e4d0a | checkpoint | Smoke seal penetrations
ace8927e-1017-5d65-b05e-e5e21ae437e5 | checkpoint | Fire collars installed if necessary
5700401d-0875-55e3-9ff5-a39b8ecb3b9d | checkpoint | Test sewer
4f0ecbaf-f1e3-515d-93be-618933179484 | checklist | Suspended Stormwater Drainage Checklist |  | Suspended Stormwater Drainage Checklist
a8010e7b-930a-53b0-a87f-8694532b8ac4 | checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
1eb97970-0ca0-50e9-b173-941fc1808d88 | checkpoint | Pipework installation
17959c10-d012-51d4-878d-a9af8b510ad7 | checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
4ddeb97d-29fc-5124-958f-da498b6e4d0a | checkpoint | Smoke seal penetrations
ace8927e-1017-5d65-b05e-e5e21ae437e5 | checkpoint | Fire collars installed if necessary
f2d103b0-aaf8-52c8-8fbb-5c9c0ff76805 | checklist | SYS - Gym / Bathroom / DDA / Butler's Pantry |  | Gym / Bathroom / DDA / Butler's Pantry
435eccdd-99c7-5028-b2b9-9fd826a21e03 | checkpoint | For apartments includes bathroom, bathroom ensuite, kitchen, laundry
76d3e11b-aae0-5900-94d4-e7194390248b | checkpoint | For other areas includes female/male/DDA bathroom, kitchen
24664337-0db9-5c63-b6fd-6a554f38de87 | checkpoint | High Level Rough In
8456b11a-a465-508b-989b-cd9fa6c7d30a | checkpoint | Wall Set Out
2ade7e23-323d-5d5c-b0fb-7d0ecfa42959 | checkpoint | Wall Rough In
41e6f510-351e-526c-ab37-070cfda9fd26 | checkpoint | Waste Rollovers
77034eae-63f8-5a8e-81a7-c04e52b3091d | checkpoint | Gas
1ab8e1e6-b3b5-536a-bbae-a2c82bca3187 | checkpoint | Test Water
b5231cd6-7e7d-4cc5-9b7f-d884acdf5f43 | checklist | Testing - Level Sign Off |  | Testing - Level Sign Off
3c35de10-9393-4f3c-89b8-dfcd7a6c181b | checkpoint | Testing completed
dba4d5b3-a786-483e-90a5-7a8064e40b5d | checkpoint | Signed off by Ryder Plumbing
1344dbd6-f383-4292-be00-909c9230c950 | signoff | Signed off by Builder
44578fd2-2408-5ecd-b71e-48e296f61766 | checklist | Vents Checklist |  | Vents Checklist
792c8524-ca55-5b4d-8bfa-86e43d358823 | checkpoint | Vents installed
576615c5-2667-59da-b6a3-ce43022621ec | checkpoint | Smoke sealed
6fde508e-f0e5-5e71-821c-5c8971658a30 | checkpoint | Fire rated
e0847fec-63e7-5aad-8931-d36db300808a | checkpoint | Tested