## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
f3923e1a-6338-5df6-8777-392cc78794ec | checklist | Apartment Fit Off Checklist |  | Apartment Fit Off Checklist
d5243bb1-a049-5acb-a3d7-432480330c88 | section | Laundry Fit Off
7a9d52d9-806d-5852-9e18-ad3cf27c5094 | checkpoint | Laundry Trough
f27351a9-06cc-5af7-ba90-63ea8a3cdf92 | checkpoint | Laundry Trough Mixer
69971eee-2bff-5d22-af4e-d00041df398d | checkpoint | Laundry Trough Mini Stops
ee63238d-b1bf-5ab6-a231-323ef73678ed | checkpoint | Laundry Trough Waste
cb63896f-d3fc-5ae6-9488-49ee32106dc3 | checkpoint | Floor waste clear of blockages
1e3fa6e4-d4b6-4b4e-9197-d86688dcbb86 | checkpoint | Camera drainage for no break
82cb59cf-874d-5d6e-9c63-b657b1756f6e | section | Kitchen Fit Off
9eb51200-9a80-537f-9963-e6fac099557f | checkpoint | Kitchen Mini Stops
f6aead0f-6603-5c8e-aba1-6294a0aac975 | checkpoint | Kitchen Sink Waste
10c9bd02-e23c-55e7-96e1-e386782fdb7c | checkpoint | Kitchen Sink Mixer
8123d8df-1194-51a0-b1c6-fa50cd52f4cf | checkpoint | Kitchen Dishwasher
8e046faa-aca7-42eb-8df3-c1944414f727 | checkpoint | Camera drainage for no break
6b029464-66d8-576c-ba07-967a41bc1b49 | section | Bathroom Fit Off
afdd413b-0d5b-5d01-823b-9624440494b7 | checkpoint | Bathroom Shower Mixer
71e2276e-de63-54fb-8288-f4b466d01b45 | checkpoint | Bathroom Shower Rail/Rose
c7a1e4be-1bee-566a-a30d-fd11146f2daf | checkpoint | Bathroom Basin
e9dcf165-bb52-5476-9427-b32ef369cd9f | checkpoint | Bathroom Basin Mixer
dbfef57f-7d0d-50ba-a066-e146723a9daa | checkpoint | Bathroom waste
e0049621-ae59-5bc3-8141-9aa0a2de341c | checkpoint | Bathroom Toilet
2e2fc7c2-ec44-4372-9995-c41bf1e9dbb9 | checkpoint | Floor waste clear of blockages
52bfd65c-7597-4945-ac36-7b2d755b3287 | checkpoint | Camera drainage for no break
6bb43c37-7843-513d-94e6-1ab509d6e45b | section | Bathroom Fit Off EN SUITE
ad5a2e57-73ca-4442-b455-f68d0e2fc8a1 | checkpoint | Bathroom Shower Mixer
2b141411-e6aa-4f95-81eb-6854800a7eea | checkpoint | Bathroom Shower Rail/Rose
f24bb1af-2337-42ea-b432-c8bc2ee8c40c | checkpoint | Bathroom Basin
ac5a2445-0f7f-4166-9ef2-bb66e47cbd63 | checkpoint | Bathroom Basin Mixer
b70b02d9-df61-5ff1-9e0f-51fc8e74d46f | checkpoint | Bathroom Bottle/PVC Trap
a6f40244-07a0-4b7a-8af1-a8ba58710585 | checkpoint | Bathroom Toilet
a75653a3-7c24-4ab9-9cac-b1cdfed593de | checkpoint | Floor waste clear of blockages
| section | Outdoor Fit Off
| checkpoint | Garden tap
| checkpoint | Tested on test gauge hot cold
| checkpoint | Tested on test gauge rainwater