## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | MSB ROOM |  |  |  |  | Yes | MSB ROOM | 00f38ed6-7f20-4d0a-987a-32d34df6f900
checkpoint-status |  |  | checkpoint | CONDUITS INSTALLED TO LIGHTS, LIGHT SWITCH AND POWER OUTLETS
checkpoint-status |  |  | checkpoint | CONDUITS INSTALLED NEATLY ON CEILING AND WALLS
checkpoint-status |  |  | checkpoint | CONDUITS A CLEAR FROM OTHER SERVICES AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | CABLING INSTALLED AS PER DB SCHEDULE
checkpoint-status |  |  | checkpoint | EMERGENCY LIGHTS INSTALLED, TERMINATED AND LABELLED
checkpoint-status |  |  | checkpoint | S1 LIGHT INSTALLED AND WORKING VIA SENSOR
checkpoint-status |  |  | checkpoint | SENSOR INSTALLED AND CONTROLS LIGHTS
checkpoint-status |  |  | checkpoint | POWER OUTLETS TESTED AND LABELLED
checkpoint-status |  |  | checkpoint | LIGHT SWITCH LABELLED AND WORKING CORRECTLY TO SENSOR AND LIGHTS
checkpoint-status |  |  | checkpoint | TEST RESULTS ENTERED ONTO COMMISSIONING TESTSHEET
checklist-flat |  |  | checklist | APARTMENT 1ST FIX |  |  |  |  | Yes | APARTMENT 1ST FIX | 1e747fd7-0264-4f44-a02e-0c4e42d4d923
checkpoint-status |  |  | checkpoint | SETOUT + FLUSHBOXES INSTALLED/COMPLETE AS PER ARCHITECTURAL/SC SET OUT
checkpoint-status |  |  | checkpoint | KITCHEN SET OUT CONFIRMED AND FLUSH BOXES INSTALLED AS PER ELEVATION AND SC
checkpoint-status |  |  | checkpoint | HILTI CLIPS INSTALLED ALONG CABLE ROUTE
checkpoint-status |  |  | checkpoint | LIGHTING PREWIRED AS PER APARTMENT TYPE LAYOUT
checkpoint-status |  |  | checkpoint | POWER CABLE INSTALLED AS PER APARTMENT TYPE LAYOUT
checkpoint-status |  |  | checkpoint | LIGHTING AND POWER FEEDS CONTINUOUS BACK TO APARTMENT DB
checkpoint-status |  |  | checkpoint | CABLES PROTECTED WITH FLEXIBLE CONDUIT INTO WALLS
checkpoint-status |  |  | checkpoint | SUB MAINS INSTALLED AND CLEAR FROM OTHER SERVICES
checkpoint-status |  |  | checkpoint | SUB MAINS CABLE TILED NEATLY ON HILTI CLIPS
checkpoint-status |  |  | checkpoint | SUB CIRCUITS CABLE TIED NEATLY ON HILTI CLIPS
checkpoint-status |  |  | checkpoint | EARTH CABLE INSTALLED FOR KITCHEN,LAUNDRY AND SHOWER TRAY
checkpoint-status |  |  | checkpoint | SHOWER TRAY BONDED AND COMPLETED BEFORE PRE LINE
checkpoint-status |  |  | checkpoint | EARTH CABLE BROUGHT OUT THROUGH TIMBER TO CORRECT LOCATION AS ELEVATION
checkpoint-status |  |  | checkpoint | CEILING STRUCTURE BONDED
checkpoint-status |  |  | checkpoint | APARTMENT DB INSTALLED AS PER AGREED LOCATION
checkpoint-status |  |  | checkpoint | SWB INSTALLED AS PER AGREED LOCATION
checkpoint-status |  |  | checkpoint | COMMS/MATV/FIBRE CABLE INSTALLED AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | COMMS&MATV FLUSH BOXES INSTALLED AS PER APARTMENT TYPE LAYOUT
checklist-flat |  |  | checklist | BUILDING STRUCTURAL BONDING - BUILDING B |  |  |  |  | Yes | BUILDING STRUCTURAL BONDING - BUILDING B | 20e8fdff-61d6-4c12-a99c-26adc4ac79c4
checkpoint-status |  |  | checkpoint | BUILDING STRUCTURAL BOND INSTALLED AND COMPLETED TO AS/NZS 3000;2007
checkpoint-status |  |  | checkpoint | RISER CABLE TRAY BONDED AND COMPLETED TO AS/NZS 3000:2007
checkpoint-status |  |  | checkpoint | SPRINKLER PIPE BONDED AND COMPLETED TO AS/NZS 3000;2007
checkpoint-status |  |  | checkpoint | PLUMBERS COPPER PIPE BONDED AND COMPLETED TO AS/NZS 3000;2007
checklist-flat |  |  | checklist | DISTRIBUTION BOARD - MAIN SWITCHBOARD |  |  |  |  | Yes | DISTRIBUTION BOARD - MAIN SWITCHBOARD | 3cbcf1f9-a2d9-4882-8545-ef25bfc224f5
checkpoint-status |  |  | checkpoint | MAIN SWITCHBOARD INSTALLED ON TIMBER PLINTH AND SECURED
checkpoint-status |  |  | checkpoint | COMPRESSION GLANDS INSTALLED AND SECURE FOR CABLE ENTRY
checkpoint-status |  |  | checkpoint | NEW MAINS CABLE INSTALLED,LUGGED, TERMINATED.
checkpoint-status |  |  | checkpoint | SUB-MAINS CABLE INSTALLED,LUGGED, TERMINATED
checkpoint-status |  |  | checkpoint | MAIN EARTH CABLE LUGGED,BOLTED AND HAS A MAIN EARTH TAG INSTALLED
checkpoint-status |  |  | checkpoint | MEN LINK IS INSTALLED AND CONFIRMED
checkpoint-status |  |  | checkpoint | SUFFICIENT EARTH STAKE INSTALLED AND MAIN EARTH GROUND READING IS GOOD
checkpoint-status |  |  | checkpoint | MAIN EARTH INSPECTION PITS INSTALLED AND AT CORRECT HEIGHT AND COMPLETED
checkpoint-status |  |  | checkpoint | STRUCTURAL BONDING CABLE TERMINATED AT SWITCHBOARD.
checkpoint-status |  |  | checkpoint | MAIN SWITCHBOARD IS CLEAN OF ALL DEBRI AND MARKS
checklist-flat |  |  | checklist | COMMUNAL AND RISER AREAS |  |  |  |  | Yes | COMMUNAL AND RISER AREAS | 4dcad016-56ad-4c75-a2c6-5c9f33445618
checkpoint-status |  |  | checkpoint | WOOD EYE ANCHORS INSTALLED AND CORRECTLY FIXED ONTO TIMBER/CONCRETE WALLS
checkpoint-status |  |  | checkpoint | SUFFICIENT CATENARY WIRE SUPPORTS INSTALLED AT APPROX 1.2M INTERVALS
checkpoint-status |  |  | checkpoint | CATENARY WIRES INSTALLED AT HIGH LEVEL AND MEETS CLEARENCE FROM OTHER SERVICES
checkpoint-status |  |  | checkpoint | TURNBUCKLES IS TIGHTENED AND CATENARY WIRE IS WELL SECURED
checkpoint-status |  |  | checkpoint | CABLE TRAY INSTALLED AS PER SERVICE LAYOUT IN RISER
checkpoint-status |  |  | checkpoint | CABLE TRAY IS BONDED AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | SUB-CIRCUIT CABLES INSTALLED AS PER UPDATED ELECTRICAL DRAWING
checkpoint-status |  |  | checkpoint | SUB-CIRCUIT CABLE NEATLY DRESSED ON CATENARY WIRES AND HILTI CLIPS
checkpoint-status |  |  | checkpoint | SUB-MAINS CABLE INSTALLED NEATLY ON TRAY AND HILTI CLIPS INTO APARTMENTS
checkpoint-status |  |  | checkpoint | COMMS CABLE RAN TO CAMERA LOCATIONS AND BACK TO COMMS CABINET
checkpoint-status |  |  | checkpoint | CAMERAS INSTALLED, LABELLED AND WORKING CORRECTLY
checkpoint-status |  |  | checkpoint | MATV/FIBRE/ COMMS/SECURITY CABLES VELCO TIED NEATLY ON CABLE TRAY AND CATENARY WIRES
checkpoint-status |  |  | checkpoint | MATV/FIBRE/COMMS/SECURITY CABLE PROTECTED GOING INTO APARTMENT UNITS
checkpoint-status |  |  | checkpoint | MATV/FIBRE/COMMS/SECURITY CABLE MAINTAINS CLEARANCE AS PER SPECIFICATION
checkpoint-status |  |  | checkpoint | CONDUIT INSTALLED NEATLY WHERE REQUIRED
checkpoint-status |  |  | checkpoint | COMMUNAL AND STAIRCASE SENSORS CABLED BACK TO DB-LL
checkpoint-status |  |  | checkpoint | LIGHTING CIRCUITS CABLED BACK TO DB-LL FOR EACH FLOOR AND STAIRCASE
checkpoint-status |  |  | checkpoint | POWER CIRCUITS CABLED BACK TO DB-LL FOR EACH FLOOR
checkpoint-status |  |  | checkpoint | LIGHTS AND SENSORS INSTALLED AS PER RCP
checkpoint-status |  |  | checkpoint | EMERGENCY LIGHTS INSTALLED AND LABELLED
checkpoint-status |  |  | checkpoint | POWER OUTLETS INSTALLED AND LABELLED
checkpoint-status |  |  | checkpoint | LIGHTS AND SENSORS INSTALLED.
checkpoint-status |  |  | checkpoint | LIGHTS INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | SENSORS INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | EMERGENCY LIGHTS INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | POWER POINTS INSTALLED AND COMPLETED
checklist-flat |  |  | checklist | SITE WORKS - UNDERGROUND SERVICES BLOCK A |  |  |  |  | Yes | SITE WORKS - UNDERGROUND SERVICES BLOCK A | 50099e25-1096-4f6b-a060-c3e07735d3bd
checkpoint-status |  |  | checkpoint | CORRECT QUANTITIES OF PIT INSTALLED AS PER UPDATED ELECTRICAL DRAWINGS
checkpoint-status |  |  | checkpoint | CORRECT QUANTITIES OF DUCTING INSTALLED AS PER UPDATED ELECTRICAL DRAWINGS
checkpoint-status |  |  | checkpoint | DUCTING INSTALLED BETWEEN MAIN EARTHING PEGS
checkpoint-status |  |  | checkpoint | DUCTING INSTALLED TO BOLLARD LIGHTS.
checkpoint-status |  |  | checkpoint | COMMS DUCT INSTALLED TO LIGHT POLE FOR CCTV IN CARPARK GRID BF
checkpoint-status |  |  | checkpoint | COMMS DUCT INSTALLED TO LIGHT POLE FOR CCTV IN CARPARK GRID AA
checkpoint-status |  |  | checkpoint | MAG SLAB AND DANGER TAPE INSTALLED ABOVE POWER DUCTING AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | COMMS DUCTING INSTALLED INCLUDING DANGER TAPE
checkpoint-status |  |  | checkpoint | DRAW TAPE INSTALLED AS REQUIRED
checkpoint-status |  |  | checkpoint | SUFFICIENT FINES/SAP 7 IS LAID OVER DUCTING AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | UNDERGROUND PITS INSTALLED, LEVELLED AND DUCTING IS SEALED
checklist-flat |  |  | checklist | COMMUNAL ROOM 2ND FIX |  |  |  |  | Yes | COMMUNAL ROOM 2ND FIX | 5875b92f-c9a5-49bf-9bd6-6e2a1aa9b044
checkpoint-status |  |  | checkpoint | EQUIPMENT APPLIANCE ISOLATORS INSTALLED COMPLETED
checkpoint-status |  |  | checkpoint | KITCHEN OUTLETS INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | HWC KIT INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | LIGHT SWITCHES INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | POWER OUTLETS INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | LIGHTS INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | KITCHEN/CEILING AND LAUNDRY SINK BONDED
checkpoint-status |  |  | checkpoint | APARTMENT PRE-LIVENING TEST COMPLETED AND ADDED TO DROP BOX
checkpoint-status |  |  | checkpoint | APARTMENT SUB CIRCUITS TEST COMPLETED AND ADDED TO DROP BOX
checkpoint-status |  |  | checkpoint | BONDING TEST COMPLETED AND ADDED TO DROP BOX
checkpoint-status |  |  | checkpoint | APARTMENT SUB MAINS TERMINATED
checkpoint-status |  |  | checkpoint | SUB MAINS PRE-LIVENING CHECK COMPLETED AND ADDED TO DROP BOX
checkpoint-status |  |  | checkpoint | SUB-MAINS POST-LIVENING CHECK COMPLETED AND ADDED TO DROP BOX
checkpoint-status |  |  | checkpoint | AS-BUILT UPDATED AND COMPLETED
checkpoint-status |  |  | checkpoint | SWB TERMINATED, LABELLED AND COMPLETED
checkpoint-status |  |  | checkpoint | COMMS/MATV/FIBRE/SECURITY TERMINATED, COMPLETED AND LABELLED
checklist-flat |  |  | checklist | BUILDING - EXTERIOR LIGHTING/POWER BLOCK A |  |  |  |  | Yes | BUILDING - EXTERIOR LIGHTING/POWER BLOCK A | 695368fc-2d61-4435-80e5-ade65feac821
checkpoint-status |  |  | checkpoint | DAYLIGHT SENSOR CABLED TO GRID LINE AG SUITABLE LOCATION AN BACK TO SB-A1
checkpoint-status |  |  | checkpoint | EXTERNAL BOLLARD CARPARK LIGHTS ARE CABLLED VIA DUCTING VTO SUITABLE LOCATION
checkpoint-status |  |  | checkpoint | CARPARK LIGHTING CIRCUITS CABLED BACK TO SB-A1
checkpoint-status |  |  | checkpoint | CARPARK SENSORS ARE CABLED BACK TO SB-A1
checkpoint-status |  |  | checkpoint | CARPARK S1 LIGHTS CABLED BACK TO SB-A1.
checkpoint-status |  |  | checkpoint | LIGHT FITTINGS CLEANED AND SEALED AGAINST WATER INGRESS
checkpoint-status |  |  | checkpoint | BOLLARD LIGHTS FRONT OF SITE TO CABELLED BACK TO SB-A1
checkpoint-status |  |  | checkpoint | CONCRETE PAD INSTALLED BY BUILDERS AND PLUMBED
checkpoint-status |  |  | checkpoint | BOLLARD LIGHT INSTALLED, PLUMBED AND COMPLETED
checkpoint-status |  |  | checkpoint | CAGE HOLE DUG TO MANUFACTURES SPECIFICATION
checkpoint-status |  |  | checkpoint | SOLAR POLE LIGHTS CAGES INSTALLED TO CORRECT HEIGHT
checkpoint-status |  |  | checkpoint | CAGE SITS PLUM AND READY FOR CONCRETE.
checkpoint-status |  |  | checkpoint | POLE LIGHT INSTALLED, LEVELLED AND COMPLETED
checkpoint-status |  |  | checkpoint | GENERATOR SUPPLY CABLE TERMINATED TO CHANGE OVER SWITCH
checkpoint-status |  |  | checkpoint | APPROVED GENERATOR SOCKET INSTALLED AND LABELLED ON EXTERNAL WALL
checkpoint-status |  |  | checkpoint | GENERATOR SOCKET IS TESTED AND CONFIRMED IS WORKING CORRECTLY AS PER DESIGN
checklist-flat |  |  | checklist | COMMISSIONING - DISTRIBUTION - MAIN SWITCHBOARD |  |  |  |  | Yes | COMMISSIONING - DISTRIBUTION - MAIN SWITCHBOARD | 6e38e1cd-c9ad-4344-9b4d-67ff1443cfb3
checkpoint-status |  |  | checkpoint | MAIN SWITCHBOARD TEST SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | DB SCHEDULE COMPLETED, INSTALLED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | MAIN DISTRIBUTION BOARD TEST SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | DB SCHEDULE COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | MAIN SWITCHBOARD TEST SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | MAIN SWITCHBOARD DISTRIBUTION BOARD CHECK SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | MAIN EARTHING TEST SHEET COMPLETED
checkpoint-status |  |  | checkpoint | MAIN EARTH PITS INSTALLED
checkpoint-status |  |  | checkpoint | MEN LINK INSTALLATION CONFIRMED
checkpoint-status |  |  | checkpoint | BOARD FREE FROM DEBRI, NO MARKS, ALL ACCESSORIES INSTALLED
checkpoint-status |  |  | checkpoint | AS-BUILT UPDATED AND COMPLETED
checklist-flat |  |  | checklist | COMMUNAL ROOM 1ST FIX |  |  |  |  | Yes | COMMUNAL ROOM 1ST FIX | 76770dbe-63d4-496a-88a9-d99bdb607df7
checkpoint-status |  |  | checkpoint | SETOUT + FLUSHBOXES INSTALLED/COMPLETE AS PER ARCHITECTURAL/SC SET OUT
checkpoint-status |  |  | checkpoint | KITCHEN SET OUT CONFIRMED AND FLUSH BOXES INSTALLED AS PER ELEVATION AND SC
checkpoint-status |  |  | checkpoint | HILTI CLIPS INSTALLED ALONG CABLE ROUTE
checkpoint-status |  |  | checkpoint | LIGHTING PREWIRED AS PER APARTMENT TYPE LAYOUT
checkpoint-status |  |  | checkpoint | POWER CABLE INSTALLED AS PER APARTMENT TYPE LAYOUT
checkpoint-status |  |  | checkpoint | LIGHTING AND POWER FEEDS CONTINUOUS BACK TO APARTMENT DB
checkpoint-status |  |  | checkpoint | CABLES PROTECTED WITH FLEXIBLE CONDUIT INTO WALLS
checkpoint-status |  |  | checkpoint | SUB MAINS INSTALLED AND CLEAR FROM OTHER SERVICES
checkpoint-status |  |  | checkpoint | SUB MAINS CABLE TILED NEATLY ON HILTI CLIPS
checkpoint-status |  |  | checkpoint | SUB CIRCUITS CABLE TIED NEATLY ON HILTI CLIPS
checkpoint-status |  |  | checkpoint | EARTH CABLE INSTALLED FOR KITCHEN,LAUNDRY AND SHOWER TRAY
checkpoint-status |  |  | checkpoint | SHOWER TRAY BONDED AND COMPLETED BEFORE PRE LINE
checkpoint-status |  |  | checkpoint | EARTH CABLE BROUGHT OUT THROUGH TIMBER TO CORRECT LOCATION AS ELEVATION
checkpoint-status |  |  | checkpoint | CEILING STRUCTURE BONDED
checkpoint-status |  |  | checkpoint | APARTMENT DB INSTALLED AS PER AGREED LOCATION
checkpoint-status |  |  | checkpoint | SWB INSTALLED AS PER AGREED LOCATION
checkpoint-status |  |  | checkpoint | COMMS/MATV/FIBRE/SECURITY CABLE INSTALLED AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | COMMS/MATV/FIBRE /SECURITY FLUSH BOXES INSTALLED AS PER APARTMENT TYPE LAYOUT
checklist-flat |  |  | checklist | FIRE ALARM PANEL ROOM |  |  |  |  | Yes | FIRE ALARM PANEL ROOM | 797b6dbf-42f6-4319-97bd-6023f94355a6
checkpoint-status |  |  | checkpoint | CONDUITS INSTALLED TO LIGHT, LIGHT SWITCH AND POWER OUTLET
checkpoint-status |  |  | checkpoint | CONDUITS INSTALLED NEATLY ON CEILING AND WALLS
checkpoint-status |  |  | checkpoint | CONDUITS A CLEAR FROM OTHER SERVICES AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | CABLING INSTALLED AS PER DB SCHEDULE FOR FAP
checkpoint-status |  |  | checkpoint | S1 LIGHT INSTALLED AND WORKING
checkpoint-status |  |  | checkpoint | POWER OUTLET TESTED AND LABELLED
checkpoint-status |  |  | checkpoint | LIGHT SWITCH LABELLED AND WORKING CORRECTLY TO LIGHT
checklist-flat |  |  | checklist | BUILDING STRUCTURAL BONDING - BUILDING A |  |  |  |  | Yes | BUILDING STRUCTURAL BONDING - BUILDING A | 7dde6231-a9a4-4f6c-92f9-e2842c501cc3
checkpoint-status |  |  | checkpoint | BUILDING STRUCTURAL BOND INSTALLED AND COMPLETED TO AS/NZS 3000;2007
checkpoint-status |  |  | checkpoint | RISER CABLE TRAY BONDED AND COMPLETED TO AS/NZS 3000:2007
checkpoint-status |  |  | checkpoint | SPRINKLER PIPE BONDED AND COMPLETED TO AS/NZS 3000;2007
checkpoint-status |  |  | checkpoint | PLUMBERS COPPER PIPE BONDED AND COMPLETED TO AS/NZS 3000;2007
checklist-flat |  |  | checklist | APARTMENT 2ND FIX |  |  |  |  | Yes | APARTMENT 2ND FIX | 8090fa91-3acc-4fe1-90da-33dc1d06f4cb
checkpoint-status |  |  | checkpoint | EQUIPMENT APPLIANCE ISOLATORS INSTALLED COMPLETED
checkpoint-status |  |  | checkpoint | KITCHEN OUTLETS INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | HWC KIT INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | LIGHT SWITCHES INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | POWER OUTLETS INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | LIGHTS INSTALLED AND COMPLETED
checkpoint-status |  |  | checkpoint | KITCHEN/CEILING AND LAUNDRY SINK BONDED
checkpoint-status |  |  | checkpoint | APARTMENT PRE-LIVENING TEST COMPLETED AND ADDED TO DROP BOX
checkpoint-status |  |  | checkpoint | APARTMENT SUB CIRCUTIS TEST COMPLETED AND ADDED TO DROP BOX
checkpoint-status |  |  | checkpoint | BONDING TEST COMPLETED AND ADDED TO DROP BOX
checkpoint-status |  |  | checkpoint | APARTMENT SUB MAINS TERMINATED
checkpoint-status |  |  | checkpoint | SUB MAINS PRE-LIVENING CHECK COMPLETED AND ADDED TO DROP BOX
checkpoint-status |  |  | checkpoint | SUB-MAINS POST-LIVENING CHECK COMPLETED AND ADDED TO DROP BOX
checkpoint-status |  |  | checkpoint | AS-BUILT UPDATED AND COMPLETED
checklist-flat |  |  | checklist | DISTRIBUTION BOARD INC DB-LL |  |  |  |  | Yes | DISTRIBUTION BOARD INC DB-LL | b055eb0f-2b5a-4304-83ed-254a6a775a2e
checkpoint-status |  |  | checkpoint | DISTRIBUTION BOARD INSTALLATION COMPLETED AND SECURELY MOUNTED
checkpoint-status |  |  | checkpoint | SUB-MAINS CABLE TERMINATED
checkpoint-status |  |  | checkpoint | APARTMENT SUB-MAINS CABLE TERMINATED INCLUDING LABELLING TO ALL CORES
checkpoint-status |  |  | checkpoint | SUB-MAINS EARTH AND NEUTRAL LUGGED AND TERMINATED
checkpoint-status |  |  | checkpoint | GENERATOR OUTLET CABLE INSTALLED AS PER SC
checkpoint-status |  |  | checkpoint | GENERATOR OUTLETS INSTALLED AS PER SC
checkpoint-status |  |  | checkpoint | LIFT POWER INSTALLED AS PER SLD
checkpoint-status |  |  | checkpoint | FAP INSTALLED AS PER SLD
checkpoint-status |  |  | checkpoint | STRUCTURAL BONDING CABLE TERMINATED AT SWITCHBOARD.
checkpoint-status |  |  | checkpoint | SUB-CIRCUITS CABLE TERMINATED INTO LANDLORD
checkpoint-status |  |  | checkpoint | DISTRIBUTION BOARD TEST SHEET COMPLETED
checkpoint-status |  |  | checkpoint | CLEAN OF ALL DEBRI AND MARKS
checklist-flat |  |  | checklist | SWITCHBOARD AND COMMS ROOM |  |  |  |  | Yes | SWITCHBOARD AND COMMS ROOM | be26ba1d-ac21-4a37-aba1-2965182e1553
checkpoint-status |  |  | checkpoint | CONDUITS INSTALLED TO LIGHTS, LIGHT SWITCH AND POWER OUTLETS
checkpoint-status |  |  | checkpoint | CONDUITS INSTALLED NEATLY ON CEILING AND WALLS
checkpoint-status |  |  | checkpoint | CONDUITS A CLEAR FROM OTHER SERVICES AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | CABLING INSTALLED AS PER DB SCHEDULE
checkpoint-status |  |  | checkpoint | EMERGENCY LIGHTS INSTALLED, TERMINATED AND LABELLED
checkpoint-status |  |  | checkpoint | S1 LIGHT INSTALLED AND WORKING VIA SENSOR
checkpoint-status |  |  | checkpoint | SENSOR INSTALLED AND CONTROLS LIGHTS
checkpoint-status |  |  | checkpoint | POWER OUTLETS TESTED AND LABELLED
checkpoint-status |  |  | checkpoint | LIGHT SWITCH LABELLED AND WORKING CORRECTLY TO SENSOR AND LIGHTS
checkpoint-status |  |  | checkpoint | TEST RESULTS ENTERED ONTO COMMISSIONING TESTSHEET
checklist-flat |  |  | checklist | BUILDING - EXTERIOR LIGHTING/POWER BLOCK B |  |  |  |  | Yes | BUILDING - EXTERIOR LIGHTING/POWER BLOCK B | bfce46c3-88ce-4d1b-9da4-89cfd9b440b1
checkpoint-status |  |  | checkpoint | CORRECT QUANTITIES OF PIT INSTALLED AS PER UPDATED ELECTRICAL DRAWINGS
checkpoint-status |  |  | checkpoint | CORRECT QUANTITIES OF DUCTING INSTALLED AS PER UPDATED ELECTRICAL DRAWINGS
checkpoint-status |  |  | checkpoint | CORRECT DUCTING SIZE INSTALLED PER ELECTRICAL SERVICES LAYOUT AND APPROVED SHOP DRAWING
checkpoint-status |  |  | checkpoint | MAG SLAB AND DANGER TAPE INSTALLED ABOVE POWER DUCTING AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | SUFFICIENT FINES/SAP 7 IS LAID OVER DUCTING AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | DAYLIGHT SENSOR CABLED TO GRID LINE BG SUITABLE LOCATION AN BACK TO SB-B1
checkpoint-status |  |  | checkpoint | EXTERNAL BOLLARD CARPARK LIGHTS ARE CABLLED VIA DUCTING AND TO SUITABLE LOCATION
checkpoint-status |  |  | checkpoint | INSIDE CARPARK LIGHTING CIRCUITS CABLED BACK TO SB-B1 BOARD
checkpoint-status |  |  | checkpoint | CARPARK SENSORS ARE CABLED BACK TO SB-B1
checkpoint-status |  |  | checkpoint | CARPARK S1 LIGHTS CABLED BAK TO SB-B1.
checkpoint-status |  |  | checkpoint | S2 LIGHT FITTING TO BE CIRCUITED TO STAIRCASE LIGHTS.
checkpoint-status |  |  | checkpoint | LIGHT FITTINGS CLEANED AND SEALED AGAINST WATER INGRESS
checkpoint-status |  |  | checkpoint | BOLLARD LIGHTS FRONT OF SITE CABLLED BACK TO SB-B1
checkpoint-status |  |  | checkpoint | BOLLARD LIGHTS FRONT OF SITE TO CABELLED BACK TO SB-B1
checkpoint-status |  |  | checkpoint | CONCRETE PAD INSTALLED BY BUILDERS AND PLUMBED
checkpoint-status |  |  | checkpoint | BOLLARD LIGHT INSTALLED, PLUMBED AND COMPLETED
checkpoint-status |  |  | checkpoint | SOLAR POLE CAGE HOLE DUG TO MANUFACTURES SPECIFICATION
checkpoint-status |  |  | checkpoint | SOLAR POLE LIGHTS CAGES INSTALLED TO CORRECT HEIGHT
checkpoint-status |  |  | checkpoint | CAGE SITS PLUM AND READY FOR CONCRETE.
checkpoint-status |  |  | checkpoint | POLE LIGHT INSTALLED, LEVELLED AND COMPLETED
checkpoint-status |  |  | checkpoint | APPROVED GENERATOR SUPPLY CABLE INSTALLED TO LOCATION
checkpoint-status |  |  | checkpoint | GENERATOR SUPPLY CABLE TERMINATED TO CHANGE OVER SWITCH
checkpoint-status |  |  | checkpoint | APPROVED GENERATOR SOCKET INSTALLED AND LABELLED ON EXTERNAL WALL
checkpoint-status |  |  | checkpoint | GENERATOR SOCKET IS TESTED AND CONFIRMED IS WORKING CORRECTLY AS PER DESIGN
checklist-flat |  |  | checklist | SITE WORKS - UNDERGROUND SERVICES BLOCK B |  |  |  |  | Yes | SITE WORKS - UNDERGROUND SERVICES BLOCK B | c9c46e19-fe67-4cc3-95c7-376c3a3c6776
checkpoint-status |  |  | checkpoint | CORRECT QUANTITIES OF PIT INSTALLED AS PER UPDATED ELECTRICAL
checkpoint-status |  |  | checkpoint | CORRECT QUANTITIES OF DUCTING INSTALLED AS PER UPDATED ELECTRICAL DRAWINGS
checkpoint-status |  |  | checkpoint | COMMS DUCT INSTALLED TO LIGHT POLE FOR CCTV IN CARPARK GRID BA
checkpoint-status |  |  | checkpoint | COMMS DUCT INSTALLED TO LIGHT POLE FOR CCTV IN CARPARK GRID BG
checkpoint-status |  |  | checkpoint | DUCTING INSTALLED TO BOLLARD LIGHTS.
checkpoint-status |  |  | checkpoint | MAG SLAB AND DANGER TAPE INSTALLED ABOVE POWER DUCTING AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | COMMS DUCTING INSTALLED INCLUDING DANGER TAPE
checkpoint-status |  |  | checkpoint | DRAW TAPE INSTALLED AS REQUIRED
checkpoint-status |  |  | checkpoint | SUFFICIENT FINES/SAP 7 IS LAID OVER DUCTING AND MEETS SPECIFICATION
checkpoint-status |  |  | checkpoint | UNDERGROUND PITS INSTALLED, LEVELLED AND DUCTING IS SEALED
checklist-flat |  |  | checklist | COMMISSIONING - DISTRIBUTION BOARD INC DB-LL |  |  |  |  | Yes | COMMISSIONING - DISTRIBUTION BOARD INC DB-LL | fdd0f603-ac89-4141-a41d-0ee97c290174
checkpoint-status |  |  | checkpoint | SWITCHBOARD TEST SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | DB SCHEDULE COMPLETED, INSTALLED INTO DB AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | DISTRIBUTION BOARD TEST SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | SUBCIRCUIT COMMISSIONING RESULTS SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | DISTRIBUTION BOARD CHECK SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | EARTHING TEST SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | EMERGENCY LIGHTING TEST SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | TIMECLOCK TEST SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | BOARD FREE FROM DEBRI, NO MARKS, ALL ACCESSORIES INSTALLED
checkpoint-status |  |  | checkpoint | LABELLING COMPLETED ON ALL FIELD OUTLETS, SWITCHES AND ISOLATORS ETC
checkpoint-status |  |  | checkpoint | EMERGENCY LIGHTING TEST SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | SUBCIRCUIT COMMISSIONING RESULTS SHEET COMPLETED AND ADDED TO DROPBOX
checkpoint-status |  |  | checkpoint | AS-BUILT UPDATED AND COMPLETED