## res
type | name | values | prefix | postfix | usage count | user addable | template name
checklist | ITP 010 - O&M Manuals | itp |  |  |  |  | ITP 010 - O&M Manuals
section | 1.0 Asset Lists
checkpoint | 1.1 Equipment List
label | Acceptance Criteria - List with equipment no., make & model
label | Inspection Responsibility: BCL - D
label | Verification Records of Inspection(s) / Test(s) - n/a
checkpoint | 1.2 Instrument List
label | Acceptance Criteria - List with equipment no., make & model
label | Inspection Responsibility: BCL - D
label | Verification Records of Inspection(s) / Test(s) - n/a
checkpoint | 1.3 Valve List
label | Acceptance Criteria - List with equipment no., make & model
label | Inspection Responsibility: BCL - D
label | Verification Records of Inspection(s) / Test(s) -
section | 2.0 Equipment O&M Manuals
checkpoint | 2.1 Grundfos Pumps
label | Acceptance Criteria - Vendor O&M Manual
label | Inspection Responsibility: BCL - D
label | Verification Records of Inspection(s) / Test(s) - n/a
checkpoint | 2.2 GF Water Jet Suction Pump
label | Acceptance Criteria - Vendor O&M Manual
checkpoint | 2.3 Seat 15 Fan
label | Acceptance Criteria - Vendor O&M Manual
checkpoint | 2.4 GF Strainers
section | 3.0 Instrument O&M Manuals
checkpoint | 3.1 Endress & Hauser Flow Transmitters
checkpoint | 3.2 Endress & Hauser Level Transmitters
checkpoint | 3.3 Endress & Hauser Level Switches
checkpoint | 3.4 Prominent Fluoride Analysers
checkpoint | 3.5 Vega Level Transmitters
checkpoint | 3.6 Weber Flow Switches
checkpoint | 3.7 Wika Pressure Gauges
section | 4.0 Valve O&M Manuals
checkpoint | 4.1 Emerson Backflow Preventors
checkpoint | 4.2 GF Actuators
checkpoint | 4.3 GF Valves
checkpoint | 4.4 K-Ball Valves