## Sheet1
Folder Name | EMS ITP
Checklist number | Title | Subtitle | Checklist | Answers
1a | ITP - Confirm EMS meter is Commissioned and readings match between display & EMS System | MSB & MDB Meters: | List of Meters | Yes | No | Upload Photos
MDB-L9 METER
MDB-G-L3 METER
PMCS METER
CAFE METER
RETAIL METER
MDB-L2 METER
MDB-L8 METER
PMCS METER
MSSB-G-01 METER
HDB-LG METER
LIFT-3 METER
HYD METER
125 kVA METER
SAFETY SERVICES METER
LIFT-1 METER
LIFT-2 METER
MSSB-LG-01 METER
ELEC FIRE PUMP METER
MSSB-ESS-PLANT METER
Checklist number |  | Subtitle | Checklist | Answers
1b | ITP - Confirm EMS meter is Commissioned and readings match between display & EMS System | TDBs & HDBs Field Meters | List of Meters | Yes | No | Upload Photos
TDB-01-UG Lighting
TDB-01-UG Power
TDB-01-UG Mechanical
TDB-L1 Lighting
TDB-L1 Power
TDB-L1 Mechanical
TDB-L2 Lighting
TDB-L2 Power
TDB-L2 Mechanical
TDB-L3 Lighting
TDB-L3 Power
TDB-L3 Mechanical
TDB-L4 Lighting
TDB-L4 Power
TDB-L4 Mechanical
TDB-L5 Lighting
TDB-L5 Power
TDB-L5 Mechanical
TDB-L6 Lighting
TDB-L6 Power
TDB-L6 Mechanical
TDB-L7 Lighting
TDB-L7 Power
TDB-L7 Mechanical
TDB-L8 Lighting
TDB-L8 Power
TDB-L8 Mechanical
TDB-L9 Lighting
TDB-L9 Power
TDB-L9 Mechanical
TDB-L10 Lighting
TDB-L10 Power
TDB-L10 Mechanical
TDB-L11 Lighting
TDB-L11 Power
TDB-L11 Mechanical
HDB-LG Lighting
HDB-LG Power
HDB-LG Mechanical
HDB-G Lighting
HDB-G Power
HDB-G Mechanical
HDB-L1 Lighting
HDB-L1 Power
HDB-L1 Mechanical
HDB-L4 Lighting
HDB-L4 Power
HDB-L4 Mechanical
HDB-L5 Lighting
HDB-L5 Power
HDB-L5 Mechanical
HDB-L7 Lighting
HDB-L7 Power
HDB-L7 Mechanical
HDB-L10 Lighting
HDB-L10 Power
HDB-L10 Mechanical
HDB-L11 Lighting
HDB-L11 Power
HDB-L11 Mechanical
HDB-L12 Lighting
HDB-L12 Power
HDB-L12 Mechanical
CAFÉ-DB Lighting
CAFÉ-DB Power
CAFÉ-DB Mechanical
RETAIL-DB Lighting
RETAIL-DB Power
RETAIL-DB Mechanical
Checklist number | Title | Subtitle | Checklist | Answers
2 | ITP - Confirm ethernet connection is received to IPD Egdecon |  | List of Connections | Yes | No | Upload Photos
TDB-L11
TDB-L10
TDB-L9
TDB-L8
TDB-L7
TDB-L6
TDB-L5
TDB-L4
TDB-L3
TDB-L2
TDB-L1
TDB-01-UG
CAFE-DB
RETAIL-DB
HDB-LB
HDB-LG
HDB-L1
HDB-L4
HDB-L5
HDB-L7
HDB-L10
HDB-L11
HDB-L12
Checklist number | Title | Subtitle | Checklist | Answers
3 | ITP - Confirm control of ATS at each DB |  | List of Connections | Yes | No | Upload Photos
TDB-L11
TDB-L10
TDB-L9
TDB-L8
TDB-L7
TDB-L6
TDB-L5
TDB-L4
TDB-L3
TDB-L2
TDB-L1
TDB-01-UG
CAFE-DB
RETAIL-DB
HDB-LB
HDB-LG
HDB-L1
HDB-L4
HDB-L5
HDB-L7
HDB-L10
HDB-L11
HDB-L12
Checklist number | Title | Subtitle | Checklist | Answers
4 | ITP - Confirm control of load shedding contactor |  |  | Yes | No | Upload Photos
TDB-L1
TDB-L2
TDB-L3
TDB-L4
TDB-L5
TDB-L6
TDB-L7
TDB-L8
TDB-L9
TDB-L10
TDB-L11
TDB-01-UG
Checklist number | Title | Subtitle | Checklist | Answers
5 | ITP - Confirm control of load shedding contactor |  |  | Yes | No | Upload Photos
BMS R1
BMS R2
BMS R3
BMS R4
Lift Controller R5