## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | ITP 1a - Confirm EMS meter is Commissioned and readings match between display & EMS System
section | MSB & MDB Meters
checkpoint | MDB-L9 METER
checkpoint | MDB-G-L3 METER
checkpoint | PMCS METER
checkpoint | CAFE METER
checkpoint | RETAIL METER
checkpoint | MDB-L2 METER
checkpoint | MDB-L8 METER
checkpoint | PMCS METER
checkpoint | MSSB-G-01 METER
checkpoint | HDB-LG METER
checkpoint | LIFT-3 METER
checkpoint | HYD METER
checkpoint | 125 kVA METER
checkpoint | SAFETY SERVICES METER
checkpoint | LIFT-1 METER
checkpoint | LIFT-2 METER
checkpoint | MSSB-LG-01 METER
checkpoint | ELEC FIRE PUMP METER
checkpoint | MSSB-ESS-PLANT METER
checklist | ITP 1b - Confirm EMS meter is Commissioned and readings match between display & EMS System
section | TDBs & HDBs Field Meters
checkpoint | TDB-01-UG Lighting
checkpoint | TDB-01-UG Power
checkpoint | TDB-01-UG Mechanical
checkpoint | TDB-L1 Lighting
checkpoint | TDB-L1 Power
checkpoint | TDB-L1 Mechanical
checkpoint | TDB-L2 Lighting
checkpoint | TDB-L2 Power
checkpoint | TDB-L2 Mechanical
checkpoint | TDB-L3 Lighting
checkpoint | TDB-L3 Power
checkpoint | TDB-L3 Mechanical
checkpoint | TDB-L4 Lighting
checkpoint | TDB-L4 Power
checkpoint | TDB-L4 Mechanical
checkpoint | TDB-L5 Lighting
checkpoint | TDB-L5 Power
checkpoint | TDB-L5 Mechanical
checkpoint | TDB-L6 Lighting
checkpoint | TDB-L6 Power
checkpoint | TDB-L6 Mechanical
checkpoint | TDB-L7 Lighting
checkpoint | TDB-L7 Power
checkpoint | TDB-L7 Mechanical
checkpoint | TDB-L8 Lighting
checkpoint | TDB-L8 Power
checkpoint | TDB-L8 Mechanical
checkpoint | TDB-L9 Lighting
checkpoint | TDB-L9 Power
checkpoint | TDB-L9 Mechanical
checkpoint | TDB-L10 Lighting
checkpoint | TDB-L10 Power
checkpoint | TDB-L10 Mechanical
checkpoint | TDB-L11 Lighting
checkpoint | TDB-L11 Power
checkpoint | TDB-L11 Mechanical
checkpoint | HDB-LG Lighting
checkpoint | HDB-LG Power
checkpoint | HDB-LG Mechanical
checkpoint | HDB-G Lighting
checkpoint | HDB-G Power
checkpoint | HDB-G Mechanical
checkpoint | HDB-L1 Lighting
checkpoint | HDB-L1 Power
checkpoint | HDB-L1 Mechanical
checkpoint | HDB-L4 Lighting
checkpoint | HDB-L4 Power
checkpoint | HDB-L4 Mechanical
checkpoint | HDB-L5 Lighting
checkpoint | HDB-L5 Power
checkpoint | HDB-L5 Mechanical
checkpoint | HDB-L7 Lighting
checkpoint | HDB-L7 Power
checkpoint | HDB-L7 Mechanical
checkpoint | HDB-L10 Lighting
checkpoint | HDB-L10 Power
checkpoint | HDB-L10 Mechanical
checkpoint | HDB-L11 Lighting
checkpoint | HDB-L11 Power
checkpoint | HDB-L11 Mechanical
checkpoint | HDB-L12 Lighting
checkpoint | HDB-L12 Power
checkpoint | HDB-L12 Mechanical
checkpoint | CAFÉ-DB Lighting
checkpoint | CAFÉ-DB Power
checkpoint | CAFÉ-DB Mechanical
checkpoint | RETAIL-DB Lighting
checkpoint | RETAIL-DB Power
checkpoint | RETAIL-DB Mechanical
checklist | ITP 2 - Confirm ethernet connection is received to IPD Egdecon
section | Details
checkpoint | TDB-L11
checkpoint | TDB-L10
checkpoint | TDB-L9
checkpoint | TDB-L8
checkpoint | TDB-L7
checkpoint | TDB-L6
checkpoint | TDB-L5
checkpoint | TDB-L4
checkpoint | TDB-L3
checkpoint | TDB-L2
checkpoint | TDB-L1
checkpoint | TDB-01-UG
checkpoint | CAFE-DB
checkpoint | RETAIL-DB
checkpoint | HDB-LB
checkpoint | HDB-LG
checkpoint | HDB-L1
checkpoint | HDB-L4
checkpoint | HDB-L5
checkpoint | HDB-L7
checkpoint | HDB-L10
checkpoint | HDB-L11
checkpoint | HDB-L12
checklist | ITP 3 - Confirm control of ATS at each DB
section | Details
checkpoint | TDB-L11
checkpoint | TDB-L10
checkpoint | TDB-L9
checkpoint | TDB-L8
checkpoint | TDB-L7
checkpoint | TDB-L6
checkpoint | TDB-L5
checkpoint | TDB-L4
checkpoint | TDB-L3
checkpoint | TDB-L2
checkpoint | TDB-L1
checkpoint | TDB-01-UG
checkpoint | CAFE-DB
checkpoint | RETAIL-DB
checkpoint | HDB-LB
checkpoint | HDB-LG
checkpoint | HDB-L1
checkpoint | HDB-L4
checkpoint | HDB-L5
checkpoint | HDB-L7
checkpoint | HDB-L10
checkpoint | HDB-L11
checkpoint | HDB-L12
checklist | ITP 4 - Confirm control of load shedding contactor
section | Details
checkpoint | TDB-L1
checkpoint | TDB-L2
checkpoint | TDB-L3
checkpoint | TDB-L4
checkpoint | TDB-L5
checkpoint | TDB-L6
checkpoint | TDB-L7
checkpoint | TDB-L8
checkpoint | TDB-L9
checkpoint | TDB-L10
checkpoint | TDB-L11
checkpoint | TDB-01-UG
checklist | ITP 5 - Confirm control of load shedding contactor
section | Details
checkpoint | BMS R1
checkpoint | BMS R2
checkpoint | BMS R3
checkpoint | BMS R4
checkpoint | Lift Controller R5