## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | Commisioning | [5 empty] | Commisioning
section | Details
checkpoint | Bulk Hot Water
checkpoint | Test RPZD
checkpoint | Test Hot Water Temperature
checkpoint | Test Waste for leaks
checklist | Corridor | [5 empty] | Corridor
section | Details
checkpoint | Hose Reel Line
checkpoint | Hot Water
checkpoint | Hot Water Lagged
checkpoint | Cold Water
checkpoint | Test Hot Water
checkpoint | Test Cold Water
checkpoint | Fire Caulking (Corridor)
checklist | Drains | [5 empty] | Drains
section | Details
checkpoint | Drains
checkpoint | Smoke Seal Penetrations
checkpoint | Fire Collar
checkpoint | Acoustic Lagging
checkpoint | Testing (Water/Air)
checklist | Fit Off | [5 empty] | Fit Off
section | Details
checkpoint | Vinyl Floor Waste
checkpoint | Hand Basin
checkpoint | Shroud installed
checkpoint | Scrub Trough
checkpoint | Ministops/ Ball Valve
checkpoint | Fixture Waste
checkpoint | Mixer installed
checkpoint | Dishwasher
checkpoint | Sink
checkpoint | Trough
checkpoint | Fire hose Reels
checkpoint | Bathroom Shower Mixer
checkpoint | Bathroom Shower Rail/Rose
checkpoint | Bathroom Basin
checkpoint | Bathroom Basin Mixer
checkpoint | Bathroom Bottle Trap
checkpoint | Bathroom Toilet
checklist | Inground Works | [5 empty] | Inground Works | ddac9f56-3294-4505-8b18-06e9c15874b1
section | Details
checkpoint | Top of pits installed to correct height
checkpoint | Testing of drains
checkpoint | Correct loactions of all pits / drainage points
checkpoint | Fire Hydrant Supply
checkpoint | Cold Water Supply
checklist | Penetrations | [5 empty] | Penetrations | b04995d7-c70c-4ca1-b326-968c70fd2cec
section | Details
checkpoint | Set Out
checkpoint | Fire Collar Installation
checkpoint | Scanning
checklist | Plant and Equipment | [5 empty] | Plant and Equipment | 999ddc8f-d3fe-48a9-af21-8c69e7c12dce
section | Details
checkpoint | Hot water system
checkpoint | Heat pumps
checklist | Rough In | [5 empty] | Rough In | 016a4c25-6d84-4aa4-adee-31d213a7c630
section | Details
checkpoint | High Level Rough In
checkpoint | Noggins Marked
checkpoint | Wall Set Out
checkpoint | In-Wall TMV
checkpoint | In-Wall RPZD
checkpoint | Wall Rough In
checkpoint | Waste Rollovers
checkpoint | Test Water