## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
e4bcf5ba-adcc-4c5d-b93d-20d0f3e5dded | checklist | Cable Support QA |  | Cable Support QA
220a64e4-8c67-4f55-90f8-1c8af9443372 | section | QA Checklist
f7de3612-b770-4640-aec5-367dd9ef7e08 | checkpoint | Shop drawings approved
8d6da277-bea5-46cb-93fa-95250dcfd5a1 | checkpoint | Free from clashes
7e314c3b-3a95-49e3-9f2b-19b67c6b6ba4 | checkpoint | Complted install from point A to B
179a9c9e-fda7-4d61-820e-763f62bce307 | checkpoint | Seismic
10893e80-56dc-4753-9f15-0ba6b1cbcc5b | checkpoint | Completely fixed in place
b84695e6-7758-480e-89f6-d429ca57157f | checkpoint | Safe to use
85efc019-cd2b-48ca-b014-c766512dd09a | checklist | Earth Pit Checklist |  | Earth Pit
bea09e05-6f30-467d-a30c-77d17ab3212e | checkpoint | Earth Pit Installed
8bb2e4f8-8ed3-4af5-86cb-3fcbc9a3ebad | checkpoint | Terminal Plate Cast Into top of pile cap
a0e02350-285e-4561-b88f-04ed13073e01 | checklist | First Fix QA |  | First Fix QA
6cd93f7d-5e94-4aec-aa7d-521a4b39eaa4 | section | QA Checklist
9133171f-90aa-4398-b00e-d55d4d902d5f | checkpoint | Using most recent drawing revision
22ab1bce-2821-4e1c-89d5-6b2bfb8674e3 | checkpoint | Correct cable being installed
fd2cec3f-e9cb-4e3c-a30e-eef0f266c598 | checkpoint | Cable labelled adequatly
e03b56e8-22e0-49fa-9a01-265be492e2ab | checkpoint | Secured neatly and to standard
dd326841-07b4-4056-8d24-7f21b8d4b158 | checklist | Photos Checklist |  | Photos
b142ab69-3131-4bb7-85c6-76a0b942a42d | checkpoint | Photos
0673773d-6def-4d47-b549-c13601aca177 | checklist | Second Fix QA |  | Second Fix QA
06acfa1c-cb1e-48ab-9c80-80d3603d2dd3 | section | QA Checklist
ab8e5950-15ed-46bb-ac5b-a12eb4d5b906 | checkpoint | Item ready for second fix
f04062ac-01b7-40c1-9dc9-0662306ef03f | checkpoint | Correct outlet or fitting being used
cac98807-9487-4517-bc71-46758cfa80d1 | checkpoint | Installed as per specification
12630db6-5bf6-44ac-859a-5f0c7f20d8e5 | checkpoint | Tight, level and secure
132f6ba7-a82b-428e-8f60-0cafad5f6c94 | checkpoint | Cover and label
19673d43-4349-4180-93d1-9ffd06ce4de9 | checklist | Switchboard Live QA |  | Switchboard Live QA
2a817a35-b0ef-4080-8944-1d336c0e84cf | section | QA Checklist
8a773bce-8273-4fcf-ac6d-7a1bc0b1b15d | checkpoint | Post Liven Tests
78fe8ac3-45e1-4beb-a434-d403cccf8126 | checkpoint | Cover and panels secure
05cafc03-c680-4627-bcb3-3ffde6b9eea7 | checkpoint | Doors locked
6f7d3210-8f30-4e12-83ec-098ecfb34b7a | checkpoint | Schedules
a221f805-6cdf-4f20-b6c8-63a938290ede | checkpoint | Clean and Tidy
97fc76cb-e70f-44bd-96b6-b43ef6f9bfbe | checklist | Switchboard Preliven QA |  | Switchboard Preliven QA
50cee0bb-3167-415e-935e-7284b0e61801 | section | QA Checklist
4d5a2fd7-dc11-4960-b2e8-cc2295d92391 | checkpoint | Area ready
edfa62aa-cc4e-4ca8-a241-c29e35c47fe2 | checkpoint | Fixed in place
76c5535a-acc0-4be2-865c-b4dc59e2106b | checkpoint | Level and secure
6561fb42-c89d-4b13-b1c7-7eaf65f97968 | checkpoint | Cable entries
a7f28cee-24be-46e7-bb4d-85140c94b22f | checkpoint | Terminations
42de7c0f-68dc-46bf-85ea-933eaa138c1a | checkpoint | Pre Livening Tests
9884e404-755d-47fd-9aa9-37bf7ac1bd3e | checklist | Test Sheet Checklist |  | Test Sheets (Lightning)
3d2c40d1-2d08-46c5-ba20-fd0cd2d859b7 | checkpoint | Ductor Testing Completed
6c11adc5-ece6-4e33-af4e-6f12810addbd | checkpoint | Earth Resistance and Continuity Testing Completed
4a53b8de-4e0b-4ff2-aea9-f56c8a4b0b1b | checkpoint | Certification Documentation
7ea023bf-9e22-410a-8a63-49dfdb599b05 | checklist | Test Sheet Checklist (Generator) |  | Test Sheet (Generator)
69499a61-dd0b-4f4d-b0d0-4e3040911de7 | checkpoint | 3 Phase Submain Cable Testing Completed
c7638890-2aaf-46aa-8fed-f0f961a1462f | checkpoint | Earth Loop Impedance Completed
24f8c305-f6c5-4da9-9c84-97658c44e61e | checkpoint | Thermal Imaging Completed
56cceda3-9f5a-4326-b828-24e170f0bcdd | checkpoint | Secondary Injection Testing Completed
7cad639a-c42a-437f-b87c-7b18d95fc455 | checkpoint | Certification Documentation
aa18d1fe-820d-45ee-bc7a-7ac3c8d53e67 | checklist | Wricon Terminal Plate Checklist |  | Wricon Terminal Plates
3508dd01-ba96-4c9b-8ce8-2d9537874fde | checkpoint | Wricon Welded to Column
878b992e-0ff4-4974-aac5-3c584873f481 | checkpoint | Terminal Plates Cast into face of columns
0c264f22-5d7f-4975-ae7c-5922adae0327 | checklist | zSYS - Test Sheet Checklist (Generator) (old version, 05-12-23) |  | Test Sheet (Generator)
d329cee9-36b3-4a37-b5c2-b49c74036ef5 | checkpoint | 3 Phase Submain Cable Testing Completed
0c780b05-8cd0-4d93-9ce4-14ece0ef1e4e | checkpoint | Earth Loop Impedance Completed
e5be6fd1-42bc-46e2-a8e8-b2e912e92a38 | checkpoint | Thermal Imaging Completed
87201ea6-6194-49cb-aa57-6306563e8dfb | checkpoint | Secondary Injection Testing Completed