## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | Inspection and Test Plan | itp |  |  |  |  | Inspection and Test Plan
section | 1
checkpoint | 1.1 Description of works
checkpoint | 1.2 Tech Subs
checkpoint | 1.3 Shop Drawings
checkpoint | 1.4 Procurement
section | 2
checkpoint | 2.1 Submains cable testing post livening
checkpoint | 2.2 Submians cable testing pre livening
checkpoint | 2.3 Preline inspection
section | 3
checkpoint | 3.1 Distribution board procurement
checkpoint | 3.2 Distribution board pre livening
section | 4
checkpoint | 4.1 Terminals in DB Securely fastened
section | 5
checkpoint | 5.1 Equipotential bonding check sheet
section | 6
checkpoint | 6.1 Continuity of Earthing system
section | 7
checkpoint | 7.1 Insulation resistance, Fault loop impediance, phase rotation
section | 8
checkpoint | 8.1 Phase load testing and rebalancing of loads
checkpoint | 8.2 Power metering
checkpoint | 8.3 Ripple relay test
section | 9
checkpoint | 9.1 Lighting control check sheets
section | 10
checkpoint | 10.1 Emergency lighting duration testing
section | 11
checkpoint | 11.1 Emergency lighting lux level measurement
section | 12
checkpoint | 12.1 Exit and emergency PS3
section | 13
checkpoint | 13.1 Emergency lighting IQP
section | 14
checkpoint | 14.1 Electrical ESC and COC
section | 15
checkpoint | 15.1 Seismic producer statement
section | 16
checkpoint | 16.1 As-Builts
section | 17
checkpoint | 17.1 O&M Manual