## Table 1
We Build Foundations Pty Ltd PO BOX 3011 Balgownie, New South Wales 2519 P: 0407-421-255 Inspection: Mechanical #5 | [5 empty] | Project: MH-0002 9 Point Street Bulli 9 Point Street Bulli, New South Wales 2516
0/9 Items Inspected |  | 0 Conforming |  | 0 Deficient | 0 N/A |  | 0 Neutral
Type | Commissioning |  | Status |  | Open
Trade | Air Conditioning |  | Location |  | 9 Point Street
Spec Section |  |  | Created By |  | Angelica Borja
Linked Drawings
Description Ensure all materials and equipment to be used in the mechanical works, such as HVAC units, piping, and ductwork, meet the specified standards and are in good condition.
Attachments ITP_HVAC.pdf
Inspection Details Inspection Date Due Date Point of Contact Responsible Contractor Assignee(s) Angelica Borja
Install HVAC systems 0 Neutral 0 Conforming 0 Deficient 0 N/A
1.1 Verify that all components (compressor, condenser, evaporator) are installed according to the plan Details: Australian standard for Mechanical Pass Fail N/A
1.2 Check that refrigerant lines are properly connected and insulated. Details: Australian standard for Mechanical Pass Fail N/A
1.3 Ensure the system operates correctly through a complete cycle. Details: Australian standard for Mechanical Pass Fail N/A
Inspect ductwork 0 Neutral 0 Conforming 0 Deficient 0 N/A
2.1 Check for proper sealing and insulation of ducts. Details: Australian standard for Mechanical Pass Fail N/A
Inspection #5 - Mechanical Project: MH-0002 9 Point Street Bulli
2.2 Ensure that ducts are properly supported and free from obstructions. Details: Australian standard for Mechanical Pass Fail N/A
2.3 Verify airflow and no significant leaks in the ductwork. Details: Australian standard for Mechanical Pass Fail N/A
Test and balance air flow 0 Neutral 0 Conforming 0 Deficient 0 N/A
3.1 Measure and adjust air flow to meet design specifications. Details: Australian standard for Mechanical Pass Fail N/A
3.2 Ensure even distribution of air in all areas Details: Australian standard for Mechanical Pass Fail N/A
3.3 Verify that all dampers and controls operate correctly. Details: Australian standard for Mechanical Pass Fail N/A