## Break down
Forest Glen
Stage 1
Basement
Common Areas
Activity Room
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Toilets
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Gym
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Lobby 2
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Carpark 10
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Lobby 1
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Storage 1
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Bicycle Parking
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Repeaters
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Ground Floor
Common Areas
Activity Area
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Sun Room
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Dining/Activity
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Library (Cabinetry)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Toilets (Bar)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Lounge 2
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Toilets (Reception)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Office
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Staffroom
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Meeting Room
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Sales Room
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Letter Boxes
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Day Spa
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Hair Dresser
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Corridor
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Nurses Room
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Doctors Room
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Media Room
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Residential Areas
Unit A.0.1
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.0.2
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.0.3
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Repeaters
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Comms Cabinet
[6 empty] | prepopulate | Comms Cabinet Commissioning
First Floor
Common Areas
Corridor (opposite Refuse Cupboard)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Corridor (opposite Lift)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Corridor (outside Unit A.1.10)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Residential Areas
Unit A.1.1
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.2
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.3
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.4
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.5
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.6
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.7
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.8
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.9
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.10
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.11
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.12
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.1.13
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Repeaters
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Second Floor
Common Areas
Corridor (opposite Units A.2.2 and A.2.3)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Corridor (opposite Lift)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Corridor (outside Unit A.2.10)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Residential Areas
Unit A.2.1
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.2
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.3
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.4
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.5
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.6
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.7
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.8
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.9
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.10
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.11
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.12
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.2.13
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Repeaters
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Comms Cabinet
[6 empty] | prepopulate | Comms Cabinet Commissioning
Third Floor
Common Areas
Corridor (opposite Units A.3.2 and A.3.3)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Corridor (opposite Lift)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Corridor (outside Unit A.3.10)
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Residential Areas
Unit A.3.1
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.2
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.3
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.4
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.5
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.6
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.7
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.8
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.9
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.10
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.11
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.12
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Unit A.3.13
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Install DB | prepopulate | Install DB
[5 empty] | Fit off | prepopulate | Fit off
Repeaters
[5 empty] | Pre Wire | prepopulate | Pre Wire
[5 empty] | Terminated & Tested | prepopulate | Terminated & Tested
[5 empty] | Fit off | prepopulate | Fit off
Building Commissioning
[6 empty] | prepopulate | Building Commissioning
Completion Documents
[6 empty] | prepopulate | Completion Documents

## Checklist
Common Areas | Common Areas
Checklist | Pre Wire
Checkpoint | Cabling Complete
Checkpoint | Flush Box Fire Box Installed (Photos Attached Of Fire Box)
Checkpoint | Attach Photos Of Fire Penetrations
Checklist | Terminated & Tested
Checkpoint | Lan Test Complete
Checklist | Fit off
Checkpoint | Nurse Call Fit Off (Photos Attached)
Checkpoint | Home & Away Fit Off (Photos Attached)
Checkpoint | Repeaters Installed (Photos Attached)
Residential Areas
Checklist | Pre Wire
Checkpoint | Internal Cabling Complete
Checkpoint | Main Cabling Complete (Photos Attached)
Checklist | Install DB
Checkpoint | Lan Test Internals (Add Signature)
Checklist | Fit off
Checkpoint | Nurse Call Fit Off (Photos Attached)
Checklist | Comms Cabinet Commissioning
Checkpoint | Separate and Tone Nurse Call and Home & Away Cables (Add Signature)
Checkpoint | Terminate Nurse Call and Home & Away Patch Panels (Attach Photos)
Checkpoint | Build Nurse Call and Home & Away System (Attach Photos)
Checkpoint | Commission Nurse Call and Home & Away System (Attach Photos)
Checkpoint | Commission Fire Interface (Attach Photos)
Checklist | Building Commissioning
Checkpoint | Build Patch Panels (Attach Photos)
Checkpoint | Build Nurse Call System (Attach Photos)
Checkpoint | Program Nurse Call System (Add Signature)
Checkpoint | Commission Nurse Call System (Attach Photos)
Checkpoint | Commission Fire Interface (Attach Photos)
Checklist | Completion Documents
Checkpoint | Producer Statements PS3s
Checkpoint | As-Built Plans
Checkpoint | O & M Manual
Checkpoint | Other required documents