## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | 8ef25cf5-2c30-4291-b3ed-c05718ad8ffa |  | checklist | SEF VSD FAN Commissioning Checklist |  |  |  |  | Yes | SEF VSD FAN Commissioning Checklist | 000cdb24-026c-4ed0-be55-d7596302a0e3
checkpoint-status | 7714db90-c94f-4e93-87dc-ce370817453b |  | checkpoint | VSD parameters set
checkpoint-status | d95ca11e-874b-469f-979f-06c007f59e2b |  | checkpoint | Rotation
checkpoint-status | da6add2c-f252-4214-a569-86516c47c995 |  | checkpoint | AMP Draw
checkpoint-status | 90d83798-9270-4887-9d4a-3b7c29635303 |  | checkpoint | Correct operation from MSSB
checkpoint-status | 79292729-9bc4-42b9-bb04-d45d15348926 |  | checkpoint | Fire labels and Padlock installed
checkpoint-status | 980855ba-8efa-4062-8349-83c161483b58 |  | checkpoint | FIRE TEST with fire contractor
checkpoint-status | 78ae86d1-eb14-44a1-8cd1-010ead7edf66 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | fe363fc6-7969-4f47-925a-a24f69139a49 |  | checklist | Fire Signal BMS Checklist |  |  |  |  | Yes | Fire Signal BMS Checklist | 057cb148-8011-4570-b89d-a67e4d4af56f
checkpoint-status | 2c50da57-b7a1-458a-ba6f-b5449f145751 |  | checkpoint | ZFA Status
checklist-flat | 9aff8654-6294-46af-83db-05348ca4e33a |  | checklist | VSD FAN Commissioning Checklist |  |  |  |  | Yes | VSD FAN Commissioning Checklist | 08b8ea4d-2eda-4cc6-83c6-fd68006f1019
checkpoint-status | 74dbdaf5-795a-464f-bd23-6c5c5d7cfa68 |  | checkpoint | VSD parameters set
checkpoint-status | 834e3903-cf04-480b-8fa8-52f6a949ee68 |  | checkpoint | Rotation
checkpoint-status | 6cf13c6c-0877-4f9f-904e-987ed81f94af |  | checkpoint | AMP Draw
checkpoint-status | 017b55c6-9b1a-4070-8af1-2bb63bbe509b |  | checkpoint | Correct operation
checkpoint-status | 2f023ca2-4dde-4d5a-a629-c44e853619a4 |  | checkpoint | All Labels installed
checkpoint-status | 7c48f2a5-c205-4152-ab7d-240d3b69a1bf |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 861b2c70-ec2a-4c4c-a5c6-ae90040b8c56 |  | checklist | BMS Zone Sensor/AHPB Rough-in Checklist |  |  |  |  | Yes | BMS Zone Sensor/AHPB Rough-in Checklist | 0b153560-cda1-4f03-a781-02d3b5b788a7
checkpoint-status | f31529ae-831d-44c8-ae70-46ee89e363f5 |  | checkpoint | Wall installed
checkpoint-status | 153cbc01-02ec-4277-824a-99782e90160f |  | checkpoint | 3 pair cable roughed in
checkpoint-status | b3937fea-7b42-4b01-a249-c04b71a18e44 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 6d53c010-d410-4ca9-9d4f-962718e6cee8 |  | checklist | VSD Kitchen FAN BMS Checklist |  |  |  |  | Yes | VSD Kitchen FAN BMS Checklist | 0bc501d8-7e5a-4960-8872-aeb76a20f3e4
checkpoint-status | 81c868f4-b31c-4e9d-865a-2ff645c586ca |  | checkpoint | Fan Start / Stop Enable
checkpoint-status | d7a8abc1-9f80-4314-b39c-6fefebd69a28 |  | checkpoint | Fan Run Status (VSD)
checkpoint-status | ca637d30-d396-4295-977c-6b3affa92c7f |  | checkpoint | Fan Status DP Switch
checkpoint-status | ee6f7152-3f61-4f69-82ea-59be7f9d5e14 |  | checkpoint | Filter Interlock
checklist-flat | 7eef415f-b487-42b9-a4b8-d92fab912e7f |  | checklist | Fire Control Panel Installation |  |  |  |  | Yes | Fire Control Panel Installation | 0ca03233-2a2a-4820-ae55-a5bfd51fc4eb
checkpoint-status | 3bcf8bad-a240-489b-aaee-bbc3fb1e0645 |  | checkpoint | Wall Available for Mounting Switchboard
checkpoint-status | b25ecf31-3954-43d9-9dec-a04e541c14de |  | checkpoint | Cubicle Installed on Wall
checkpoint-status | ea5fa68e-ce02-4095-aa52-8c2d57851fe0 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | bd5db216-cc59-4eee-91bd-7ade2ff5969b |  | checklist | VRF FCU PBO Rough-in Checklist |  |  |  |  | Yes | VRF FCU PBO Rough-in Checklist | 0ca7a937-1d3c-4928-b364-51304573374c
checkpoint-status | f19b21c9-8e40-4687-8b59-c268ea825d37 |  | checkpoint | VRF Indoor Installed
checkpoint-status | 338d34a1-eeec-4702-97ca-154b814009dc |  | checkpoint | Isolator installed by others
checkpoint-status | a565314c-6074-48f4-821f-664d8a9e0fdd |  | checkpoint | Transmission cabling Roughed In
checkpoint-status | c9510919-c064-4f8a-ac3d-603aee216e25 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 4bddcf71-ad1a-4695-87c3-ee07dcd8d6ab |  | checklist | Switchboard Energisation |  |  |  |  | Yes | Switchboard Energisation | 0d8a2338-faf5-4a9c-a70c-47d13ac28602
checkpoint-status | 9658f2b6-f4e4-49d0-8f48-c5fa46b416b0 |  | checkpoint | All field cabling terminated
checkpoint-status | 1a61d930-212d-43d7-90e1-cbb878f70822 |  | checkpoint | All field tests completed
checkpoint-status | ace08f46-ad13-411b-8a0e-1067c3e517de |  | checkpoint | Power provided at Main Switch and tested
checklist-flat | 496c6804-4fb1-4853-8bb6-13fa6cb9334e |  | checklist | EC FAN Rough-in Checklist |  |  |  |  | Yes | EC FAN Rough-in Checklist | 0f604c66-a178-473d-9a61-b47a7c34909b
checkpoint-status | a9a7cf96-c8d0-4c83-a875-4e12986fd6c9 |  | checkpoint | Fan Installed
checkpoint-status | a8dd4a28-a783-4a77-8f13-6053aa4823d5 |  | checkpoint | Power cabling roughed in
checkpoint-status | 2499db47-5ffb-4d5b-8847-fd84d2b1c828 |  | checkpoint | BMS cabling roughed in
checkpoint-status | 6346c912-c9ee-4164-8200-3e6a187cbf6b |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 07738c68-ecaa-411f-bf4f-4dc204ad3973 |  | checklist | BMS Cubicle Commissioning |  |  |  |  | Yes | BMS Cubicle Commissioning | 1988e662-6ed5-4736-a75a-0fec88bed9ab
checkpoint-status | 57d39747-f064-43b2-ac91-11f3de29d550 |  | checkpoint | BMS Cubicle powered up
checkpoint-status | ff0de994-b735-4fae-8392-e2f1631ac145 |  | checkpoint | All Cards Online
checkpoint-status | 7906e4c8-c804-4ec2-baa4-54c6387ae8f7 |  | checkpoint | All labels, drawings etc installed
checkpoint-status | e736d3a3-20f6-4cd4-a118-7a60cca85703 |  | checkpoint | BMS Cubicle cleaned out and ready for Handover
checklist-flat | 6adceccd-e359-46d0-8f19-543b1509c933 |  | checklist | SEF VSD FAN Fitoff Checklist |  |  |  |  | Yes | SEF VSD FAN Fitoff Checklist | 21887c27-8dfb-49f5-ab72-a0aede7d2310
checkpoint-status | 4a651e2e-d6bf-4089-bdb1-0423ce2ebfef |  | checkpoint | VSD installed
checkpoint-status | 47ccd86a-ffc4-4f50-a293-8de6a3e2b6c2 |  | checkpoint | Power supply terminated
checkpoint-status | 589bbce5-eb06-466e-afd8-b17aa2f44130 |  | checkpoint | EMC cable fit off
checkpoint-status | f625b9b2-6cde-4097-aeec-a14ba08196a5 |  | checkpoint | Control cable fit off
checkpoint-status | 1b8fcb75-0e0c-4e04-a659-10806e507017 |  | checkpoint | Ready for energisation
checkpoint-status | 309bdf23-cbed-464d-9d40-5048c14acf59 |  | checkpoint | Conduit, dektites installed, penetration watersealed
checkpoint-status | 8ec36d95-44aa-41b4-ad87-a26ea00ac061 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | e28d686b-42ec-4aa5-889d-3ed84437d280 |  | checklist | VSD FAN PBO Rough-in Checklist |  |  |  |  | Yes | VSD FAN PBO Rough-in Checklist | 22479359-b9f8-41ce-8128-ddf877394810
checkpoint-status | ad16e05d-a7a3-4796-9aaa-bdc60d35c171 |  | checkpoint | Fan Installed
checkpoint-status | 1a3c7786-2c08-4dd2-b52a-86ac97e92b42 |  | checkpoint | Isolator installed by others
checkpoint-status | e9325220-1e78-45e5-8eff-105f4d1796ce |  | checkpoint | BMS cabling roughed in
checkpoint-status | ad906c55-9e54-4bea-9e96-1d1be3a7aafe |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 8656f927-eee0-431b-b4b2-633691bd5a6a |  | checklist | Remote Sensor/AHPB Rough-in Checklist |  |  |  |  | Yes | Remote Sensor/AHPB Rough-in Checklist | 2d44a85e-8764-4244-b2db-c698e33d92c6
checkpoint-status | 495345f3-e807-4bee-99c0-3e7f41753dc2 |  | checkpoint | Wall installed
checkpoint-status | 02e0b8cd-ce00-4af4-b2f3-b871dbcbf498 |  | checkpoint | Remote sensor and 2 pair cable roughed in
checkpoint-status | 0952d2e8-d64f-4f69-962f-9e0c42858dd3 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 21d89e61-af35-4cf4-a2cc-f1fe47698af0 |  | checklist | WC FCU Rough In checklist |  |  |  |  | Yes | WC FCU Rough In checklist | 307fe0e3-2b40-4c91-84dd-812f285718d2
checkpoint-status | 714388f2-e885-488a-9cde-208b8a170f04 |  | checkpoint | Area ready & accessible
checkpoint-status | 3886b845-7950-4a6b-aa51-2bb27375b1ce |  | checkpoint | WC FCU installed
checkpoint-status | 68799611-fe32-4568-b431-ad59f127d0ef |  | checkpoint | Power supply roughed-in
checkpoint-status | 959c65da-236b-41cc-b958-e3ef8b563df1 |  | checkpoint | BMS cabling roughed-in
checkpoint-status | efe5f9ab-8b68-4e68-b1cc-223da7e28abd |  | checkpoint | Thermostat roughed-in
checkpoint-status | 75f7253d-f37a-4204-b26e-dd7f680f5fd0 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | ea5ad12a-8c58-41fd-a198-8851d02f8024 |  | checklist | Switchboard Installation |  |  |  |  | Yes | Switchboard Installation | 351b3008-e025-410e-9e4d-e6746b19b97d
checkpoint-status | d437cff8-daae-4d81-b449-3acc7aa2ded1 |  | checkpoint | Wall Available for Mounting Switchboard
checkpoint-status | c9147a2b-238b-4f86-9008-23f2f24086bc |  | checkpoint | Switchboard Installed on Wall
checkpoint-status | eb99e54d-3576-4aae-8f2f-c84c9de61ad2 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | bb98d29d-c27e-4fc3-b204-311898b558e2 |  | checklist | VSD Kitchen FAN Fit-off Checklist |  |  |  |  | Yes | VSD Kitchen FAN Fit-off Checklist | 38089c0e-56b0-4e5e-a77b-2bc15d4f5efc
checkpoint-status | 020100c9-2a11-4550-8877-eeb1b2aa7ba8 |  | checkpoint | VSD installed
checkpoint-status | 2185098d-3853-4bab-bda4-72c7ab62b16f |  | checkpoint | Power supply terminated
checkpoint-status | 8b312257-01f3-4d92-9ad6-d8a01e820ecd |  | checkpoint | EMC cable fit off
checkpoint-status | dc8c9adb-86fc-4da5-8240-544b4048315f |  | checkpoint | BMS cable fit off
checkpoint-status | 5c9ed8af-9c47-414d-9564-80c543827ae2 |  | checkpoint | Ready for energisation
checkpoint-status | b8f81786-988d-48cb-87bc-aba57d690b5c |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | d8f3b993-187f-400b-8d3f-5adcabd5d9a9 |  | checklist | DOL FAN Fit-off Checklist |  |  |  |  | Yes | DOL FAN Fit-off Checklist | 3a1ff217-9437-40a0-83b1-3f8792e11aec
checkpoint-status | 01e82a4b-b71d-427c-bffc-36a26cc8ced8 |  | checkpoint | Fan Installed
checkpoint-status | 69516214-72f4-4dc2-b719-8c47c08c7e8f |  | checkpoint | Power cabling roughed in
checkpoint-status | 7dc099b5-0ac9-4508-ac7c-15da25baa5a5 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | ce31b9dd-1eab-4bf9-90ad-a3fa3b5bfc94 |  | checklist | Switchboard Fit-off |  |  |  |  | Yes | Switchboard Fit-off | 3a501ed9-740c-4ff2-bca1-92ac81a03e25
checkpoint-status | d0969ec2-0217-48e8-ab1b-c79d8d1c60e7 |  | checkpoint | All field cabling terminated
checkpoint-status | 6b32f989-3c12-444e-ae57-cc8953d05b9b |  | checkpoint | Fire Signal supplied by others and terminated
checkpoint-status | af2a1361-6277-4f2b-9726-80c4e3dfccf5 |  | checkpoint | Sub-mains supplied by others and terminated
checkpoint-status | 37791f16-a894-4687-9517-c18ef31c229c |  | checkpoint | BMS cables installed and terminated
checkpoint-status | a6226eac-fec0-4ee6-887b-7d1f5191e5c7 |  | checkpoint | All Field Tests completed
checkpoint-status | 6822a6ac-d3d4-4920-9456-71aea60edf39 |  | checkpoint | Ready for Energisation
checklist-flat | 1a7a26bb-adb2-4a15-8949-c735940566bf |  | checklist | DOL FAN Rough-in Checklist |  |  |  |  | Yes | DOL FAN Rough-in Checklist | 3ba7d333-e02f-41d1-8dff-1b01971e56a0
checkpoint-status | 163d8983-893e-403f-bf97-aa02967f272c |  | checkpoint | Fan Installed
checkpoint-status | 42f6edc7-03b3-488b-a273-03293e0e937d |  | checkpoint | Power cabling roughed in
checkpoint-status | bd4753b1-3812-4b40-aab3-dd27dc99bc36 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 53df8dd2-2319-4a43-b684-916f6593ff79 |  | checklist | AHPB Rough in Checklist |  |  |  |  | Yes | AHPB Rough in Checklist | 3dce13cf-6fbc-4592-b6d6-b15c666ca0ae
checkpoint-status | b1e28ff7-940e-41ec-a8dd-126577b5b34c |  | checkpoint | Wall installed
checkpoint-status | af2739d3-990a-462d-8935-976074e7722e |  | checkpoint | 2 pair cable roughed in
checkpoint-status | 5234a610-dd22-4c63-b4a9-6389df6df703 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 9248ba9a-307f-4b16-81e4-39185c3fd573 |  | checklist | SEF VSD FAN Rough-in Checklist |  |  |  |  | Yes | SEF VSD FAN Rough-in Checklist | 4dea5b3d-1bfd-418a-b307-84627a08bc02
checkpoint-status | 6534ac6a-984c-425c-82ec-024c88c611da |  | checkpoint | Fan Installed
checkpoint-status | 8de41d98-8485-42e5-a6c3-7e1c1e69d8ad |  | checkpoint | Fire Rated Supply rouged-in
checkpoint-status | dd89900c-e9cb-4fdd-b32e-a339edc3af65 |  | checkpoint | Fire Rated Control cable roughed-in
checkpoint-status | 0bbc563a-51ed-48a4-99e1-7030c9c61a23 |  | checkpoint | Stainless Steel cable ties installed
checkpoint-status | 7be79a4d-5c84-423f-8b00-8df48e95a99b |  | checkpoint | Cables through roof
checkpoint-status | b238ce2c-c215-4e88-a8ee-8c078016becb |  | checkpoint | Conduit, dektites installed, penetration watersealed
checkpoint-status | 9b5a12e2-ecc6-48eb-9459-7d1e4f5f3116 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 66d8bd2a-6ba2-4327-9af0-625385a58559 |  | checklist | Remote sensor Rough In checklist |  |  |  |  | Yes | Remote sensor Rough In checklist | 56f1ed02-5361-49cf-b992-606b3c34b05c
checkpoint-status | e8925028-b991-4d03-b8c1-77a92c82f4ef |  | checkpoint | Wall installed
checkpoint-status | 1a2fe782-19b9-49e3-9fcb-b807c31eb294 |  | checkpoint | Remote sensor cable roughed in
checkpoint-status | c65c717a-7c8a-4811-887d-c0336c085055 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | b9d6f8b9-e720-427b-b208-75d835a716b3 |  | checklist | Switchboard Installation |  |  |  |  | Yes | Switchboard Installation | 574ab4b0-2cd7-4796-a3d9-f07bb4435272
checkpoint-status | 8237f490-256e-46fe-bba5-76cbd5a631d0 |  | checkpoint | Wall Available for Mounting Switchboard
checkpoint-status | 9d287b8b-d8a2-427f-8a33-1fe14679734b |  | checkpoint | Switchboard Installed on Wall
checkpoint-status | be790070-4327-4bfb-8a31-159d40effd29 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 25313a0f-73e9-43f3-ac78-29dc3c8d9f0f |  | checklist | VSD FAN Rough-in Checklist |  |  |  |  | Yes | VSD FAN Rough-in Checklist | 5ac37854-deea-4740-9663-3beb71c5979a
checkpoint-status | 863c9c0b-eb1d-4834-a547-50b3411cd007 |  | checkpoint | Fan Installed
checkpoint-status | 69a03edd-a404-4c3f-acdc-fc809dfbf831 |  | checkpoint | Power cabling roughed in
checkpoint-status | bf767f5e-04fa-4df8-bed7-3e0dae732aa6 |  | checkpoint | BMS cabling roughed in
checkpoint-status | 9bedcd28-52b7-44ad-94c9-a30772c2cf4b |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 190683ca-1bbc-46a8-9a1d-12a8c25cc27a |  | checklist | EC FAN Fit off Checklist |  |  |  |  | Yes | EC FAN Fit off Checklist | 5e30f15f-34a7-4449-a2dd-6efeecb6182b
checkpoint-status | 1b567b48-6b6a-4b43-816d-c87be918774c |  | checkpoint | Power supply terminated
checkpoint-status | e953491a-8e51-4f3c-a338-e38c9b19809f |  | checkpoint | Control cable fit off
checkpoint-status | 05467e2f-2217-4772-85e5-e4aa859d0521 |  | checkpoint | Ready for energisation
checkpoint-status | a288790f-ed16-4f7d-bcae-a4b7d1f8d065 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 9627550c-7762-4bf5-97cb-e25344fafe61 |  | checklist | Circuit Energisation from Isolator checklist |  |  |  |  | Yes | Circuit Energisation from Isolator checklist | 66a65f00-523a-477d-9b78-71dfd55f899b
checkpoint-status | 965b8df2-4995-4b36-98a2-b18c75e2097f |  | checkpoint | Isolator installed in correct position
checkpoint-status | 8d2a3b2f-6420-4279-8dec-7f658d1d7e31 |  | checkpoint | Power cable terminated by others
checkpoint-status | c4d44f2c-63d9-4c3b-b915-0efce2527c97 |  | checkpoint | Power cable terminated at Equipment
checkpoint-status | 8e2c4b46-f6c1-4e4e-bbc0-6993d0b046f5 |  | checkpoint | Circuit energised by others
checkpoint-status | 34a08c26-c7b7-4909-b13b-22103b45c86e |  | checkpoint | Voltage Tested at equipment
checklist-flat | 55a7db86-7050-40ed-b41c-49d3c097e1bb |  | checklist | VSD Kitchen FAN Rough-in Checklist |  |  |  |  | Yes | VSD Kitchen FAN Rough-in Checklist | 6b77391d-ae81-4353-a507-276cecd59fbb
checkpoint-status | 612d9f03-1edc-4ca6-99bb-77ea00191b88 |  | checkpoint | Fan Installed
checkpoint-status | 81e9f528-13e3-46ee-9138-ba0b3b0aaabf |  | checkpoint | Power cabling roughed in
checkpoint-status | 6f7fa04e-ab9e-4a3e-a92a-0135705e998f |  | checkpoint | BMS cabling roughed in
checkpoint-status | 9f5ba0b6-8e4c-40b7-94d0-13829352036d |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 739674ae-d928-4588-a149-ca12c5f30718 |  | checklist | SPLIT AC Fit-off Checklist |  |  |  |  | Yes | SPLIT AC Fit-off Checklist | 6d38ace1-a4e6-4af5-b5fc-84e1541ff890
checkpoint-status | a3bf72fc-5c1f-4579-a529-31c27de25433 |  | checkpoint | Outdoor unit installed
checkpoint-status | 7a961cef-c00f-41bb-bca8-6226314a8f3b |  | checkpoint | Power supply to condensing unit Fit off
checkpoint-status | d2594d10-c658-45fd-ac93-45755c81d9a1 |  | checkpoint | Power supply to indoor unit Fit off
checkpoint-status | c0b19153-fffa-4107-bc9f-76104c769e53 |  | checkpoint | Interconnecting/transmission cabling Fit off
checkpoint-status | d6169473-87d5-4635-8841-1e8cb0e9720b |  | checkpoint | Local thermostat Fit off
checkpoint-status | 735ee0b3-6690-4f32-b316-41f1516672c3 |  | checkpoint | Ready for energisation
checkpoint-status | 002fb4de-49ad-4449-bfcc-0656c1ebf349 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | cf086758-1e2c-4e40-a958-b11e6f498005 |  | checklist | EC FAN Commissioning Checklist |  |  |  |  | Yes | EC FAN Commissioning Checklist | 6e535858-78fc-4660-9b8f-97ebdc112af6
checkpoint-status | f9344fb1-b91a-4739-aac0-5b8412fdd85a |  | checkpoint | Rotation
checkpoint-status | 19187e29-73bb-449d-9de6-65987fa40dc4 |  | checkpoint | AMP Draw
checkpoint-status | 258b63b1-e4cc-4b6f-b0c9-16f091fd76d5 |  | checkpoint | Correct operation
checkpoint-status | d77b07e4-319d-4243-87f2-cabd3d8946eb |  | checkpoint | All Labels installed
checkpoint-status | 59ccfc79-387b-4118-bdae-a62e4da932b0 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 3094c9b3-e39c-4bb5-9693-17ab5f46d137 |  | checklist | Fire Control Panel Fit-off |  |  |  |  | Yes | Fire Control Panel Fit-off | 70f17c76-3059-4051-91f0-9966b290af14
checkpoint-status | 0670e652-df7b-4149-8e2b-3454f04f8f43 |  | checkpoint | All interconnecting cabling to MSSB installed and terminated
checkpoint-status | 7bf2660c-c36b-42ce-ada5-fe8a5d923e57 |  | checkpoint | Fire cabling by others installed and terminated
checklist-flat | 54de2824-062e-45e2-a729-8fe48c10630a |  | checklist | FAN BMS Checklist |  |  |  |  | Yes | FAN BMS Checklist | 72b79418-a039-45ce-b33a-52272029ece5
checkpoint-status | fd13d13a-1e1d-417f-8d73-fed6bc8da3d9 |  | checkpoint | Start/Stop
checkpoint-status | a8bc20a6-f885-49fc-8aac-b50a436b3d08 |  | checkpoint | Fan Status
checkpoint-status | 8c280874-593e-4ec1-b16a-2fd2d1f245a6 |  | checkpoint | Fan Fault
checklist-flat | 29680ac6-6e60-4e4c-bb0c-af925ac71ca3 |  | checklist | DOL FAN Fit-off Checklist |  |  |  |  | Yes | DOL FAN Fit-off Checklist | 78054c02-0822-4dab-86f2-e5b79f368c10
checkpoint-status | 73717f9d-6578-41df-b1f1-84525fb28a2e |  | checkpoint | Power supply and isolator fit-off
checkpoint-status | 73743d10-d3c9-4f35-b3a7-52c4b25437e2 |  | checkpoint | Ready for energisation
checkpoint-status | b18b1777-9bbb-4b0b-8746-a7d56d7b557f |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 9ce57e3d-bc5c-41cf-9786-72a896edd974 |  | checklist | VSD Kitchen FAN Commissioning Checklist |  |  |  |  | Yes | VSD Kitchen FAN Commissioning Checklist | 7e30ec5b-bde2-4d3d-b577-9a8fa8555cd5
checkpoint-status | f67ac70f-d1b8-450a-9a94-fbfd17b1c97b |  | checkpoint | VSD parameters set
checkpoint-status | ec083402-14d9-46ed-a6f0-026818f73186 |  | checkpoint | Rotation
checkpoint-status | dfe90d60-40dd-47f2-b43b-5dcc70603d94 |  | checkpoint | AMP Draw
checkpoint-status | cb91e44d-3f4a-4eb0-bd7d-01676e5d6212 |  | checkpoint | Correct operation
checkpoint-status | 6842d295-7d83-4361-86c1-b0aa4160c363 |  | checkpoint | All Labels installed
checkpoint-status | 58e95aa6-0669-4774-987b-f51315ff235c |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 6625c07b-6f82-4e3d-adce-31d989e45ed0 |  | checklist | EC FAN BMS Checklist |  |  |  |  | Yes | EC FAN BMS Checklist | 8483ad35-5c4c-435d-8a4f-6f7d6e87da7d
checkpoint-status | 8fcb870c-626a-48ae-afd9-37dd53a1ed9d |  | checkpoint | Start/Stop
checkpoint-status | eb54bd71-296c-467b-9106-e247c4f7e84e |  | checkpoint | Fan speed
checkpoint-status | 611b4167-33bf-4377-ad13-f9be52287790 |  | checkpoint | Fan Status
checklist-flat | 5321b89f-0739-4ad2-a91e-2056403fd4ee |  | checklist | WC FCU Commissioning checklist |  |  |  |  | Yes | WC FCU Commissioning checklist | 871268b2-651c-4c31-8fd6-b62dd2cde507
checkpoint-status | 3e1f732b-dda2-46b7-834c-18aed7715661 |  | checkpoint | Power supply and isolator fitoff
checkpoint-status | d9242420-7722-41a7-9533-55e051a6164b |  | checkpoint | 0-10V tested up/down
checkpoint-status | 7e5186f0-dae1-4c0a-b563-a8c11c35d790 |  | checkpoint | Rotation
checkpoint-status | b1d8d5ee-e586-4a52-9038-61412189d150 |  | checkpoint | AMP Draw
checkpoint-status | 6648479e-c48f-49ef-a10c-113a559920d5 |  | checkpoint | Correct Operation
checkpoint-status | b6256fe6-5c75-46ec-8fb2-143a23a2ba42 |  | checkpoint | All labels installed
checkpoint-status | 28189b26-99c1-4151-9cb1-128e2ef49472 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 66f8732a-af82-4796-acc5-eb87faecaf5a |  | checklist | Package Unit BMS Checklist |  |  |  |  | Yes | Package Unit BMS Checklist | 87ef14c8-4070-48f6-a341-379aea44e15e
checkpoint-status | ca324fe8-9e2c-4431-abe1-562de48b0f83 |  | checkpoint | Supply fan start / stop
checkpoint-status | e060ca07-2cbb-407e-8728-2cd5843d06bd |  | checkpoint | Fan status
checkpoint-status | 83830443-cb4e-42bf-961b-d064a3bdfd0b |  | checkpoint | Fault fault
checkpoint-status | 31ffa637-441c-4f9b-9101-dfcb20e094d9 |  | checkpoint | Zone temperature
checkpoint-status | 81afac8b-f756-4ef5-8b3b-e8fb726ad3e1 |  | checkpoint | Heat / cool reversing valve
checkpoint-status | 05898d6c-d2ff-4756-8865-737d65f81c11 |  | checkpoint | Stage 1 enable
checkpoint-status | 89437ba8-4bba-471e-a252-1ef8f2aa24a3 |  | checkpoint | Stage 2 enable
checkpoint-status | bf8e21b4-b8fc-4e30-bcc4-f86d4adac400 |  | checkpoint | Supply air temperature
checkpoint-status | 4a2a20ee-7de8-49eb-9a14-d946808597d5 |  | checkpoint | 0-10v fan speed
checkpoint-status | 7356bf20-05f2-46b1-868c-916ff3400571 |  | checkpoint | 0-10v compressor speed
checklist-flat | 7b234f5b-eef3-4017-93df-a7e5311e0807 |  | checklist | Package Unit Commissioning Checklist |  |  |  |  | Yes | Package Unit Commissioning Checklist | 91220048-39c3-4bfc-8a07-5b1cf247ec2c
checkpoint-status | 0b0a2504-878a-4a75-88ca-623d74aede73 |  | checkpoint | SAF Running
checkpoint-status | 8ec92c95-0d3d-49ea-bda6-6cddb6a96a26 |  | checkpoint | Stage 1 tested
checkpoint-status | 848feae9-02e7-4355-bf1e-da7587113b49 |  | checkpoint | Stage 2 tested
checkpoint-status | 4331298c-887e-4ba8-9703-6fca766cdb7d |  | checkpoint | Stage 3 tested
checkpoint-status | ed00678c-0c52-4e6a-8de4-c70ed7cce9ec |  | checkpoint | Rev valve tested
checkpoint-status | a0292909-f89b-43ac-bce7-705a311f6419 |  | checkpoint | AMP draw
checkpoint-status | b8e18078-fe99-4a25-8f2f-640916a700a3 |  | checkpoint | economy dampers tested
checkpoint-status | 8c828667-9858-4480-ae37-1bf12a45a950 |  | checkpoint | MSSB run/fault enable tested
checkpoint-status | d32ff818-f3e0-4f65-b720-7354fd4c912e |  | checkpoint | All labels installed
checkpoint-status | 78a9f262-ab29-45c7-a0d7-6229048d29e0 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 15449f1d-903e-4143-811c-b34e9575c471 |  | checklist | Central Controller Rough In checklist |  |  |  |  | Yes | Central Controller Rough In checklist | 9ce2d19f-aa58-4621-8eaa-b8e75e8040d3
checkpoint-status | e7eaa229-54e1-4ac5-abdf-ad5ed017f069 |  | checkpoint | All transmission cabling installed
checkpoint-status | f112412e-27ee-420e-9cd0-aef1bc5f7c21 |  | checkpoint | Central controller cable roughed in to correct wall position
checklist-flat | 1d85a637-240f-44e0-bc40-9ff6e1d6e99d |  | checklist | Switchboard Commissioning |  |  |  |  | Yes | Switchboard Commissioning | 9ed3c7bb-bcab-47dc-8aa2-063312bd97aa
checkpoint-status | bf120d93-6073-4805-a898-727f4f05ee70 |  | checkpoint | All circuits operational
checkpoint-status | 76bf9f7e-8bcb-47d4-8220-3f74025baf8f |  | checkpoint | Power meter tested
checkpoint-status | e10a07bc-3c29-44a8-b526-f1ff6138a290 |  | checkpoint | Fire Trip Tested
checklist-flat | 9104a1bd-4da9-420e-8247-60f18fd9a08a |  | checklist | SPLIT AC BMS Checklist |  |  |  |  | Yes | SPLIT AC BMS Checklist | a5d65f77-4e39-4a23-b619-0c883ce3ed30
checkpoint-status | 1f3af12d-a2d4-4ff7-b198-30a9474579f0 |  | checkpoint | AC unit on HLI
checklist-flat | a7fb0be3-ef72-4c1e-80b2-c552fb7c747d |  | checklist | BMS Cubicle Installation |  |  |  |  | Yes | BMS Cubicle Installation | a897a2a8-2e7d-439a-9061-645f328fbb76
checkpoint-status | 14369048-398f-4914-8f70-815ab65048b7 |  | checkpoint | Wall Available for Mounting Switchboard
checkpoint-status | 8291c4c0-052f-4a43-b6c9-6161ce28219c |  | checkpoint | Cubicle Installed on Wall
checkpoint-status | 4bdea0f8-f5c2-47af-bee8-8ed9364fdb8b |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | a0d4ab6b-ced6-41af-9e6b-4cae2631c237 |  | checklist | VRF Condensing unit PBO Rough In Checklist |  |  |  |  | Yes | VRF Condensing unit PBO Rough In Checklist | aad1141b-e950-4141-96ee-5978bd43f0a3
checkpoint-status | efbe0fd7-764a-4af3-9616-3eb8f9cfa6b7 |  | checkpoint | Condensing unit installed
checkpoint-status | fccd0b31-260c-473a-a829-956e2b264d83 |  | checkpoint | Isolator installed by others
checkpoint-status | c15d80ff-aab4-4c55-8758-b9503e31bd20 |  | checkpoint | Transmission cabling Roughed In
checkpoint-status | fec32c4f-45f4-4a1a-ac76-ba848c5ffc35 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 6c5e5135-eecf-4d53-9dab-45b938ee2927 |  | checklist | SPLIT AC Commissioning Checklist |  |  |  |  | Yes | SPLIT AC Commissioning Checklist | b251411a-d0a7-412d-b3cb-dab3c438d725
checkpoint-status | 9200568e-de4c-47fd-8204-c962236c27e2 |  | checkpoint | Hard-wired controller working
checkpoint-status | 6d4c151e-e47f-4042-8741-8cf57074c0c1 |  | checkpoint | Heating tested
checkpoint-status | 7746636c-5ddc-4656-b9e6-304b87ccd923 |  | checkpoint | Cooling tested
checkpoint-status | d49acf59-aded-499d-b18b-7e145244d792 |  | checkpoint | AMP draw
checkpoint-status | 58438eba-b47f-4036-ba45-2734f53668d8 |  | checkpoint | All Labels installed
checkpoint-status | b1a631bf-cd08-4b47-bcf9-7f335c55c6f1 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 661bc268-7230-4a7e-adcd-a0cdc594ad01 |  | checklist | Switchboard Installation |  |  |  |  | Yes | Switchboard Installation | b293605d-cf29-4e70-b858-a3ac79675a33
checkpoint-status | b9e2779f-bfef-4ba3-8844-e73f5009b25a |  | checkpoint | Wall Available for Mounting Switchboard
checkpoint-status | 50fc482e-c40d-4db5-b1b3-13327dd098ee |  | checkpoint | Switchboard Installed on Wall
checkpoint-status | 422394f8-933b-4316-841b-31358b6650b8 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | b8171943-82a1-4810-a8bb-9f75c9b4b5b0 |  | checklist | Package Unit Rough-In Checklist |  |  |  |  | Yes | Package Unit Rough-In Checklist | bc421771-2871-4a3b-b796-ab04ea81e0d6
checkpoint-status | b70f09e1-747a-4b9e-8f4b-203636c5f013 |  | checkpoint | Area ready & accessible
checkpoint-status | 218f160d-7f90-41a8-9884-2a5b585e9ba2 |  | checkpoint | Package Unit Installed
checkpoint-status | 3edd24ce-cf5d-4d24-b28f-85e4c87753e1 |  | checkpoint | Power supply roughed in
checkpoint-status | e1037834-df0d-4b0a-bc0d-a8d54df964aa |  | checkpoint | LL Control cabling installed
checkpoint-status | 0bd7ba59-f884-498c-a188-21a32b51202e |  | checkpoint | Local thermostat roughed in
checkpoint-status | 25b41618-924d-47d7-a7ff-b0e1a98e3def |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 9c7d1188-5d4a-437d-8ef4-fa067f696b29 |  | checklist | Fire Control Panel Commissioning |  |  |  |  | Yes | Fire Control Panel Commissioning | bf8dc3f1-231d-4a24-9a6a-5763883097a2
checkpoint-status | ea80e3b6-2688-473b-853e-93a91a80ce50 |  | checkpoint | All fire relays and points test with fire contractor
checkpoint-status | 36c7be71-a41c-4ce8-a74b-c3dce77f69e1 |  | checkpoint | All labels, drawings etc installed
checkpoint-status | e27438c1-1792-49f1-859a-d9d385045723 |  | checkpoint | Fire Control Panel cleaned out and ready for Handover
checklist-flat | 61b7783d-cd2b-4e95-a283-91d05740cf0a |  | checklist | Circuit Energisation from switchboard checklist |  |  |  |  | Yes | Circuit Energisation from switchboard checklist | c61772db-d642-4bca-af89-85aa4d91cc52
checkpoint-status | a3762da4-feea-4253-b002-8fb8315d3996 |  | checkpoint | Power cable installed in switchboard
checkpoint-status | ad03a383-f3e3-491d-9805-3ea569836c66 |  | checkpoint | Power cable tests completed
checkpoint-status | d55d93b8-2612-4482-8c54-2257d40ba845 |  | checkpoint | Circuit breaker installed
checkpoint-status | f74f495c-d05a-4fe7-b8a7-113825438f7d |  | checkpoint | Power cable terminated at switchboard
checkpoint-status | fb85748c-6aa6-4830-a2be-684823b6d503 |  | checkpoint | Power cable terminated at Equipment
checkpoint-status | 9cbed993-7cf2-4027-bddd-25f0fb86591d |  | checkpoint | Circuit energised
checkpoint-status | 4b6d3649-dd81-4d45-aca2-12ce3e93b280 |  | checkpoint | Voltage Tested at equipment
checklist-flat | d9c3b586-9fbd-4c84-aefe-8753ccfdce8d |  | checklist | Cable Tray Install Checklist |  |  |  |  | Yes | Cable Tray Install Checklist | c9e3621e-0f8f-49fe-820b-f5d481ca7527
checkpoint-status | a0321b83-eefd-40f2-94eb-77d04a760ba2 |  | checkpoint | Cable Tray Installed
checkpoint-status | 688ad68d-b186-4d51-a221-9d2a888720ee |  | checkpoint | Cable Lid Installed
checklist-flat | 1c6c24f1-885d-444c-a62d-b3dca03c6ec3 |  | checklist | VSD FAN Rough-in Checklist |  |  |  |  | Yes | VSD FAN Rough-in Checklist | cd464877-7f1c-4ec4-b1c3-2e7f13f0deca
checkpoint-status | 1a172d4d-d4a7-46f4-ba88-73cbe8e1cfd7 |  | checkpoint | Fan Installed
checkpoint-status | 9a6feb1f-ee8c-4337-b4f4-acc9e79b50b6 |  | checkpoint | Power cabling roughed in
checkpoint-status | a71d3df5-ab31-421c-84b2-6d1fdfc74f8b |  | checkpoint | BMS cabling roughed in
checkpoint-status | e75a9f93-4894-403e-856b-b36dfc7e5ba6 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | de919826-9fd2-4ed4-a25f-3e661cab8e83 |  | checklist | DOL FAN Commissioning Checklist |  |  |  |  | Yes | DOL FAN Commissioning Checklist | d2355ec4-c377-41ae-8e02-8c040474753b
checkpoint-status | 6719d649-ddbb-4414-89f4-64d407f67fe0 |  | checkpoint | Rotation
checkpoint-status | 6b9de7fd-7ae5-42f1-b22e-a28b5acd77a3 |  | checkpoint | AMP Draw
checkpoint-status | ff3daa43-deda-4d03-8a9e-bda03ec69dd1 |  | checkpoint | Correct operation
checkpoint-status | aeedb01e-736d-4eb0-b343-01dddbf65897 |  | checkpoint | All Labels installed
checkpoint-status | f44e8b69-2e40-4a65-881d-e480e10a7baa |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 08532a3d-a4be-4f42-90d4-9b3a4776344b |  | checklist | SPLIT AC Rough-In Checklist |  |  |  |  | Yes | SPLIT AC Rough-In Checklist | d2ac0ef3-153c-4452-aa0e-69c82654b5fb
checkpoint-status | 360c4092-711d-4aaa-9c18-222bd5c0c8d6 |  | checkpoint | Outdoor unit installed
checkpoint-status | 073475e7-b671-4afa-a57e-bf052c8e91ad |  | checkpoint | Indoor unit installed
checkpoint-status | 0cf07328-ca0a-4620-b268-cdefd4be30d6 |  | checkpoint | Power supply to condensing unit roughed in
checkpoint-status | 3744cd26-650b-48a2-9b2f-bd19b9b693e1 |  | checkpoint | Power supply to indoor unit roughed in
checkpoint-status | 149cef68-4452-437f-90e0-c06f66a06c5b |  | checkpoint | Interconnecting cabling installed
checkpoint-status | e0bb0c7e-98a1-4bed-b89b-3028cd3eb6ef |  | checkpoint | Local thermostat roughed in
checkpoint-status | 1077d208-ca10-4d55-a525-6441bdb2404e |  | checkpoint | Transmission cabling rough-in
checkpoint-status | c5000fe8-a591-471b-9040-98b66f0570b5 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 2552f33d-1bb2-4263-af39-2745287ae5e3 |  | checklist | SEF VSD FAN BMS Checklist |  |  |  |  | Yes | SEF VSD FAN BMS Checklist | d64dec66-6e8d-4695-9c6a-fa1394d80e04
checkpoint-status | 48a5c371-7401-4ea3-8c7a-814882534b57 |  | checkpoint | Fan Status
checklist-flat | b2f1fb22-b4f6-4fe5-9f4b-b50b373341b7 |  | checklist | EC FAN Rough-in Checklist |  |  |  |  | Yes | EC FAN Rough-in Checklist | d77fd2b6-e832-410b-bb71-96208a496161
checkpoint-status | 4c0481b4-6f4c-4b2c-8075-b1e1f4b5a1c9 |  | checkpoint | Fan Installed
checkpoint-status | d56459ec-2753-4689-8b1c-aa8e6f8e5824 |  | checkpoint | Power cabling roughed in
checkpoint-status | 5d53345c-2c82-4e08-b162-5fe5517350c3 |  | checkpoint | BMS cabling roughed in
checkpoint-status | 11838238-0d9d-4b70-952f-01e7c9a92957 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 51fbabd5-bdf3-4324-a2fe-7dca392ae684 |  | checklist | SEF VSD FAN Rough-in Checklist |  |  |  |  | Yes | SEF VSD FAN Rough-in Checklist | d9274a2e-0e3b-4b7d-b342-b1055c1eace2
checkpoint-status | e894ab1b-249d-4b97-a6bd-bc8a6af4005f |  | checkpoint | Fan Installed
checkpoint-status | 272f065a-590f-4466-b3a6-ad5837604e98 |  | checkpoint | Fire Rated Supply roughed-in
checkpoint-status | 4f4278c3-8d74-469a-b4b2-f643a2074394 |  | checkpoint | Fire Rated Control cable roughed-in
checkpoint-status | 62f19c3f-0ad5-4d02-a1c0-374eb0d04416 |  | checkpoint | Stainless Steel cable ties installed
checkpoint-status | a05d0fc0-223e-40dc-8c87-129028ce32dd |  | checkpoint | Cables through roof
checkpoint-status | 9245a209-3944-4b09-94aa-f4df7fbed86e |  | checkpoint | Conduit, dektites installed, penetration watersealed
checkpoint-status | 4b5d0988-41e6-4f52-9c49-b6168e5d445b |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | f74a9825-4d1b-4151-924e-2bd561bd828d |  | checklist | VSD FAN Fit off Checklist |  |  |  |  | Yes | VSD FAN Fit off Checklist | db06d202-487e-44d8-967a-4ff1a9d5e367
checkpoint-status | 2573ec38-36d8-407f-9195-d981684c8982 |  | checkpoint | VSD installed
checkpoint-status | 9d5e2109-0ce6-4c0d-9603-46cd74776fc3 |  | checkpoint | Power supply terminated
checkpoint-status | 77f950e3-cf72-4327-915d-672a40096575 |  | checkpoint | EMC cable fit off
checkpoint-status | 8030c9a8-92f6-4b3e-8593-2173e611e23f |  | checkpoint | Control cable fit off
checkpoint-status | c5a22106-fca0-426e-ac60-9bbb5d394ea8 |  | checkpoint | Ready for energisation
checkpoint-status | 013f8148-2f14-484b-96f6-c17a816e6376 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | db184eb3-7f9e-448e-8149-869841745744 |  | checklist | BMS Cubicle Fit-off |  |  |  |  | Yes | BMS Cubicle Fit-off | dfb7acce-617d-4a16-bd8a-f924456639f1
checkpoint-status | 8fb835f4-36f2-4041-9e2e-83921424c547 |  | checkpoint | All BMS cabling terminated
checkpoint-status | 1051a870-f431-41be-a465-cbdf0845c67a |  | checkpoint | Network cabling terminated
checkpoint-status | 4b38123c-d996-4cb8-8e8d-355c42758352 |  | checkpoint | Ready for power
checklist-flat | c0dd0ef7-ab22-4bf4-b5ef-87d6e990019b |  | checklist | WC FCU Fit off checklist |  |  |  |  | Yes | WC FCU Fit off checklist | e67cdc34-8830-42a3-a455-10e8e115d863
checkpoint-status | e353cab8-0d9a-4d08-9717-77f40a1cd81a |  | checkpoint | Power supply and isolator fitoff
checkpoint-status | 1576973c-ea73-4bd2-a9bc-a7323d2ef7a5 |  | checkpoint | BMS points fit-off
checkpoint-status | c01609f2-2032-49fb-970b-1fa2a76ad7e0 |  | checkpoint | Space temp fit off
checkpoint-status | df44149d-9374-4ab7-b80d-0a5a137e2d50 |  | checkpoint | Ready for energisation
checkpoint-status | 770d0fdd-3fe1-4e66-be5b-eb3dafb2e686 |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | b6c63a9e-802d-4c44-a370-deac7f6603e9 |  | checklist | Power Meter BMS Checklist |  |  |  |  | Yes | Power Meter BMS Checklist | e91e2737-7dd7-4a8d-b8a9-9918466704c3
checkpoint-status | ad3c1b0b-a7b6-4e1a-81da-f574109fcc09 |  | checkpoint | Power meter Online
checklist-flat | 9484797f-1dc4-4837-b9e7-1fbe6763a9ee |  | checklist | BMS Zone Sensor Rough In checklist |  |  |  |  | Yes | BMS Zone Sensor Rough In checklist | e999553c-e8ec-4881-8a4f-4641e36363da
checkpoint-status | 97c6530b-a67c-471a-90ef-0808166362f1 |  | checkpoint | Wall installed
checkpoint-status | fcd24b19-d8ad-440b-8abd-2bd06ecf3bc0 |  | checkpoint | 1 pair cable roughed in
checkpoint-status | b4dab23b-a59e-4d4a-b21c-79b40075eb30 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | b74aa7b1-1008-4182-bd2e-46c57c6f3a71 |  | checklist | SPLIT AC Rough-In Checklist |  |  |  |  | Yes | SPLIT AC Rough-In Checklist | ec735419-6894-43fc-b565-f88ff0b00841
checkpoint-status | a86cc0d4-55ba-4dfe-81e1-28087c22d52b |  | checkpoint | Area ready & accessible
checkpoint-status | a012bf3b-d351-415d-b14f-2a59e4d1287f |  | checkpoint | Outdoor unit installed
checkpoint-status | 9ba185a6-cb13-4e7d-8872-cccc8dee3353 |  | checkpoint | Power supply to condensing unit roughed in
checkpoint-status | 600ad53f-0dc8-4c61-b6b4-f532478ee2d8 |  | checkpoint | Interconnecting cabling installed
checkpoint-status | cfc5acb7-3311-4441-a2dd-81f829132393 |  | checkpoint | Local thermostat roughed in
checkpoint-status | 0b9ac402-a16a-4141-8e22-0015c72b6a33 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 3f91ccaf-831d-469f-b824-78749144f16e |  | checklist | WC FCU BMS checklist |  |  |  |  | Yes | WC FCU BMS checklist | f05e1496-865d-4302-98a7-15fb831ba1a7
checkpoint-status | 172b5233-264e-4ddf-85af-21c4490a7919 |  | checkpoint | Zone Temperature Sensor(s)
checkpoint-status | 817a3a94-80ec-42de-806b-867d92e0162b |  | checkpoint | Supply Air Temperature Sensor
checkpoint-status | 6933d325-dd57-4df7-9fee-e6040dad1f13 |  | checkpoint | Return Air Temperature Sensor
checkpoint-status | 7b8ee261-fc5b-491c-a9d1-c59b0f6e4d2a |  | checkpoint | Mixed Air Temperature Sensor
checkpoint-status | 90d53021-9f92-419d-8b3a-bb5c7e7b3249 |  | checkpoint | Return Air CO2 Sensor
checkpoint-status | 80c1cc7e-8893-43b3-a76b-125d65cbc8fa |  | checkpoint | Filter Differential Pressure Sensor
checkpoint-status | dee5b93f-9931-4caa-917c-21c999d9c461 |  | checkpoint | CHW Valve
checkpoint-status | 8cf11a9d-d11b-4bf1-80ca-a7df6f8e376c |  | checkpoint | HHW Valve
checkpoint-status | ccc7e421-e5d6-4319-9aba-89a6e0a77644 |  | checkpoint | Minimum Outside Air Damper
checkpoint-status | 001b1df1-fd6b-4dda-aad2-f739da5f18d3 |  | checkpoint | Fan Status DP Switch
checkpoint-status | 16c81846-2620-45f7-831b-801a5d881113 |  | checkpoint | Fan Fault Signal (VSD)
checkpoint-status | 41cad4b6-b3a9-43c5-9ad7-f1a52bea3065 |  | checkpoint | Fan Speed Control Signal (VSD)
checkpoint-status | 0aade30f-77b8-468a-945f-767e0f61ee3f |  | checkpoint | Second Filter DP Switch
checklist-flat | e55e83c0-ff2c-4bfa-a841-6858cb5dc1bc |  | checklist | DOL FAN PBO Rough-in Checklist |  |  |  |  | Yes | DOL FAN PBO Rough-in Checklist | f20fe505-c982-43b7-8990-4eb8c836316b
checkpoint-status | 613edeae-064e-45ce-8d2a-b65ead20d7f3 |  | checkpoint | Fan Installed
checkpoint-status | 56adb11a-c2a7-49c1-a015-e52e277e6f75 |  | checkpoint | Isolator installed by others
checkpoint-status | 633d23c5-6bc9-4371-842b-aac4e0611f1f |  | checkpoint | Local switch roughed in
checkpoint-status | fabd0fed-f9a3-445f-8c30-448d8b81914b |  | checkpoint | Cables through roof
checkpoint-status | e27a008c-5960-4f01-ae4f-94124de1ad22 |  | checkpoint | Conduit, dektites installed, penetration watersealed
checkpoint-status | d0a7b310-f810-4069-a7ab-1126ab68eb6c |  | checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist-flat | 95f329bd-f772-46e8-a894-1eaf25cbf5e8 |  | checklist | Package Unit Fit-off Checklist |  |  |  |  | Yes | Package Unit Fit-off Checklist | f938c938-3765-4c72-80ab-e9c37946180e
checkpoint-status | c08293b3-abd0-4fba-9aa3-e20ab23c2bdd |  | checkpoint | Power Supply Terminated
checkpoint-status | e8d34dfa-e3d0-4e7b-9000-676ed6078071 |  | checkpoint | Low-level controls terminated
checkpoint-status | d56e39fb-23ea-4a61-ad20-c7a27e3bbad7 |  | checkpoint | BMS points installed and fit-off
checkpoint-status | f7c4cec0-a549-44a2-9e19-430f1d32549e |  | checkpoint | Economy Dampers wired and installed
checkpoint-status | 2bc18253-cf6d-4303-b5e2-3ad928485e7e |  | checkpoint | Local thermostat fit-off
checkpoint-status | 69c3918e-a509-4175-a1e3-4ca3fa1947aa |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean
checklist-flat | 76d3feab-eeaa-4bec-9ae2-c802da4bd0ff |  | checklist | WC FCU Rough In checklist |  |  |  |  | Yes | WC FCU Rough In checklist | fb4ab1fa-f499-4a7e-b553-108f00379e91
checkpoint-status | d59f4162-dd37-4652-bd31-53ae4adfbc8c |  | checkpoint | Area ready & accessible
checkpoint-status | 677ecb2c-52e4-4ebc-bc28-d0a320d4ff66 |  | checkpoint | WC FCU installed
checkpoint-status | b84ce5c8-e8fa-4862-ba85-f45f908c11b0 |  | checkpoint | Power supply roughed in
checkpoint-status | 9f0932aa-a930-442b-b324-442b85f8c278 |  | checkpoint | BMS cabling roughed in
checkpoint-status | 8434aeb1-67e4-48f7-9007-0b734d3e5aa8 |  | checkpoint | Ensure all rubbish and materials have been picked up and room is clean