## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | External Works |  |  |  |  | Yes | External Works | 06bf9369-f570-44e9-a1af-c3087a4790a4
checkpoint-status |  |  | checkpoint | Location confirmed
checkpoint-status |  |  | checkpoint | Duct correct
checkpoint-status |  |  | checkpoint | Draw tape
checkpoint-status |  |  | checkpoint | Cages set to height
checklist-flat |  |  | checklist | Flush Boxes |  |  |  |  | Yes | Flush Boxes | 0c080ca9-49c6-4e70-88a7-7bffb15e8190
checkpoint-status |  |  | checkpoint | Correct location
checkpoint-status |  |  | checkpoint | Correct height
checklist-flat |  |  | checklist | Floor Penetrations |  |  |  |  | Yes | Floor Penetrations | 1919bd17-0cb0-47e4-a8cf-76f5c5945267
checkpoint-status |  |  | checkpoint | Penetration/chase marked as per plan
checkpoint-status |  |  | checkpoint | Depth/width correct for conduit/floor box
checklist-flat |  |  | checklist | Power Circuit Second Fix |  |  |  |  | Yes | Power Circuit Second Fix | 228378d3-8faf-45b2-be9a-1b3e7037cd01
checkpoint-status |  |  | checkpoint | Outlets installed, level and labelled
checkpoint-status |  |  | checkpoint | RCD outlets correct rating for space 10ma/30ma
checkpoint-status |  |  | checkpoint | Starters installed
checkpoint-status |  |  | checkpoint | Kitchen outlets/isolators/hw kits
checkpoint-status |  |  | checkpoint | Floor boxes fit off
checklist-flat |  |  | checklist | Item No: |  |  |  |  | Yes | Add Electrical Site Inspection Checklist | 2ac9fcdc-73f6-4a6f-a8b6-49b201b22380
checkpoint-status |  |  | checkpoint | Electrical Inspection Report
text | 95d43ee2-0b94-5b7e-8e9a-c71874aedcd2 |  | textbox | Location
text | c2a9ab13-0df0-5938-8dde-f419f1b72b02 |  | textbox | Description
checkpoint-status |  |  | checkpoint | Photos
checkpoint-status |  |  | checkpoint | Notes & comments
text | 8f8eef4a-85d6-52a5-8623-1f089438a825 |  | textbox
checklist-flat |  |  | checklist | Cable Tray |  |  |  |  | Yes | Cable Tray | 30145d4f-3ef9-49f3-9029-b38cfb401b6f
checkpoint-status |  |  | checkpoint | Installed correct location
checkpoint-status |  |  | checkpoint | Installed correct height
checkpoint-status |  |  | checkpoint | Provided enough support
checkpoint-status |  |  | checkpoint | Cable tray bonded
checklist-flat |  |  | checklist | Power Circuit First Fix |  |  |  |  | Yes | Power Circuit First Fix | 40c60e29-e25c-403f-84e3-a1f14aa90d5b
checkpoint-status |  |  | checkpoint | Cable schedule
checkpoint-status |  |  | checkpoint | Cable size correct
checkpoint-status |  |  | checkpoint | Cabling to correct location as per plan
checkpoint-status |  |  | checkpoint | Position on elevations confirmed
checkpoint-status |  |  | checkpoint | Droppers / Starters wired
checkpoint-status |  |  | checkpoint | TV locations wired
checklist-flat |  |  | checklist | Mains |  |  |  |  | Yes | Mains | 5a4f88d9-bd34-4398-9a68-aefcd2336fb8
checkpoint-status |  |  | checkpoint | Correct size confirmed
checkpoint-status |  |  | checkpoint | Length of tails
checkpoint-status |  |  | checkpoint | Lugs correct size / hole size
checklist-flat |  |  | checklist | Lighting Circuits First Fix |  |  |  |  | Yes | Lighting Circuits First Fix | 6a92521f-ecd9-4100-a740-356c7ad09732
checkpoint-status |  |  | checkpoint | Cabling to correct location as per plan
checkpoint-status |  |  | checkpoint | Emergency lighting cabelled
checkpoint-status |  |  | checkpoint | Number of fittings correct
checkpoint-status |  |  | checkpoint | Local switch wire installed
checkpoint-status |  |  | checkpoint | Sensor control wire installed
checkpoint-status |  |  | checkpoint | Cabinet lighting confirmed / cabled
checkpoint-status |  |  | checkpoint | Lighting controls cabled
checklist-flat |  |  | checklist | Distribution Board |  |  |  |  | Yes | QA - Distribution Board - First Fix | 6f32d772-5f85-471c-bdd6-b5e000119b5f
checkpoint-status |  |  | checkpoint | Location and height correct
checkpoint-status |  |  | checkpoint | Number of feeds in the board
text | c929b316-ffaf-51e2-8793-3e9bd1ccad1d |  | textbox | No:
checkpoint-status |  |  | checkpoint | Number of bonding
text | a421f516-3ece-5a87-94f7-e779cbc332fc |  | textbox | No:
checkpoint-status |  |  | checkpoint | Mains cables in
checkpoint-status |  |  | checkpoint | Earth cables in
checklist-flat |  |  | checklist | Cable Ladder |  |  |  |  | Yes | Cable Ladder | 895e4502-51bc-45ef-8b48-6031c68078a3
checkpoint-status |  |  | checkpoint | Installed correct location
checkpoint-status |  |  | checkpoint | Provided enough support
checkpoint-status |  |  | checkpoint | Cable ladder bonded
checklist-flat |  |  | checklist | Catenaries |  |  |  |  | Yes | Catenaries | a4fb170f-ff86-4e28-a825-ebf821c057e6
checkpoint-status |  |  | checkpoint | Supported correctly
checkpoint-status |  |  | checkpoint | Correct locations
checklist-flat |  |  | checklist | Submains |  |  |  |  | Yes | Submains | b292ddd6-6236-4b7f-9b8f-79fbdb3b3698
checkpoint-status |  |  | checkpoint | Correct size confirmed
checkpoint-status |  |  | checkpoint | Length of tails
checkpoint-status |  |  | checkpoint | Lugs correct size / hole size
checklist-flat |  |  | checklist | Lighting Circuits Second Fix |  |  |  |  | Yes | Lighting Circuits Second Fix | c86a1d65-a401-49ca-85c4-0da983fdb5f7
checkpoint-status |  |  | checkpoint | Correct light type installed
checkpoint-status |  |  | checkpoint | Correct number installed
checkpoint-status |  |  | checkpoint | Correct location
checkpoint-status |  |  | checkpoint | Local switching installed
checkpoint-status |  |  | checkpoint | Sensor installed
checkpoint-status |  |  | checkpoint | Emergency lighting type installed
checklist-flat |  |  | checklist | Body Protection First Fix |  |  |  |  | Yes | Body Protection First Fix | c8d98e05-0228-4d06-855b-447bd248ad95
checkpoint-status |  |  | checkpoint | RCD cabling installed correctly
checkpoint-status |  |  | checkpoint | Earthing to in ceiling services
checkpoint-status |  |  | checkpoint | Earthing to benchtops / Taps
checklist-flat |  |  | checklist | MSB |  |  |  |  | Yes | MSB | cba4bcd9-f2e7-48b8-acab-fbad34e6ec84
checkpoint-status |  |  | checkpoint | Switchboard securly fastened
checkpoint-status |  |  | checkpoint | Switcboard bonded
checkpoint-status |  |  | checkpoint | Teminals correctly crimped
checkpoint-status |  |  | checkpoint | Lugs heat shrinked
checkpoint-status |  |  | checkpoint | Lugs torqued
checkpoint-status |  |  | checkpoint | Polarity correct
checkpoint-status |  |  | checkpoint | Test all cables
checkpoint-status |  |  | checkpoint | All labels installed
checkpoint-status |  |  | checkpoint | Test sheets complete
checkpoint-status |  |  | checkpoint | COC complete
checkpoint-status |  |  | checkpoint | ROI
checklist-flat |  |  | checklist | Cable Basket |  |  |  |  | Yes | Cable Basket | e1e1a9c7-ecad-4e89-ad6a-ac7bd3425e64
checkpoint-status |  |  | checkpoint | Installed correct location
checkpoint-status |  |  | checkpoint | Installed correct height
checkpoint-status |  |  | checkpoint | Provided enough support
checkpoint-status |  |  | checkpoint | Cable basket bonded
checklist-flat |  |  | checklist | Distribution Board |  |  |  |  | Yes | QA - Distribution Board - Second Fix | f2e8b026-d401-464a-9cac-83d91944d665
checkpoint-status |  |  | checkpoint | Main switchboard (63 Amps)
checkpoint-status |  |  | checkpoint | Number of circuit breakers (20 Amps)
checkpoint-status |  |  | checkpoint | Number of RCD
checkpoint-status |  |  | checkpoint | Loop link completed
checkpoint-status |  |  | checkpoint | Earth tag done
checkpoint-status |  |  | checkpoint | Switchboard labelling done
checkpoint-status |  |  | checkpoint | Switchboard cover installed
checklist-flat |  |  | checklist | Body Protection Second Fix |  |  |  |  | Yes | Body Protection Second Fix | f3356c6f-4f32-466d-a9d2-dafe1dd2b4fd
checkpoint-status |  |  | checkpoint | RCD/Outlet labeling
checkpoint-status |  |  | checkpoint | Earthing terminated
checklist-flat |  |  | checklist | Distribution Board |  |  |  |  | Yes | Distribution Board | f37d7d92-6eb8-48b9-9a19-91d26ce2695f
checkpoint-status |  |  | checkpoint | Switchboard securly fastened
checkpoint-status |  |  | checkpoint | Switcboard bonded
checkpoint-status |  |  | checkpoint | Teminals correctly crimped
checkpoint-status |  |  | checkpoint | Lugs heat shrinked
checkpoint-status |  |  | checkpoint | Lugs torqued
checkpoint-status |  |  | checkpoint | Labelling
checklist-flat |  |  | checklist | Data First Fix |  |  |  |  | Yes | Data First Fix | f82e60d9-c058-48e8-95e2-53cf4d8da528
checkpoint-status |  |  | checkpoint | Cabling to correct location as per plan
checkpoint-status |  |  | checkpoint | Cables to floor box
checkpoint-status |  |  | checkpoint | Data for TV locations
checkpoint-status |  |  | checkpoint | WAP locations wired