## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Document Attachment |  |  |  |  | Yes | Document Attachment | 0c2c4f3b-4c9d-4c08-a36a-6a213e5be823
checkpoint-status |  |  | checkpoint | Attach document
checklist-flat |  |  | checklist | QA_TEM_008_Cable Support Prior to Cabling |  |  |  |  | Yes | QA_TEM_008_Cable Support Prior to Cabling | 121691bf-7088-48a2-a2bb-129b1fe7da58
checkpoint-status |  |  | checkpoint | Cable support has correct origin and destination
checkpoint-status |  |  | checkpoint | Cable support follows correct route
checkpoint-status |  |  | checkpoint | Cable support is correct type material and not damaged
checkpoint-status |  |  | checkpoint | Cable support is correctly aligned
checkpoint-status |  |  | checkpoint | Cable support has correct type/quantity supports
checkpoint-status |  |  | checkpoint | Cable support is attached securely to supports
checkpoint-status |  |  | checkpoint | Cable support has correct type and size of fittings
checkpoint-status |  |  | checkpoint | Cable support is complete for the entirety of its length
checkpoint-status |  |  | checkpoint | Cable support has correct segregation
checkpoint-status |  |  | checkpoint | Cable support is earthed correctly
checklist-flat |  |  | checklist | QA_TEM_017_Fire Sealing |  |  |  |  | Yes | QA_TEM_017_Fire Sealing | 1492ff7b-1873-49f1-83e5-db91f142ed20
checkpoint-status |  |  | checkpoint | Covers are 1.6mm minimum galvanised sheet metal
checkpoint-status |  |  | checkpoint | Fireproof material is in place to comply with AS 3000 & the Building Act
checkpoint-status |  |  | checkpoint | Plastic grommet is around metal edges bearing against cable
checkpoint-status |  |  | checkpoint | Sheet metal covers are painted to match surrounds
checkpoint-status |  |  | checkpoint | Proprietary fire barriers to comply with the Building Act in lieu of above
checklist-flat |  |  | checklist | Incident Report Form |  |  |  |  | Yes | Incident Report Form | 252a6ab8-e859-4ade-b744-eeebdb4aa4fb
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
boolean | 7478ab8c-a25c-5338-b458-3952beb31cf4 |  | tickbox | ​ Incident
boolean | bc3c5733-955a-5000-8c6b-70ac7fb74fa1 |  | tickbox | ​ Near miss
boolean | e05ae06b-b673-57db-bc5b-d3432f33abd1 |  | tickbox | ​ Plant and equipment failure
boolean | ff4641d1-a3ee-51dd-8070-12fca15048f3 |  | tickbox | ​ Vehicle
boolean | 451fefc7-a2a6-5612-a5b2-ee6f7adffa11 |  | tickbox | ​ Suggestion
boolean | b3c2e500-b679-5028-b7cd-59e6fe0615d4 |  | tickbox | ​ Environmental incident
boolean | b978bc4a-b2b5-5da2-a0f1-580a1523f558 |  | tickbox | ​ Harassment
boolean | c3726467-bfb0-5b89-ac31-35d8c2a01d1a |  | tickbox | ​ Customer complaint
boolean | 4a7873b8-101a-54fb-b5b7-2db43b3b6dfb |  | tickbox | ​ Hazard
text | d7b8a2f0-fc8c-5a5d-82f4-a507006780c3 |  | textbox | Date Reported:
text | 824f7c74-b94d-545d-aa03-cb41aa0ca63c |  | textbox | Incident Location:
text | 8277af7a-daca-58df-81b2-81ffd4af5456 |  | textbox | Incident Date:
text | d867ff7c-6638-5475-ad2b-e7e0a26b1a3c |  | textbox | Incident Time:
text | 1c879b74-fb5a-5e57-877a-bb8c2af514d5 |  | textbox | Injured Worker:
text | 9c7de269-1b26-5cf2-ada9-57af0e0c0356 |  | textbox | Injury Sustained:
select | 670b8468-50ff-5e2c-96a1-e9a681596003 |  | dropdown | Risk Level | Catastrophic ​, Major ​, Moderate ​, Minor ​, Insignificant ​
text | 08bf91b0-028b-59e2-9ece-72c6faa35c31 |  | textbox | Describe the work activity in progress at time of incident:
text | 1774d8ad-9263-51f3-a345-2f42e436416c |  | textbox | Describe the incident: (what happened)
text | 551dd2c3-c79a-5948-9eb2-0df1e473ddff |  | textbox | Action Taken:
text | 55f2fb23-315f-53ff-997d-247fe34a4725 |  | textbox | Further Action Required
checkpoint-status |  |  | checkpoint | Incident Report Form Completed
holdpoint |  |  | signoff | Signed by Supervisor & Injured Worker
checklist-flat |  |  | checklist | Internal Audit Report |  |  |  |  | Yes | Internal Audit Report | 2a30055b-104a-4066-8106-0bb7d0500810
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | 3c863e12-b7d3-59f8-9789-b10683fcb61e |  | textbox | Procedure
text | 6f5da6ea-3475-5952-af4d-a2e1c1172a17 |  | textbox | Finding
button | 4f4c3d35-39e6-5543-80e2-ef68c450c0da |  | button | Action Completed | Yes, No
button | 01b61809-8459-54ee-8cb7-6d904f76293b |  | button | NCR Raised | Yes, No
checklist-flat |  |  | checklist | Safety / Environment Inspection Checklist |  |  |  |  | Yes | Safety / Environment Inspection Checklist | 2d72baa5-e7e9-47bc-9f75-944755eeb58e
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | db8cef22-f8b4-5d7d-a2c2-b961da74a1f5 |  | textbox | Inspected by:
text | db638a92-5b75-577b-90be-273787c15d95 |  | textbox | Position:
text | 36c9388b-d9c5-539d-b9c9-cd4636bc0007 |  | textbox | Area Observed:
text | d44ebd74-e15d-57b3-a3d7-c5d62a58424e |  | textbox | Date:
text | 7415408a-2d80-5d41-891a-4c44bd164b36 |  | textbox | Findings:
holdpoint |  |  | signoff | Signature:
checkpoint-status |  |  | checkpoint | Electrical Safety
text | 75b9b54b-2ef7-54f1-9909-81e295349c73 |  | textbox | Personal danger tags applied as required
text | 1c289d32-742e-5c09-b136-8cd777459b84 |  | textbox | Tag and lockout applied as required
text | bb37df7c-f7f6-5fe5-9992-eb5bbcc9743a |  | textbox | Power tools test and tag
text | 38f300c1-6e49-57d0-a0ea-b24c19716431 |  | textbox | Extension leads test and tag
text | 1dde941b-1f48-5bf8-8cd0-414bffb98104 |  | textbox | RCD protection in place
text | b28a24f7-af32-517d-b4b3-0db2bdb2fcc5 |  | textbox | Test equipment calibrated and in date
text | 442ab03e-017c-5561-a33d-ecc7d5759ed0 |  | textbox | LV rescue kits in date and complete
checkpoint-status |  |  | checkpoint | Personal Protective Equipment
text | d8b03277-4ed0-5e52-be9e-a02c23085626 |  | textbox | Site Inducted Personnel
text | 6bb073ba-76fc-59e6-b12d-04faee70ad2a |  | textbox | Hard Hat
text | f45de325-02b4-5c59-a9b6-c4387f219c43 |  | textbox | Safety glasses / goggles
text | 9dc5f6f9-0bab-5670-88bd-75da9aaee403 |  | textbox | Protective footwear
text | cb64c5c3-eb8a-5fe7-bcbf-0ce2a11a30fb |  | textbox | Hearing Protection
text | 1e9b1fca-95e2-5ed0-9c67-b3fc3178b5cb |  | textbox | Appropriate clothing
text | 09a6c91a-ead1-5100-948e-9a114f3228b2 |  | textbox | Sunscreen
text | 33d01609-1b34-5c38-acae-4f183ac67b6a |  | textbox | Competent / trained / certified operators and electrical personnel
checkpoint-status |  |  | checkpoint | Mobile Scaffold / Platform Ladders
text | 531e0c17-1301-5aeb-974e-252e985c953d |  | textbox | Satisfactory construction
text | 05d8a788-a55c-5206-80f5-eb1bfb927aae |  | textbox | Handrails / mid-rail, toe boards etc.
text | 23d3362e-eeb0-59c2-9f44-e2f53deff7bf |  | textbox | Access ladder
text | 1fbe9be0-155d-5b0e-9834-30624e1452ed |  | textbox | Ladder register up to date
checkpoint-status |  |  | checkpoint | Scissor / Boom Lifts
text | c3388b32-7a1a-55fa-a55d-238c8763720e |  | textbox | Appropriate License
text | a359bf72-522d-5519-83fa-d02cfdadfd7d |  | textbox | Harness
text | 1b91f80d-eb91-5b71-98aa-922b412f9eea |  | textbox | Basket and Ground controls
text | 2f7b6d92-b463-5a52-b0d8-aa4fca17a226 |  | textbox | Safety equipment operating (lights etc.)
text | ef8c27b2-487e-57e2-8587-59ddb9c548d0 |  | textbox | Maintenance current
text | 5df8a699-ae3b-5663-97b6-93eb514a0593 |  | textbox | Daily sheet completed
checkpoint-status |  |  | checkpoint | Harnesses
text | a3c562eb-638b-5a2a-9e7e-3b902076e892 |  | textbox | Inspected
text | baac727e-43d8-5fec-aaa3-bbb8aa6c8afb |  | textbox | Lanyard attached
text | 56bdb7f4-303a-5d74-94fd-ce76943e1e84 |  | textbox | Worn correctly
checkpoint-status |  |  | checkpoint | Appropriate training
text | eb84b4ef-2949-57c7-9302-706a124e8324 |  | textbox | Step Ladders / Ladders
text | 85bb6f20-90fb-503b-a8c5-4c840c6cb707 |  | textbox | Spreader extended
text | be40e359-8401-5195-bc17-0f59dffb4ece |  | textbox | Satisfactory ground conditions
text | e5013d33-0ca5-5f08-bf38-78b5f110e7d7 |  | textbox | Correct angle 1:4
text | 81745358-7ea5-59f9-b501-c3925c2cc914 |  | textbox | Tied off
text | b0fe7e7c-6259-5739-8e3e-b5757caf906b |  | textbox | Appropriate use
text | a5104936-6540-5fa8-a6ee-c2f55e19a59c |  | textbox | Tagged and in date
checkpoint-status |  |  | checkpoint | Plant, Equipment and Trenching
text | 2991ef56-3f0e-5893-9cc7-33aa89cc2f17 |  | textbox | Daily checks and servicing
text | b5910a7f-6119-5ee1-a3f0-0336509a5d47 |  | textbox | Reversing, travel alarms
text | b82738fa-247e-5faa-bd93-66fd6509b50f |  | textbox | Orange flashing lights?
text | 51b682a8-1f86-5571-8d84-412729fd378d |  | textbox | Power line clearances
text | 59660de7-80c6-5eee-b901-691fbbd1b3be |  | textbox | Plant personnel / traffic interface
text | e6476608-94aa-594a-b557-8b47728088d9 |  | textbox | Ground conditions
text | 07b756d7-b2c3-5a38-8174-025721951904 |  | textbox | Trained personnel as per ESWMS
text | 32f6ed28-84a3-551d-9366-97a85b208ae4 |  | textbox | Works Permits
text | acfbc049-151e-5931-a002-9a69d20edbc2 |  | textbox | Excavation benched, battered or shored?
text | 636aed87-1ba6-5afc-8ffc-e7e635987f7b |  | textbox | Location of services
text | c538bd0c-f23b-532f-b615-ae7555c972bf |  | textbox | Ventilation
text | 8d8401a6-066f-5153-a245-aeaf1aae1672 |  | textbox | Barricading
checkpoint-status |  |  | checkpoint | Housekeeping
text | b5f0a596-2cd6-59a5-891d-cccecaadd878 |  | textbox | Clean Work area
text | 8304630e-3fb1-5165-bfaf-cd63377df509 |  | textbox | Access ways clear
text | 11dacda6-0cc5-54d7-8654-43e54d771da4 |  | textbox | Extension leads elevated
text | 6ad987bb-c89a-5ee4-a9ee-c1149687153c |  | textbox | Scrap stacked / Rubbish removed
checkpoint-status |  |  | checkpoint | Public Areas
text | baab723c-c115-52d5-9bfb-35e47c077099 |  | textbox | Barricading / warning signs / Lights
text | 2c247e76-45b4-584d-9b29-bd6c85c2f086 |  | textbox | Adequate lighting
text | cded73dd-1c05-5879-b22d-ccba0126f780 |  | textbox | Permits / approvals
text | 7d59e713-f2a6-5454-b543-fc7823d4eee8 |  | textbox | Emergency response procedures
text | 27e39332-1f17-5b09-9029-bed2ea456c5a |  | textbox | Exclude non-essential works
text | 266a972d-c944-5101-be7f-281188276d8c |  | textbox | Post Lookout / Spotter
text | c60b6200-b733-52bb-ae7f-02971ecf690a |  | textbox | Noise control
text | 6fa8a6e1-2235-54c0-a9e7-194a3f609a98 |  | textbox | Dust / Debris control
checkpoint-status |  |  | checkpoint | Environment
text | 3ecacca2-4f26-5ade-b37f-94b834d59bf8 |  | textbox | Hazardous substances
text | 71f5a5bc-26f7-5c1b-9e03-5f466911a2d1 |  | textbox | Waste management
text | 4de14a42-e43e-5222-b300-4776a0086a6e |  | textbox | Dust
text | 70a3e353-f935-5af4-b0bb-f1e2e6d83e8a |  | textbox | Noise
text | fbfe7e98-f5b1-535c-9892-963b36c1e2c9 |  | textbox | Sediment
checkpoint-status |  |  | checkpoint | First Aid
text | b90494c6-ddad-5942-a4a3-95d5c83b06cf |  | textbox | First aid kit complete and in date
checklist-sectioned |  |  | checklist | Ladder & Access Equipment Register |  |  |  |  | Yes | Ladder & Access Equipment Register | 32a76033-9f0b-44c4-bac3-2c85cd6d6d83
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | eab16954-afb5-5bf9-8a3c-e95682036019 |  | textbox | ID No
text | 98ee4e0b-f4e6-5198-a1bd-6945f7f9cdae |  | textbox | Equipment Description
text | 8775d310-406c-533d-834b-29579aad4d80 |  | textbox | Comment
checkpoint-group |  |  | section | Internal Quarterly Inspections Initial when completed
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | 66ba10c1-20ef-5333-a4ff-55c839787107 |  | textbox | 1st Year
text | 58e45f07-b042-5037-a753-509922433341 |  | textbox | 2nd Year
text | d4b482a0-79f0-53e1-9ab7-c1467ef065d7 |  | textbox | 3rd Year
text | 4055b605-90b0-5d52-a7ad-5dc5592d1130 |  | textbox | 4th Year
checklist-flat |  |  | checklist | QA_TEM_022_Control Cables |  |  |  |  | Yes | QA_TEM_022_Control Cables | 33b09b36-91a2-4376-846f-6c549a104c58
checkpoint-status |  |  | checkpoint | Type and configuration is as specified
checkpoint-status |  |  | checkpoint | has correct origin and destination
checkpoint-status |  |  | checkpoint | has correct number of cores
checkpoint-status |  |  | checkpoint | cores are of correct Cross Sectional Area
checkpoint-status |  |  | checkpoint | follows the correct route
checkpoint-status |  |  | checkpoint | meets minimum bending radius requirements
checkpoint-status |  |  | checkpoint | is clear of heat sources
checkpoint-status |  |  | checkpoint | is clear of power cables
checkpoint-status |  |  | checkpoint | is secured as specified
checkpoint-status |  |  | checkpoint | is installed in a neat and orderly manner
checkpoint-status |  |  | checkpoint | is routed to minimise crossovers
checkpoint-status |  |  | checkpoint | mechanical protection is correct
checkpoint-status |  |  | checkpoint | inter cable spacing/segregation is correct
checkpoint-status |  |  | checkpoint | cable is correctly supported
checkpoint-status |  |  | checkpoint | cable marked with cable number
checklist-sectioned |  |  | checklist | QA_TEM_037_Install Field Instruments |  |  |  |  | Yes | QA_TEM_037_Install Field Instruments | 3748126f-caa4-49f1-b4c2-8113ac5b4bcf
checkpoint-group |  |  | section | Check that all Instruments are:
checkpoint-status |  |  | checkpoint | the correct type
checkpoint-status |  |  | checkpoint | located in the correct position
checkpoint-status |  |  | checkpoint | properly secured
checkpoint-status |  |  | checkpoint | correctly labelled or identified
checkpoint-status |  |  | checkpoint | Check that the support stand or bracket is:
boolean | 1e26ab77-1e1a-54e0-88e7-3fe154df668a |  | tickbox | the correct type
boolean | c83e4400-e1f2-593f-8293-5a34b1831add |  | tickbox | properly secured
checkpoint-group |  |  | section | Check that the instrument air is:
checkpoint-status |  |  | checkpoint | connected correctly to the instrument
checkpoint-status |  |  | checkpoint | connected correctly to its supply point
checkpoint-status |  |  | checkpoint | adequately secured along its length
checkpoint-status |  |  | checkpoint | Check that all unused entries have been properly sealed against the ingress of dust, solids, or liquids
checkpoint-status |  |  | checkpoint | Confirm that the whole unit has been installed in a workmanlike manner
checklist-flat |  |  | checklist | QA_TEM_025_Data & Communications Cabling |  |  |  |  | Yes | QA_TEM_025_Data & Communications Cabling | 383e68bb-8ee8-426d-9554-87608ea4b954
checkpoint-status |  |  | checkpoint | Check that cable to be installed matches Job Spec Requirement ie. Brand and Class
checkpoint-status |  |  | checkpoint | Check that all cable pathways comply with ACA and Vendor requirements
checkpoint-status |  |  | checkpoint | Install cables, making sure of all strain and bend radius requirements, label cables correctly
checkpoint-status |  |  | checkpoint | Bundle sizes to be checked to Specification and number of cables not exceeded
checkpoint-status |  |  | checkpoint | Cables to be tied in with Velcro as per specified distance between ties
checkpoint-status |  |  | checkpoint | All Clearances between power and other services to be maintained as per requirements
checkpoint-status |  |  | checkpoint | When cable is installed into wall cavity, Corro should be used to maintain support and bend radius
checkpoint-status |  |  | checkpoint | Corrugated conduit to be extended to outlet position if segregation is required from power in same cavity
checkpoint-status |  |  | checkpoint | Sort cables into correct Patch Panel Groups for looming into Data Cabinet/Frame
checkpoint-status |  |  | checkpoint | Loom cables into Data Cabinet being sure that they are supported properly and bend radius is correct
checkpoint-status |  |  | checkpoint | Terminate cables on Patch Panels/frames adhering to all regulations for the particular cable and Vendor
checkpoint-status |  |  | checkpoint | Label all Patch panels and Racks as required
checkpoint-status |  |  | checkpoint | Check position of outlets on Architectural plans if available
checkpoint-status |  |  | checkpoint | Terminate cables in the field as per regulations and Vendor requirements
checkpoint-status |  |  | checkpoint | Label all field outlets correctly
checkpoint-status |  |  | checkpoint | Test Cables to the relevant standards and Vendor requirements
checkpoint-status |  |  | checkpoint | Fill in record books if required, Check as built plans and modify if necessary
checkpoint-status |  |  | checkpoint | Supply test results and as-installed drawing/s
checklist-sectioned |  |  | checklist | Emergency Light Test Book |  |  |  |  | Yes | Emergency Light Test Book | 385425ca-fa4a-4ca8-940e-6417b862a621
checkpoint-group |  |  | section | Fitting Details
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | 772d5189-8fea-586d-a738-0074f8076492 |  | textbox | Fitting No.
text | 948dfdbc-3db4-5abb-a02a-0a62d5aeaa4a |  | textbox | Location of Unit
text | dc69d9d2-743b-5dfe-affa-49b7b890152e |  | textbox | Type of Unit
text | ef30655a-54af-5f70-9c70-b485aef4b2f1 |  | textbox | Drawing Number
text | 31b6dfa3-7bc8-5e9c-8ee6-2d33e50f8c3a |  | textbox | Switchboard Location
text | 65ff14fd-7923-5e32-abb8-d8713eb5c740 |  | textbox | CCT No.
text | 79f67fa6-1c46-55b0-b588-54a248ddf635 |  | textbox | Comments
checkpoint-group |  |  | section | Test 1
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | 5055db69-5940-5c90-b63c-0a6a11452ead |  | textbox | Date:
text | b44747a4-6fd5-5a3d-a543-485655cb8496 |  | textbox | Completed By:
text | 33bbc764-a845-5c65-8867-f487434b642c |  | textbox | Location
text | 30bf163d-a218-5c36-96cc-c44d9f74dcb0 |  | textbox | Fitting Number
text | 27fb0aae-e472-5793-8cf9-7116f5cf2837 |  | textbox | Start Time
checkpoint-status |  |  | checkpoint | Test 1-6 Monthly Mains Operation
checkpoint-status |  |  | checkpoint | Test 1-6 Monthly Emerg Operation
text | 1b4b3006-5a97-5f4b-856f-90b3ff095fbb |  | textbox | Start Time
text | 5d71a98a-4794-5566-b9fb-32ccde12fa17 |  | textbox | Finish Time
checkpoint-group |  |  | section | Test 2
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | d94e8508-a8a4-59ae-95ae-d1be818cf135 |  | textbox | Date:
text | 2cccef26-183b-561f-99f0-8f4631475c13 |  | textbox | Completed By:
text | 92fb516d-b181-5e3e-92e5-3e9461fdb0fd |  | textbox | Location
text | 96fa1adb-74f1-5834-964d-b3956b147086 |  | textbox | Fitting Number
text | a9bc6240-4460-51c7-9d1d-1120f973a5f6 |  | textbox | Start Time
checkpoint-status |  |  | checkpoint | Test 2-12 Monthly Mains Operation
checkpoint-status |  |  | checkpoint | Test 2-12 Monthly Emerg Operation
text | d8a7952c-84e0-53a1-9958-e5d1a51c9ef5 |  | textbox | Start Time
text | f393c993-701c-5737-86d6-cfb78a156068 |  | textbox | Finish Time
checklist-sectioned |  |  | checklist | QA_TEM_042_Rough In Checklist |  |  |  |  | Yes | QA_TEM_042_Rough In Checklist | 46724741-3bca-4389-abbe-4f4c4aa63c8f
checkpoint-group |  |  | section | Inspection 1
checkpoint-status |  |  | checkpoint | Has all information been recorded and checks completed?
text | 5de8548e-1e60-5d83-a50d-bfa6a7f0c23d |  | textbox | Circuit ID
text | d1dc0a71-78be-552d-a1c3-e02acfd8da72 |  | textbox | Cable Size/Type
text | e3ad90a7-baf8-5a14-a25f-84877309bf07 |  | textbox | Number of Points
boolean | 0d5d6bf0-431a-5c1d-8ad9-3651b187a9a4 |  | tickbox | Feeds - Visual Check - All feeds have been roughed in
boolean | 6c22ddb1-56c9-5214-b849-42b0aa8d398c |  | tickbox | Feeds - Identification - All feed cables have been identified/marked
boolean | 2e595ad2-a62a-557e-a169-dbb801b1f4b9 |  | tickbox | 1st Rough In - Visual Check - All cable loops have been roughed in
boolean | d1fdcff4-caf4-5b25-ad94-3f5bba3e3c00 |  | tickbox | 1st Rough In - Identification - All cable loops have been identified/marked
boolean | bfacf6cd-ec84-565b-ab8c-75759740b54f |  | tickbox | 2nd Rough In - Visual Check - All cable loops have been positioned and ready for fit off
boolean | 56860088-7783-5a82-872f-5af4ff03d571 |  | tickbox | 2nd Rough In - Final Check - Ensure cable is appropriately identified and made safe, if required
checklist-sectioned |  |  | checklist | QA_TEM_043_Fit Off Checklist |  |  |  |  | Yes | QA_TEM_043_Fit Off Checklist | 4a3a2450-ba52-4167-b957-4b39df2a7b8d
checkpoint-group |  |  | section | Inspection 1
checkpoint-status |  |  | checkpoint | Has all information been recorded and checks completed?
text | da035581-342b-5b23-af1d-6e1f7e8035da |  | textbox | Circuit ID
text | 77d5efb2-5a5c-590c-ab3c-261e54ce8944 |  | textbox | Number of Points
boolean | ce737d0c-7c28-557d-9562-906630d9a0a3 |  | tickbox | Fit Off - Visual Check - All points have been fit off/terminated
boolean | 9152a4a6-d468-5e5f-b806-bded790f7858 |  | tickbox | Fit Off - Identification - Ensure cable is appropriately identified, post termination
boolean | 73144c75-7360-54d1-8ff2-92eb05317665 |  | tickbox | Final Check - All fit off complete, ready for switchboard termination
checklist-flat |  |  | checklist | Employee Change of Details |  |  |  |  | Yes | Employee Change of Details | 62690c8a-00eb-48a0-bcbe-982f837daa36
checkpoint-status |  |  | checkpoint | Employee Change of Details Completed
text | f5c0485b-9642-5ae2-8b66-7a629437f60f |  | textbox | Name
text | 52743ba7-784a-5241-a08b-328ae5882909 |  | textbox | Surname
text | 53205759-185a-576b-92ac-59ddecf656b6 |  | textbox | Effective Date
text | 92e0232f-cdc5-5e85-b5b0-4de8b6ca39e0 |  | textbox | Change of address details – your NEW address
text | c4e51c17-3cee-5486-8d7b-ce3da66f9dac |  | textbox | Change of contact details – your NEW contact
text | d272861b-d78d-5630-a4d1-741851c90958 |  | textbox | Change of email details – your NEW email
boolean | 5b71ea64-8326-52b1-8408-860501973bf5 |  | tickbox | Is this the email account you now wish us to send your payslips to
text | f8debdab-8a9b-57c8-8602-372ead9616a9 |  | textbox | Change of banking details – Bank Name, Branch, Account Name, Account No #, BSB
text | 1bc8370c-8723-5824-a449-6150f2fbf3f3 |  | textbox | Change of super details - Fund, Member No #
text | 43f24e85-ca09-5a9e-8b0f-e8eba1b42c91 |  | textbox | Change of deduction details – your NEW deduction details
text | be8a7560-1807-59cf-a117-417339e89160 |  | textbox | Change of qualification details - Licence Type, No #, Expiry Date
text | 31b18ccb-ff76-5459-b7c1-ab3529b804f2 |  | textbox | Change of other details (which are not listed above)
checkpoint-status |  |  | checkpoint | Completed by Office
holdpoint |  |  | signoff | Manager & Payroll Confirmation
checklist-flat |  |  | checklist | QA_TEM_003_Earth Electrode |  |  |  |  | Yes | QA_TEM_003_Earth Electrode | 63500613-9e94-4d42-a6d0-6e3640a530f6
checkpoint-status |  |  | checkpoint | Record electrode type and size (AS/NZS 3000 Table 5.2)
text | 7b8f88fa-bae6-56a5-8fca-543b4304cf98 |  | textbox | Material
text | 3a155a31-dc14-5323-82fc-2921cbf21c49 |  | textbox | Diameter
checkpoint-status |  |  | checkpoint | Earth electrode is driven to the minimum depth (AS/NZS 3000 5.3.6.3)
boolean | 1bc60cea-248a-5d16-8e9b-4008b6bb74b4 |  | tickbox | Vertical type - 1.2 metres
boolean | 8417d72c-cb78-5eae-8662-febfa0432e0f |  | tickbox | Strip type - 3 metres
checkpoint-status |  |  | checkpoint | Earth electrode is installed in a correct location (AS/NZS 3000 5.3.6.4)
label | accd3968-18b5-51aa-9801-35cd40ddca82 |  | note | External to the building in ground that is exposed to the weather
label | 7ea613a6-b3da-566c-bdbc-35f43f22a302 |  | note | Separated from conductive enclosures of other buried services
label | 989c7877-0e1d-5bee-9d3d-6a95727a6134 |  | note | Is in an accessible location
checkpoint-status |  |  | checkpoint | Earth electrode is mechanically protected and labelled in accordance with AS/NZS 3000 5.5.1.3
label | b31196ca-30f6-555d-afe7-c6a39249542e |  | note | WARNING MAIN ELECTRICAL EARTHING CONDUCTOR—DO NOT DISCONNECT
checkpoint-status |  |  | checkpoint | Earth connection point to stake is protected from corrosion (i.e. painted earth clamp) (AS/NZS 3000 5.5.5.3)
checkpoint-status |  |  | checkpoint | Location of the earth electrode has been identified at the main switchboard.
checkpoint-status |  |  | checkpoint | If measurement of the resistance of the earth electrode is requested, refer to the test procedure detailed in AS/NZS 3017 clause 3.8.
checklist-flat |  |  | checklist | Wage Query |  |  |  |  | Yes | Wage Query | 64b15518-7812-4d6f-957c-2aec48d5619f
checkpoint-status |  |  | checkpoint | Wage Query Completed
boolean | a189e9a2-e8ce-5f82-927f-a3c1c63f1de8 |  | tickbox | Ordinary Hours Worked
boolean | 282b1840-1e40-51bb-969e-a395e996c01a |  | tickbox | RDO hours Taken
boolean | 1de09da0-7ca7-5722-ada4-66a8f9c134d5 |  | tickbox | RDO Hours Accrued
boolean | 9bc3bde3-d465-56cf-aa76-657c5f05d501 |  | tickbox | Annual Leave Hours Taken
boolean | 46c6894a-14c2-589b-878b-2a1b553fb781 |  | tickbox | Annual Leave Hours Accrued
boolean | 829db932-1e3d-5eca-be1f-4f5a38610d06 |  | tickbox | Time & Half Hours Worked
boolean | 525ff224-fa97-57cc-935f-6248d8b1fd7c |  | tickbox | Double Time Hours Worked
boolean | d0eb33ca-7731-5f37-a64a-597253d6d8d7 |  | tickbox | Superannuation
boolean | b8363b7c-9711-5b21-b4a8-e91e0c45454e |  | tickbox | Other items as listed:
checkpoint-status |  |  | checkpoint | Wage query completed
holdpoint |  |  | signoff | Signed and Approved by
checklist-flat |  |  | checklist | QA_TEM_009_Cable Support Post Cabling |  |  |  |  | Yes | QA_TEM_009_Cable Support Post Cabling | 687e4220-2eb5-4411-938c-c4724e49da5e
checkpoint-status |  |  | checkpoint | Cable support is properly sealed at all penetrations
checkpoint-status |  |  | checkpoint | Cable support has divider strip if required
checkpoint-status |  |  | checkpoint | Cable support has cover fitted if required
checkpoint-status |  |  | checkpoint | Cable support has correct segregation
checklist-flat |  |  | checklist | QA_TEM_010_Final Sub Circuit Installation |  |  |  |  | Yes | QA_TEM_010_Final Sub Circuit Installation | 6a3a03e1-6869-4a18-8614-971344ce5970
checkpoint-status |  |  | checkpoint | Cable has correct origin and destination
checkpoint-status |  |  | checkpoint | Cable has correct number of cores
checkpoint-status |  |  | checkpoint | Cable cores are of the correct cross sectional area
checkpoint-status |  |  | checkpoint | Cable type and configuration is as specified
checkpoint-status |  |  | checkpoint | Cable follows the correct route
checkpoint-status |  |  | checkpoint | Cable meets minimum bending radius requirements
checkpoint-status |  |  | checkpoint | Cable is clear of heat sources
checkpoint-status |  |  | checkpoint | Cable is clear of electronic / signal cables
checkpoint-status |  |  | checkpoint | Cable is secured as specified
checkpoint-status |  |  | checkpoint | Cable is installed in a neat and orderly manner
checkpoint-status |  |  | checkpoint | Cable is routed to minimise crossovers
checkpoint-status |  |  | checkpoint | Mechanical protection of cable is correct
checkpoint-status |  |  | checkpoint | Cable is supported correctly
checkpoint-status |  |  | checkpoint | Cable is marked with cable or circuit number
checkpoint-status |  |  | checkpoint | Cable has correct segregation
checklist-flat |  |  | checklist | QA_TEM_015_Accessories Installation |  |  |  |  | Yes | QA_TEM_015_Accessories Installation | 6d9e57e9-f2a6-4b7c-b9d7-ffa645ec4918
checkpoint-status |  |  | checkpoint | Accessories are the correct type
checkpoint-status |  |  | checkpoint | Accessories are located in the correct position
checkpoint-status |  |  | checkpoint | Accessories are securely fitted
checkpoint-status |  |  | checkpoint | Accessories are fitted in accordance with manufacturers recommendation
checkpoint-status |  |  | checkpoint | Accessories are plumb & level parallel
checkpoint-status |  |  | checkpoint | Accessories are sealed correctly
checklist-flat |  |  | checklist | QA_TEM_018_LCP's & Field Devices |  |  |  |  | Yes | QA_TEM_018_LCP's & Field Devices | 78b635a6-1b6d-49d7-958f-01979b4c8a63
checkpoint-status |  |  | checkpoint | Installation/s are the correct type
checkpoint-status |  |  | checkpoint | Installation/s are located in the correct position
checkpoint-status |  |  | checkpoint | Installation/s are properly secured
checkpoint-status |  |  | checkpoint | Installation/s are correctly labelled or identified
checkpoint-status |  |  | checkpoint | Installation/s are assembled correctly
checkpoint-status |  |  | checkpoint | Check all functions for correct operation
checkpoint-status |  |  | checkpoint | Check that the support stand or bracket is
boolean | bce3fb5e-78a7-57f4-b32f-14a0ea3e0896 |  | tickbox | The correct type
boolean | fb9680d5-439e-5faf-932e-492382020990 |  | tickbox | Properly secured
checkpoint-status |  |  | checkpoint | Check that all unused entries have been properly sealed against ingress of dust, solids, or liquids
checkpoint-status |  |  | checkpoint | Confirm that the whole unit/s has been installed in a workmanlike manner
checklist-sectioned |  |  | checklist | QA_TEM_012_Switchboard & Distribution Board Installation |  |  |  |  | Yes | QA_TEM_012_Switchboard & Distribution Board Installation | 7c2c7855-bcb6-436e-b6b0-1f79481a9210
checkpoint-group |  |  | section | Check that the switchboard
checkpoint-status |  |  | checkpoint | Is the correct unit
checkpoint-status |  |  | checkpoint | Is located in the correct position
checkpoint-status |  |  | checkpoint | Has correct clearances on all sides
checkpoint-status |  |  | checkpoint | Is properly secured
checkpoint-status |  |  | checkpoint | Is labelled correctly
checkpoint-status |  |  | checkpoint | Is fitted with correct types, ratings and quantities of functional units
checkpoint-status |  |  | checkpoint | All escutcheons and cover plates are fitted
checkpoint-status |  |  | checkpoint | Finishes are as specified
checkpoint-group |  |  | section | Check each functional unit for
checkpoint-status |  |  | checkpoint | Correct labelling
checkpoint-status |  |  | checkpoint | Check all cable terminations are secured correctly & tensioned as per switchboard manufacturers advice
checkpoint-status |  |  | checkpoint | Check all busbar connections are secured correctly & tensioned as per switchboard manufacturers advice
checkpoint-status |  |  | checkpoint | Check cubicle has been cleaned of all rubbish, dust, filings, tools, etc.
checkpoint-status |  |  | checkpoint | Check for presence of properly completed circuit
checkpoint-status |  |  | checkpoint | Schedule/single line diagram
checklist-flat |  |  | checklist | QA_TEM_036_Power Cable Point to Point Testing |  |  |  |  | Yes | QA_TEM_036_Power Cable Point to Point Testing | 7def5fec-d967-4c03-8843-807c354719c4
checkpoint-status |  |  | checkpoint | Continuity test of each & every individual core
text | d6ce8541-ad86-59d1-9941-d2fd8cf10ffd |  | textbox | Earth 1
text | 8b2318f3-0d45-56bb-b0d4-a94dc9d40a90 |  | textbox | Earth 2
text | 8e322525-4339-5939-af97-a74941dfa654 |  | textbox | Earth 3
text | 34275c1c-29c1-51ab-8dbc-9ee480202993 |  | textbox | Screen
text | dc9c615b-d065-5f5c-9dd5-24b2a176dc05 |  | textbox | Neutral
text | cc234162-e0f5-58b1-b380-78577fa51cd0 |  | textbox | Phase A
text | 50296827-2eb2-5551-9673-04cfdd2bc51d |  | textbox | Phase B
text | 406b08a2-561e-5b6a-b640-e3635bb74230 |  | textbox | Phase C
checklist-flat |  |  | checklist | RCD Test Register |  |  |  |  | Yes | RCD Test Register | 841f47dc-82dd-4af8-8f3c-4d963db41df9
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | d0bb40f0-86cc-572a-ad63-669c29f7ef47 |  | textbox | Switchboard Number
text | b13761c6-5cf7-5f87-be66-82ca77010076 |  | textbox | Circuit Number
label | deda8d73-4ff8-512e-94d4-f5daa8ec2a5f |  | note | TRIP TIME FOR 30mA FAULT, IN ms (Type II Only, Max 300ms + 8ms)
text | a65a24d1-ee77-585a-97e3-a0a0285c7c97 |  | textbox | Rated (+5%) @ 0 deg
text | 0aba9844-9339-50d6-a24b-d44e8cd50315 |  | textbox | Rated (+5%) @ 180 deg
date | 2c978697-5437-5bd7-9a02-24a1f833dbb4 |  | date | Date
text | f89b6606-75d1-56a0-bc0b-58778c91cc04 |  | textbox | Safety Pack - Serial Number
text | ec577e65-991c-58bf-9aab-701046bbe3e6 |  | textbox | Safety Pack - Plant Number
text | 782adfe2-3694-56f9-b1cf-89aa3b8a9305 |  | textbox | TRIP TIME FOR 30mA FAULT, IN ms (Type II Only Max 150ms)
date | d18285ce-e183-50b3-9366-cb618201d34d |  | date | Date
text | 46bd0b91-c994-5df5-a50d-7a3b42265b83 |  | textbox | Faults Identified & Action Taken
checkpoint-status |  |  | checkpoint | Test Completed
text | 40d8fec3-b2b2-5983-96d5-f3b05d60afdf |  | textbox | Test Instrument Serial No
holdpoint |  |  | signoff | Signed Off
checklist-sectioned |  |  | checklist | Plant & Equipment Register |  |  |  |  | Yes | Plant & Equipment Register | 85b998bd-ee09-40ee-8613-299054c95014
checkpoint-group |  |  | section | Plant Identification
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | 46baa0c4-05b1-5f39-b040-b8993192dd1b |  | textbox | Description.
text | 136602d3-6f9b-52b2-99d9-ea733dcb69d3 |  | textbox | Serial No.
text | 8e0f8fcd-e9ce-538c-89ed-911684cf93e1 |  | textbox | Location
text | d5af1114-c054-5435-8e7e-fd6721b0ee79 |  | textbox | Date of Test or Inspection
text | 8cd3422d-f9b4-5a7d-b082-00790037e34e |  | textbox | Results or Condition
text | 21b106ec-3626-55e5-8213-4943c3e5c9a3 |  | textbox | Action Taken
checkpoint-status |  |  | checkpoint | Register Completed
text | b18fc74c-ba3d-5e97-b779-d4adb3a34ba7 |  | textbox | Certificate Number
holdpoint |  |  | signoff | Signed Off
checklist-flat |  |  | checklist | Site Plant Register |  |  |  |  | Yes | Site Plant Register | 8fe2c83a-a30a-407d-8ff0-654da9f8a229
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | e5496996-9b9e-5ac1-b473-23ed4228ab5c |  | textbox | Supplier
text | 8badc502-3c70-5169-8149-9c10251e237c |  | textbox | Plant No.
text | eee51dc7-7176-57ad-95a6-735e3eef41ac |  | textbox | Description
text | 16054a61-e456-56ab-900b-fbebc66e8a45 |  | textbox | Serial No.
text | ebf5e1b6-3748-503b-be87-d0bac4d79e29 |  | textbox | Location
text | c8d3bc07-2de8-5dbc-91ba-0e1150884b25 |  | textbox | Purchase Order Number
text | e0ba31a2-f6f6-5dbd-97eb-7046dd244dad |  | textbox | Date Ordered
text | 6b96f1f0-05b6-524c-a27a-f2b4828ee86d |  | textbox | Expected off hire date
text | 2178c0f0-60f3-5bd3-92c4-d481a3d481bf |  | textbox | Off Hire number
text | 4183a5cd-3d92-5b90-9989-5385f2644be2 |  | textbox | No. of days on hire
checklist-flat |  |  | checklist | QA_TEM_014_Cable Terminations |  |  |  |  | Yes | QA_TEM_014_Cable Terminations | 92ba97d0-1f9a-421c-921e-226950f36f47
checkpoint-status |  |  | checkpoint | Correct type and size gland
checkpoint-status |  |  | checkpoint | Gland properly and securely fitted
checkpoint-status |  |  | checkpoint | Correct cable identification
checkpoint-status |  |  | checkpoint | Correct core identification
checkpoint-status |  |  | checkpoint | Cores loomed properly
checkpoint-status |  |  | checkpoint | Cores on correct terminals
checkpoint-status |  |  | checkpoint | Terminals properly tensioned
checkpoint-status |  |  | checkpoint | Cores correctly lugged
checkpoint-status |  |  | checkpoint | Lugs correctly insulated
checkpoint-status |  |  | checkpoint | Adequate clearances
checklist-sectioned |  |  | checklist | QA_TEM_041_Power Cable Commissioning |  |  |  |  | Yes | QA_TEM_041_Power Cable Commissioning | 93f01645-8221-4008-8a5b-b1db8b987369
checkpoint-group |  |  | section | Cable Install
checkpoint-status |  |  | checkpoint | Confirm cable type, configuration, number of cores & cross sectional area is as specified
checkpoint-status |  |  | checkpoint | Confirm cable has correct origin and destination & follows the correct route
checkpoint-status |  |  | checkpoint | Confirm cable meets minimum bending radius requirements with minimal crossovers
checkpoint-status |  |  | checkpoint | Confirm cable is clear of heat sources with mechanical protection fitted if required
checkpoint-status |  |  | checkpoint | Confirm cable is secured properly & correctly supported as specified
checkpoint-status |  |  | checkpoint | Confirm cable is installed in a neat & orderly manner with inter cable spacing/segregation
checkpoint-group |  |  | section | Origin Termination / Location
checkpoint-status |  |  | checkpoint | Confirm gland is correct type & size, & also fitted & secured properly
checkpoint-status |  |  | checkpoint | Confirm cable numbers fitted correctly & securely
checkpoint-status |  |  | checkpoint | Confirm cores loomed neatly with correct identification
checkpoint-status |  |  | checkpoint | Confirm cores in the correct terminals & correctly tensioned
checkpoint-status |  |  | checkpoint | Confirm cores correctly lugged & insulated
checkpoint-group |  |  | section | Origin Termination / Location
checkpoint-status |  |  | checkpoint | Confirm gland is correct type & size, & also fitted & secured properly
checkpoint-status |  |  | checkpoint | Confirm cable numbers fitted correctly & securely
checkpoint-status |  |  | checkpoint | Confirm cores loomed neatly with correct identification
checkpoint-status |  |  | checkpoint | Confirm cores in the correct terminals & correctly tensioned
checkpoint-status |  |  | checkpoint | Confirm cores correctly lugged & insulated
checkpoint-group |  |  | section | Testing
checkpoint-status |  |  | checkpoint | Point to point / Continuity of each core
boolean | dd9225cb-c30f-5f97-b81a-5bcd9d45d541 |  | tickbox | Earth
boolean | b45e1a86-ec23-529b-8bb5-8f13e85fb0b5 |  | tickbox | Red
boolean | 238b621f-ab94-5775-914c-4cb7b78d7e2a |  | tickbox | White
boolean | bac576ff-61e1-5a69-a746-efcd89ed76e3 |  | tickbox | Blue
boolean | 1004274a-af2c-5660-9412-417e659e1c6e |  | tickbox | Black
checkpoint-status |  |  | checkpoint | Insulation Resistance Test (results recorded on QA_FRM_005_Final Installation Test Sheet)
checklist-flat |  |  | checklist | QA_TEM_006_Surface Conduit Installation |  |  |  |  | Yes | QA_TEM_006_Surface Conduit Installation | 9d8c981e-9693-41e1-808d-ec51bd144909
checkpoint-status |  |  | checkpoint | Conduits are the correct type
checkpoint-status |  |  | checkpoint | Conduits are following the approved route as specified
checkpoint-status |  |  | checkpoint | Conduits are straight plumb/parallel
checkpoint-status |  |  | checkpoint | Conduits have sharp edges and burrs removed (steel)
checkpoint-status |  |  | checkpoint | Conduits have expansion joints installed where required
checkpoint-status |  |  | checkpoint | Conduits have specified support installed
checkpoint-status |  |  | checkpoint | Conduits have product branding cables removed or not visible
checkpoint-status |  |  | checkpoint | Conduits are sealed against water ingress where required
checkpoint-status |  |  | checkpoint | Conduits have equipment entries correctly sealed
checklist-sectioned |  |  | checklist | Site Audit Checklist |  |  |  |  | Yes | Site Audit Checklist | a1da0574-9e48-472a-855d-9090de1945ea
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | 8c521bd9-8e9a-5084-81a4-13628af13890 |  | textbox | Audit Conducted By
text | 8ba80cfe-5245-5dd6-b143-fe889addfe66 |  | textbox | Name:
text | 5c6bde50-a41f-5c30-afd2-cd81b51ddcdf |  | textbox | Position:
text | 0d85b6be-55e7-59e3-aa0d-2b863448ef12 |  | textbox | Site:
text | 1dc4873d-cd1d-5b9d-a6e4-eed02f5594b0 |  | textbox | Date:
text | 032d2ed6-e28d-5912-a681-e7029a0ac03b |  | textbox | HSR On Site:
text | a0993efb-7bf0-5d75-8929-f9a6b6a8cb99 |  | textbox | Project Manager:
text | f13d4070-5baa-5d06-a1a5-6ae29a03b53c |  | textbox | Site Foreman:
text | 978f00df-fe83-55c3-851e-131290cb10af |  | textbox | Non-Conformances Following Audit:
holdpoint |  |  | signoff | Signature:
checkpoint-group |  |  | section | Site Safety Management Plan (HSE-MP-001)
checkpoint-status |  |  | checkpoint | SMP in date. (refer to review date in footer)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of Managing Director understood and signed off. (Refer page 4 of SMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of Project Manager understood and signed off. (Refer page 4 of SMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of Site Foreman understood and signed off. (Refer page 4 of SMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of HSE/QA Manager understood and signed off. (Refer page 4 of SMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of HSR/s understood and signed off. (Refer page 4 of SMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of all employees onsite understood and signed off. (Refer page 34 of SMP)
checkpoint-group |  |  | section | Risk Assessments
checkpoint-status |  |  | checkpoint | Risk Assessments are completed (if required) - HSE-TEM-001.
checkpoint-status |  |  | checkpoint | Risk Assessments are in date. (as a minimum, control measures reviewed quarterly)
checkpoint-group |  |  | section | SWMS
checkpoint-status |  |  | checkpoint | SWMS’s are in date. (refer to review date in footer)
checkpoint-status |  |  | checkpoint | SWMS’s have been issued to Principal Contractor.
checkpoint-status |  |  | checkpoint | SWMS’s have been read and signed off by the Site Foreman and all workers onsite.
checkpoint-status |  |  | checkpoint | Record of toolbox talk/ training on SWMS’s.
checkpoint-group |  |  | section | Incidents / Hazards
checkpoint-status |  |  | checkpoint | Incident Report Form (HSE-FRM-001) has been completed for all incidents on the Incident Register and a copy issued to the HSE Manager.
checkpoint-status |  |  | checkpoint | Incident Investigation Report (HSE -FRM -002) has been completed if required.
checkpoint-status |  |  | checkpoint | Investigation Action Form (HSE-FRM-003) has been completed if required.
checkpoint-status |  |  | checkpoint | Incident Register (PRO-FRM-006) in date and completed.
checkpoint-group |  |  | section | Toolbox Talks
checkpoint-status |  |  | checkpoint | Toolbox Talks are being held weekly.
checkpoint-status |  |  | checkpoint | Toolbox Talk template (PRO-TEM-002) is being completed correctly.
checkpoint-status |  |  | checkpoint | Toolbox Talks signed & dated by all workers.
checkpoint-group |  |  | section | SDS / RA
checkpoint-status |  |  | checkpoint | Safety Data Sheets submitted to Principal Contractor prior to hazardous substance being used onsite.
checkpoint-status |  |  | checkpoint | Hazardous substances register (PRO-FRM-009) is completed and in date.
checkpoint-status |  |  | checkpoint | Safety data sheets are saved in the project folder for all hazardous substances used on site. Local copy stored with hazardous substance.
checkpoint-status |  |  | checkpoint | Relevant workers trained on the risk associated with a particular hazardous substance as well as the control measures used to manage the risks. Toolbox talk has been held with relevant workers.
checkpoint-group |  |  | section | Registers
checkpoint-status |  |  | checkpoint | Temporary DB Site Register (PRO-FRM-001) is completed and in date.
checkpoint-status |  |  | checkpoint | Induction, skills & experience register (PRO-FRM-005) completed. Photocopies of staff licences scanned to server and are all in date.
checkpoint-status |  |  | checkpoint | Attendance register (PRO-FRM-007) is being completed daily.
checkpoint-status |  |  | checkpoint | Test and Tag Register (PRO-FRM-008) is completed and is in date. (Test & Tag to be completed quarterly)
checkpoint-status |  |  | checkpoint | Ladder & Access Equipment Register (PRO-FRM-010) is completed and in date. (Inspections to be completed quarterly)
checkpoint-status |  |  | checkpoint | Plant & Equipment Maintenance register (PRO-FRM-011) is in date and reviewed monthly.
checkpoint-status |  |  | checkpoint | Site Plant Register (PRO-FRM-012) is completed and is in date.
checkpoint-status |  |  | checkpoint | Lifting Gear Register (PRO-FRM-013) is completed and is in date.
checkpoint-status |  |  | checkpoint | PPE Register – Special Issue Items (PRO-FRM-014) is completed and in date.
checkpoint-status |  |  | checkpoint | Supply Isolation Register (PRO-FRM-019) is completed and in date.
checkpoint-status |  |  | checkpoint | Internal Supply Isolation Register (PRO-FRM-020) is completed and is date.
checkpoint-status |  |  | checkpoint | Supply Request Register (PRO-FRM-021) is completed and is in date.
checkpoint-status |  |  | checkpoint | First Aid Kit has been checked after every use or if not used has been checked annually.
checkpoint-status |  |  | checkpoint | LV Rescue Kit/s are complete and in date. (Tested six monthly)
checkpoint-group |  |  | section | Checklists
checkpoint-status |  |  | checkpoint | Operators Daily Plant Checklist (PRO-FRM-015) completed and in date.
checkpoint-status |  |  | checkpoint | Weekly Safety Checklist (PRO-FRM-023) completed and in date.
checkpoint-group |  |  | section | Forms
checkpoint-status |  |  | checkpoint | Emergency Response Contact form (HSE-FRM-004) is in date and displayed in the site office.
checkpoint-status |  |  | checkpoint | Daily Site Report (PRO-FRM-024) is up to date.
checkpoint-status |  |  | checkpoint | Daily Pre-Start Meeting (PRO-TEM-007) are completed and in date.
checkpoint-group |  |  | section | Permits
checkpoint-status |  |  | checkpoint | Any required permits completed and dated correctly.
checkpoint-group |  |  | section | Subcontractors
checkpoint-status |  |  | checkpoint | Subcontractor Assessment (PRO-FRM-018) has been completed.
checkpoint-status |  |  | checkpoint | Subcontractor Site Attendance Record (PRO-FRM-016) has been completed.
checkpoint-status |  |  | checkpoint | Subcontractor Attendance Register (PRO-FRM-017) is being completed.
checkpoint-group |  |  | section | Miscellaneous
checkpoint-status |  |  | checkpoint | Workers onsite maintaining good housekeeping in work areas. (refer page 22 of SMP)
checkpoint-status |  |  | checkpoint | Emergency response drills reviewed using HSE-FRM-006.
checkpoint-status |  |  | checkpoint | Quality Assurance Management
checkpoint-group |  |  | section | Site Quality Assurance Management Plan (QA-MP-001)
checkpoint-status |  |  | checkpoint | QMP in date. (refer to review date in footer)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of Managing Director understood and signed off. (Refer page 4 of QMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of Project Manager understood and signed off. (Refer page 4 of QMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of Supervisor understood and signed off. (Refer page 4 of QMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of HSE/QA Manager understood and signed off. (Refer page 4 of QMP)
checkpoint-status |  |  | checkpoint | Quality Assurance Policy is signed by the Managing Director and signature is in date. (within 1 year of issue date – refer to footer)
checkpoint-group |  |  | section | Registers
checkpoint-status |  |  | checkpoint | Electrical Drawing Register (DES-TEM-001) is completed and in date.
checkpoint-status |  |  | checkpoint | RFI Register (PRO-FRM-022) is completed and in date.
checkpoint-status |  |  | checkpoint | Product Sample Submission register (PRO-FRM-026) is completed and in date.
checkpoint-status |  |  | checkpoint | Temporary RCD Test Register (PRO-FRM-030) is completed and in date.
checkpoint-status |  |  | checkpoint | Corrective Action Register (QA-TEM-053) is completed and in date.
checkpoint-status |  |  | checkpoint | Testing equipment used onsite is recorded on the Test Equipment Register. (QA-FRM-015)
checkpoint-group |  |  | section | ITP/ITC’s
checkpoint-status |  |  | checkpoint | Inspection and Test Plan (QA-TEM-001) is completed and has been issued to principal contractor.
checkpoint-status |  |  | checkpoint | ITC’s have been completed by competent persons as per the ITP.
checkpoint-status |  |  | checkpoint | ITC’s have been signed off by the Project Manager.
checkpoint-status |  |  | checkpoint | ITC’s have been issued to the Principal Contractor for sign off.
checkpoint-status |  |  | checkpoint | Certificate of Compliance (QA-TEM-054) issued to the Principal Contractor.
checkpoint-group |  |  | section | Forms
checkpoint-status |  |  | checkpoint | RCD Commissioning Test Results (QA-FRM-003) form completed.
checkpoint-status |  |  | checkpoint | Emergency Lighting Test Book (QA-FRM-004) completed.
checkpoint-status |  |  | checkpoint | Final Installation Test Sheet (QA-FRM-005) completed.
checkpoint-status |  |  | checkpoint | Non-Conformance Report/s (QA-FRM-008) completed.
checkpoint-status |  |  | checkpoint | Corrective Action Report (QA-FRM-014) completed for all Non-Conformance Reports.
checkpoint-status |  |  | checkpoint | Document Transmittal (PRO-FRM-003) is completed and up to date.
checkpoint-status |  |  | checkpoint | Request for Information form (PRO-TEM-003) is being used for RFI’s.
checkpoint-group |  |  | section | Environmental Management
checkpoint-status |  |  | checkpoint | Site Environmental Management Plan (HSE-MP-002)
checkpoint-status |  |  | checkpoint | EMP in date (refer to review date in footer)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of Managing Director understood and signed off. (Refer page 3 of QMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of Project Manager understood and signed off. (Refer page 3 of QMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of Supervisor understood and signed off. (Refer page 3 of QMP)
checkpoint-status |  |  | checkpoint | Roles & responsibilities of HSE/QA Manager understood and signed off. (Refer page 3 of QMP)
checkpoint-status |  |  | checkpoint | Quality Assurance Policy is signed by the Managing Director and signature is in date (within 1 year of issue date – refer to footer).
checkpoint-status |  |  | checkpoint | Roles & responsibilities of all employees onsite understood and signed off. (Refer page 17 of EMP)
checkpoint-status |  |  | checkpoint | Miscellaneous
checkpoint-group |  |  | section | Human Resources
checkpoint-status |  |  | checkpoint | All employees have completed the company general induction (copy located in HR file)
checkpoint-status |  |  | checkpoint | All employees have completed the company site induction (copy located in HR file)
checkpoint-status |  |  | checkpoint | All employees have signed off on the employee handbook (copy located in HR file)
checkpoint-status |  |  | checkpoint | All employees have signed their letter of offer (copy located in HR file)
checkpoint-status |  |  | checkpoint | All employees have signed their position description (copy located in HR file)
checklist-flat |  |  | checklist | QA_TEM_033_Control Cable Point to Point Testing |  |  |  |  | Yes | QA_TEM_033_Control Cable Point to Point Testing | a574c91a-1f91-4b8c-b085-a2adbb54bdab
checkpoint-status |  |  | checkpoint | Continuity test of each & every individual core
text | b729e3dd-9a2e-539a-ab82-765d0f806573 |  | textbox | Earth
text | cf02246c-a5ee-54c0-826b-de8c8bb4e47e |  | textbox | 1
text | 53b27764-eb99-5e61-bfe3-ce426919f47a |  | textbox | 2
text | 02552ede-395c-5ea5-8e2e-75f518b49ae3 |  | textbox | 3
text | db492cb1-ad05-54b9-94c7-061d6bf0e9c1 |  | textbox | 4
text | 470808c3-1501-5473-9639-13a532771710 |  | textbox | 5
text | 1dd046b4-e047-517b-b3d8-de05c4f86820 |  | textbox | 6
text | fee1f1ff-0692-547f-8597-e78d2eec33bd |  | textbox | 7
text | 430f018d-3e54-564c-b86a-e9834b1a61bf |  | textbox | 8
text | f32c05be-f7d6-57a0-ae99-c5a5b25d7a6c |  | textbox | 9
text | 00b3888c-3f83-599d-9444-076e4d2c1627 |  | textbox | 10
text | f01b68aa-1cb8-5d9d-ae82-d59b77e11104 |  | textbox | 11
text | 6f8b10b0-63af-51e0-b5a0-02190146b491 |  | textbox | 12
text | 9b1d25fe-ee08-533a-9050-400bdef78bc1 |  | textbox | 13
text | 395a1566-1248-543d-b0a2-66300ea5dd77 |  | textbox | 14
text | 51e910c8-5187-538e-ad4a-b05890f09eb1 |  | textbox | 15
text | 389ce1d3-628c-5f07-9b34-b5f60ee05757 |  | textbox | 16
text | 2f2dedab-1547-52dc-be52-fdf19e5292c2 |  | textbox | 17
text | 25298e6a-880c-59f2-bde7-d86c9a5b6afa |  | textbox | 18
text | 64b6f338-dec1-55ff-9598-7cf09e2d9532 |  | textbox | 19
text | 722118e7-b39c-5ec5-ae21-a75e6d03c157 |  | textbox | 20
checklist-sectioned |  |  | checklist | Motor Vehicle Incident Information |  |  |  |  | Yes | Motor Vehicle Incident Information | a917f110-09e3-4740-8895-c9713c92499e
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
date | 7839332e-b62c-5e3c-9d5c-2841eb368c49 |  | date | Date
text | 6000158b-a87f-5441-8e86-d08ec5ddbfc9 |  | textbox | Time
text | 77251489-54c7-5b80-ae64-2850f350b496 |  | textbox | Driver Name:
text | 3547c6b1-6367-5d20-ad85-149bccc01a24 |  | textbox | Vehicle Make:
text | 7b8f6792-401c-53fe-a8d5-1539ce084ae2 |  | textbox | Rego:
text | 81b5de79-befe-5d1a-bfaa-c438ad524a6f |  | textbox | Location of incident:
text | f6899bb8-4822-5ed5-be3e-5b87470244d8 |  | textbox | Approx. speed of your Vehicle Km/h :
text | 6718ebab-c99b-5667-9422-d10750130902 |  | textbox | Approx. speed of other Vehicle Km/h :
text | e6dd82da-c006-5a54-8f25-c093ab87cef5 |  | textbox | Road condition:
checkpoint-group |  |  | section | Other Vehicle Information
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | 08a060c2-07bb-5cfa-94d0-1b2512040d9d |  | textbox | Driver’s Name:
text | 9653d7bb-f4a0-51fe-b4fd-b9022893d9b2 |  | textbox | Phone Number:
text | bda68969-ec11-570e-b56b-74f363f105ba |  | textbox | Street Address:
text | b2f1f219-8bf8-5584-ad5d-8228bb469733 |  | textbox | Drivers Licence No:
text | 8b488365-0929-5ab9-b3b3-fcb8c58b4048 |  | textbox | Expiry Date:
text | f05e701b-349b-5675-b57d-186a879353fc |  | textbox | Type:
text | bce5e3d0-d424-5c4d-8c8a-d26b27bbfda1 |  | textbox | Vehicle Make:
text | 4ca534d2-3454-50e5-8e79-44c9808e086c |  | textbox | Vehicle Model:
text | f3ab6906-1b97-559d-952d-98b18277b20d |  | textbox | Rego:
text | 436edc61-9660-5450-bbe4-5e73c3b5a5ca |  | textbox | Damage to vehicle:
text | 1c8950c9-ac90-59b3-9eee-00a015ad9f92 |  | textbox | Insurance Company:
text | f93c423c-45e9-5dc6-a37e-4d40aec8dfd1 |  | textbox | Insurance Type:
checkpoint-group |  |  | section | Vehicle Owners Information (if different to driver’s)
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | ae20ea2f-02bb-5030-8e55-86010909d32d |  | textbox | Owner/Company Name:
text | edd30df7-0443-5800-b9d6-11630395e751 |  | textbox | Phone Number:
text | 3b740f23-c571-5a47-9c0b-43afc6ff5fcc |  | textbox | Address:
checklist-flat |  |  | checklist | Leave Application |  |  |  |  | Yes | Leave Application | acb4cf02-f026-4894-830b-f90b48f22d94
checkpoint-status |  |  | checkpoint | Leave application completed
text | 8ca8d9b3-feff-51a5-807b-429499a069ed |  | textbox | Name
text | 4659ce59-8955-55d7-a6ac-f342bd34eaf8 |  | textbox | Position
date | 5bb6e5e3-639c-50a4-8f86-942587e9f259 |  | date | Leave Date From
date | cf651dcc-8958-5e94-baad-35f031b87f6d |  | date | Leave Date To
text | 6c29bf84-559e-5c0b-8238-d64cc20851a2 |  | textbox | Number of Public Holidays
date | c4e2924f-4f00-53fa-b95f-043dcd64e96c |  | date | Last Date Work
date | 66310c03-c6f8-5faf-9776-b19cc03fc30f |  | date | Date Returning to Work
checkpoint-status |  |  | checkpoint | Type of Leave Required
boolean | c71226e7-3f7f-5ebc-8fa3-119abb28bb81 |  | tickbox | Annual
text | 63ebd01e-b310-5bd3-a701-f20cd8a2236b |  | textbox | Days & Hours
boolean | 2cd5b330-f121-5565-98bf-036e19136f79 |  | tickbox | RDO
text | f125b22b-38c8-5a60-b1ab-3f9472277b80 |  | textbox | Days & Hours
boolean | dfd4aa85-37f2-57cd-8968-ce901d4b4ee6 |  | tickbox | Without Pay
text | 95fbe445-cd7b-567d-be03-fc166e329fd8 |  | textbox | Days & Hours
boolean | 9a59ad6c-dd71-57ed-841f-18d075088516 |  | tickbox | Sick
text | 090f307b-62cf-511d-9c4b-d321772325bd |  | textbox | Days & Hours
boolean | 0400cff5-2717-5183-88de-c2d1c914f4ec |  | tickbox | Compassionate
text | d3684075-3e07-54c9-be21-5d8fb2c778b2 |  | textbox | Days & Hours
checkpoint-status |  |  | checkpoint | Leave form completed
holdpoint |  |  | signoff | Signed and Approved by
checklist-flat |  |  | checklist | Reimbursement Form |  |  |  |  | Yes | Reimbursement Form | b7620be9-e19e-42d4-a73e-b3df1cd19793
checkpoint-status |  |  | checkpoint | Reimbursement Form Completed
text | c2729803-3739-507d-9720-3e8822f76eb8 |  | textbox | Date
text | 880fc563-a3ab-509e-870f-74d997bee616 |  | textbox | Details
text | ef95b798-3b82-5d00-b28f-cb69990b6840 |  | textbox | Job #
text | 67934008-9d3a-5d32-9610-8e08421b7102 |  | textbox | G/L Code
text | 8d395e5f-9f85-5310-9789-699d98491b88 |  | textbox | Amount
checklist-flat |  |  | checklist | QA_TEM_030_Security Inspection |  |  |  |  | Yes | QA_TEM_030_Security Inspection | bcabed38-90ca-47c5-821e-81bb5b483be0
checkpoint-status |  |  | checkpoint | Check TDCs for correct type (T), position (P), clearances (C), & attachment (A):
boolean | e3151042-e33d-54ee-9f86-98467877c9c0 |  | tickbox | T
boolean | e7cf3e0f-5f60-593d-a48f-7be86319e412 |  | tickbox | P
boolean | 91b3a717-2a06-5f4f-a746-17cc25af80e6 |  | tickbox | C
boolean | 556979f5-3079-50cc-9fdc-0c94230564cc |  | tickbox | A
checkpoint-status |  |  | checkpoint | Check Expanders for correct type (T), position (P), clearances (C), & attachment (A):
boolean | 3fba6eb0-2774-57a5-a407-963af91e0ac7 |  | tickbox | T
boolean | 97e78756-1f7f-5aee-b4b4-6a8b637d7268 |  | tickbox | P
boolean | 84db6ba6-a369-56ab-9fa8-b283b0fd004f |  | tickbox | C
boolean | 51b01744-b234-54f0-a01b-d0bb401bf29d |  | tickbox | A
checkpoint-status |  |  | checkpoint | Check Main Panels for correct type (T), position (P), clearances (C), & attachment (A):
boolean | 66a8940c-6be5-5d19-937e-9fd62e49eecb |  | tickbox | T
boolean | 254fc701-7827-590e-981c-6edaaeb085e5 |  | tickbox | P
boolean | b0267036-fc8d-5cde-a73c-9fc514d75bd7 |  | tickbox | C
boolean | e93d9327-01c5-50b1-a5f4-8c869a0234c5 |  | tickbox | A
checkpoint-status |  |  | checkpoint | Check Electric Locks for correct type (T), position (P), clearances (C), & attachment (A):
boolean | 46b2e41a-c58c-5808-9452-db48f24dc458 |  | tickbox | T
boolean | 459f0ba9-1117-51c5-bd4d-91927ad347b8 |  | tickbox | P
boolean | 21a8a299-45ed-5ba7-889a-b78431c1750a |  | tickbox | C
boolean | 5cd6b236-5977-5223-8b92-f81be466a29a |  | tickbox | A
checkpoint-status |  |  | checkpoint | Check Proximity Points for correct type (T), position (P), clearances (C), & attachment (A):
boolean | b826f08f-6ac4-568c-bec1-f08686b3edc5 |  | tickbox | T
boolean | 5fe44798-472b-5adf-b75c-e6dcc5f00aba |  | tickbox | P
boolean | e749e2f6-c3bd-5a9f-975c-15f631d73414 |  | tickbox | C
boolean | 44f84612-2262-57ac-ab42-edca3c478fc7 |  | tickbox | A
checkpoint-status |  |  | checkpoint | Check Single Door Controllers for DOTL (D), Forced Doors (F), Prox operation (P), & Lock activation (L):
boolean | 9c440d98-8427-59bf-a469-1dffa433bfed |  | tickbox | D
boolean | d8be10f9-5503-527f-b3c8-2c99c69e0c77 |  | tickbox | F
boolean | eb202cd9-a72b-584c-a306-a2652a57be81 |  | tickbox | P
boolean | f1be7a67-cb61-50b5-a3e6-b6876806976b |  | tickbox | L
checkpoint-status |  |  | checkpoint | Check Two Door Controllers for DOTL (D), Forced Doors (F), Prox operation (P), & Lock activation (L):
boolean | 5c0dce3b-4156-50df-89e5-90bdb18d07f1 |  | tickbox | D
boolean | 2f7d676d-e658-555b-92b6-028ca656543f |  | tickbox | F
boolean | 1c6181d7-272b-5a87-92d8-7ee4711a6818 |  | tickbox | P
boolean | 69ee8d0a-9f5b-506c-b262-6a2ea9f76b15 |  | tickbox | L
checkpoint-status |  |  | checkpoint | Check Four Door Controllers for DOTL (D), Forced Doors (F), Prox operation (P), & Lock activation (L):
boolean | 43d56e04-ddc8-56d8-ac15-10d4930a0b01 |  | tickbox | D
boolean | 6b97570b-f8cf-5f3e-a3f8-48ed657261e1 |  | tickbox | F
boolean | 63866a72-f8cc-52b1-b6a7-2e9eeed80840 |  | tickbox | P
boolean | fb795d83-2b7b-5996-a4b1-0971f3937199 |  | tickbox | L
checkpoint-status |  |  | checkpoint | Check Active Panels Timezones (T), Holidays (H), Auxiliaries (AU), Automation (A):
boolean | 5411e648-27df-5371-b43f-38bf3e80c15b |  | tickbox | T
boolean | cebdf31c-9ab8-5879-8b64-535d41073ec5 |  | tickbox | H
boolean | ca04630d-88f9-5e2f-b030-53e39329c3b8 |  | tickbox | AU
boolean | ebbfff1f-a104-5936-8804-905a6f8244d9 |  | tickbox | A
checkpoint-status |  |  | checkpoint | Check Single Door Controllers Timezones (T), Holidays (H), Auxiliaries (AU), Automation (A):
boolean | ff274a85-d83d-55b2-9111-9885cee61ef3 |  | tickbox | T
boolean | 9fe89e5b-5277-5c2d-8359-a0670d20a054 |  | tickbox | H
boolean | be156b64-d1f4-5155-97f5-4eb06de6d583 |  | tickbox | AU
boolean | 1e6f8a90-0f8b-5227-8253-1940c0006482 |  | tickbox | A
checkpoint-status |  |  | checkpoint | Check Two Door Controllers Timezones (T), Holidays (H), Auxiliaries (AU), Automation (A):
boolean | 4a23a0f0-2f06-5818-9ce0-c8b0172c8824 |  | tickbox | T
boolean | 92a4b0c3-5b94-5656-bbdd-d74f053a5d14 |  | tickbox | H
boolean | 6817c28e-d3d5-50b0-940b-de5e4e99efbc |  | tickbox | AU
boolean | 3dadd28b-bea0-5080-9e14-72fd7e74ceb5 |  | tickbox | A
checkpoint-status |  |  | checkpoint | Check Four Door Controllers Timezones (T), Holidays (H), Auxiliaries (AU), Automation (A):
boolean | e128bbdc-2ede-58a4-8514-6360d48e2de4 |  | tickbox | T
boolean | 3c6c609f-9f75-5292-896d-424846ab3c04 |  | tickbox | H
boolean | f4558e9f-185e-5498-a6dd-927dcce751df |  | tickbox | AU
boolean | 30bf3967-14ad-5932-99a5-bb166cca2798 |  | tickbox | A
checkpoint-status |  |  | checkpoint | Check activation of Door Reed Switches
checkpoint-status |  |  | checkpoint | Check activation of Intruder Detectors
checkpoint-status |  |  | checkpoint | Check that all cables are the correct type, size, configuration, length & quantity
checkpoint-status |  |  | checkpoint | Visually check all terminations for correct colour codes and acceptable looming
checklist-flat |  |  | checklist | Material Requisition |  |  |  |  | Yes | Material Requisition | bf02d050-7b29-4ded-84a4-2918e3273405
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | 0731a1ce-c553-584e-89f3-7e0fc0e29e05 |  | textbox | Requested By
text | 5516e0ca-a11c-5e9b-a654-42dc2ec5cab6 |  | textbox | Date Requested
text | 910961e6-3b48-5c82-b1b9-2d16c05b7d3e |  | textbox | Date Required
text | 20a8d40f-fcdc-512b-bff1-da8e918af364 |  | textbox | Delivery Address
text | c5f4a273-262a-5ce3-a120-1537497a25e0 |  | textbox | Site Contact for Delivery
text | 1dda75b0-f4a0-5d10-9b34-6d7e2b293f7a |  | textbox | Phone Number
text | eec85016-6ef5-56d3-8234-4d19891ec5e4 |  | textbox | Part Number
text | 5376e329-4b2a-573d-8526-71b83fda0f0e |  | textbox | Description
text | 74fccd56-786b-5a4f-8e45-8dbffda490fb |  | textbox | Qty.
text | d451669b-d6d9-57b0-a6ef-3678db5869c0 |  | textbox | Supplier
text | 199683f4-c19d-5932-ab11-a4073ef44433 |  | textbox | Purchase Order No
text | c8208758-c107-5e69-8869-29262c4570ac |  | textbox | Area of Project
boolean | b1bb4bba-5afa-569a-8165-f0f4ffc733db |  | tickbox | Received
checklist-flat |  |  | checklist | QA_TEM_035_Multi-Core Point to Point Testing |  |  |  |  | Yes | QA_TEM_035_Multi-Core Point to Point Testing | c17b389d-8915-4b0b-9ade-e076f7ff6320
checkpoint-status |  |  | checkpoint | Continuity test of every core
text | bdd0e6ab-66e2-54b4-a0ba-75cc3b30bd47 |  | textbox | Earth
text | 1732945e-b216-5232-a812-54acbc5959d5 |  | textbox | Core 1
text | ea9ba5ae-d9e2-572d-9d4f-7cfc01111616 |  | textbox | Core 2
text | e4468993-0438-5ee1-a993-fc80204e83a1 |  | textbox | Core 3
text | c82e6ddc-57d0-503b-8e6f-0a8668b7dcbb |  | textbox | Core 4
text | a208f939-717d-547e-ba59-36e1e1fa744a |  | textbox | Core 5
text | e5449389-2aec-5566-a7cc-dc25b0f409b8 |  | textbox | Core 6
text | 172ab688-06dc-5e8a-8f87-f91d35752453 |  | textbox | Core 7
text | e31eca81-6b62-5878-8edd-ef4f251c4560 |  | textbox | Core 8
text | 5236c0ea-ddb4-5bed-b60a-59eddd7a267b |  | textbox | Core 9
text | 64ef6fa5-20e3-507e-9467-5c7d96d68eed |  | textbox | Core 10
text | 851058a0-fa56-536c-9762-3dcdca7a5e64 |  | textbox | Core 11
text | 07458f03-6eba-59c5-aa98-f83c02b3a1a1 |  | textbox | Core 12
text | a1b1e812-fcca-5f73-bc3b-792c01832c90 |  | textbox | Core 13
text | 332d24db-e137-52eb-b689-aedb9ea6cd95 |  | textbox | Core 14
text | 05c74ac6-5cc5-5e0f-8c8e-616e87602064 |  | textbox | Core 15
text | 08d9d53b-1a21-541f-ac34-8cd5fb48d7a5 |  | textbox | Core 16
text | cba242b7-7e64-5875-bf1f-4d8e55519cee |  | textbox | Core 17
text | ae0495b4-e9a4-5301-b365-82ecdefe0dd5 |  | textbox | Core 18
text | 09c30b8a-d859-5372-af9e-d974bd5d950a |  | textbox | Core 19
text | 1da6a46f-a960-583e-99b9-024bb85e66e3 |  | textbox | Core 20
text | 78d4f171-0294-54d2-b498-4faa91aff5bf |  | textbox | Core 21
text | d16b583f-8b94-536a-bdc4-177d3acb850b |  | textbox | Core 22
text | bbc2a0c3-3637-5bfd-b903-7980d7a52eea |  | textbox | Core 23
text | 6d16ac5a-a10b-5639-81f5-9ea01b0cf5d3 |  | textbox | Core 24
text | c49d21bb-38ff-5e4a-9466-c42fc684e5bf |  | textbox | Core 25
checklist-sectioned |  |  | checklist | QA_TEM_013_Switchboard & Distribution Board Assembly |  |  |  |  | Yes | QA_TEM_013_Switchboard & Distribution Board Assembly | ca85d91a-a1c6-4dc5-abd0-d7274a9d65e6
checkpoint-group |  |  | section | Built as per plans
checkpoint-status |  |  | checkpoint | Main Switch
text | 3c7a3fec-9606-5fd3-97da-9bc4ecb1fb15 |  | textbox | Correct Size, Rating & Type
checkpoint-status |  |  | checkpoint | Isolators
text | ee736bb0-5d01-5e35-b4f8-dc180273ac42 |  | textbox | Correct Size, Rating & Type
checkpoint-status |  |  | checkpoint | Circuit Breakers
text | bc5a485c-f299-5301-9252-678cfac90098 |  | textbox | Correct Size, Rating & Type
checkpoint-status |  |  | checkpoint | Cable Size
text | 54ba206e-68bd-5d23-a833-315fb58cb875 |  | textbox | Correct Size, Rating & Type
checkpoint-status |  |  | checkpoint | CT's
text | 960b2929-2c98-5509-a41c-b75e98536482 |  | textbox | Correct Size, Rating & Type
checkpoint-group |  |  | section | Visual Check
checkpoint-status |  |  | checkpoint | Escutcheons Fitted Correctly
checkpoint-status |  |  | checkpoint | Gland Plates Fitted Correctly
checkpoint-status |  |  | checkpoint | All Locks Fitted correctly, operation and keys incl.
checkpoint-status |  |  | checkpoint | Earth straps fitted correctly
checkpoint-status |  |  | checkpoint | Labels
boolean | 0559f7fa-139b-5ad2-94f1-0d1c33a67562 |  | tickbox | Main Switch
boolean | 32e10279-fd0d-5cdc-b902-787041f78a70 |  | tickbox | Isolators
boolean | f102cda9-51a7-57cb-864b-891edafa8a24 |  | tickbox | Strip Labels
boolean | 21742b02-2d70-576f-a99c-85c825c2cca3 |  | tickbox | Earthing & Neutral Bars
boolean | 5ed349ea-ee99-5b7f-b137-fdb0b6209093 |  | tickbox | Meters
checkpoint-group |  |  | section | Cables
checkpoint-status |  |  | checkpoint | Terminated & Tensioned
checkpoint-status |  |  | checkpoint | Neutrals - Correct terminal and number
checkpoint-status |  |  | checkpoint | Bend Radius as per AS 3000
checkpoint-status |  |  | checkpoint | Correctly Labelled
checkpoint-group |  |  | section | Testing (as per QA_FRM_005_Final Installation Test Sheet)
checkpoint-status |  |  | checkpoint | 3 ø Board @ 1000V
checkpoint-status |  |  | checkpoint | 1 ø Board @ 500V
checkpoint-status |  |  | checkpoint | Point to Point - Control Circuits
checkpoint-status |  |  | checkpoint | Correct Operation of Control Circuits
checkpoint-group |  |  | section | Cabinet
checkpoint-status |  |  | checkpoint | Correct Finish
checkpoint-status |  |  | checkpoint | Correct Size
checkpoint-status |  |  | checkpoint | Clean & damage free
checklist-sectioned |  |  | checklist | QA_TEM_040_Multi-Core Cable Commissioning |  |  |  |  | Yes | QA_TEM_040_Multi-Core Cable Commissioning | d1aa9084-e40b-4426-8f9e-47d34e51bee3
checkpoint-group |  |  | section | Cable Install
checkpoint-status |  |  | checkpoint | Type, configuration, number of cores & cross sectional area is as specified
checkpoint-status |  |  | checkpoint | Cable has correct origin and destination & follows the correct route
checkpoint-status |  |  | checkpoint | Meets minimum bending radius requirements with minimal crossovers
checkpoint-status |  |  | checkpoint | Is clear of heat sources with mechanical protection fitted if required
checkpoint-status |  |  | checkpoint | Is secured properly & correctly supported as specified
checkpoint-status |  |  | checkpoint | Is installed in a neat & orderly manner with inter cable spacing/segregation
checkpoint-group |  |  | section | Origin Termination, Location
checkpoint-status |  |  | checkpoint | Gland is correct type & size, & also fitted & secured properly
checkpoint-status |  |  | checkpoint | Cable numbers fitted correctly & securely
checkpoint-status |  |  | checkpoint | Cores loomed neatly with correct identification
checkpoint-status |  |  | checkpoint | Cores in the correct terminals & correctly tensioned
checkpoint-status |  |  | checkpoint | Cores correctly lugged & insulated
checkpoint-group |  |  | section | Destination Termination, Location
checkpoint-status |  |  | checkpoint | Gland is correct type & size, & also fitted & secured properly
checkpoint-status |  |  | checkpoint | Cable numbers fitted correctly & securely
checkpoint-status |  |  | checkpoint | Cores loomed neatly with correct identification
checkpoint-status |  |  | checkpoint | Cores in the correct terminals & correctly tensioned
checkpoint-status |  |  | checkpoint | Cores correctly lugged & insulated
checkpoint-group |  |  | section | Testing
checkpoint-status |  |  | checkpoint | Point to Point, Continuity test of each core
boolean | 7fdd5765-aabd-5a3f-94c7-fe97f8f19e5e |  | tickbox | Earth
boolean | 459c33d0-869e-5623-851b-e3a5f73ffc9f |  | tickbox | Core 1
boolean | 8e6b0ab1-1c0d-5021-8e99-8b3578175646 |  | tickbox | Core 2
boolean | 10cf6895-d290-5a24-a8e8-eb0e8de1c890 |  | tickbox | Core 3
boolean | 4d9b68ed-6f83-5568-8364-e3aa4430d8bc |  | tickbox | Core 4
boolean | fd5c342c-0f6d-546d-b301-939159f6e9da |  | tickbox | Core 5
boolean | ecc9ce30-811a-5932-a98d-a25bfe45b442 |  | tickbox | Core 6
boolean | b8985d47-7aaf-5a87-9a29-5422d6e384a9 |  | tickbox | Core 7
boolean | 06d38973-4dd0-51ed-8f29-952f847665dd |  | tickbox | Core 8
boolean | 571e3931-4ee9-5f7c-9139-141018dea090 |  | tickbox | Core 9
boolean | 0772bba9-11e7-58a8-bde9-bac454761a15 |  | tickbox | Core 11
boolean | bdd04a56-1819-546b-8834-fb61db5e15ca |  | tickbox | Core 12
boolean | 44629e0d-d2c4-5806-8862-ea431ec5d152 |  | tickbox | Core 13
boolean | 7e13887b-bf0f-50f1-819a-ea0cfc6a681b |  | tickbox | Core 14
boolean | f29777bc-bc4b-54b4-89a2-6bd46c81c9a0 |  | tickbox | Core 15
boolean | 95e190b6-110b-57a6-af93-bc12de6881b7 |  | tickbox | Core 16
boolean | 2746c587-9451-5f40-bd0b-695348aac6e0 |  | tickbox | Core 17
boolean | 273fd805-2d7b-512e-a24c-29bc11cc7eda |  | tickbox | Core 18
boolean | 2a6ab1bd-ad41-5ba0-9695-487b1c5cddfd |  | tickbox | Core 19
boolean | 26b544bf-f9f0-5fbc-8c84-6ae0ca180276 |  | tickbox | Core 20
checklist-sectioned |  |  | checklist | Final Installation Checklist |  |  |  |  | Yes | Final Installation Checklist | d350227e-111b-4817-ba22-c7af52134b63
checkpoint-group |  |  | section | Dead Test
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | e047de2f-646b-5ce5-9e8b-fb7eaed8abcb |  | textbox | Name
date | 63246fd6-19ec-5dd3-acae-f18398ff159d |  | date | Test Date
text | bccebea1-cf7a-5444-ad56-8f53ca846e8c |  | textbox | Licence No:
text | 6f92706f-e428-5895-948f-4f6f3b6d36fc |  | textbox | Test Serial No:
text | a837ea0e-139b-5907-93ef-14630557eb9b |  | textbox | Test Inst. Make & Model:
text | c39b3bcb-b870-511f-a8bc-80f516b13827 |  | textbox | Calibration Due Date:
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Live Test
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | 5a1e15b1-9d29-5f5e-a058-c80ee52b6e88 |  | textbox | Name
date | 3618a31c-da38-56ce-9aab-7f4140cddf1e |  | date | Test Date
text | ccde24c1-f292-55f1-b13a-0f30e787aef7 |  | textbox | Licence No:
text | 9e2625ee-803d-5887-a51e-7f6b642d0056 |  | textbox | Test Serial No:
text | bafcf167-5f79-5cf7-a106-03413cee6441 |  | textbox | Test Inst. Make & Model:
text | 46b4a312-f8eb-58c9-a0b5-80d081bbdffa |  | textbox | Calibration Due Date:
holdpoint |  |  | signoff | Signed Off
checkpoint-group |  |  | section | Circuit Identification & Visual Check
checkpoint-status |  |  | checkpoint | Protective Device
text | 16d9512a-3882-5dba-9868-494c8af6c190 |  | textbox | C/B No
text | 2bd373c8-dfb1-50cb-a99c-97c566f1bf1b |  | textbox | AMP Rating
select | 0d0d368e-9b26-5f01-8ca5-1a0b4201946a |  | dropdown | Type | B,C,D
checkpoint-status |  |  | checkpoint | Circuit Description
text | 7a13afc7-4935-528d-84f6-560bd7dd6add |  | textbox | Active mm2
text | 3050f5ba-5688-5696-a346-cde989f80505 |  | textbox | Earth mm2
checkpoint-status |  |  | checkpoint | Visual Check
checkpoint-group |  |  | section | Dead Testing
checkpoint-status |  |  | checkpoint | Earth Cont.
text | 777751f3-3dc7-5bd9-923a-a0faaea26fb1 |  | textbox | Ω
checkpoint-status |  |  | checkpoint | Testing & Insulation Resistance Ω
text | 2c8f0230-88d8-5c0a-b187-86e731c29fc4 |  | textbox | A1-E
text | 58d8e21a-123b-5aae-b75e-1eeea7df9861 |  | textbox | A2-E
text | 539a9aa5-9c25-5a6e-9598-88210ae92bfb |  | textbox | A3-E
text | b3067406-1367-5114-a94a-3e3a9bf097d7 |  | textbox | A1-A2
text | d6481839-e727-59e4-be91-dd1b408e49b7 |  | textbox | A1-A3
text | 7e39d9d6-42e3-5f15-a01f-46325352669f |  | textbox | A2-A3
text | 3c5b2749-2053-5563-8d6b-924fbde062da |  | textbox | A1-N
text | 487ffe5f-eae1-512b-83bf-5e36ed5ee7e5 |  | textbox | A2-N
text | fcf8cf28-4a41-55ca-8ec5-1b1ee93d5103 |  | textbox | A3-N
text | 66a0938d-f6a2-59f7-bd1c-72b1faf048ac |  | textbox | N-E
checkpoint-status |  |  | checkpoint | Fault Loop Impedance
checkpoint-group |  |  | section | Live Testing
checkpoint-status |  |  | checkpoint | Correct Polarity & Breaker Function
text | 402f4ee9-6422-5282-8725-58bfb7967f7e |  | textbox | Fault Loop Impedance Ω
text | aa0d4402-1cdd-52d5-bea7-4dc8e54a82c1 |  | textbox | RCD Operation Trip time Value (m/Sec) 0
text | 2c3b7c43-fa5f-581a-a703-edf8f4950f1a |  | textbox | RCD Operation Trip time Value (m/Sec) 180
checklist-sectioned |  |  | checklist | Test & Tag Register |  |  |  |  | Yes | Test & Tag Register | d6d15b77-6334-4e53-871b-5fbde379ea93
checkpoint-group |  |  | section | Inspection By
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | e25c43e1-b88d-55c7-82dd-166593c82a27 |  | textbox | Name
text | 1e8545c6-5b5d-5710-b86a-a34280a2e3b7 |  | textbox | Licence No.
holdpoint |  |  | signoff | Project Manager & HSEQ Manager
checkpoint-group |  |  | section | Tests Carried Out
checkpoint-status |  |  | checkpoint | Cond.
checkpoint-status |  |  | checkpoint | Insul.
checkpoint-status |  |  | checkpoint | Cont.
checkpoint-status |  |  | checkpoint | Mech.
text | 12efd64d-aa80-543b-8adb-184a7dd6b995 |  | textbox | Repairs / Condition
text | dc53ff59-3705-588d-bdd4-198ae7987274 |  | textbox | Deficiency Cleared Date
checklist-flat |  |  | checklist | QA_TEM_063_Construction Distribution Boards |  |  |  |  | Yes | QA_TEM_063_Construction Distribution Boards | d7a6701d-e8b8-42b9-a093-e559617a3958
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.1.1 - The distribution board is legibly and indelibly marked to identify the source of supply from which it originates. (min 6mm letters)
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.1.1 - The distribution board shall be readily accessible and protected from damage.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.1.2 - The distribution board shall be positioned in a manner that eliminates the need for leads to be run between levels.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (a & b) - The distribution board is of robust construction with a minimum IP 23 rating.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (c) - Live parts are eﬀectively protected at all times against contact by personnel operating equipment located on the distribution board, including the connection or disconnection of plugs to socket-outlets.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (c) - All penetrations are closed oﬀ, with propriety fittings, i.e. bungs & lock rings for unused penetrations and pole fillers for unused circuit breaker poles.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (d) - An insulated tie bar is fitted for extension leads to prevent strain on socket/outlets.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (e) (i) - The door or lid requires the use of tool for removal.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (e) (ii) - The door or lid is fitted with a facility for locking.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (e) (iii) - The door or lid shall be fitted with means of retention in the open position.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (e) (iv) - The door or lid shall not damage leads and allow the safe entry of leads.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (e) (v) - A clearly visible and legible sign shall be fixed on the external surface. "KEEP CLOSED - RUN ALL LEADS THROUGH BOTTOM"
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (f) - Distribution board is clearly labelled to distinguish one board from another. (by means of numbers, letters or both)
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.2.1 (g) - Switchboards is marked in accordance with appendix C to indicate presence of live parts.
checkpoint-status |  |  | checkpoint | An electric shock risk sign is displayed in locations where additional attention is required in the removal of covers, e.g. covers for switchboards or cable junctions.
checkpoint-status |  |  | checkpoint | A danger sign with an additional message indicating the presence of live parts within, is conspicuously displayed on the enclosure.
checkpoint-status |  |  | checkpoint | AS/NZS 3012:2019 - 2.3.3 - Distribution board is securely fixed in position, attached to a pole, post, wall, floor. (if it is not fixed down for any reason the board should not be in service)
checklist-flat |  |  | checklist | QA_TEM_011_Mains & Sub Mains Installation |  |  |  |  | Yes | QA_TEM_011_Mains & Sub Mains Installation | de11ccff-d16e-4736-b605-faa993b4cbaf
checkpoint-status |  |  | checkpoint | Cable is in good condition and free from damage and defects
checkpoint-status |  |  | checkpoint | Cable has correct origin and destination
text | dbe11aef-b603-588e-b1c4-bb0c9a33f718 |  | textbox | Origin
text | 54127867-35aa-59a8-8c33-63b19c599fcd |  | textbox | Destination
checkpoint-status |  |  | checkpoint | Cable Type, Number of Cores, Size and Configuration is as specified
text | d67e3c6f-9320-518e-8dcb-ecf8230b13a0 |  | textbox | Size (mm2)
text | 890bf88b-d765-57da-867b-f3d5e03c62da |  | textbox | Cores
text | af0f164b-feb5-5f96-ae11-0cf7e55615e1 |  | textbox | Cable Type
text | e7ca980b-9c74-5212-a3ea-f75ff663585c |  | textbox | Earth Size (mm2)
text | 9bad7956-49ac-50fa-9801-9f9a4b281fa5 |  | textbox | Cores
text | ea6c5dae-feb0-5e91-b5a7-085b234f0046 |  | textbox | Cable Type
checkpoint-status |  |  | checkpoint | Bending radius recommended by the cable manufacturer has been observed
text | 0f97e5e0-d503-52f6-b1e8-20c731dd4541 |  | textbox | Bending Radius (mm)
label | ea175b07-ff26-5804-a2d2-9b118f3c2aa6 |  | note | Where manufacturer’s information is not available, the following minimum internal radii may be considered suitable
label | c6424758-3498-53a3-9d97-a43edc5659fe |  | note | Unarmoured sheathed cables = 6 times the cable diameter
label | 01f01a99-b5e9-51bd-9cb6-d0a4b4427932 |  | note | Armoured sheathed cables = 12 times the cable diameter
checkpoint-status |  |  | checkpoint | Cable follows the correct route
checkpoint-status |  |  | checkpoint | Cable is clear of heat sources
checkpoint-status |  |  | checkpoint | Cable is segregated from telecommunications cables by either a continuous barrier or separated by at least 50mm - AS/NZS 3000 Clause 3.9.8.4 (c).
checkpoint-status |  |  | checkpoint | Cable is secured and mechanically protected (where required).
checkpoint-status |  |  | checkpoint | Cable is marked with cable or circuit number
checklist-flat |  |  | checklist | QA_TEM_023_Emergency & Exit Lighting |  |  |  |  | Yes | QA_TEM_023_Emergency & Exit Lighting | e799a3d3-8dce-4a10-8ca2-522e6e98fb9f
checkpoint-status |  |  | checkpoint | Fitting/s are the correct type
checkpoint-status |  |  | checkpoint | Fitting/s are located in the correct position
checkpoint-status |  |  | checkpoint | Fitting/s are securely fitted
checkpoint-status |  |  | checkpoint | Fitting/s are fitted with correct lamps
checkpoint-status |  |  | checkpoint | Fitting/s accessories fitted in accordance with manufacturers recommendation
checkpoint-status |  |  | checkpoint | Fitting/s are compliant with specification
checkpoint-status |  |  | checkpoint | Fitting/s are correctly identified
checkpoint-status |  |  | checkpoint | Fittings/s are tested to AS 2293 Emergency escape lighting and exit signs for buildings
checkpoint-status |  |  | checkpoint | Log book is completed and copy on-site
checkpoint-status |  |  | checkpoint | Log book ID number and as-installed drawing/s match
checkpoint-status |  |  | checkpoint | Exit sign/s visible
checkpoint-status |  |  | checkpoint | correct operation
checklist-flat |  |  | checklist | Non-Conformance Report (NCR) |  |  |  |  | Yes | Non-Conformance Report (NCR) | f79b2d10-cb5e-4db9-9697-743644a1323c
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
text | a08f72ac-d59b-5dff-aa30-6292fd6b5f7d |  | textbox | NCR #
text | 1f776044-ee73-55f3-ad5c-36441f2ede45 |  | textbox | Date
text | 185c946d-7160-54c8-a912-196304094625 |  | textbox | Raised By
select | cd7df110-0739-5ed8-a16f-64afd65fbf57 |  | dropdown | Category | Observation, Improvement Request, Minor Non-Conformance, Major Non-Conformance
text | 7a64d6df-b88b-5cbf-89de-9f0c7fd9ef08 |  | textbox | Description of Non-Conformance
text | 8535aa07-b7a7-5d35-a89a-5535649d86e2 |  | textbox | Details of Root Cause Analysis
text | a1bad541-80bd-5e06-a394-69f8d80a95c7 |  | textbox | Agreed Corrective Action
text | 1d0e4b4d-967f-598d-9372-e630afefbd0e |  | textbox | Corrective Action Close Out Details
checkpoint-status |  |  | checkpoint | Close Out
holdpoint |  |  | signoff | Project Manager & HSEQ Manager
checklist-flat |  |  | checklist | QA_TEM_016_Light Fitting Installation |  |  |  |  | Yes | QA_TEM_016_Light Fitting Installation | faeca363-2d24-4a46-a231-0b2ad176b1ee
checkpoint-status |  |  | checkpoint | Fitting/s are the correct type
checkpoint-status |  |  | checkpoint | Fitting/s are located in the correct position
checkpoint-status |  |  | checkpoint | Fitting/s are securely fitted
checkpoint-status |  |  | checkpoint | Fitting/s are fitted with correct lamps
checkpoint-status |  |  | checkpoint | Fitting/s accessories fitted in accordance with manufacturers recommendation
checkpoint-status |  |  | checkpoint | Fitting/s are damage free
checkpoint-status |  |  | checkpoint | Fittings/s have correct termination
checklist-flat |  |  | checklist | COVID19 Vaccination Status Form |  |  |  |  | Yes | COVID19 Vaccination Status Form | fb64a983-f219-4d06-9d57-bcd8132ac125
checkpoint-status |  |  | checkpoint | Attach any relevant photos or documents
label | bf18a10c-aef8-5522-9f2b-fef5a1452930 |  | note | Employers have a duty under WHS laws to, as far as reasonably practicable, eliminate or minimise the risk of exposure to COVID19 in the workplace. Information about your vaccination status will be protected in accordance with the Privacy Act 1988. By completing this form, you acknowledge that you are reporting your COVID19 vaccination status in an accurate, honest manner.
text | 896f793f-dd9f-5d8e-92f1-70ac484eae1d |  | textbox | Full name
text | 0bfc76f5-671f-5579-8e44-03eff6d34275 |  | textbox | Date
text | 7d4d9414-e61d-54d0-af99-d345500784ad |  | textbox | Mobile Number
text | 231ba674-11a0-5260-822f-98abbe3c1060 |  | textbox | Residential Address
text | 0534306e-cf26-5d2d-bcd0-f2ba4322a3af |  | textbox | Have you been vaccinated?
text | 4b9f7db7-798b-532c-a2b5-52d5b3cdc359 |  | textbox | Date of the first vaccination administered
text | 83da72ed-35ba-5bf3-ab12-efe219a93dc8 |  | textbox | (If not yet administered, date scheduled)
text | 91015558-6f12-5258-9643-3a92d3d8ace1 |  | textbox | Date of the second vaccination administered
text | e5990603-8532-524a-89bc-f53fcd033286 |  | textbox | (If not yet administered, date scheduled)
text | 6aacea2c-5238-5d45-9113-78939d36b2ed |  | textbox | Name of Vaccine
text | 3ac5b9e8-5f17-5aa1-b077-efbe65c7ff11 |  | textbox | Date of booster vaccination administered
text | 9a72a659-052e-5412-a7e9-f796191fc4d9 |  | textbox | (If not yet administered, date scheduled)
text | 37a9d7a7-687d-5c01-bc2e-50d85808173d |  | textbox | Name of Vaccine
text | a0a1b20f-ec54-5bca-81c9-81f0c6dc5d6f |  | textbox | By signing below:
label | 65ee18f7-2da3-5d79-acb4-aa561a4eabf2 |  | note | I confirm that I have provided accurate information in relation to my vaccination status.
label | 9a298a44-7af4-5706-9a32-671737ae082d |  | note | I understand that if I stated that I am fully vaccinated, my employer may request documentation of my vaccination status (e.g., a copy of my vaccine card or other similar official document confirming vaccination status).
label | cc01b298-3632-573f-9bf8-d1f5a7e1d5ba |  | note | I understand that the purpose of collection of this information is to comply with relevant WHS requirements and allow workers access to certain worksites.
label | 1706e5b1-dfef-505f-a08b-73b21af3fd6b |  | note | I understand that if I refuse to provide this information, my access to certain worksites may be denied.
label | 08dc7014-8a10-54cb-ba19-27fe0a704df8 |  | note | I understand and consent to Q Electrical providing this information to their clients, SafeWork Australia and other regulators as required for work, compliance and WHS purposes.
checkpoint-status |  |  | checkpoint | Form completed
holdpoint |  |  | signoff | Signed Off
checklist-flat |  |  | checklist | Uniform Request Form |  |  |  |  | Yes | Uniform Request Form | fdc1fa52-fc77-4812-892d-74917cae0d96
checkpoint-status |  |  | checkpoint | Uniform Request Form
text | 15520d59-cdcf-5c0e-b707-6a6d79422bcf |  | textbox | Employee
text | 0e57a1d1-8cdd-5762-8b18-b088ac1d578b |  | textbox | Project #
text | f43f17e0-bc25-5eba-9a68-28e599b60123 |  | textbox | Project Name
text | 004d2b88-db16-5dde-9a14-9b3b4ba18411 |  | textbox | Project Manager
checkpoint-status |  |  | checkpoint | Items
boolean | 62673e08-477a-56cd-a586-74f3dd245824 |  | tickbox | Boots
text | ade392e9-698c-5f8a-af17-cea84a128ad2 |  | textbox | Size
text | 98f5ccbc-8ea4-52ee-a082-5f21d032a23a |  | textbox | Quantity
boolean | 4fd843e9-5567-5398-adf5-4a0501809bb4 |  | tickbox | Long Sleeve Shirt
text | 453db66c-4d89-5e73-8175-a37ef30330fc |  | textbox | Size
text | 5671a8fe-0945-56e4-87de-e2da2c6d9451 |  | textbox | Quantity
boolean | d605f00f-1662-57b1-8ec0-dfed7529a46d |  | tickbox | Long Pants
text | f35f6ddc-2173-5059-8b07-58733b0f7ef6 |  | textbox | Size
text | afbe0db5-a44e-56c1-9ecc-416ff0794397 |  | textbox | Quantity
boolean | 047ae7fc-06d5-591c-9d46-92c873ded5f1 |  | tickbox | Hard Hat
text | 994e6a43-8abc-5f7d-ab24-3cb3bd5c122a |  | textbox | Quantity
boolean | b5dee195-7e39-5049-a508-86c1c9f74243 |  | tickbox | Safety Glasses
text | f30397c9-79f4-5aab-867f-03f2b750011c |  | textbox | Quantity
boolean | 8dcb1204-82f4-5c4e-b547-1d63ee3acaa9 |  | tickbox | Gloves
text | 121655a3-0a83-5f2a-8f40-40c640a7bc9e |  | textbox | Size
text | 5e7c02c5-92ea-5a05-82fb-163da378faca |  | textbox | Quantity
text | 0f04601a-8dac-576c-9770-56b827d6d597 |  | textbox | Site Specific Requirements:
checkpoint-status |  |  | checkpoint | Sign-Off to be completed after uniforms have been issued
holdpoint |  |  | signoff | Employee & Supervisor Signature