## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Fire Systems ITP - Ground |  |  |  |  | Yes | Fire Systems ITP - Ground | 45e9a3da-b43f-40ce-b65c-80a914d80008
checkpoint-status |  |  | checkpoint | 25% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | 50% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | 75% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | 100% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | Other % (entered below) - Exposed Ranges With Sprinklers Installed - do not pass until 100%
text | 3641f891-1e34-51d4-905d-cfec8f6042df |  | textbox | % Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | Fire Hose Reels Installed
checkpoint-status |  |  | checkpoint | Rough In Ranges Lift Lobby Ceilings
checkpoint-status |  |  | checkpoint | Fit-off semi-recessed Sprinklers to Ceiling Grid (Lobby)
checkpoint-status |  |  | checkpoint | Fit-off Escutcheon Plates to Ceiling Grid (Lobby)
checkpoint-status |  |  | checkpoint | Fit-off semi-recessed Sprinklers to Ceiling Grid (Amenities & Other Areas)
checkpoint-status |  |  | checkpoint | Fit-off Escutcheon Plates to Ceiling Grid (Amenities & Other Areas)
checkpoint-status |  |  | checkpoint | Sprinkler Control Valves Installed
checkpoint-status |  |  | checkpoint | Pumps & Tanks installed
checkpoint-status |  |  | checkpoint | Hydrostatic Pressure Test 1400KPA (All tests verified by Supervisor/Manager)
checkpoint-status |  |  | checkpoint | East - Combined Hydrant Main Located in Fire Stairs (Temporary Hydrant)
checkpoint-status |  |  | checkpoint | West - Combined Hydrant Main Located in Fire Stairs (Temporary Hydrant)
checkpoint-status |  |  | checkpoint | East - Hydrant & Sprinkler Test Drains Located in Fire Stairs
checkpoint-status |  |  | checkpoint | West - Hydrant & Sprinkler Test Drains Located in Fire Stairs
checkpoint-status |  |  | checkpoint | Total Floor Completion % entered below - do not pass until 100%
text | d539cad9-ade7-5771-8922-39a86194ddff |  | textbox | Floor Completion %
checkpoint-status |  |  | checkpoint | Floor Completed Sign Off
holdpoint |  |  | signoff | Sign Off
checklist-flat |  |  | checklist | Fire Systems ITP - Levels |  |  |  |  | Yes | Fire Systems ITP - Levels | a0bfeed8-813f-4bd0-99d6-4a5495cac892
checkpoint-status |  |  | checkpoint | 25% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | 50% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | 75% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | 100% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | Other % (entered below) - Exposed Ranges With Sprinklers Installed - do not pass until 100%
text | 9fe34111-4ca3-58d7-9360-fbd66a5538c0 |  | textbox | % Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | Rough In Ranges Lift Lobby Ceilings
checkpoint-status |  |  | checkpoint | Fit-off semi-recessed Sprinklers to Ceiling Grid (Lobby)
checkpoint-status |  |  | checkpoint | Fit-off Escutcheon Plates to Ceiling Grid (Lobby)
checkpoint-status |  |  | checkpoint | Fit-off semi-recessed Sprinklers to Ceiling Grid (Amenities & Other Areas)
checkpoint-status |  |  | checkpoint | Fit-off Escutcheon Plates to Ceiling Grid (Amenities & Other Areas)
checkpoint-status |  |  | checkpoint | Sprinkler Control Valves Installed
checkpoint-status |  |  | checkpoint | Hydrostatic Pressure Test 1400KPA (All tests verified by Supervisor/Manager)
checkpoint-status |  |  | checkpoint | East - Combined Hydrant Main Located in Fire Stairs (Temporary Hydrant)
checkpoint-status |  |  | checkpoint | West - Combined Hydrant Main Located in Fire Stairs (Temporary Hydrant)
checkpoint-status |  |  | checkpoint | East - Hydrant & Sprinkler Test Drains Located in Fire Stairs
checkpoint-status |  |  | checkpoint | West - Hydrant & Sprinkler Test Drains Located in Fire Stairs
checkpoint-status |  |  | checkpoint | Total Floor Completion % entered below - do not pass until 100%
text | 5a0edecf-0e39-578d-a755-320953174283 |  | textbox | Floor Completion %
checkpoint-status |  |  | checkpoint | Floor Completed Sign Off
holdpoint |  |  | signoff | Sign Off
checklist-flat |  |  | checklist | Fire Systems ITP - Basements |  |  |  |  | Yes | Fire Systems ITP - Basements | e72d1007-6239-4186-8b6c-a8ad6c42f848
checkpoint-status |  |  | checkpoint | 25% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | 50% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | 75% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | 100% - Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | Other % (entered below) - Exposed Ranges With Sprinklers Installed - do not pass until 100%
text | c82e935e-3c39-5e8e-a91d-1b2fb15333b5 |  | textbox | % Exposed Ranges With Sprinklers Installed
checkpoint-status |  |  | checkpoint | Fire Hose Reels Installed
checkpoint-status |  |  | checkpoint | Rough In Ranges Lift Lobby Ceilings
checkpoint-status |  |  | checkpoint | Fit-off semi-recessed Sprinklers to Ceiling Grid (Lobby)
checkpoint-status |  |  | checkpoint | Fit-off Escutcheon Plates to Ceiling Grid (Lobby)
checkpoint-status |  |  | checkpoint | Sprinkler Control Valves Installed
checkpoint-status |  |  | checkpoint | Hydrostatic Pressure Test 1400KPA (All tests verified by Supervisor/Manager)
checkpoint-status |  |  | checkpoint | East - Combined Hydrant Main Located in Fire Stairs (Temporary Hydrant)
checkpoint-status |  |  | checkpoint | West - Combined Hydrant Main Located in Fire Stairs (Temporary Hydrant)
checkpoint-status |  |  | checkpoint | East - Hydrant & Sprinkler Test Drains Located in Fire Stairs
checkpoint-status |  |  | checkpoint | West - Hydrant & Sprinkler Test Drains Located in Fire Stairs
checkpoint-status |  |  | checkpoint | Total Floor Completion % entered below - do not pass until 100%
text | de4c9d41-7a3c-5cc3-86e0-d9fa95ae41c5 |  | textbox | Floor Completion %
checkpoint-status |  |  | checkpoint | Floor Completed Sign Off
holdpoint |  |  | signoff | Sign Off