## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
c76e12a6-4af4-47a3-b873-e76c17fba749 | checklist | Cable Tray |  | Cable Tray
94b8163d-f8bd-44ab-a224-099f31a7bdb2 | section | Cable Tray
74179ef6-c787-40b5-9609-6591b500decb | checkpoint | Cable Tray Completed
f5c93334-07b9-4f35-860b-0f71eceb1faf | checklist | DB 1 |  | DB 1
66e81d13-bccb-409b-bb89-93f4f375f87d | section | DB
ee527e8b-55a4-4297-ad96-f8074ca8e7d5 | checkpoint | DB installed
c8dcf9bf-da1e-472c-9afd-849dfec88391 | checkpoint | CB's installed
52fb7134-562d-4b91-975c-f3562c09f21e | checkpoint | Mains roughed in
81466aea-486d-42f1-a192-f90a251e6f77 | checkpoint | Lighting feeds roughed in
3efa91da-e714-444c-9ac4-25a30e8d6098 | checkpoint | Power feeds roughed in
67439260-230a-4710-9382-ab51db286cfe | checkpoint | Lighting control feeds roughed in (CBUS & DALI)
a76a5c63-9599-497a-93c2-fcc0f749b8ae | checkpoint | Mains fit off
d6037f24-07ad-4560-85f4-9a1a7a571056 | checkpoint | Lighting fit off
07f05637-aae0-47e9-9c6e-6bd899051581 | checkpoint | Power fit off
e2895f76-f342-44cb-a04c-79b672d73388 | checkpoint | Lighting control fit off (CBUS & DALI)
b8792dee-389d-46e9-b7da-c434d4199631 | checkpoint | Schedule completed (attached to door)
482a8d70-194e-49b5-9b17-8ac464a3021f | checkpoint | DB cleaned
81b2c0a1-62c0-47cc-a8e7-b7813c44b3c9 | checkpoint | Glands tight
5fc41feb-4b5a-4d2f-a176-fff14e53bc16 | checkpoint | Escutchion secured
1be87b99-f7b0-4e70-9b33-3a9b310ffe93 | checkpoint | DB complete
4af15616-e112-4c78-be43-eb01d90d84a4 | checklist | DB 2 |  | DB 2
0aad71f5-a048-4b40-bff7-dcb03504cc26 | section | DB
85120593-a07d-4d4d-b7a2-0ea7b3652a1e | checkpoint | DB installed
0174db9e-06e8-4dcc-bd1c-7d791a014a35 | checkpoint | CB's installed
2be918be-e8b0-4d52-adb4-395bf9c85b63 | checkpoint | Mains roughed in
cb27cfde-2ae6-4620-aed0-c81fdab3763c | checkpoint | Power feeds roughed in
90fe521b-0d01-4bcf-93ed-724db9a6ea89 | checkpoint | Mains fit off
a366c149-bf82-4637-b58f-0fb3cbefa6ad | checkpoint | Power fit off
36342356-1213-4351-9853-a7171935193a | checkpoint | Schedule completed
d8aae5a0-f563-4ec2-a471-30b344705dcb | checkpoint | DB cleaned
9c4e53f1-c517-4a9d-8df6-e661d3b6a265 | checkpoint | Glands tight
5d485c42-8e63-44c9-bbc4-beeb8ede83ff | checkpoint | Escutchion secured
6bcb7b8b-40f0-4daf-bdab-1680877ae668 | checkpoint | DB complete
cde5b581-79f1-4b0c-905c-a6c79264bf8b | checklist | DB 3 |  | DB 3
8ee9e736-0d18-4eaa-81c9-cbe383f1ce4c | section | DB
84d57442-f4d5-421c-bfae-eb2bbcc1da31 | checkpoint | DB installed
92ab56ba-734b-4db9-8c9d-c57ba812b3be | checkpoint | CB's installed
3c8be554-76de-43cc-8b3f-53e409c6ab26 | checkpoint | Mains roughed in
cdd3570b-2232-4542-bfe0-6878cd2fc027 | checkpoint | Power feeds roughed in
029cc076-d747-403d-9f9c-11fa948c6a61 | checkpoint | Mains fit off
a97ff379-8d8c-4f05-8eb5-1fd4e9edf3d5 | checkpoint | Power fit off
ae24c638-f36c-4685-ab3b-faa42358f1ca | checkpoint | Schedule completed
fc2b7e96-781f-43e5-810a-24878bf86ddc | checkpoint | DB cleaned
1790a4da-880b-493f-a698-26c5699f2f28 | checkpoint | Glands tight
40e15218-587a-40ce-bded-6660cddbaa36 | checkpoint | Escutchion secured
fa1a9854-f5b1-4687-a735-cc636180eee7 | checkpoint | DB complete
fc9204e1-48e6-481b-aa19-b949ace29ee8 | checklist | Rough In & Fit Off 1 |  | Rough In & Fit Off 1
d303d327-c969-40ed-acf0-04c62774c418 | section | Rough In & Fit Off
61e28934-cab1-49f4-a57e-44efe0757012 | checkpoint | Lighting roughed in
7c74616f-4611-4144-aa7e-0fdd54ffbde6 | checkpoint | Power roughed in
a7cb64cb-c0d1-480f-8df8-1f9c6b2bc5fd | checkpoint | Lighting control roughed in (DALI)
29c4b71a-2505-4ea7-aa85-afdfb55767bc | checkpoint | Light feed installed
c92b62c5-f7e7-4538-b18e-f0a38a52262c | checkpoint | Power feeds installed
a2d10471-3ab0-4e2d-b4cf-0ea4278c271a | checkpoint | Lighting fit off
6887a9e9-9ab2-4f46-a38a-1822d92bcf18 | checkpoint | Power fit off
5f9d707e-4a30-41e6-b8d7-a7907e92c567 | checkpoint | Room complete
e99306f8-19ac-4071-a99f-fbd83d5c5418 | checkpoint | DB installed
4ad6f4cb-c7f5-415f-a778-f007ed450318 | checkpoint | CB's installed
95f2a4d5-efbb-424b-aedd-a39f738a88ab | checkpoint | Mains roughed in
577a7f53-26cd-4652-ac49-4a81d1039686 | checkpoint | Power feeds roughed in
e260a757-56ab-45ca-82cf-c1e7de12caf0 | checkpoint | Mains fit off
48f18989-c414-470c-8da6-eb3b4d7cc34c | checkpoint | Power fit off
44b8e031-f763-4a13-97fe-cfa5337e9648 | checkpoint | Schedule completed
673d2a51-84a3-4662-9ecb-921c8429c75b | checkpoint | DB cleaned
03d56d36-5275-462d-ba0e-583454b19459 | checkpoint | Glands tight
b2ea4dd4-3331-4c38-9b79-5380ffb316c3 | checkpoint | Escutchion secured
a7186580-53c6-4d14-86c9-bb4fb9cf63df | checkpoint | DB complete
0a60bc0e-b3d2-479d-99f5-dca14ee57bc9 | checklist | Rough In & Fit Off 2 |  | Rough In & Fit Off 2
d8e28f8e-3911-47c6-9dd5-5ccb66083657 | section | Rough In & Fit Off
2f605bd9-4f73-4166-ab0d-5dbcec6f5435 | checkpoint | Lighting roughed in
01898767-3558-467e-b61b-12d23270ba59 | checkpoint | Power roughed in
baf71b28-d68e-4180-ae73-9549ae9efc55 | checkpoint | Lighting control roughed in (DALI)
6a53f22d-a05d-4ff1-befb-5253e68a58dc | checkpoint | Light feed installed
6a63928a-1fa6-4d78-9488-a230dd69166f | checkpoint | Power feeds installed
c24a0bfc-41b3-4835-b0ed-12dfe996cd7c | checkpoint | Lighting fit off
e47a2cdc-18ec-4014-8a13-e025b6635bbf | checkpoint | Power fit off
09468126-786f-4a42-a9b5-dbbe6880472b | checkpoint | Room complete
11dd08d0-a4a1-4bc1-9b9f-60528fd3bfb9 | checklist | Submains |  | Submains
9d7cea09-67e9-4b7a-bd55-7f52a16a4dc7 | section | Submains
6074ff70-e41c-45ff-9e88-3fbcd9a25050 | checkpoint | Mains roughed in
01be25a0-a306-4d76-b7b7-4b51c67ce79b | checkpoint | Mains fit off
7de840e3-a147-4a79-9730-136fe0d82dfa | checkpoint | DB cleaned
357eed6c-013a-44fb-83e8-c63d4f527a5e | checkpoint | Glands tight
daddfab1-0d70-4a90-af4a-731c1186e2c5 | checkpoint | Escutchion secured
ebc241ff-2810-47f7-a25e-2970f0efbd52 | checkpoint | CES recived
40fac1a5-7c80-4dac-8600-f7ea4a9628f2 | checkpoint | DB complete