## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | 5eaeae93-d2f5-44e3-9a3e-ccbbdf69d935 |  | checklist | Ladder 1, 2 & 3 Checklist |  |  |  |  | Yes | Ladder 1, 2 & 3 Checklist | 0b5a21f6-ba58-4032-a260-56883ac63ea4
checkpoint-status | 9c124f07-402f-4933-88d6-eafc2e24003a |  | checkpoint | Removable ladder correct length
checkpoint-status | 26adfb94-0e4c-46e4-801a-1e84359e075a |  | checkpoint | Foot plate installed using stick down method
checkpoint-status | 790f8511-d98a-499f-8e25-12d7570b08f7 |  | checkpoint | Ladder bracket Mechanically secured
checkpoint-status | 73ccd387-03be-46eb-9bae-8f8e8c4358a2 |  | checkpoint | Storage brackets installed for Ladder
checkpoint-status | 9772e897-99d7-483a-9fc7-f697a3f94876 |  | checkpoint | All touch ups complete
checklist-flat | 448667f8-8c19-48b0-9186-6b8e9629a4b0 |  | checklist | Ladder 4 & 5 Checklist |  |  |  |  | Yes | Ladder 4 & 5 Checklist | 28938ed3-4031-4fbf-8eae-eaa9e2c14955
checkpoint-status | ba348ac9-a525-4d45-8683-090cf92524d5 |  | checkpoint | Fixed rung ladder connected to walk in / walk off platform
checkpoint-status | 8e4ce228-bf5e-4a4a-a4e2-5636b6e042ed |  | checkpoint | Walk in / walk off platform secured to roof using stick down method
checkpoint-status | 519c82f7-683a-415d-a378-2b202ca4cfee |  | checkpoint | D-rings in place
checkpoint-status | 10c6966e-ce33-47be-85e1-b744aedf6125 |  | checkpoint | All touch ups complete
checklist-flat | 61ccad14-54ad-4ebd-87f9-46f8ec153e8a |  | checklist | Building B01B B02 Balconies Checklist |  |  |  |  | Yes | SYS - BC B01B Balc | 2b485259-0a11-4545-85f9-6c7b6002a48a
checkpoint-status | 3b5362f8-375d-4d84-bef2-c095d183624d |  | checkpoint | Balustrade height is compliant
checkpoint-status | 8f113e08-ee62-4f30-b4d6-d71184b5ad10 |  | checkpoint | No gaps larger than 100mm
checkpoint-status | 0ba38eb2-dbcb-42d7-8d36-cc5440b530e3 |  | checkpoint | All nuts done up
checkpoint-status | 4687d568-06a7-4925-bcf3-e5c4216c9c14 |  | checkpoint | Endcaps in place
checkpoint-status | 81cc4d7d-6011-4e1c-99cd-b3dc10dd70f3 |  | checkpoint | All paint touch ups complete
checklist-sectioned | a47c4f0f-c5ee-42d6-8b78-7e71ce45aaa7 |  | checklist | Balustrade Checklist |  |  |  |  | Yes | SYS - BC B01A | 3b582fd2-0324-49b4-9067-428d35f2d542
checkpoint-group | 03e7d26d-2213-472e-9ef7-75b2aa22e474 |  | section | Balustrade / Handrail Installation Checks
checkpoint-status | 674f1965-a2a2-4f5a-8329-d32d64f74976 |  | checkpoint | Balustrade / Handrail height is compliant
checkpoint-status | 2b251445-0a27-4fbd-853e-20e3c6feb571 |  | checkpoint | No Gaps Larger than 100 mm
checkpoint-status | ef003a0a-ebf0-4188-94e7-bcd53c3e2a22 |  | checkpoint | Allnuts done up
checkpoint-status | 6beddd82-045e-48fe-b731-0454e36de43e |  | checkpoint | Endcaps in place
checkpoint-status | 788de4bc-dd9a-4424-b984-f9c45ddfb128 |  | checkpoint | All Touch ups complete
checklist-flat | 4ebfa54e-4bfa-494e-9858-3030976cb961 |  | checklist | Apartment QA |  |  |  |  | Yes | Apartment QA | 55481016-fcf1-458c-9a84-f0cc3370a425
checkpoint-status | b199c5d9-5440-4f2b-977f-2b7b283d2902 |  | checkpoint | Balustrade Heights
checkpoint-status | 85a02be6-6f09-43f0-b6b7-c7b1ee887260 |  | checkpoint | No Gaps Larger than 100 mm
checkpoint-status | 04df1f26-e181-46bc-973b-868834046525 |  | checkpoint | All nuts done up
checkpoint-status | d4a7f046-ef28-4d19-9ed1-8b7a4a2ec86b |  | checkpoint | End caps in place
checkpoint-status | dfc00605-9d15-4a14-be65-f1fcd61958f4 |  | checkpoint | All paint touch ups complete
checklist-flat | 3859f967-f4b3-4d3f-b509-68b8bf1ed4b9 |  | checklist | Balustrade |  |  |  |  | Yes | QA - Balustrade Checklist | 7a379c5c-4f65-492e-bf4f-71e13c6517f9
checkpoint-status | 4b978855-8ca8-41aa-81da-c53b717949ac |  | checkpoint | Balustrade / Handrail height is compliant
checkpoint-status | 6203aa88-c28f-4f87-b0b8-cb7cebb50c22 |  | checkpoint | No Gaps Larger than 100 mm
checkpoint-status | 8ecc124a-4107-4a97-a7a3-5ccc4bb3c238 |  | checkpoint | Allnuts done up
checkpoint-status | cc32390a-ef0a-43ca-94c5-efd25e7105ad |  | checkpoint | Endcaps in place
checkpoint-status | 4e04c1fa-d248-459b-9578-8d1f74dd79a1 |  | checkpoint | All Touch ups complete
checklist-flat | 8ee6746c-e6df-4cc1-834a-e044796ec940 |  | checklist | POST - S - Handrails |  |  |  |  | Yes | POST - S - Handrails | 7ab1b5b8-1b5f-4107-a16d-523922e53b90
checkpoint-status | ee59054b-419b-4e06-a0e0-c4e1dfb1cfdc |  | checkpoint | Area & substrate acceptable
checkpoint-status | 36c2823c-f3ec-4d81-95cf-d1597bd4f6a0 |  | checkpoint | All handrails install completed correctly within tolerance in respective area
holdpoint | 68f1d0db-0083-466e-b62c-24b10b94c985 |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-flat | 3a345f1c-25a1-4db9-bc25-f8ecfe9953e5 |  | checklist | Building B01A Balconies Checklist |  |  |  |  | Yes | SYS - BC B01A Balc | 848eb053-1c5d-4940-954a-dd1b7e2f96b3
checkpoint-status | 2285043c-968a-455d-8619-090e4eea9a01 |  | checkpoint | Mock installation and holes marked for core drilling
checkpoint-status | bfde7ab6-73d5-4952-9a78-9f389f7fde1d |  | checkpoint | Core drilling by Ryman
checkpoint-status | bf2e13af-59b2-44c6-9c70-2cb1515ae6c4 |  | checkpoint | Balustrade height is compliant
checkpoint-status | 251deb84-f89b-450f-88e2-af0b520489ee |  | checkpoint | No gaps larger than 100mm
checkpoint-status | 725c13ea-34a0-4065-8088-b93af34c90ab |  | checkpoint | All nuts done up
checkpoint-status | 6c6f074d-cea8-49e5-8704-92826d0d25bd |  | checkpoint | Endcaps in place
checkpoint-status | 00a3ea7e-2af7-483c-8857-1b9930198186 |  | checkpoint | All paint touch ups complete
checklist-sectioned | 8704f44e-1ee6-4f80-999d-494d1da5dd4e |  | checklist | FC - S - Balustrades Installation |  |  |  |  | Yes | SYS - FC - S - Balustrades Installation | 909c32c1-1eca-4e53-83d0-cf2a982039bc
checkpoint-group | 523a255c-66e3-481f-ada4-da5ef8e73469 |  | section | Pre-Installation Checks
checkpoint-status | 5e63fdbd-67da-46a8-8088-0f7164b25990 |  | checkpoint | Pre Fit - Studding completed & setout checked
checkpoint-status | 203d4465-82b7-4acf-8957-c515c4e12631 |  | checkpoint | Waterproofing to pre-fit studs completed and acceptable
checkpoint-group | fb158bb4-3934-48f2-a916-d7bbf7929665 |  | section | Installation Checks
checkpoint-status | f3762ed5-3daa-4cdb-8fe9-27ef7cb2b049 |  | checkpoint | Balustrade height is compliant
checkpoint-status | 2ef55ee5-e7c0-42db-b115-e024e75d067a |  | checkpoint | No Gaps Larger than 100 mm
checkpoint-status | 97c4285c-c56d-4b08-bacd-10a5cd509003 |  | checkpoint | All bolts installed done up correctly
checkpoint-status | fb761612-0297-462a-b419-9ee6a215ed60 |  | checkpoint | Endcaps in place and acceptable
checkpoint-status | 9e3a66d0-1a7c-494c-9bfe-40e260aa1c74 |  | checkpoint | Any paint touch ups completed
checkpoint-status | 7e527b46-a15e-44f0-b886-839a6853b011 |  | checkpoint | All Balustrade works completed, reviewed and approved and protection installed
checklist-flat | 2fa86d0b-0fa3-4d57-bba1-f660c6bfde5e |  | checklist | Perimeter Wall Checklist |  |  |  |  | Yes | Perimeter Wall Checklist | a952313d-73cd-4be0-9749-f1199fde7ba6
checkpoint-status | d1e1cfe9-4cc2-449f-bdd5-680ddab89b5f |  | checkpoint | Fixed rung ladder connected to wall
checkpoint-status | 2fb94678-d4d1-43d5-9b68-673dc4a3411c |  | checkpoint | Cage installed
checkpoint-status | 0b8c65c3-e49d-4b12-80e5-f1f448582274 |  | checkpoint | All touch up complete
checklist-sectioned | 4da9b484-f792-491e-b227-7f37cd6a98d7 |  | checklist | FC - S - Balustrades Installation |  |  |  |  | Yes | FC - S - Balustrades Installation | adc4ed58-64e4-4861-8a5e-f8d8fdae337f
checkpoint-group | 31f291a8-48ce-469c-96fb-1ad8965efd99 |  | section | Pre-Installation Checks
checkpoint-status | 6d238ea6-bfc6-415e-b150-2e29996a793a |  | checkpoint | Pre Fit - Studding completed & setout checked
checkpoint-status | 866b6456-7dec-4f0d-9c86-cdb80dfbb1f5 |  | checkpoint | Waterproofing to pre-fit studs completed and acceptable
checkpoint-group | 3f874ab9-bcc2-41e4-a94c-380be5a78f48 |  | section | Installation Checks
checkpoint-status | 7563d993-7627-4fac-8f36-37d276f9c3e9 |  | checkpoint | Balustrade height is compliant
checkpoint-status | 68bd67e1-5e08-4932-88a4-e8034387d508 |  | checkpoint | No Gaps Larger than 100 mm
checkpoint-status | 9da62698-13f3-4dda-b065-c222b3ea702e |  | checkpoint | All bolts installed tightened to specification
checkpoint-status | 9d15cd59-bfc9-49e4-b5a2-8872cd97a529 |  | checkpoint | Endcaps in place and acceptable
checkpoint-status | ddba543a-aac9-4103-a1d8-0768f90cfa21 |  | checkpoint | Any paint touch ups completed
checkpoint-status | 9d2306fe-5d17-4927-b6b2-fe217b36d281 |  | checkpoint | All Balustrade works completed, reviewed and approved and protection installed
checkpoint-group | af36afe2-7da3-4e21-995a-53c8c30eb1e8 |  | section | Third Party Chemset Post Bolt Pull Testing
checkpoint-no-status | b12f5b91-5adc-4068-b585-0daf27ce3a68 |  | checkpoint | Third Party Inspection Company Name
text | 9978fcf7-5449-5869-9d01-770049fd8386 |  | textbox | Third Party Inspection Company Name
checkpoint-status | 59e64101-3f9b-4c19-9afa-05aa2a652863 |  | checkpoint | Pass to confirm understanding of contractual test requirements.
label | 64442141-886d-5fef-a008-a9efd11d4964 |  | note | Upload a copy of the contractual requirements
checkpoint-status | e05a874b-86a0-4d9b-8a5c-3ab111b6facf |  | checkpoint | Overall Inspection Results
label | 7d85827c-1d93-5438-ab9c-17f9801a7833 |  | note | Upload all correspondence if rework or additional testing was needed.
checkpoint-status | 9c9c1532-b7b3-4dd0-848d-7f3f6c7d018c |  | checkpoint | Test certificates uploaded (pass when uploaded)
checkpoint-status | 5034ed4a-c487-45a3-adf3-a4252499577b |  | checkpoint | All balustrade inspections completed and results provided to Ryman Foreman
text | a42fa182-084d-5113-83a9-3cae4be474a4 |  | textbox | Name of Ryman personnel issued with test results.
holdpoint | a0198118-16eb-4296-ac71-aabfb4de959c |  | signoff | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
checkpoint-group | 1b413457-b671-4f40-b196-58057d2fa397 |  | section | Post Lateral Load Test
checkpoint-status | fc9b5a13-d199-4344-a087-b2e00ffeb839 |  | checkpoint | Pass to confirm understanding of contractual test requirements.
label | f97b5757-b132-5997-bde3-0b9adee1df8e |  | note | Upload a copy of the contractual requirements
checkpoint-status | d3950c33-d6f4-414e-b762-4fdc84e915c7 |  | checkpoint | Overall Inspection Results
label | ef535d0e-4211-5087-ae96-45f5b2b053b9 |  | note | Upload all correspondence if rework or additional testing was needed.
checkpoint-status | 902d5ff9-1ba0-4c3e-b2ad-74e738b3a852 |  | checkpoint | Test certificates uploaded (pass when uploaded)
checkpoint-status | bd5d7bbb-e138-45d6-b08f-fcc1aee473cd |  | checkpoint | All balustrade inspections completed and results provided to Ryman Foreman
text | 817ebc6a-6b11-53dd-843d-d1ed940321e0 |  | textbox | Name of Ryman personnel issued with test results.
holdpoint | bf273e2c-e7c1-4f13-8be5-9bae28ea03f2 |  | signoff | CLICK AND SEND EMAIL TO RYMAN FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
checklist-sectioned | 3d098a02-eb37-4de6-b244-00daf5b71616 |  | checklist | Ladder and Walk Off Checklist |  |  |  |  | Yes | QA - Ladder and Walk Off Checklist | c395a333-f633-48f5-831d-a193a0f9c79c
checkpoint-group | 684fe682-1701-4426-8323-c30e9e87c467 |  | section | Ladder and Walk Off Installation Checks
checkpoint-status | 2681de0f-e20e-4768-9e22-78279db4f603 |  | checkpoint | Ladder installed to code
checkpoint-status | a8524f5f-7802-4477-bf9c-1df6f13de00d |  | checkpoint | Ladder secured to walk in and walk off kits
checkpoint-status | f74cdde5-b511-42b0-ab66-ac74935c06e3 |  | checkpoint | Walkway secured to membrane roof ( stick down tape)
checkpoint-status | 7689cd07-1390-4d49-aeaa-2165b2e47521 |  | checkpoint | Handrails at the correct height
checkpoint-status | 105e1520-7d97-474a-82e7-1a31d629c812 |  | checkpoint | Endcaps in place
checklist-sectioned | f34bbcbb-ad12-4dd8-922b-641b7710271e |  | checklist | Balustrade |  |  |  |  | Yes | SYS - BC B03C | ce3b4865-4331-4fb6-b1e3-16f7fe4f681f
checkpoint-group | efb738c7-d116-4f1d-b7df-939044ee84a6 |  | section | Balustrade / Handrail Installation Checks
checkpoint-status | 730af9fa-2b79-4bb8-af9b-be019ba4a8c3 |  | checkpoint | Balustrade / Handrail height is compliant
checkpoint-status | a21ac4b2-31ff-4a5f-9532-f4a1691135fb |  | checkpoint | No Gaps Larger than 100 mm
checkpoint-status | 020e048d-02a6-4efc-a7a2-2918d8637d95 |  | checkpoint | Allnuts done up
checkpoint-status | 471bc869-776a-438c-ac6b-d5791ed2d3b4 |  | checkpoint | Endcaps in place
checkpoint-status | 34cc0436-71a3-4d47-8434-c9b51dcefd0c |  | checkpoint | All Touch ups complete
checklist-flat | 317a5490-c67e-47e3-b67f-260f1962003b |  | checklist | Handover documents |  |  |  |  | Yes | SYS - Handover Documents | d599f0f1-0349-4f53-8548-fa1972ea793d
checkpoint-status | e3fc90dc-c40d-4a68-a326-30e32df8a9a5 |  | checkpoint | Producer Statement Construction (PS3) Balustrades Attached
checkpoint-status | 43c03c60-0065-460b-b2f0-c13054f92bd8 |  | checkpoint | Additional documents attached (if required)
checklist-sectioned | 4e26b690-1704-4f48-ab5b-30ab5a560644 |  | checklist | Bunker Checklist |  |  |  |  | Yes | QA - Bunker Checklist | e38434fb-c55a-4adc-bb25-b22197a26f04
checkpoint-group | 69339df0-a577-477b-8408-968d02b1c11b |  | section | Balustrade Installation Checks
checkpoint-status | 2d7fdd3c-66d6-4d4f-8fe2-356cd563f3e6 |  | checkpoint | Balustrade height is compliant
checkpoint-status | 3a966dd2-80f5-40a2-bf4c-e8d3774b40bf |  | checkpoint | No Gaps Larger than 100 mm
checkpoint-status | bd7856cf-fb78-492c-863e-7372c91fbdb2 |  | checkpoint | Allnuts done up
checkpoint-status | 10110aa3-41ea-49f5-acac-68e9c05dadb8 |  | checkpoint | Endcaps in place
checkpoint-status | 3166a196-9fba-4197-abea-29be9e85628e |  | checkpoint | All Touch ups complete
checkpoint-status | 7930dd47-a520-41b7-846a-76532317131a |  | checkpoint | Gate opens and closes
checkpoint-status | 9d5ef392-0751-48bd-8fbe-5953f6c8bc84 |  | checkpoint | Self closing hinges working
checkpoint-status | a8f29dcf-1356-477e-8831-2e7905d5dc0c |  | checkpoint | Lock working correctly
checklist-flat | 84907e1a-7842-47e9-9855-b8db052e2094 |  | checklist | Variation Details - |  |  |  |  | Yes | Add Variation | e693f07a-b77e-4b40-9d44-27e9fbeaac47
checkpoint-status | 9b87d647-275a-459f-9d6a-5b631f3cb1eb |  | checkpoint | Variation Details Approved
text | 28d26279-c304-4689-8317-1deb797dc8fe |  | textbox | Reference/Drawing/Instruction Number
text | 2247155b-6de8-434c-a1e1-058d724a6a62 |  | textbox | Variation Area
text | ae7fc046-dca9-4fab-98f8-374caeb044ec |  | textbox | Materials & labour breakdown
holdpoint | 9ba72c46-928b-495f-93ff-9966d084853d | Invalid dependant | signoff | Request Variation Acknowledgement
checkpoint-status | c6113cda-6647-4e39-bf6d-add3a4962f16 |  | checkpoint | Variation Completed
holdpoint | 7f67005e-c3d4-4240-abda-d214deab51ca | Invalid dependant | signoff | Request Variation Signoff