## 019 MCC
Motor Control Centre Modules
Nominate Equipment or Works associated with this ITC | [13 empty] | Page 1 of 1
ITP No : |  | 001 |  | ITP Item No: |  | 3.16 |  |  | Job No: |  | Area:
Dwg No: | [8 empty] | Equip No:
Function | [11 empty] | OK | NA | NCR raised
No | Confirm following items comply with requirements | [12 empty] | Major | Minor
1 | Circuit No
2 | Description
3 | Motor Kw size
4 | Drive No
5 | Drg No
6 | Circuit No |  |  |  | Drive No |  |  |  |  | Drg No
7 | Description
8 | Motor Kw size
9 | Check the Following
10 | Main fuse type and size | [6 empty] | Correct fuse type and size
11 | Contactor make | [6 empty] | Contactor size
12 | Thermal O/L make | [6 empty] | Thermal O/L size
13 | Thermal O/L setting | [6 empty] | Thermal relay make
14 | Trip value in OHMS | [6 empty] | Reset value in OHMS
15 | Isolation switch make | [6 empty] | Isolation switch model
16 | Motor megger readings | [6 empty] | Phase 1
Phase 2
Phase 3
18 | Resistance between windings | [6 empty] | 1
2
3
20 | Condition of | [6 empty] | Bars
21 | Connections | [6 empty] | Insulation
Record Serial No and Calibration Date of all IMTE used :
Comments
Minor NCR's raised |  |  |  | YES | NO |  | N/A |  | Have all NCR's been finalised ?
[9 empty] | YES |  | NO |  |  | N/A
Major NCR's raised |  |  |  | YES | NO |  | N/A
Accepted By |  |  | Name (Print) |  | Signature |  |  |  |  | Position |  | Date
Q Electrical
PM Review
Client (If Applicable)