## 046 Intercom Testing
Intercom Testing
Nominate Equipment or Works associated with this ITC | [16 empty] | Page 1 of 1
ITP No : |  | 001 |  | ITP Item No: |  | 3.40 |  |  | Job No: |  |  |  | Area:
Dwg No:
Function | [14 empty] | OK | NA | NCR raised
No | Confirm following items comply with requirements | [15 empty] | major | minor
1 | Check for correct type (T), position (P), clearances (C), & attachment (A) of :
2 | o | Master Stations |  |  |  |  | T | o | P | o | C | o | A | o
3 | o | Door Stations |  |  |  |  | T | o | P | o | C | o | A | o
4 | o | Sub Stations |  |  |  |  | T | o | P | o | C | o | A | o
5 | o | Handsets |  |  |  |  | T | o | P | o | C | o | A | o
6 | Check Door Activation (D), Relay Activation (R), Call Button Functions (C), Auxillary button functions (A)
7 | o | Master Station |  |  |  |  | D | o | R | o | C | o | A | o
8 | o | Door Station |  |  |  |  | D | o | R | o | C | o | A | o
9 | o | Sub Stations |  |  |  |  | D | o | R | o | C | o | A | o
10 | o | Handsets |  |  |  |  | D | o | R | o | C | o | A | o
11 | Check Picture Quality (P), Audio Quality (A), Names and numbers (N)
12 | o | Master Station |  |  |  |  | P | o | A | o | N | o
13 | o | Door Station |  |  |  |  | P | o | A | o | N | o
14 | o | Sub Stations |  |  |  |  | P | o | A | o | N | o
15 | o | Handsets |  |  |  |  | P | o | A | o | N | o
16 | Check all control devices power supplies are correct type and size
17 | Check volatage of system at furtherest point.
18 | Check that all cables are the correct type, size, configuration, length & quantity
19 | Visually check all terminations for correct colour codes and acceptable looming
Record Serial No of all main control panels used and passwords for software
Comments
Minor NCR's raised |  |  |  | YES | NO |  | D D D D: N/A; R R R R: Have all NCR's been finalised ?
[7 empty] | R R R R: YES; A A A A: NO |  |  | N/A
Major NCR's raised |  |  |  | YES | NO |  | D D D D: N/A
Accepted By |  |  | Name (Print) |  | Signature |  | o o o o: Position | Date
Q Electrical
PM Review
Client (If Applicable)