## Lux Levels Bay 1
Flood Lighting Lux Reading Test
Nominate Equipment or Works associated with this ITC | [12 empty] | Page 1 of 1
ITP No : | 001 | ITP Item No: |  |  | 3.45 |  |  | Job No: |  |  |  | Area:
Dwg No:
Distance from Stop Bar | Lux Meter Position | 30m | 25m | 20m | 15m | 10m | 5m | Centre Line | 5m | 10m | 15m | 20m | 25m | 30m
Stop Bar | Vertical North
Vertical South
Horizontal
5m | Vertical North
Vertical South
Horizontal
10m | Vertical North
Vertical South
Horizontal
15m | Vertical North
Vertical South
Horizontal
20m | Vertical North
Vertical South
Horizontal
25m | Vertical North
Vertical South
Horizontal
30m | Vertical North
Vertical South
Horizontal
35m | Vertical North
Vertical South
Horizontal
40m | Vertical North
Vertical South
Horizontal
45m | Vertical North
Vertical South
Horizontal
50m | Vertical North
Vertical South
Horizontal
55m | Vertical North
Vertical South
Horizontal
Vertical North Average Intensity |  | Lux | #DIV/0! |  | 4:1 Ratio |  | Climatic Conditions: |  |  |  | % of Lights Operating:
Vertical South Average Intensity |  | Lux | #DIV/0! |  |  |  | Testing Officer: |  |  |  |  | Date:
Horizontal Average Intensity |  | Lux | #DIV/0! |  | #DIV/0! |  | Testing Equipment: |  |  |  | Calibration Date:
Horizontal and Vertical illuminance is to be measured at a 5m x 5m grid at each parking position where the parking position means a rectangular area subtended by the wing span and overall length of the largest aircraft that is intended to occupy that position | [5 empty] | Comments:
Minor NCR's raised |  |  | YES |  | NO |  | N/A |  | Have all NCR's been finalised ?
[9 empty] | YES |  | NO |  | N/A
Major NCR's raised |  |  | YES |  | NO |  | N/A
Accepted By |  |  | Name (Print) |  |  | Signature |  |  | Position |  |  | Date
Q Electrical
PM Review
Client (If Applicable)