## Sheet1
Id | Type | Name | Values | Prompting Name
cc6227cc-ebda-4c5c-bb60-513bbe92f9dc | checklist | WG-04-CH-01 – Site Safety Inspection HS Rep |  | HS Rep Site Safety Inspection | 8 | da47cd46-10c7-4d5e-9d26-2ed6dfcef582
21db088c-7258-4b5c-94c9-bda1f9e6abef | section | General
| checkpoint-no-value | Details
| textbox | Area/Site Inspected
| textbox | Inspected by
| textbox | Accompanied by
47977bc1-746b-4b81-82f5-93007f66b815 | checkpoint | 1. Entrances and exits are free from obstructions (add photos)
9401236f-2e13-4d76-8702-6658a6b13bab | checkpoint | 2. Emergency exit doors are clearly marked, easy to open and functional (add photos)
b151efad-9e1b-49f3-aee0-3042c9db81b3 | checkpoint | 3. Stairs and walkways are clear of equipment, cables, and other obstacles; No trip hazards present (add photos)
ce7fddc7-5f39-4d37-ab32-226bd73f7d41 | checkpoint | 4. Stored material is secured to prevent shifting / falling.
6f289dab-a76d-41f4-a6fc-01b2f8c255b6 | checkpoint | 5. Precast units are stored as per company standards and requirements.
4bdeac20-f563-4c44-bcc8-ffa5fc718692 | checkpoint | 6. There are no issues with installed lighting and ventilation in the work area.
| checkpoint | 7. Machinery / plant / equipment prestart checks are completed and documented - random check (add photos)
| checkpoint | 8. Appropriate work permits (i.e. Hot works, Working at heights) are completed and issued (add photos)
f408be9f-cb38-4db5-8f4a-83278ffa72c0 | checkpoint | 9. Correct mandatory PPE worn by workers
87b5b4fa-30ba-4346-be85-c4352c1451bc | checkpoint | 8. Are there any maintenance works being undertaken? If yes, please list the works (add photos)
30f45f20-d877-4fbd-9ac0-2c5e27780174 | checkpoint | 10. Contractors working in the area are inducted and wearing correct PPE.
887b1e55-995e-4a00-8a74-84a04e0e49fb | checkpoint | 11. Chemical containers are properly labelled. (add photos)
| checkpoint | 12. Chemical containers are properly stored. (add photos)
58d2c6de-5e0c-4526-b503-b5756dc192b3 | checkpoint | 13. Safety Data Sheets available (DG store inspection applicable only - add photos)
2a3f1e46-39e7-4175-b912-066d80737fb4 | checkpoint | 14. El. cords, plugs and sockets are in good conditions (not frayed, exposed, cracked) – random check (add photos)
95260b49-a536-4e8a-9b25-bbbe7daeb5b5 | checkpoint | 15. Fire extinguishers are available, clearly marked and were certified in last 12 months – random check (add photos)
506b013a-022a-4da3-a950-92bf50596824 | checkpoint | 16. Workers in the area know who first aiders are (ask randomly at least 3 workers)
ca257d44-557b-57ec-b546-367f1f22c800 | textbox | 15. Provide the names of current first aid responders present in the area you are inspecting.
0ad4d3ab-7eaf-4c5c-9aa2-88951396b89b | checkpoint | 17. First aid kits are available, clearly marked and security tie unbroken - random check
ae5f0451-00b6-4ef5-be09-2c24b9822622 | checkpoint | 18. Spill kits are available, clearly marked and security tie unbroken - random check.
cc1b5b87-07e7-4cc0-b03d-f39757667f76 | checkpoint | 19. Staff bathroom facilities and kitchen are in good clean condition (add photos)
c5e4f9a3-170c-496d-ae22-ba32a0e6bb27 | checkpoint | If any of the items above do NOT COMPLY, please state your observation and required action.
c37d1846-91de-5c75-9ac9-a143156f3bcb | textbox | Inspector’s Observations / Recommendations
17192adb-db15-5c05-8781-4c428e96e568 | textbox | Mgmt. Comments (i.e. responsibility, due dates)
f089fe9b-a75a-42a7-af69-84a4c1282e1e | section | Environmental Inspection
60536fcd-386b-4d0a-9eda-e0a04ee915e1 | checkpoint | 20. No visible dust is generated during work activities at the site.
b27dea4c-3849-4ffb-830c-3ec563d6605b | checkpoint | 21. No cross-contamination is observed in specific recycling bins (timber / steel / concrete) (add photos)
f33bd12c-de83-43e2-af3a-d9f344f1b8a4 | checkpoint | 22. Scrap metal is placed in correct bins with no overflow creating a hazard / danger (add photos)
7eff8045-c924-4cb4-9db2-20a619c2d049 | checkpoint | 23. There are no visible spills or leaks in the inspected area.
7d2b46c2-ce02-4094-af97-b14bdf9278e3 | checkpoint | 24. Catch pits are protected using filter cloth – random check (add photos)
57699f72-9306-498a-8982-f06fd3c2df11 | checkpoint | 25. There is no excessive rubbish / debris / scrap in the inspected area (add photos)
579896d1-42e9-505b-9190-cec29d80c970 | button |  | Some, None
1dbb7396-8798-4fe9-aa19-4ca1e3ab326f | section | Spill Kits Status
b9f4fc5f-dd42-458c-9c8e-0b22c67ae18b | checkpoint-no-value | Details
e13afe72-6c93-5cec-9e10-7e1eb175be9a | textbox | Location
722a738d-895e-5051-a474-8b02feceacec | textbox | Type
2cde1bf0-0578-5888-9832-ac62fdf036aa | button | Restock | Yes, No
aa7f22d1-9241-4ab1-91de-6e8d95a72ce7 | checkpoint-no-value | Details
3e9678bb-566f-5e7b-b12b-a920a86c8d61 | textbox | Location
167a99b0-bfce-5dec-856f-3e9754d37b20 | textbox | Type
98089f7c-ab57-5842-ad72-29580a3198b0 | button | Restock | Yes, No
f4df4fd9-7569-4c90-bae4-1f5d0ec68aa2 | checkpoint-no-value | Details
1cf7ccd1-0846-53a4-ad2c-62e93335966c | textbox | Location
72b962b5-1df7-54fe-8f36-8af1b32d288c | textbox | Type
d556847f-a173-5af1-98a0-c338c0aa1628 | button | Restock | Yes, No
bc026b1f-1b67-4f6c-a9ba-ef67e427a26e | checkpoint-no-value | Details
c6195e3a-481b-50e1-b2ba-36fdf15b4f37 | textbox | Location
6e495ce1-2550-5a2c-bf96-454721fa6ee8 | textbox | Type
8578c8ed-44a9-51de-8ee9-dba6e39d5096 | button | Restock | Yes, No
c5857bb2-1d89-4874-ba89-707aed804417 | checkpoint-no-value | Details
| Section | Summary
33ff72d4-54ec-5e52-9481-ba23837bc265 | checkpoint-no-value | Inspector’s Observations / Recommendations
2927e830-5ac5-5f09-b414-0dc93840fc3e | textbox | Item 1
| textbox | Response Item 1
| textbox | Item 2
| textbox | Response Item 2
| textbox | Item 3
| textbox | Response Item 3
| textbox | Item 4
| textbox | Response Item 4
| textbox | Item 5
| textbox | Response Item 5
| textbox | Item 6
| textbox | Response Item 6
| textbox | Item 7
| textbox | Response Item 7
| textbox | Item 8
| textbox | Response Item 8
| textbox | Item 9
| textbox | Response Item 9
| textbox | Item 10
| textbox | Response Item 10
59f91d9e-1fe5-4ef2-882b-a26750943190 | signoff | Operation / Production / Site Manager Review