## Master List Templates
Id | Type | Name | Values | Prompting Name
871732c4-102a-4ab5-ae80-5784c08d9cfe | checklist | Prestart / Permit |  | Prestart / Permit
bc6ca06f-ba35-4edf-b6bc-a58b8f93c541 | checkpoint | Week 1
fe81ef00-dc56-5245-be11-3e13e9898559 | date | Date
72e27e20-1322-4cb3-a384-7e5fc5c2571d | checkpoint | Week 2
f6f87a7d-f08f-5939-911e-c597fa1f719c | date | Date
b66dbef4-9b7d-4815-b76e-32968fee4dce | checkpoint | Week 3
c756bedd-33b2-5a24-8596-d43e939d5daa | date | Date
3ac3e67e-b7ec-46c9-9d9a-dade15a52061 | checkpoint | Week 4
96f58960-c4d6-5f56-9544-1f67fe0772c3 | date | Date
ae815195-68ad-4a43-be54-70c17ca5aa40 | checkpoint | Week 5
9dd9d315-fc96-4ded-b56c-8c182b7cddbd | checklist | WG-04-CH-02 Site Safety Inspection |  | Site Safety Inspection
35cd8304-e207-4302-9f02-5de823c900b3 | section | General
23f4edcb-0871-4412-b00c-ff40003682d4 | checkpoint-no-value | Details
94e88562-7125-5e04-b613-bce94f30b735 | textbox | Location Inspected
8df0ffcd-a331-5681-8a72-4b23b865a9d9 | textbox | Inspector's Name
1fdbda62-74c6-4819-9da8-adc0d56bd131 | checkpoint | Workers on site are inducted (random check)
01bfb011-8367-51dd-93f3-4a854d661c14 | note | Inducted sticker on their hardhat is clearly visible
3dd0c3f7-a829-43c4-936f-40fd638f3db8 | checkpoint | Workers keeping a safe distance from machinery.
7d7a10e2-c236-4893-a6cc-558f00c28311 | checkpoint | Ventilation and lighting is suitable and adequate for the work task
5837c70c-eb74-40e6-bd6a-0935b05454e3 | checkpoint | Hazard board and signage are up to date.
5e7767c3-0072-4616-845a-ced5574090db | checkpoint | Emergency procedure and evacuation map is displayed and up to date.
7e004560-5fdf-4477-ad7f-58f6373228b7 | checkpoint | Escape routes are suitable, safe and clearly identified (no obstacles)
c6489836-fa0b-4d14-ad13-3a5054d2521c | checkpoint | Protective caps fitted to reinforcing steel.
2efdff7b-c6de-4895-93c1-062a310ce6fd | checkpoint | Operators properly trained for appropriate tasks and hold current licence if operating a machine.
aa3eb16c-96d3-42cb-aa0b-b6d76f349c1a | checkpoint | Traffic management plan is displayed and speed limit signage in place.
7bc73d78-d637-4ef8-936c-eaa62f9e0c4d | section | Personal Protective Equipment (PPE)
484a3ad9-87b3-4a42-b281-1e3e626cd2ab | checkpoint | Correct mandatory PPE worn at all times
a2455210-4d34-4ae3-adfb-40c616a16f32 | checkpoint | Specialized PPE for specific hazards and tasks are utilized correctly
1ffa2498-dc6d-4034-874b-61f65454ec2c | section | Emergency Equipment
97185142-4788-41e2-8509-14fec4f9c318 | checkpoint | Fire fighting equipment (extinguisher) is available, clearly marked and hold current certification.
4218db59-0781-4ebb-8ccd-7bee353f8747 | checkpoint | First aid equipment is available, clearly marked and fully stocked.
a02014d9-75c9-4bbf-a2fb-66bd2fe345e5 | section | Chemical Materials Storage
642962b8-0449-47db-81d4-1c7de47105f4 | checkpoint | Materials stored in a safe and approved manner (unlabelled containers with chemicals not observed)
1ee2dc37-074d-4fca-82fc-4f5668629b57 | checkpoint | Everything well stacked and free from trip hazards
757d7e48-f168-4fba-bcaf-fa8fe8cd90cc | checkpoint | Safety Data Sheets (SDS) are available
1630b50b-a790-40ea-be3a-96e273a6cdcd | checkpoint | Material types are segregated as required.
cbea523a-b00f-41b5-ba1e-a14b2e9ef99b | checkpoint | Spill kits are available, clearly marked and fully stocked.
ccb26060-639a-40df-90ef-6d319fe88c58 | checkpoint | Chemical materials Storage clearly identified and 'No smoking' signs in place.
af8bd5aa-f64d-4340-b8e3-2da6ff724210 | section | Workplace Cleanliness / Housekeeping
9f8c4486-fd59-4624-964f-989b26c61993 | checkpoint | Rubbish and scrap material is removed and located into appropriate bins.
325f4a13-b01e-4552-82e2-66f49f57ab39 | checkpoint | Spare materials are removed from work areas and stored (lifters, cast-ins, wood, dunnage, miscellaneous cut pieces, scrap)
dbce8b2a-a8d8-47c8-b6e9-b353f7bf29fc | checkpoint | Bins are not overfilled and effective recycling is evident.
477ac1b2-a231-47ad-bab1-b8860a53bbd2 | checkpoint | No trip hazards are present.
2d3a2aba-c581-4ec4-b2a7-e2eaaa4e0148 | checkpoint | Storage areas are clearly define.
34485400-e89a-494d-b038-12736563f20e | section | Plant and Machinery
d300dc86-ee54-4585-bab8-4cba41faa4ab | checkpoint | Operator's communication is appropriate and effective (Crane operators / Drivers)
d3a52d30-dae3-408e-826f-5ff7271cbb0d | checkpoint | Prestart checks regularly completed and documented.
397a04d3-4cdf-4988-aefc-8048195f8dc3 | checkpoint | Rigging equipment are tested and hold current tag (random check)
3274213d-af36-4433-ace7-b4b365876d70 | checkpoint | Appropriate rigging equipment is utilized for the work task.
46ff4bdc-d3b1-41b1-bdd0-af255838b7c8 | checkpoint | Spotters are utilized as appropriate.
4dffc295-5a92-4140-b1c8-b9bd167feec7 | section | Permit System (i.e. Working at Heights, Hot Works)
94063d54-324c-4f32-85e1-a577202208f6 | checkpoint | Appropriate work permits are utilized by the work group as required by permit system.
937f87f6-556c-4447-8cbc-fc1df93559e9 | checkpoint | Permit properly identifies the work to be performed and has been approved by a Competent Person.
55d55ef5-52d5-4bb2-897c-badae75c5e44 | checkpoint | Appropriate workers are signed on to the permit.
0dda3dcc-b06d-44e3-a7d5-3d4673eb65a8 | section | Working at heights
4165a937-79b1-4c46-8b2d-ac2ca9e9c94a | checkpoint | Prestart checks of safety items (harness, lanyard) is completed and documented
827ce7a1-f050-472b-8abf-604b1d1817ac | checkpoint | Safety items are tested and hold current tag (random check)
a24363c6-7d4d-4856-855d-35d587bb1b40 | checkpoint | Ladders prestart checks regularly completed and documented.
98c86c87-4148-44ea-90e5-54d3d321f73d | checkpoint | Ladders are in good condition and safely stored (random check)
6e944989-edbc-439f-84b2-9f910a0e2aee | checkpoint | Rescue plan is displayed in the area.
1d5cca89-6a1c-436b-bc2f-34ed173dfe4b | section | Tools and Equipment
1d4102fa-fe15-48ac-9efc-8e0692624af7 | checkpoint | Tools and equipment are in good serviceable condition (random check)
db305f9b-553d-4e01-9769-b8fa338ead7c | checkpoint | RCD power outlets hold current testing tag (random check)
ec1fccee-c414-4fcb-9332-d852228f60a2 | checkpoint | Welding equipment and gas bottles are secured, correctly set-up and safe to use.
4b0eb6a1-f844-466b-93e7-77dcc2b61209 | checkpoint | El. leads are secured and stored effectively to avoid trip hazards.
7bc8be0c-47f1-4a62-ad37-021be267f42c | checkpoint | El. tools, equipment and leads are not used in wet condition.
1800fd8b-85bc-484c-9d47-2fd15e1f5fd9 | checkpoint | No 'home made' hand tools are present.
15a31774-2b08-4731-bfa8-8cdb4c268951 | section | Environmental
2e16d1ec-9e35-4091-956d-212eb0e607fe | checkpoint | No excessive dust being generated on site neither noted beyond the site boundary.
2104351c-8c85-49e1-800f-fe293717de3c | checkpoint | No visible spill, which could contaminate water discharging from site.
9d9de354-e2ad-4b41-99fc-09066a1354fb | checkpoint | Site surroundings are tidy, not visible accumulated rubbish.
5a719cc6-9a2c-49ea-b694-0cd8b6f912f0 | checkpoint | No vehicle is leaving the site with concrete caked on the tyres (random check)
7459ffc6-8c68-47f9-b415-9b8e2d99cf5e | checkpoint | Swales are well vegetated with no rubbish accumulated.
1e3f97be-34d2-486d-be97-46bdf32ad7a1 | checkpoint | Catch pits are protected using filter cloth (random check)
5205c0da-094b-472a-95eb-6c0e3eb06b1f | checkpoint | No signs of weeds starting to grow on the site that need removal.
810c96db-2553-445f-8e86-4ff7f11440e1 | checkpoint | No unusual high noise-generating activities being observed.
d8ae129f-dc7c-428d-9722-7381b818c380 | section | Actions required
19b29152-fadc-4fb8-9bf6-397486d68ae6 | checkpoint-no-value | Actions required
2a38de7d-81f9-5a7f-beac-479e7da65249 | textbox | Action Item 1
71b684e3-54f1-531d-b928-da12a0552214 | textbox | Response Item 1
46df47c8-d40b-5851-8ec4-29a627ae79f3 | textbox | Action Item 2
7f4911cb-e04c-574b-bbe8-54581b701eb8 | textbox | Response Item 2
6aaf9cb3-b24b-5843-b190-50daa719d456 | textbox | Action Item 3
39ebdef5-13e6-5e07-92db-e9fdfedd9d27 | textbox | Response Item 3
5cae9b7a-e716-5fc5-be48-d6bcea0a51c9 | textbox | Action Item 4
64f3b94e-18f8-5743-bf0e-3cafe2229589 | textbox | Response Item 4
e0853568-5ecc-5176-9dec-425926632c00 | textbox | Action Item 5
73411a3a-1c44-5a31-8cd7-0b5aa76b0dff | textbox | Response Item 5
11b9d501-360e-5be4-9c34-cd6e393b102e | textbox | Action Item 6
774b943d-1039-5087-a222-3ef39e562aa8 | textbox | Response Item 6
12c3a89f-582c-58d7-811f-e9f1f9a643b1 | textbox | Action Item 7
98816ad4-67f0-5b85-866f-311f46742ca6 | textbox | Response Item 7
214ea287-2285-5bc0-93de-d8e03a2a4339 | textbox | Action Item 8
6d077ce8-5a17-5e7f-b2cf-f14c51d9fe8c | textbox | Response Item 8
b1b6a3e6-91ce-58f4-931a-a9a53075cbe1 | textbox | Action Item 9
f0e36a1b-89c4-5545-9a2d-7b4458a0a594 | textbox | Response Item 9
b78a32f5-5031-5e9e-986c-88800b634637 | textbox | Action Item 10
e608ee89-0a93-59b5-9fa5-f7630325b90e | textbox | Response Item 10
68d3beb5-537f-4aa6-85d9-95a32ceeb429 | section | Reviews
7f68c40b-a4eb-4c5e-b5a7-bf27bc114fc0 | checkpoint-no-value | Reviewed & Signed
85ce2d2d-35b8-4795-8cc0-9da41b507520 | signoff | Request Signature

## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
3fa56ad3-f4d2-4d04-a304-f3a5f9806f49 | checklist | Risk Controls Review - Risk Register |  | Risk Controls Review - Risk Register
6900b612-3457-4dec-87af-98b9fbfae55f | section | Details
4206a5b8-5e53-4417-aedc-51f2a4140c57 | checkpoint | Risk Register Reviewed
2afab160-b931-5863-a66e-18f12052f41c | textbox | Rev. No
afbcb273-920e-5ca9-94bf-7202820ac22a | textbox | Issue Date
6ff65354-2211-574c-81aa-0ac94a761082 | dropdown | Wilson Business Unit Reviewed | WPC, WREO, WPROP, WTUN
ed8fae09-dbb9-4a8e-87e1-7461a0ad09e3 | section | Suspended Load
645ed3d5-2226-43c2-91f5-ec697095286f | checkpoint | All operators must be fully trained and competent to operate with suspended loads
b0215983-ae1e-4122-9be3-d01fadc7c016 | checkpoint | All written procedures must be safely followed at all times when working with suspended load
050f1d36-8ba2-4fe5-831c-d1a45e4bd54d | checkpoint | All other personnel stay clear from suspended load at all times
fb5a5205-7e85-4faa-af77-5bd466ae3cc4 | checkpoint | Inspections and pre-starts to be conducted on plant/machinery at every time prior to use.
a4b9180a-27d8-400a-979a-991a013ebdb4 | checkpoint | All lifting gear to be inspected and certified safe
a2ae327f-b1f4-4f22-8c2a-83cf583c03fe | checkpoint | Where practicable, permanent exclusion zones to be established to avoid unauthorised access
d0ec395c-1e1d-425d-9a1b-d73583f8222c | section | Working at Height
5b160f3d-c605-4648-91f3-3c20bf00f999 | checkpoint | Avoid work at height where possible
f7af5792-7c2f-4fa2-8d5d-e283664d95b5 | checkpoint | A certified scaffolding shall be used when practicable. Any modifications shall be undertaken only by certified and competent scaffolding company
34e19681-90a0-4e69-bc1f-49a1d4e9147e | checkpoint | Regular inspections of scaffolding shall be undertaken by certified scaffolding company
8f213ffd-74b8-4f4e-a2b2-550dad6c14fe | checkpoint | When required, harness and lanyard shall be worn while working on scaffolding
dfd84ded-c9e9-4cc7-94dc-51ee7402d473 | checkpoint | Use a safe working platform with handrails where possible (access ladder platform)
a3d43c69-2a3a-4dc0-bb5c-57c9f00ee5b3 | checkpoint | Where a safe working platform cannot be used, use equipment which will restrain or arrest falls (safety harnesses)
6d77f47d-49cf-41be-b820-c7644b13dde1 | checkpoint | All personnel working at heights must be fully trained and competent.
c599382c-2465-4eed-8573-232f5a7519b9 | checkpoint | All written procedures must be safely followed at all times when conducting works at heights – including approved rescue plan(s)
8bdc9105-6c06-4fbb-bd7f-35f69d117f5b | checkpoint | A rescue plan shall be completed and rolled out prior to working at heights
60765b7c-3537-4049-aac8-8748803f5338 | checkpoint | Exclusion zones must be designated where works at heights are conducted
379e1f9c-35f1-43b4-8b53-2bd132aa3baf | checkpoint | All working at heights safety gear to be inspected and certified safe
b1491a30-8f46-41d4-8b1f-15553621b592 | checkpoint | Inspections and pre-starts to be conducted on all working at heights safety gear at every time prior to use
cf1ec0b1-d37a-4689-bee1-938d014fed83 | checkpoint | Working at heights permit to be filled and accepted prior to use
7fd571a4-7891-4098-b9ab-71d7eb77fd16 | section | Plant & Machinery
d6899d79-374c-4175-ac00-0d057924b421 | checkpoint | All operators using plant/machinery must hold valid license/certificate and be fully trained/competent to operate the plant/machinery
396fa9da-4673-479a-978a-90e0d2ed613d | checkpoint | All written procedures must be safely followed at all times when conducting works with plant/machinery
9859875f-b11d-4c99-b684-172d2b6e10fc | checkpoint | Site speed limit max of 10 km/hr at all times
06abe891-2ff3-4d7b-ab0b-6dcd44603f31 | checkpoint | Inspections and pre-starts to be conducted on plant/machinery at every time prior to use
7bf173df-8dc5-47e7-a8c4-026fa956071d | checkpoint | All other personnel stay clear from moving plant/machinery at all times
4a63557d-84b1-4ab0-951e-361a189e2621 | checkpoint | Designated walkways/pathways to be used by all personnel at all times
b904a435-b8ed-436a-93d7-e56e5e6603da | checkpoint | All Plant/Machinery to be inspected and certified for safe operation
717b90d5-f5b7-448b-87b3-e9c684321040 | checkpoint | All safety features such as safety guards, covers, E-stops etc. to be permanently installed and fully functional at all times.
3f500c4f-8e43-4789-8fa2-a1736c1ae168 | checkpoint | Only fully trained and competent operator shall work and operate with reinforcing processing machinery
cab01527-5c30-44b2-9706-f884741f391f | checkpoint | Only trained and competent personnel shall conduct maintenance of reinforcing processing machinery
8ba5265b-af0f-4280-a362-04bbf37ab7ac | checkpoint | Lock-out, tag-out (LO-TO) process shall apply when machinery maintenance is in progress
66130a5e-b45a-4845-ac76-ed24926a9562 | section | Confined Space
8deef4a0-6fa5-4582-b218-106e914d771b | checkpoint | Assess the task to verify if it is possible to undertake the works outside the confined space
67923e07-bd0a-41dc-8ab4-da62a54ccbf9 | checkpoint | Only competent personnel with appropriate training shall work in confined space
1ad8e5fa-1cac-43a4-9bec-6da63426d7fa | checkpoint | A spotter outside of confines space shall be used in case of emergency
a3ec5036-690b-45bd-936b-71a8c09dff24 | checkpoint | Lock out/Tag out (LO-TO) process shall apply prior to working in confined space (i.e. plant/machinery isolation)
3a7769c3-3ce7-47d2-8c58-4ad19ff9f80a | checkpoint | Ventilate the confined space as much as practicable
cd09177d-d561-452a-b1ce-ab92ac40e168 | checkpoint | Adequate respiratory protection shall be worn to avoid any dust, gases, airborne contaminants inhalation
f69be3af-9c74-4fa4-a132-4b27c0858551 | checkpoint | Permit shall be approved and issued prior to working in confined space
6a0571d7-f495-4398-adbd-2369e6482a00 | section | Compressed Air
f872fefd-7af5-4a8c-8c64-a131780a9c86 | checkpoint | Only competent personnel with appropriate training shall work with compressed air
3eee6a23-4f9e-4f4f-b283-bc2c314a7c0a | checkpoint | Regular inspection and maintenance of the equipment. Pressure gauges shall be regularly serviced and calibrated
d7711e61-4697-416f-89d5-11387a27eb2a | checkpoint | NEVER use compressed air on body or naked skin (to avoid air entering the bloodstream)
a9ae7e29-f092-47c4-8a61-74f6aa3ba4ca | section | Pre & post tensioning strand
851b964d-db16-41d9-9bbd-c40ed04663f4 | checkpoint | All operators conducting stressing process must be fully trained and competent to prior to proceeding with the task
89d3d4ac-7970-4ef8-8345-572af2cb1ad5 | checkpoint | Inspections and pre-starts to be conducted on stressing equipment at every time prior to use
1aeac3c9-c737-4e42-8ab5-af0a9a3cfa40 | checkpoint | All written procedures must be safely followed at all times when pre & post tensioning strands
a8446009-ed12-4cfc-a71d-6734d519005d | checkpoint | All other personnel must stay clear from pre-stressed areas/zones at all times
46ddd07d-2c64-4b5d-9a46-df1473be75b2 | section | Poor Housekeeping
24f0121e-22fb-4567-bcd4-e97eeb71a84e | checkpoint | Keep the area as clear & clean as possible to avoid a trip hazard.
018001ae-1de3-46a0-8780-2ee2c0106d04 | checkpoint | Tools and equipment are to be returned to the store or personal tool box after use
581d03b2-86b5-4b0d-bf8c-92dbd0212fce | checkpoint | Any waste is to be removed from working area as soon as practicable
9c876c71-3dec-455b-8c8c-3d00c1ac0730 | checkpoint | All amenities are to be kept in a clean and hygienic condition
1339af4a-2ab0-4c08-913c-aaf4de2b51dc | checkpoint | All waste is to be placed in the appropriate waste bin
5aeaf569-eb1f-4927-80d8-f1e16ff947cb | checkpoint | Walkways, scaffolds, stairways and other work areas are to be free of obstruction and sharp objects
f495addb-d53f-4f2d-8ffa-55e9269eb4de | checkpoint | All steel manufacturing machineries to be kept clean and tidy at all times
e43ea126-0121-4440-8753-521e4d22f7ae | checkpoint | All materials (i.e. Inward goods, steel / strand coils, precast elements, reo bars / cages, etc.) to be stored in designated areas only and as per correct stacking procedures
97612824-734e-4fc9-920a-9d6850547fa2 | section | Power tools use
b85bfa5b-579e-4f48-a668-3e770563d16b | checkpoint | All operators using tools & equipment must be fully trained and competent to prior to proceeding the tasks
963dff30-e768-431a-8e85-0afb488b6011 | checkpoint | Inspections and pre-starts to be conducted on all powered tools/equipment at every time prior to use
7c00cf64-1770-4c31-83c0-3f5f1c559ceb | checkpoint | All written procedures to be safely followed at all times when using tool/equipment
08ef3c87-3c1f-4018-afc0-34a483bd175e | checkpoint | All personnel to wear mandatory PPE at all times.
a1513eb1-3c9a-47e8-952c-6a7d94943a92 | checkpoint | All operators are obligated to wear specific personal protective equipment (PPE) as per written procedure
fd6fc073-7d45-4ded-ad20-cc03167b7335 | checkpoint | All safety guards must be installed at all times when using tool/equipment
a1527a74-932e-490d-878e-58f9ad4a8b4a | checkpoint | Damaged or unsafe tools shall not be used for any operation
77be87cb-8d6e-4953-be94-3ecc6db90f7f | checkpoint | Hot work permit (for specific equipment) to be filled and accepted prior to use
4d7b9604-e345-470b-b989-efd2d30de429 | section | Manual working/handling
0be6aa46-d196-483a-b527-9257b4c85fb5 | checkpoint | All written procedures must be safely followed at all times when manually working/handling
4f8a6e0c-d1f2-485a-806c-5b077ad8fdbb | checkpoint | All personnel to wear mandatory PPE at all time
b02c3c41-054b-40c6-85b9-5516128c37fc | checkpoint | All personnel stay in their designated zone while working
de30c0e4-0d3c-4f8c-bf2a-ef7073c7b46c | checkpoint | All personnel must be trained and competent for any tasks prior to conducting it
992b8704-a843-483e-99a5-6882fba61a65 | checkpoint | Maximum weight to be lifted by one person is 25 Kg
2ff3fcff-b020-499f-a6e7-8aeab390a377 | checkpoint | Hand protection shall be worn at all times while working / handling with reinforcement coils / bars / cages
ea254bea-1c8e-4a86-8eb7-40d185c5afbc | section | Dangerous/Hazardous goods
69a9e674-5c5a-4fd7-8c31-d58ea02c3a2d | checkpoint | All personnel using dangerous/hazardous goods must be trained and competent prior to working with them
39dac795-9632-451b-926f-ff978e6c36fa | checkpoint | All personnel to wear mandatory PPE at all time
18c10a00-4417-48dc-afe9-cedf55ad79aa | checkpoint | All users are obligated to wear specific personal protective equipment (PPE) as per written instruction in SDS
7a6b5421-901e-4acc-a0be-63a354008515 | checkpoint | All dangerous/hazardous goods must be stacked and stored as per written instruction in SDS
6738084c-c62f-4748-9a5b-6592a3c1e957 | checkpoint | All materials are used as per written instruction in TDS/SDS
a026e485-6641-4f20-b31e-b2d56c9d3c30 | checkpoint | Material SDS must be available where the materials are stored
e8649ebe-34e3-4926-a52f-7c8717c2d18c | checkpoint | Spill kit to be available in area/zone where dangerous/hazardous goods are used
4cf92ea5-a622-4532-9c20-101605a6a92a | checkpoint | All hazardous substances shall be stored in their original containers
7133691f-0831-45ba-a741-1d2d593ffb1e | checkpoint | NO hazardous substances shall be stored in unlabeled or incorrectly labelled containers
1d010d4d-acf8-41e4-a328-13a8a33cdfe3 | section | Environmental Stressors
d0a4d0e2-2cc1-4dbe-9b03-ce14b1e31103 | checkpoint | All personnel to wear mandatory PPE at all time
03a02aa8-b036-4ba0-b1fc-1f30db6eaeb6 | checkpoint | Apply min SPF30+ sun cream regularly to protect your skin if working under the Sun
248fcfe2-e6a1-4482-8dd8-97975f664044 | checkpoint | Drink enough water to avoid dehydration
26ceb611-2698-40b6-85a8-4fb610812fba | checkpoint | Take regular breaks as required
f6cb5bce-1822-4ca7-8261-01276c5937e4 | checkpoint | Adequate lighting for night work is to be provided when light is poor
63dc6ce2-2d41-4630-801a-223f55b27e09 | checkpoint | Hand protection shall be worn at all times while working / handling with reinforcement coils / bars / cages
ec7384e2-c1f6-4181-bf84-12995ac319d4 | checkpoint | Adequate ventilation to be provided in all indoor areas
4cfe305f-dd38-41e4-85a7-d5cb61d0cfca | checkpoint | Adequate respiratory protection shall be worn at all times in areas where steel / silica dust is presented / created
0a7f8aab-9ebc-4cb9-a48c-9cc5e02d4329 | checkpoint | All hot water piping system shall be insulated and protected to avoid contact with personnel
bbab3e96-5715-47fb-93cf-8a334de3a760 | checkpoint | Boiler and all pressure gauges shall be regularly inspected and calibrated
a844c2df-f29a-4aa3-b97c-401adf86ebcf | checkpoint | All written procedures must be safely followed at all times when working with hot water/steam
6c507bd6-38be-4c3f-a9d7-1099c9669c69 | section | Environmental
3e319f79-332c-4d19-80d5-0e13c564c1e8 | checkpoint | Spill kits to be available and clearly identified in case of chemical spills
e44983cf-bc49-48c2-b321-39d90d6997cf | checkpoint | Treatment and disposal of storm water and ‘Wash-Down’ water
a1cdef08-d82d-4c86-9193-cf84f6747a4a | checkpoint | Catchpits protected with geotextile cloth for treating storm water
6637ae6b-6288-42ab-b3d8-f03243d5ab96 | checkpoint | Recycling of wash down water
c5dbe63c-b41b-42dc-89c5-0615de50a46c | checkpoint | Water recycle system and water reuse for batch plant
8b147da5-b78a-457a-a1c1-0844e4f2a168 | checkpoint | Dust control to be maintained by using specific equipment and used only in designated areas
713389b4-6e58-496d-aab2-ad1d2d915a3b | checkpoint | Sealed driveways to be swept and unsealed areas to be watered (if necessary, in dry and windy days)
114df612-3e66-41ff-a25d-58349d09849f | checkpoint | Limited traffic speed limit on site of 10 km/hr at all times
21eeea8b-8ff0-40ff-8da4-daecc4c75fb6 | checkpoint | Waste to be disposed on regular basis
0a4a3d17-352d-407c-9276-1e04fa4c612c | checkpoint | Disposal of chemicals as per manufacturers recommendation
cc6227cc-ebda-4c5c-bb60-513bbe92f9dc | checklist | WG-04-CH-01 – Site Safety Inspection HS Rep |  | WG-04-CH-01 – Site Safety Inspection HS Rep
21db088c-7258-4b5c-94c9-bda1f9e6abef | section | Guidelines
47977bc1-746b-4b81-82f5-93007f66b815 | checkpoint | 1. Are all entrances and exits free from obstructions? (add photos)
9401236f-2e13-4d76-8702-6658a6b13bab | checkpoint | 2. Are stairs and walkways clear of equipment, cables and other obstacles? (add photos)
b151efad-9e1b-49f3-aee0-3042c9db81b3 | checkpoint | 3. Is stored material secured to prevent shifting / falling? Are stacking process instructions / TR displayed?
ce7fddc7-5f39-4d37-ab32-226bd73f7d41 | checkpoint | 4. Are precast units stored as per company standards and requirements? Are stacking process instructions / TR displayed?
6f289dab-a76d-41f4-a6fc-01b2f8c255b6 | checkpoint | 5. Are there any issues with installed lighting and ventilation in the work area? If yes, explain the issue and add photos.
4bdeac20-f563-4c44-bcc8-ffa5fc718692 | checkpoint | 6. Are machinery / plant / equipment prestarts checks regularly completed and documented? (Random check and add photos)
f408be9f-cb38-4db5-8f4a-83278ffa72c0 | checkpoint | 7. Are the appropriate work permits completed and issued? Is there a designated area for these works? (add photos)
87b5b4fa-30ba-4346-be85-c4352c1451bc | checkpoint | 8. Are there any maintenance works being undertaken? If yes, please list the works (add photos)
30f45f20-d877-4fbd-9ac0-2c5e27780174 | checkpoint | 9. Are hazardous substances and containers properly labelled? (add photos)
887b1e55-995e-4a00-8a74-84a04e0e49fb | checkpoint | 10. Are hazardous substances properly stored? (add photos of the DG store)
58d2c6de-5e0c-4526-b503-b5756dc192b3 | checkpoint | 11. Are Safety Data Sheets available for all chemicals? (add photos of the book / folder)
2a3f1e46-39e7-4175-b912-066d80737fb4 | checkpoint | 12. Are all cords, plugs and sockets in good conditions? (not frayed, exposed, cracked) – (add photos)
95260b49-a536-4e8a-9b25-bbbe7daeb5b5 | checkpoint | 13. Have fire extinguishers been inspected and certified in the last 12 months? (add photos)
506b013a-022a-4da3-a950-92bf50596824 | checkpoint | 14. Are emergency exits clearly marked, easy to open and functional? (add photos)
ca257d44-557b-57ec-b546-367f1f22c800 | textbox | 15. Provide the names of current first aid responders present in the area you are inspecting.
0ad4d3ab-7eaf-4c5c-9aa2-88951396b89b | checkpoint | 16. Are the first aid kits maintained and stocked? (random check with photos of contents)
ae5f0451-00b6-4ef5-be09-2c24b9822622 | checkpoint | 17. Are the staff toilets, bathroom facilities and the kitchen area in good clean condition? (add photos)
cc1b5b87-07e7-4cc0-b03d-f39757667f76 | checkpoint | 18. Is the correct mandatory PPE worn by workers and subcontractors? (add photos)
c5e4f9a3-170c-496d-ae22-ba32a0e6bb27 | checkpoint | If any of the items above do NOT COMPLY, please state your observation and required action.
c37d1846-91de-5c75-9ac9-a143156f3bcb | textbox | Inspector’s Observations / Recommendations
17192adb-db15-5c05-8781-4c428e96e568 | textbox | Mgmt. Comments (i.e. responsibility, due dates)
f089fe9b-a75a-42a7-af69-84a4c1282e1e | section | Environmental Inspection
60536fcd-386b-4d0a-9eda-e0a04ee915e1 | checkpoint | 1. Is visible dust being generated by site work activities? If yes, explain how.
b27dea4c-3849-4ffb-830c-3ec563d6605b | checkpoint | 2. Is there any cross contamination happening in specific recycling skips? (timber / steel / concrete) (add photos)
f33bd12c-de83-43e2-af3a-d9f344f1b8a4 | checkpoint | 3. Is all metal scrap contained within the correct bins with no overflow creating a hazard / danger? (add photos)
7eff8045-c924-4cb4-9db2-20a619c2d049 | checkpoint | 4. Are there any visible spills or leaks in the area you are inspecting? If yes, note details and add photos
7d2b46c2-ce02-4094-af97-b14bdf9278e3 | checkpoint | 5. Are there any catch pits missing filter cloths? (add photos)
57699f72-9306-498a-8982-f06fd3c2df11 | checkpoint | 6. How much rubbish / debris is lying around the area you are inspecting? (add photos)
579896d1-42e9-505b-9190-cec29d80c970 | button |  | Some, None
1dbb7396-8798-4fe9-aa19-4ca1e3ab326f | section | Spill Kits Status
b9f4fc5f-dd42-458c-9c8e-0b22c67ae18b | checkpoint-no-value | Details
e13afe72-6c93-5cec-9e10-7e1eb175be9a | textbox | Location
722a738d-895e-5051-a474-8b02feceacec | textbox | Type
2cde1bf0-0578-5888-9832-ac62fdf036aa | button | Restock | Yes, No
aa7f22d1-9241-4ab1-91de-6e8d95a72ce7 | checkpoint-no-value | Details
3e9678bb-566f-5e7b-b12b-a920a86c8d61 | textbox | Location
167a99b0-bfce-5dec-856f-3e9754d37b20 | textbox | Type
98089f7c-ab57-5842-ad72-29580a3198b0 | button | Restock | Yes, No
f4df4fd9-7569-4c90-bae4-1f5d0ec68aa2 | checkpoint-no-value | Details
1cf7ccd1-0846-53a4-ad2c-62e93335966c | textbox | Location
72b962b5-1df7-54fe-8f36-8af1b32d288c | textbox | Type
d556847f-a173-5af1-98a0-c338c0aa1628 | button | Restock | Yes, No
bc026b1f-1b67-4f6c-a9ba-ef67e427a26e | checkpoint-no-value | Details
c6195e3a-481b-50e1-b2ba-36fdf15b4f37 | textbox | Location
6e495ce1-2550-5a2c-bf96-454721fa6ee8 | textbox | Type
8578c8ed-44a9-51de-8ee9-dba6e39d5096 | button | Restock | Yes, No
c5857bb2-1d89-4874-ba89-707aed804417 | checkpoint-no-value | Details
33ff72d4-54ec-5e52-9481-ba23837bc265 | textbox | Inspector’s Observations / Recommendations
2927e830-5ac5-5f09-b414-0dc93840fc3e | textbox | Mgmt. Comments (i.e. responsibility, due dates)
59f91d9e-1fe5-4ef2-882b-a26750943190 | signoff | Production/Site Manager Review