## Master List Templates
Id | Type | Name | Values | Prompting Name
871732c4-102a-4ab5-ae80-5784c08d9cfe | checklist | Prestart / Permit |  | Prestart / Permit
bc6ca06f-ba35-4edf-b6bc-a58b8f93c541 | checkpoint | Week 1
fe81ef00-dc56-5245-be11-3e13e9898559 | date | Date
72e27e20-1322-4cb3-a384-7e5fc5c2571d | checkpoint | Week 2
f6f87a7d-f08f-5939-911e-c597fa1f719c | date | Date
b66dbef4-9b7d-4815-b76e-32968fee4dce | checkpoint | Week 3
c756bedd-33b2-5a24-8596-d43e939d5daa | date | Date
3ac3e67e-b7ec-46c9-9d9a-dade15a52061 | checkpoint | Week 4
96f58960-c4d6-5f56-9544-1f67fe0772c3 | date | Date
ae815195-68ad-4a43-be54-70c17ca5aa40 | checkpoint | Week 5
9dd9d315-fc96-4ded-b56c-8c182b7cddbd | checklist | WG-04-CH-02 Site Safety Inspection |  | Site Safety Inspection
35cd8304-e207-4302-9f02-5de823c900b3 | section | General
23f4edcb-0871-4412-b00c-ff40003682d4 | checkpoint-no-value | Details
94e88562-7125-5e04-b613-bce94f30b735 | textbox | Location Inspected
8df0ffcd-a331-5681-8a72-4b23b865a9d9 | textbox | Inspector's Name
1fdbda62-74c6-4819-9da8-adc0d56bd131 | checkpoint | Workers on site are inducted (random check)
01bfb011-8367-51dd-93f3-4a854d661c14 | note | Inducted sticker on their hardhat is clearly visible
3dd0c3f7-a829-43c4-936f-40fd638f3db8 | checkpoint | Workers keeping a safe distance from machinery.
7d7a10e2-c236-4893-a6cc-558f00c28311 | checkpoint | Ventilation and lighting is suitable and adequate for the work task
5837c70c-eb74-40e6-bd6a-0935b05454e3 | checkpoint | Hazard board and signage are up to date.
5e7767c3-0072-4616-845a-ced5574090db | checkpoint | Emergency procedure and evacuation map is displayed and up to date.
7e004560-5fdf-4477-ad7f-58f6373228b7 | checkpoint | Escape routes are suitable, safe and clearly identified (no obstacles)
c6489836-fa0b-4d14-ad13-3a5054d2521c | checkpoint | Protective caps fitted to reinforcing steel.
2efdff7b-c6de-4895-93c1-062a310ce6fd | checkpoint | Operators properly trained for appropriate tasks and hold current licence if operating a machine.
aa3eb16c-96d3-42cb-aa0b-b6d76f349c1a | checkpoint | Traffic management plan is displayed and speed limit signage in place.
7bc73d78-d637-4ef8-936c-eaa62f9e0c4d | section | Personal Protective Equipment (PPE)
484a3ad9-87b3-4a42-b281-1e3e626cd2ab | checkpoint | Correct mandatory PPE worn at all times
a2455210-4d34-4ae3-adfb-40c616a16f32 | checkpoint | Specialized PPE for specific hazards and tasks are utilized correctly
1ffa2498-dc6d-4034-874b-61f65454ec2c | section | Emergency Equipment
97185142-4788-41e2-8509-14fec4f9c318 | checkpoint | Fire fighting equipment (extinguisher) is available, clearly marked and hold current certification.
4218db59-0781-4ebb-8ccd-7bee353f8747 | checkpoint | First aid equipment is available, clearly marked and fully stocked.
a02014d9-75c9-4bbf-a2fb-66bd2fe345e5 | section | Chemical Materials Storage
642962b8-0449-47db-81d4-1c7de47105f4 | checkpoint | Materials stored in a safe and approved manner (unlabelled containers with chemicals not observed)
1ee2dc37-074d-4fca-82fc-4f5668629b57 | checkpoint | Everything well stacked and free from trip hazards
757d7e48-f168-4fba-bcaf-fa8fe8cd90cc | checkpoint | Safety Data Sheets (SDS) are available
1630b50b-a790-40ea-be3a-96e273a6cdcd | checkpoint | Material types are segregated as required.
cbea523a-b00f-41b5-ba1e-a14b2e9ef99b | checkpoint | Spill kits are available, clearly marked and fully stocked.
ccb26060-639a-40df-90ef-6d319fe88c58 | checkpoint | Chemical materials Storage clearly identified and 'No smoking' signs in place.
af8bd5aa-f64d-4340-b8e3-2da6ff724210 | section | Workplace Cleanliness / Housekeeping
9f8c4486-fd59-4624-964f-989b26c61993 | checkpoint | Rubbish and scrap material is removed and located into appropriate bins.
325f4a13-b01e-4552-82e2-66f49f57ab39 | checkpoint | Spare materials are removed from work areas and stored (lifters, cast-ins, wood, dunnage, miscellaneous cut pieces, scrap)
dbce8b2a-a8d8-47c8-b6e9-b353f7bf29fc | checkpoint | Bins are not overfilled and effective recycling is evident.
477ac1b2-a231-47ad-bab1-b8860a53bbd2 | checkpoint | No trip hazards are present.
2d3a2aba-c581-4ec4-b2a7-e2eaaa4e0148 | checkpoint | Storage areas are clearly define.
34485400-e89a-494d-b038-12736563f20e | section | Plant and Machinery
d300dc86-ee54-4585-bab8-4cba41faa4ab | checkpoint | Operator's communication is appropriate and effective (Crane operators / Drivers)
d3a52d30-dae3-408e-826f-5ff7271cbb0d | checkpoint | Prestart checks regularly completed and documented.
397a04d3-4cdf-4988-aefc-8048195f8dc3 | checkpoint | Rigging equipment are tested and hold current tag (random check)
3274213d-af36-4433-ace7-b4b365876d70 | checkpoint | Appropriate rigging equipment is utilized for the work task.
46ff4bdc-d3b1-41b1-bdd0-af255838b7c8 | checkpoint | Spotters are utilized as appropriate.
4dffc295-5a92-4140-b1c8-b9bd167feec7 | section | Permit System (i.e. Working at Heights, Hot Works)
94063d54-324c-4f32-85e1-a577202208f6 | checkpoint | Appropriate work permits are utilized by the work group as required by permit system.
937f87f6-556c-4447-8cbc-fc1df93559e9 | checkpoint | Permit properly identifies the work to be performed and has been approved by a Competent Person.
55d55ef5-52d5-4bb2-897c-badae75c5e44 | checkpoint | Appropriate workers are signed on to the permit.
0dda3dcc-b06d-44e3-a7d5-3d4673eb65a8 | section | Working at heights
4165a937-79b1-4c46-8b2d-ac2ca9e9c94a | checkpoint | Prestart checks of safety items (harness, lanyard) is completed and documented
827ce7a1-f050-472b-8abf-604b1d1817ac | checkpoint | Safety items are tested and hold current tag (random check)
a24363c6-7d4d-4856-855d-35d587bb1b40 | checkpoint | Ladders prestart checks regularly completed and documented.
98c86c87-4148-44ea-90e5-54d3d321f73d | checkpoint | Ladders are in good condition and safely stored (random check)
6e944989-edbc-439f-84b2-9f910a0e2aee | checkpoint | Rescue plan is displayed in the area.
1d5cca89-6a1c-436b-bc2f-34ed173dfe4b | section | Tools and Equipment
1d4102fa-fe15-48ac-9efc-8e0692624af7 | checkpoint | Tools and equipment are in good serviceable condition (random check)
db305f9b-553d-4e01-9769-b8fa338ead7c | checkpoint | RCD power outlets hold current testing tag (random check)
ec1fccee-c414-4fcb-9332-d852228f60a2 | checkpoint | Welding equipment and gas bottles are secured, correctly set-up and safe to use.
4b0eb6a1-f844-466b-93e7-77dcc2b61209 | checkpoint | El. leads are secured and stored effectively to avoid trip hazards.
7bc8be0c-47f1-4a62-ad37-021be267f42c | checkpoint | El. tools, equipment and leads are not used in wet condition.
1800fd8b-85bc-484c-9d47-2fd15e1f5fd9 | checkpoint | No 'home made' hand tools are present.
15a31774-2b08-4731-bfa8-8cdb4c268951 | section | Environmental
2e16d1ec-9e35-4091-956d-212eb0e607fe | checkpoint | No excessive dust being generated on site neither noted beyond the site boundary.
2104351c-8c85-49e1-800f-fe293717de3c | checkpoint | No visible spill, which could contaminate water discharging from site.
9d9de354-e2ad-4b41-99fc-09066a1354fb | checkpoint | Site surroundings are tidy, not visible accumulated rubbish.
5a719cc6-9a2c-49ea-b694-0cd8b6f912f0 | checkpoint | No vehicle is leaving the site with concrete caked on the tyres (random check)
7459ffc6-8c68-47f9-b415-9b8e2d99cf5e | checkpoint | Swales are well vegetated with no rubbish accumulated.
1e3f97be-34d2-486d-be97-46bdf32ad7a1 | checkpoint | Catch pits are protected using filter cloth (random check)
5205c0da-094b-472a-95eb-6c0e3eb06b1f | checkpoint | No signs of weeds starting to grow on the site that need removal.
810c96db-2553-445f-8e86-4ff7f11440e1 | checkpoint | No unusual high noise-generating activities being observed.
d8ae129f-dc7c-428d-9722-7381b818c380 | section | Actions required
19b29152-fadc-4fb8-9bf6-397486d68ae6 | checkpoint-no-value | Actions required
2a38de7d-81f9-5a7f-beac-479e7da65249 | textbox | Action Item 1
71b684e3-54f1-531d-b928-da12a0552214 | textbox | Response Item 1
46df47c8-d40b-5851-8ec4-29a627ae79f3 | textbox | Action Item 2
7f4911cb-e04c-574b-bbe8-54581b701eb8 | textbox | Response Item 2
6aaf9cb3-b24b-5843-b190-50daa719d456 | textbox | Action Item 3
39ebdef5-13e6-5e07-92db-e9fdfedd9d27 | textbox | Response Item 3
5cae9b7a-e716-5fc5-be48-d6bcea0a51c9 | textbox | Action Item 4
64f3b94e-18f8-5743-bf0e-3cafe2229589 | textbox | Response Item 4
e0853568-5ecc-5176-9dec-425926632c00 | textbox | Action Item 5
73411a3a-1c44-5a31-8cd7-0b5aa76b0dff | textbox | Response Item 5
11b9d501-360e-5be4-9c34-cd6e393b102e | textbox | Action Item 6
774b943d-1039-5087-a222-3ef39e562aa8 | textbox | Response Item 6
12c3a89f-582c-58d7-811f-e9f1f9a643b1 | textbox | Action Item 7
98816ad4-67f0-5b85-866f-311f46742ca6 | textbox | Response Item 7
214ea287-2285-5bc0-93de-d8e03a2a4339 | textbox | Action Item 8
6d077ce8-5a17-5e7f-b2cf-f14c51d9fe8c | textbox | Response Item 8
b1b6a3e6-91ce-58f4-931a-a9a53075cbe1 | textbox | Action Item 9
f0e36a1b-89c4-5545-9a2d-7b4458a0a594 | textbox | Response Item 9
b78a32f5-5031-5e9e-986c-88800b634637 | textbox | Action Item 10
e608ee89-0a93-59b5-9fa5-f7630325b90e | textbox | Response Item 10
68d3beb5-537f-4aa6-85d9-95a32ceeb429 | section | Reviews
7f68c40b-a4eb-4c5e-b5a7-bf27bc114fc0 | checkpoint-no-value | Reviewed & Signed
85ce2d2d-35b8-4795-8cc0-9da41b507520 | signoff | Request Signature

## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
8bdef38a-7b52-4e70-9331-a07773bdf038 | checklist | Risk Controls Review - Risk Register |  | Risk Controls Review - Risk Register
968d93c6-781f-4bb8-91a6-a3709c938f2a | section | Details
8e3abc38-a495-4726-8643-2c14fd94cd2f | checkpoint | Risk Register Reviewed
3dc805a1-fe26-5323-b0d9-a6be48add057 | textbox | Rev. No
6d2fa691-48fa-53e9-918b-239c4e0ba048 | textbox | Issue Date
038ce372-2d8e-5abb-8bd8-a649eac6ef6f | dropdown | Wilson Business Unit Reviewed | WPC, WREO, WPROP, WTUN
8590f185-bda7-4d4d-b3c9-fb40532a0000 | section | Suspended Load
01b79f24-5c78-41f6-8dc1-7c068bf208b5 | checkpoint | All operators must be fully trained and competent to operate with suspended loads
f9aa0ff4-c96f-4d14-99b9-02b3ebbdf560 | checkpoint | All written procedures must be safely followed at all times when working with suspended load
f6b16c43-7a99-458c-b5a2-3ade624635eb | checkpoint | All other personnel stay clear from suspended load at all times
7f31954d-ebdf-422e-bb86-f3a847cb59d1 | checkpoint | Inspections and pre-starts to be conducted on plant/machinery at every time prior to use.
43161378-6235-483b-a922-7238e4680938 | checkpoint | All lifting gear to be inspected and certified safe
d6c4d55d-a076-4992-aadf-4b7c54545fa6 | checkpoint | Where practicable, permanent exclusion zones to be established to avoid unauthorised access
ff6f37fc-3e46-40cf-b18c-88969e3ca6c6 | section | Working at Height
5fb886f8-984d-4f00-8305-9f0ebb9259ea | checkpoint | Avoid work at height where possible
769e5fb3-7105-4996-8769-6a8cfab9f488 | checkpoint | A certified scaffolding shall be used when practicable. Any modifications shall be undertaken only by certified and competent scaffolding company
21b998a2-d4f6-471e-a2f6-b74428c13499 | checkpoint | Regular inspections of scaffolding shall be undertaken by certified scaffolding company
0dcab770-81b9-4275-93e4-b0b321aba4ef | checkpoint | When required, harness and lanyard shall be worn while working on scaffolding
efdf4eec-0dac-4d1c-8389-c2babe546435 | checkpoint | Use a safe working platform with handrails where possible (access ladder platform)
19171faf-871c-472f-9869-e6471bf490fe | checkpoint | Where a safe working platform cannot be used, use equipment which will restrain or arrest falls (safety harnesses)
a9a0655f-94a3-44f6-97f0-631055cd7cc3 | checkpoint | All personnel working at heights must be fully trained and competent.
ddd997bf-1cd0-48ff-a081-8c47efbec6e0 | checkpoint | All written procedures must be safely followed at all times when conducting works at heights – including approved rescue plan(s)
e658b210-29e1-43cf-bdaa-64a78d49d81a | checkpoint | A rescue plan shall be completed and rolled out prior to working at heights
7d702cc7-b597-4e26-b792-f8defc74ea59 | checkpoint | Exclusion zones must be designated where works at heights are conducted
1a04f4df-cbbb-4cb4-a74d-e4e20f3fbfc8 | checkpoint | All working at heights safety gear to be inspected and certified safe
94eadfad-8067-4cad-8783-286f207527d2 | checkpoint | Inspections and pre-starts to be conducted on all working at heights safety gear at every time prior to use
d5d279d0-cd8a-4a89-b29d-00e4ea47086f | checkpoint | Working at heights permit to be filled and accepted prior to use
df89fba8-36d8-464d-88d8-8225294c5888 | section | Plant & Machinery
b7d72259-ace1-4ee8-855e-2d3222eb0fcd | checkpoint | All operators using plant/machinery must hold valid license/certificate and be fully trained/competent to operate the plant/machinery
34a7c8b4-389d-448b-906c-ff91eb8468a6 | checkpoint | All written procedures must be safely followed at all times when conducting works with plant/machinery
2b923f86-0b32-4596-9e6b-7adb00641c57 | checkpoint | Site speed limit max of 10 km/hr at all times
6d2504b0-b9bd-47b9-afe4-c26fed60013b | checkpoint | Inspections and pre-starts to be conducted on plant/machinery at every time prior to use
0e74189b-1bd8-4c71-a648-cf9d3c11e134 | checkpoint | All other personnel stay clear from moving plant/machinery at all times
dcda77cf-7a52-44ef-8ef7-092458a1787f | checkpoint | Designated walkways/pathways to be used by all personnel at all times
e2a317fc-432a-43b6-8df4-f45870372adb | checkpoint | All Plant/Machinery to be inspected and certified for safe operation
2249989f-37ae-44bc-83fe-0dc8168f6a8c | checkpoint | All safety features such as safety guards, covers, E-stops etc. to be permanently installed and fully functional at all times.
b9b6ec14-5a6e-43e9-abdc-73bf8edb8d7b | checkpoint | Only fully trained and competent operator shall work and operate with reinforcing processing machinery
3d067621-0d4e-4120-a280-97ca3ca25984 | checkpoint | Only trained and competent personnel shall conduct maintenance of reinforcing processing machinery
1a16edb4-37cf-4bb1-bea7-ae4a5c869185 | checkpoint | Lock-out, tag-out (LO-TO) process shall apply when machinery maintenance is in progress
23b1f455-2ffb-4a9b-855e-5b582d2f5f64 | section | Confined Space
43d8e6c0-79a1-4876-a22a-d6d43d284a44 | checkpoint | Assess the task to verify if it is possible to undertake the works outside the confined space
bd6000de-8729-4e4c-8273-2f6bd1308cab | checkpoint | Only competent personnel with appropriate training shall work in confined space
695f8d17-01cd-4f94-86e5-d2e5e641a516 | checkpoint | A spotter outside of confines space shall be used in case of emergency
ab511158-7485-4d35-944d-2ff30bb2a29e | checkpoint | Lock out/Tag out (LO-TO) process shall apply prior to working in confined space (i.e. plant/machinery isolation)
876d0540-7c7c-4df7-92ea-c037d0d2260c | checkpoint | Ventilate the confined space as much as practicable
d65aefae-59a5-4b45-84bb-aafec5b7b503 | checkpoint | Adequate respiratory protection shall be worn to avoid any dust, gases, airborne contaminants inhalation
87bf4f47-b23c-45ab-a3c4-223655de82bf | checkpoint | Permit shall be approved and issued prior to working in confined space
03a8cfe5-161e-48fc-8daa-2f41a47796da | section | Compressed Air
04f57d96-b5b3-4ca6-ae77-6cedd24d1c97 | checkpoint | Only competent personnel with appropriate training shall work with compressed air
44205b3d-e873-4a6c-8362-523270624f37 | checkpoint | Regular inspection and maintenance of the equipment. Pressure gauges shall be regularly serviced and calibrated
9135f8a1-e6c5-4bdd-800c-553c5bbb6c8e | checkpoint | NEVER use compressed air on body or naked skin (to avoid air entering the bloodstream)
7ca453c4-f111-4f70-a1c6-a280c406959d | section | Pre & post tensioning strand
9a7b7ce7-5b55-4354-8fc2-42381b1a775d | checkpoint | All operators conducting stressing process must be fully trained and competent to prior to proceeding with the task
ad2f8206-224f-4a96-a8c6-01e6e1794a89 | checkpoint | Inspections and pre-starts to be conducted on stressing equipment at every time prior to use
dd9d4c41-780e-4528-b38d-ae6f2fbf36d9 | checkpoint | All written procedures must be safely followed at all times when pre & post tensioning strands
f7c29be3-093d-439a-a3d7-6359ccf4feea | checkpoint | All other personnel must stay clear from pre-stressed areas/zones at all times
e7c78a3f-7846-4f75-bf82-e47da5ff3136 | section | Poor Housekeeping
eab67eec-0007-438e-ad59-c1ff8fa42611 | checkpoint | Keep the area as clear & clean as possible to avoid a trip hazard.
e9527675-1dd0-44c0-8194-a96c82382eb4 | checkpoint | Tools and equipment are to be returned to the store or personal tool box after use
55102929-3fb1-46c1-ae2a-17fe3be08a28 | checkpoint | Any waste is to be removed from working area as soon as practicable
a314b135-dbb0-4aaf-a3d0-77044fde65f3 | checkpoint | All amenities are to be kept in a clean and hygienic condition
643c0552-3e87-42ac-b9fa-4fc6fce8d637 | checkpoint | All waste is to be placed in the appropriate waste bin
02b1368f-319f-4367-8ec3-fa69ea79acd9 | checkpoint | Walkways, scaffolds, stairways and other work areas are to be free of obstruction and sharp objects
0c63b799-2a2b-4ea8-a027-54a7af83c40c | checkpoint | All steel manufacturing machineries to be kept clean and tidy at all times
f6058150-4faa-47a8-a079-9d1feb4f69d0 | checkpoint | All materials (i.e. Inward goods, steel / strand coils, precast elements, reo bars / cages, etc.) to be stored in designated areas only and as per correct stacking procedures
08547dd2-fe70-4b18-8db8-2a6c58db6f14 | section | Power tools use
dbb3bcfd-5aa9-4e12-a438-56c40bc7a9e4 | checkpoint | All operators using tools & equipment must be fully trained and competent to prior to proceeding the tasks
35ed3cea-d1f3-45dd-b286-e09561551d76 | checkpoint | Inspections and pre-starts to be conducted on all powered tools/equipment at every time prior to use
a0e4a03a-d59f-41c5-91ad-3325ce228aba | checkpoint | All written procedures to be safely followed at all times when using tool/equipment
43cc302c-080c-4112-a5dc-2e7a1e6ab377 | checkpoint | All personnel to wear mandatory PPE at all times.
68243b91-529f-4629-913d-216cfd2fc741 | checkpoint | All operators are obligated to wear specific personal protective equipment (PPE) as per written procedure
b613a2f5-c9f4-4568-885c-6a9529555461 | checkpoint | All safety guards must be installed at all times when using tool/equipment
7cd3029b-787c-485c-9872-6f27e8ae2e72 | checkpoint | Damaged or unsafe tools shall not be used for any operation
ee5df31a-c967-4cba-996e-efe5c805ab9c | checkpoint | Hot work permit (for specific equipment) to be filled and accepted prior to use
d9d19e58-9b91-408b-8d45-b95bd2df1edd | section | Manual working/handling
5ccf07ea-9230-4928-af46-34c230ae88eb | checkpoint | All written procedures must be safely followed at all times when manually working/handling
12cd532a-4473-4428-acaa-bdbc661976f3 | checkpoint | All personnel to wear mandatory PPE at all time
f07790b3-e6fb-4371-b558-721fa95892cb | checkpoint | All personnel stay in their designated zone while working
340d13ae-50f0-4ff7-8ea0-3e59d6c0b8c9 | checkpoint | All personnel must be trained and competent for any tasks prior to conducting it
f7fd7914-fa52-4278-a950-e1d662ff1282 | checkpoint | Maximum weight to be lifted by one person is 25 Kg
38966d4b-e8eb-4304-b4e1-64de297c653c | checkpoint | Hand protection shall be worn at all times while working / handling with reinforcement coils / bars / cages
1438c8b1-8812-4d54-8361-117d1ab37048 | section | Dangerous/Hazardous goods
88aa1b6f-7174-4b2b-abc5-9e92609fd319 | checkpoint | All personnel using dangerous/hazardous goods must be trained and competent prior to working with them
99d2ec72-17ef-4035-a7db-f976460e5afd | checkpoint | All personnel to wear mandatory PPE at all time
68966f4d-f1c5-4bac-84ce-aa4f4b20e1c1 | checkpoint | All users are obligated to wear specific personal protective equipment (PPE) as per written instruction in SDS
1a45aa61-89af-4ed5-9c9b-91db83995f64 | checkpoint | All dangerous/hazardous goods must be stacked and stored as per written instruction in SDS
e1a9ac4c-9409-4301-b608-61b5ba5b7d39 | checkpoint | All materials are used as per written instruction in TDS/SDS
b9d150f7-8177-4a36-b8e1-2cd81e14838d | checkpoint | Material SDS must be available where the materials are stored
0d527c98-6dff-4d08-a3f8-b70d8a5c2611 | checkpoint | Spill kit to be available in area/zone where dangerous/hazardous goods are used
e6242918-9133-4fc1-a5c3-0f38f5789e3f | checkpoint | All hazardous substances shall be stored in their original containers
aa2e7bf6-e81c-43f5-b90f-02445b78f320 | checkpoint | NO hazardous substances shall be stored in unlabeled or incorrectly labelled containers
743a29ae-a5f8-46c1-89e2-3fbb3e0872d3 | section | Environmental Stressors
85890177-f308-4723-a7b9-4f93c2d0e21e | checkpoint | All personnel to wear mandatory PPE at all time
7a008c67-a84d-487f-b72c-ba7a9ddb6fab | checkpoint | Apply min SPF30+ sun cream regularly to protect your skin if working under the Sun
d62ed614-d968-4ec7-a8b2-15d3321ae36a | checkpoint | Drink enough water to avoid dehydration
6680d5c8-d117-456b-82f0-89c0f1c56f18 | checkpoint | Take regular breaks as required
2b2e3396-b5ec-401c-84c2-3c17fe104f9f | checkpoint | Adequate lighting for night work is to be provided when light is poor
921213ba-4239-4531-a4d2-d7f6562f9bd6 | checkpoint | Hand protection shall be worn at all times while working / handling with reinforcement coils / bars / cages
0baca80b-3bcb-4076-acc3-c9e515c6c5e8 | checkpoint | Adequate ventilation to be provided in all indoor areas
40ec4ab9-3e51-4b72-9aa2-5f833cc119ea | checkpoint | Adequate respiratory protection shall be worn at all times in areas where steel / silica dust is presented / created
39b2b8af-d162-43a5-a72c-a65429e64b52 | checkpoint | All hot water piping system shall be insulated and protected to avoid contact with personnel
574b2dd3-6a2c-4ba3-9a74-d1347bfdd8a5 | checkpoint | Boiler and all pressure gauges shall be regularly inspected and calibrated
67d6af7c-f6b6-443f-943b-855945dd668e | checkpoint | All written procedures must be safely followed at all times when working with hot water/steam
c3fc0386-93d0-4edb-8afa-cbeaa577a97c | section | Environmental
c85a98f6-6d4e-4459-964c-cb6c974965a0 | checkpoint | Spill kits to be available and clearly identified in case of chemical spills
369b90d4-33bf-4fee-a79b-00ffc3757e93 | checkpoint | Treatment and disposal of storm water and ‘Wash-Down’ water
a10991d4-80ee-4861-9a1a-713a0b323c1d | checkpoint | Catchpits protected with geotextile cloth for treating storm water
861589a4-7c5a-4dfb-8b7b-6a49a2c7cd66 | checkpoint | Recycling of wash down water
686896c4-7f91-4204-bb42-b0390c5f10c7 | checkpoint | Water recycle system and water reuse for batch plant
81f9065f-e29c-4769-9fba-3c3b8d62605c | checkpoint | Dust control to be maintained by using specific equipment and used only in designated areas
f7b66e66-304c-4f01-8711-9249d2259c66 | checkpoint | Sealed driveways to be swept and unsealed areas to be watered (if necessary, in dry and windy days)
aa6788a3-a86d-4046-8a75-c0a36fe71d6d | checkpoint | Limited traffic speed limit on site of 10 km/hr at all times
cff6832f-c284-4f57-94e0-8e04e00ef21c | checkpoint | Waste to be disposed on regular basis
e6801efd-26ac-4619-b66f-bbb147301bd7 | checkpoint | Disposal of chemicals as per manufacturers recommendation
baa9d7ff-7867-4fc8-bdcc-f67608f9a190 | checklist | WG-04-CH-01 – Site Safety Inspection HS Rep |  | WG-04-CH-01 – Site Safety Inspection HS Rep
5214e85f-458a-4df5-ba69-b248e66b2003 | section | Guidelines
716f4f41-c90d-4411-b809-c06eef3f93ff | checkpoint | 1. Are all entrances and exits free from obstructions? (add photos)
45a7785b-abb3-4ba8-9f25-833f71d47408 | checkpoint | 2. Are stairs and walkways clear of equipment, cables and other obstacles? (add photos)
a6ce80aa-8a26-466d-9bcb-9427ac038740 | checkpoint | 3. Is stored material secured to prevent shifting / falling? Are stacking process instructions / TR displayed?
6cbd24fd-8f71-4899-b37b-b6ae3949adbc | checkpoint | 4. Are precast units stored as per company standards and requirements? Are stacking process instructions / TR displayed?
19b74b51-d2fe-4b22-9360-60cb9dad163b | checkpoint | 5. Are there any issues with installed lighting and ventilation in the work area? If yes, explain the issue and add photos.
643e333f-e3ea-4b25-b271-68854fd63559 | checkpoint | 6. Are machinery / plant / equipment prestarts checks regularly completed and documented? (Random check and add photos)
2e266000-7f25-4cbb-976a-69c5be58cb9e | checkpoint | 7. Are the appropriate work permits completed and issued? Is there a designated area for these works? (add photos)
1acb7089-31ed-44f8-9cf3-5516d0d79305 | checkpoint | 8. Are there any maintenance works being undertaken? If yes, please list the works (add photos)
857ade11-5507-42e4-8859-d163ade3f120 | checkpoint | 9. Are hazardous substances and containers properly labelled? (add photos)
1e20329d-0205-457f-9379-f5dfe14c3d09 | checkpoint | 10. Are hazardous substances properly stored? (add photos of the DG store)
3a53ccdf-6d8d-42d2-adc8-0aff60614edb | checkpoint | 11. Are Safety Data Sheets available for all chemicals? (add photos of the book / folder)
60883d95-f4e3-49a7-b8e2-68f9151a601f | checkpoint | 12. Are all cords, plugs and sockets in good conditions? (not frayed, exposed, cracked) – (add photos)
4ef6d4c3-73ab-417f-acc3-ac5084b46174 | checkpoint | 13. Have fire extinguishers been inspected and certified in the last 12 months? (add photos)
3e70eca1-3b8e-4605-bfb4-c0648110bb62 | checkpoint | 14. Are emergency exits clearly marked, easy to open and functional? (add photos)
293bd8d4-7380-5c2c-a02c-8218e4ecf4f3 | textbox | 15. Provide the names of current first aid responders present in the area you are inspecting.
9528ae97-7619-4ddc-a9b1-8e3368ac1be0 | checkpoint | 16. Are the first aid kits maintained and stocked? (random check with photos of contents)
1afa10e4-5f39-4749-b209-3680e82ca105 | checkpoint | 17. Are the staff toilets, bathroom facilities and the kitchen area in good clean condition? (add photos)
2a23d0e8-d59d-4764-a8d8-752cd55d4517 | checkpoint | 18. Is the correct mandatory PPE worn by workers and subcontractors? (add photos)
de12b762-ea1d-455e-b103-18211074690d | checkpoint | If any of the items above do NOT COMPLY, please state your observation and required action.
0cfbdf2a-3dc1-5d17-8693-5248702f7ff8 | textbox | Inspector’s Observations / Recommendations
2844bb78-04b6-5faf-b70c-053d5b7e4253 | textbox | Mgmt. Comments (i.e. responsibility, due dates)
1af0d6c5-669e-4622-b23a-b18d4368e02b | section | Environmental Inspection
6fe39652-a4f0-4b27-a83a-420191dba670 | checkpoint | 1. Is visible dust being generated by site work activities? If yes, explain how.
4b7132b9-8b49-4c96-ad81-59e37e44eb79 | checkpoint | 2. Is there any cross contamination happening in specific recycling skips? (timber / steel / concrete) (add photos)
aaa3e246-6e13-44ce-b944-f0515fd04fd9 | checkpoint | 3. Is all metal scrap contained within the correct bins with no overflow creating a hazard / danger? (add photos)
cea828b1-a245-4363-b1ab-cad766151234 | checkpoint | 4. Are there any visible spills or leaks in the area you are inspecting? If yes, note details and add photos
f8126a2a-5151-4044-9609-9f37d8f14e74 | checkpoint | 5. Are there any catch pits missing filter cloths? (add photos)
86ca505d-91b5-4a67-86da-804549ce5b03 | checkpoint | 6. How much rubbish / debris is lying around the area you are inspecting? (add photos)
dc2e60a0-f981-5319-b8f0-6e9c2d399774 | button |  | Some, None
f19a74aa-844a-476b-ba98-cb08566ac30c | section | Spill Kits Status
2f219763-a1f6-4b61-9380-e11de033e952 | checkpoint-no-value | Details
a605494f-6ee9-59bd-aca0-075703d1d8ab | textbox | Location
aaecf1c0-ad6e-569d-b16c-e34401681286 | textbox | Type
66832de6-23b8-5e66-8bfe-b59441520140 | button | Restock | Yes, No
6f3d6ef4-28cf-41e4-8046-9053340d59a6 | checkpoint-no-value | Details
bcabcc7d-1cb2-5e6c-9233-a6680be83c2d | textbox | Location
0cd305b8-2ed3-5c40-b6aa-22101a450216 | textbox | Type
aaecd25d-fed9-56e6-8f74-b3e69c76bbd9 | button | Restock | Yes, No
5328bd8b-af42-46ba-a422-726cef8f11f4 | checkpoint-no-value | Details
d97a3759-ba4f-5a2a-bdd7-a9459e2a48e5 | textbox | Location
7edbfa7a-65a0-5194-b04f-4225a99af713 | textbox | Type
0dfd293a-5804-5726-9e8f-76def0b352fc | button | Restock | Yes, No
fdacef59-4473-4a46-bcdd-2d96da56d10a | checkpoint-no-value | Details
a0f9b610-cedc-5faf-8507-2bcb875ef842 | textbox | Location
35c1e4ca-483a-551e-8351-8ff90a3b52a1 | textbox | Type
6d21cae5-5867-58ce-97bf-ba850cab1fbb | button | Restock | Yes, No
86c1d03e-0496-40eb-9e3b-138eda0f2f9b | checkpoint-no-value | Details
cd933060-6f6a-5e06-b4d8-dbdfa8d40af5 | textbox | Inspector’s Observations / Recommendations
5efb9b3e-046f-5dc4-8983-fbf2a929b888 | textbox | Mgmt. Comments (i.e. responsibility, due dates)
62738de2-bfe6-4881-b273-5de468e1bccf | signoff | Production/Site Manager Review