## Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Add Documentation |  | Add Documentation | 4740546d-1ce5-4dcb-a0d0-fff47dc34bb1
| checkpoint | Please upload all documents and press PASS.
| checklist | Carpet Tile Installation |  | Carpet Tile Installation | f9fd7cf3-643e-4b1b-8728-ee548e99d730
| checkpoint | Substrate clean and approved for installation?
| checkpoint | Area clean and all rubbish / offcuts removed?
| checkpoint | No damage to joinery, skirtings or walls?
| checkpoint | Has the floor been protected?
| checkpoint | Installation complete with no damage?
| signoff | Please signoff / request sign off by Site Manager
| checklist | Entrance Matt |  | Entrance Matt | 7e9767bd-7f61-4ab8-874f-34beb7b8ed27
| checkpoint | Substrate clean and approved for installation?
| checkpoint | Area clean and all rubbish / offcuts removed?
| checkpoint | No damage to joinery, skirtings or walls?
| checkpoint | Has the floor been protected?
| checkpoint | Installation complete with no damage?
| signoff | Please signoff / request sign off by Site Manager
| checklist | Floor Prep |  | Floor Prep | ed78407d-0056-4cd4-9e3a-feae10ce91e9
| checkpoint | Surveyed floor for flatness?
| checkpoint | Moisture test done prior to installation?
| checkpoint | At-risk surfaces protected?
| checkpoint | If required moisture barrier applied. E.g. Mapeproof 2x coats north to south east to west applied?
| checkpoint | All areas dammed up to prevent leaks?
| checkpoint | Area clear of rubbish and debris?
| checkpoint | No damage to other surfaces?
| checkpoint | Levels checked and ready for installation?
| checkpoint | Preparation complete with no damage?
| signoff | Please signoff / request sign off
| checklist | Floor Vinyl / LVT / Marmoleum |  | Floor Vinyl / LVT / Marmoleum | ef89ae03-21bb-46dd-ac65-895ec96fbb77
| checkpoint | Substrate clean and approved for installation?
| checkpoint | Moisture test done prior to installation?
| checkpoint | Specify glue to use e.g 68T, UZ2000 or Marmoleum glue.
| checkpoint | Doors to be removed?
| checkpoint | All capping installed?
| checkpoint | All butterfly corners done with templet, images required?
| checkpoint | All areas welded?
| checkpoint | No excess glue on vinyl surface?
| checkpoint | All transition trims installed?
| checkpoint | Area dust free and all rubbish removed?
| checkpoint | Has the floor been protected?
| checkpoint | Installation complete with no damage to joinery, skirtings or walls?
| signoff | Please signoff / request sign off by Site Manager
| checklist | Wall Vinyl / Cove / Splashback |  | Wall Vinyl / Cove / Splashback | 923624bd-e41f-431d-996f-c219a2baaf2f
| checkpoint | Substrate clean and approved for installation?
| checkpoint | Installation complete with no damage to joinery, skirtings or walls?
| checkpoint | Cove height confirmed, and capping installed?
| checkpoint | All areas welded?
| checkpoint | No excess glue on vinyl surface?
| checkpoint | All transition trims installed?
| checkpoint | Area dust free and all rubbish removed?
| checkpoint | Installation complete with no damage to joinery, skirtings or walls?
| signoff | Please signoff / request sign off by Site Manager