## Checklist Templates
Id | Type | Name | Values | Prompting Name
ad4f2825-71ed-431e-96e9-613d28878749 | checklist | Commercial Projects Checklist V6 |  | Commercial Projects Checklist V6
61e8b051-579d-4ba4-ae87-291968d30db7 | section | Reo
d30dbfe8-d536-47fc-9188-c7fa212e879b | checkpoint | IFC Drawing
05a7beef-aeff-532f-807e-ff09ac771fc8 | dropdown | Steel Supplier | Mesh & Bar, Other
43945e28-cee7-5c0a-a7f8-db9bc503a5d0 | textbox | Other Steel Supplier
1cbf103f-bfe9-5a32-b878-53fe9cff3dc4 | date | Reo Manufacture date DD/MM/YY
c6e67b73-49e2-4f3d-99ed-e24f14a7e75a | checkpoint | Cage dimensions
81066816-23c6-4254-bc4e-8695ed208323 | checkpoint | Fittings marked
86c8eb79-99f0-437f-b9a4-50c73dab650a | section | Formwork
380882d0-9ef5-47d5-bbd5-31d2dc4ced33 | checkpoint | Formwork ready to commence - Take photos
c4f2563b-d731-5e2a-a2e8-3abae7df61e6 | dropdown | Panel type | Wall, Column, Balustrade, Core panel, Hob, Lid, Other
bcac9d04-bfa5-5c30-a2d5-cca6b1f46af2 | textbox | Other Panel type
0459f7f9-b642-5df8-a2d7-0fc7d5404fce | textbox | Panel difficulty
cea72a0e-913a-5029-94e4-e17442a0a177 | textbox | Other Location
05a89ce6-a5b1-5822-a79e-da489c4b3f51 | textbox | Quantity
4ccd9b66-45c0-5d2f-bbab-b426c05b27d9 | textbox | Panel Weight (t)
24745ad5-f360-56b3-a29c-c9b1e1421a5e | textbox | Volume (m3)
2664a32b-93cf-5331-a1f3-9ff4a8ca9147 | date | Manufacture date DD/MM/YY
45195ba3-e5fb-48a3-b771-82ea9a255560 | checkpoint | Formwork dimensions
a408c406-798f-54e4-b6e0-e0e3ae194846 | textbox | Panel thickness
44b635cf-c993-5fdc-b85e-c36041da2c13 | textbox | Thickness projection
999e9803-9c31-5873-b8c4-a38db0e905fb | textbox | Panel width
61a56481-48af-5a94-908d-b5544819441b | textbox | Width projection
2a5d52c4-3f83-58ca-8ad2-3025e06e346e | textbox | Panel height
ff177e46-4a81-5184-ac41-d35f6454779d | textbox | Height projection
7d5fd4ab-4fff-45f1-b100-9e673031a3b5 | checkpoint | Square
15a017ad-bc35-47bb-8771-a5ef7b197302 | checkpoint | Silicone Bed
8a0bc213-467f-4fef-a4ef-e8c7565ac356 | checkpoint | Edge Form/ Fillets
5b17b023-9608-4c00-9a6f-9597446b51e8 | checkpoint | Position of reinforcement
280eaadb-2b13-41f4-a912-63c6341ecfc3 | checkpoint | Fittings locations
7b241eee-eded-45d6-9df7-1685af22d33c | checkpoint | ID Tag
008dbbc4-4bb0-4df5-89fe-b89959196637 | checkpoint | Lifting devices securely/in place
214a518c-6945-5b0d-bf46-25f6e6aad3ff | dropdown | Top Lifters type | PSA liftMX 10t, PSA liftMX 15t, PSA liftMX 8t, PSA Foot Anchor 2.5t, 2.5t Actech, M20 Prop ferrules, Eye anchor 2.5, None, Other
ad2cbaaf-7f56-5068-a9bd-33d6cfdb7a73 | textbox | Other Top Lifters type
5656b440-59ec-5afe-be8f-6af0333273a2 | dropdown | Edge/Face Lifters type | PSA liftMX 10t, PSA liftMX 15t, Foot Anchor 5t, Foot Anchor 2.5t, Face lifter 7t PSA LiftMX, M20 ferrules, None, Other
b9b33fc0-ee3f-5c6e-a82f-151dac89bfda | textbox | Other Edge/Face Lifters type
d0759c71-59db-4894-9b32-461143b65e1a | checkpoint | Ready to pour- Take photo of QA drawing
61d57e6d-8ce9-5ecd-bf6a-86ca48949f60 | textbox | Notes/Changes
c83e6bc5-39fa-4cf1-85b9-b459956d34ee | checkpoint-no-value | Drafting
9e55b8a1-fae5-5fc1-8a50-fd68758546a9 | tickbox | Missing information
065303c2-bc87-54e6-9766-0c1f3069bb3f | tickbox | Inconsistent information
b3d1758f-42f9-5ace-9d27-d2204f83ad5c | tickbox | Wrong information
917ada52-8fe8-56e5-853d-d5fdd8e0d3ab | tickbox | Versions
fd370a7c-7aa0-466e-af22-7d7b83af445c | checkpoint-no-value | Boxing
d13e2848-f94d-5646-9200-8066d4c2988a | tickbox | Squareness
05a1fe8c-336f-5610-8a19-55efd4671c3c | tickbox | dimensions
1a71f4ee-ae69-5e5f-a605-2b11e826efce | tickbox | Rebate
c9a88995-fcc1-5ea7-a036-a8c512121d1e | tickbox | GT
8c3f10d8-c0bc-56c8-baff-0a49ae69f0ca | tickbox | Panel Orientation
2883e29e-8ec6-5bfc-bc53-258c5eccf38b | tickbox | Fitments
1d5a49a5-0d92-5360-b671-006b4e7d9fd0 | tickbox | Tag
269f29e9-0a8b-4151-95ef-289f959a002b | checkpoint-no-value | Steel
341480b3-a362-556c-b33b-5f4b22849a3c | tickbox | Cover
352b0b51-b5b3-5172-ae53-36047a3a6d6c | tickbox | Missing bars
a6468304-5f9f-5ead-8102-b7f0b1d328c3 | tickbox | Wrong bars
83ce4046-2206-51b1-b255-63be36faebdb | tickbox | Wrong configuration
7be13975-944f-5995-b774-76ec29f25c84 | tickbox | Orientation
fff3ebff-6278-5933-b537-54973861a15a | tickbox | Wrong projection/ embedment
f543f002-c75f-4973-af45-cc1f6b227acd | section | Pre Pouring
73a7567d-6a2e-4ec4-9266-05819632c392 | checkpoint | Take a picture or attach copy of concrete doc
2c0942d6-7c6a-5ba8-be65-589068fa507c | dropdown | Concrete Supplier | Ausmix, Hy-Tec, Other
1a2dc2ae-b6e2-59c3-884b-713bb6de7e15 | textbox | Other Concrete Supplier
a9fde66d-25df-5d9f-ae1e-f6bc2ed535c2 | textbox | Concrete schedule docket #
ea0f0e05-fcaf-5001-82c5-6dad1666ff14 | date | Pouring date DD/MM/YY
db490cbe-7d57-5195-bcef-f4d91b90054c | textbox | Concrete Requisition (m3)
ab92ce34-0851-4a21-8e12-bbd97ffae88a | checkpoint | Correct mix being used
4a4befe9-80a7-5781-ac1c-413aaeda7cbd | dropdown | 28 Mpa required | 40,50,65,80,90,100, Other
ae407ec6-ab4f-5d5d-888f-22581a5bb87e | textbox | Other Mpa required
5f85de56-f257-5475-be71-2cd54e36981d | dropdown | Type of concrete | 40/10/650, 40/10/220,40/20/200, 40/20/220, 50/10/650, 50/20/200,65/10/600, 65/10/650,65/10/200, 65/20/180, 65/20/220, 80/10/650, 80/10/200,80/10/600, 90/20/200, 100/10/600, Other
0db6f9b5-1b7f-54f2-9a8a-5d77faa48e93 | textbox | Other Type of concrete
d5c8c243-2d26-5662-901b-e023fa0a76bc | button | Concrete strength tested | Yes, No
4058a464-f255-402f-8105-aad9eb1cf844 | checkpoint | Concrete
b514966e-f316-53e4-bc19-a9bb396f1e14 | tickbox | Poured with lower Mpa
8120e42c-8a5c-4032-a249-6ac27b400692 | section | Post Production
93dde41b-e033-4624-a5a5-060742d8ac90 | checkpoint | Post Production ready to commence - Lifting Mpa
c8fe346b-8f7b-5289-97b8-3a52923ade8a | date | Date panel stripped
3826e5c7-b2d6-4103-a974-7c180805685d | checkpoint | Fitments removed (GT Caps, fillets, Ferrule caps)
6e849b79-2471-4b65-a473-7e60da0dd5fc | checkpoint | Correct dimensions
38a734a8-ea08-459e-b07b-d28aed4d3264 | checkpoint | Bulges, Dents and airholes within tolerances
4ee1c70b-3866-47ba-a094-614c4d7747bd | checkpoint | Cracks within tolerances
97ae6cf9-b32d-4a6f-81c2-9b1837fa7725 | checkpoint | Marking
6c79b5e9-97a9-4393-944e-42b1abbc8401 | checkpoint | Panel conform to specifications/ tolerances
a2fa3b2e-a546-5457-980f-841ebd3093d2 | textbox | Patching/fixing required
da79aad9-886e-41a9-bbf1-efacc8159f53 | checkpoint | Post production
9f228e2d-cd3c-5d26-8016-24e230b2e41b | tickbox | Patching required
b921bdb8-6b11-4375-812a-0f4a9d3bc9d1 | checkpoint-no-value | On site
3cb6d6af-aca1-583d-82fa-0d32623a370f | tickbox | Squareness
ec1f7c54-ca1d-5cbb-b8f3-f650ceb9b712 | tickbox | dimensions
ade2f92f-62ea-501e-85b1-7deca3939b0b | tickbox | Rebate
14c3a47f-708b-5d0d-a461-1c4b4f434ba4 | tickbox | GT
21191725-a422-5137-b8ea-c0289bafc441 | tickbox | Fitments
f3f83ddf-83f4-5752-99a8-205fa5d67f49 | tickbox | Tag
492cd4c0-6679-50d0-8302-6a17fa37b468 | tickbox | Reo
ac2a2776-a1bb-4383-926f-fa9cc2f86467 | section | Storage
11495129-eed7-4d44-96c5-9862a4706847 | checkpoint | Inserts/Rebates removed
0b2ad421-c6f9-4d38-9986-e0001b87453b | checkpoint | Filling points/lifters exposed
438e943e-f226-581f-a0cf-3bd2131bb430 | dropdown | Location (Rack #) | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,21,22,23,24,25,26,27,28,29,30,31,32,101,102,103,104,105,106,107,108,109,110,201,202,203,204,205,206,207,208,209,210,Other
25b45dbe-7f9f-56d9-bf9e-4fbf0412a932 | textbox | Other Location (Rack #)
b4b3125b-52a7-5930-a059-8f2758f22356 | button | Status | Delivered, Rack #
bfc6ff22-aa45-4a82-b703-d80603328caa | checklist | Installation Checklist |  | Installation Checklist
5bfb7597-4eef-49ef-ae58-e3692afe94ad | section | Inspection Date
2c0e4dec-670c-4862-ad21-6601f09b7791 | checkpoint | Inspection date:
3d0f8cf6-395e-53b0-a399-2e61b44f88c3 | date | Date:
f463d0ef-30f2-49ed-83e7-e08b75f6f07f | section | Installation
2a2b44ca-ea90-4abe-af76-1e857a51a3a4 | checkpoint | Panel been installed in the correct location
1d75fbb2-d669-4266-b192-419ade353d52 | checkpoint | Panel been installed vertically
2865f9f3-69eb-40ef-9b0a-2162576cf6fb | checkpoint | Has the structure caused the panel to deflect from installed position?
507b744c-f695-49ea-ad60-89eba9402b1b | checkpoint-no-value | Notes
edd70cb7-63d0-5759-8216-c430516dbcb1 | textbox | Notes
e5a763ca-c119-4757-acb1-2217843a5c3b | section | Propping
3bb9baec-b665-4dc0-9481-cbe5786adead | checkpoint | Structure reached engineers specified strength to remove props
a8eafcc1-0b12-4d96-8d34-ed40c54dd488 | checkpoint | Props removed
c631678d-64ff-449d-81a8-3c42a4028c8a | checkpoint-no-value | Notes
0c22b323-fe8d-5437-ae07-ebd5fe286b43 | textbox | Notes
e669b30d-f1df-4430-8cbf-4dd1d8205cc0 | section | Grouting
99ebd4b8-6059-400d-a7e2-d1082435f21f | checkpoint | Bedding grout completed
85220cd9-04f6-43b1-9a5d-9482450ea5cf | checkpoint | Dowel tubes grouted
ef91b793-6a91-4c08-83c6-cb1a64b49a4e | checkpoint-no-value | Notes
299ea7f0-4223-5cf1-a66d-3195d3887f1b | textbox | Notes
d9237f33-4187-4be0-807a-0f1cc8e092a7 | section | Patching
8f9d799e-163c-4874-8fa9-3828f08c492d | checkpoint | Patching required
af5873a9-1ee6-4c05-a172-f7006ba12ca7 | checkpoint | Patching completed
bdf673a7-2f27-4be1-8d94-3f3afd8c69a9 | checkpoint | Lifters filled
90839732-2577-4bee-b6c3-1f12cade7dcd | checkpoint-no-value | Notes
e49458e5-8d72-5359-a9fa-f1ccb1cc8fa2 | textbox | Notes
bd57d17f-328b-4b09-b888-1482da5812bf | section | Sealing
df5b3c2b-86b7-447c-b3b4-83622714b85f | checkpoint | External sealing complete
8f9c3ddb-7666-41eb-93e0-a5cd44ea0bac | checkpoint | Internal sealing complete
787d9f9a-0ea0-4a38-9d49-cf35f29b8c4f | checkpoint | Lifters filled
73b29584-bbaf-430d-a20e-d73e1ee4c466 | checkpoint-no-value | Notes
dfae6bdd-dbbb-539d-930c-037385baae1f | textbox | Notes
3f92be48-da7a-4846-ae22-d4d4e4af8a4e | section | Non-conformities
d76caf43-b0b3-433e-a7eb-31760faeaba0 | checkpoint | Please attach any relevant photos or documents relating to non-conformities
2aa82c1b-7803-5eab-8f8c-f5b66771679a | tickbox | Squareness
a0954c40-000b-56a0-a96c-6d8c9bb760c2 | tickbox | Dimensions
2a8b8985-b0ec-5b1f-92aa-0c9bffb8f286 | tickbox | Rebate
34e708dc-bcb3-5ce7-8e92-8547387feb2c | tickbox | GT
0fa4d3ef-dda5-5111-959f-10c233e909e6 | tickbox | Fitments
277669e2-c3c8-50f4-a21d-837db0366b7e | tickbox | Tag
19c5df1f-21f1-557f-95ae-416a48ca5f33 | tickbox | Reo
4e2016c3-b1d7-4cc6-b106-2d9e8ac07bbf | checkpoint-no-value | Notes
dd90e0e1-a3d7-5c93-9490-a34255f595a8 | textbox | Notes
0a519a01-7a41-4294-8fe9-ef69582a4e81 | checkpoint | LTE Rep
db0177b5-f595-44e1-b8fd-21577d790294 | signoff | Holdpoint (Add Signature / Request Sign Off)
50a405ed-b53d-444d-bd7f-fbc0e3a014c9 | checkpoint | Builders Rep
07023aab-d845-439b-8cbb-a03263ade5f4 | signoff | Holdpoint (Add Signature / Request Sign Off)
869bc4d3-0ff2-4ba8-ac24-c342b2213e66 | checklist | Nonconformities |  | Nonconformities
5d89e1f6-7fe0-4180-bd38-be03abe433c6 | checkpoint | Please take photos & attach documents which relate to report
ada5a5f5-66e8-51c7-854d-bda83b34b7c2 | textbox | Description
9505a5f5-12d4-5b9e-8302-5341fb7ce650 | textbox | Corrective action
ee998658-9c7c-51b1-afbd-ebe11cabe781 | date | Completion date
13cb644b-cd7e-5274-a111-9b78ef910df7 | textbox | Responsibility
92be61b1-7cca-4203-822e-db65b2de3290 | checklist | SYS - L1-P01 |  | L1-P01
09dd24e9-5ab8-4346-be5a-a563905723fb | section | Reo
247cdd63-d90c-4744-9459-2e583983e539 | checkpoint | IFC Drawing
05a7beef-aeff-532f-807e-ff09ac771fc8 | dropdown | Steel Supplier | Mesh & Bar, Other
43945e28-cee7-5c0a-a7f8-db9bc503a5d0 | textbox | Other Steel Supplier
1cbf103f-bfe9-5a32-b878-53fe9cff3dc4 | date | Reo Manufacture date DD/MM/YY
349cd5ff-fd1b-46ae-b23b-ed25910b1c1b | checkpoint | Cage dimensions
9a092695-ecb6-42a9-b63f-c26bb2a2c30b | checkpoint | Fittings marked
e07ae924-2c37-4f89-ae4d-c5355deafc9e | section | Formwork
7c004353-d4ae-4891-a677-ddd86427c8e3 | checkpoint | Formwork ready to commence - Take photos
c4f2563b-d731-5e2a-a2e8-3abae7df61e6 | dropdown | Panel type | Wall, Column, Balustrade, Core panel, Hob, Lid, Other
bcac9d04-bfa5-5c30-a2d5-cca6b1f46af2 | textbox | Other Panel type
0459f7f9-b642-5df8-a2d7-0fc7d5404fce | textbox | Panel difficulty
cea72a0e-913a-5029-94e4-e17442a0a177 | textbox | Other Location
05a89ce6-a5b1-5822-a79e-da489c4b3f51 | textbox | Quantity
4ccd9b66-45c0-5d2f-bbab-b426c05b27d9 | textbox | Panel Weight (t)
24745ad5-f360-56b3-a29c-c9b1e1421a5e | textbox | Volume (m3)
2664a32b-93cf-5331-a1f3-9ff4a8ca9147 | date | Manufacture date DD/MM/YY
c1661d0e-c1b1-46a9-97db-57fc2174f1e0 | checkpoint | Formwork dimensions
a408c406-798f-54e4-b6e0-e0e3ae194846 | textbox | Panel thickness
44b635cf-c993-5fdc-b85e-c36041da2c13 | textbox | Thickness projection
999e9803-9c31-5873-b8c4-a38db0e905fb | textbox | Panel width
61a56481-48af-5a94-908d-b5544819441b | textbox | Width projection
2a5d52c4-3f83-58ca-8ad2-3025e06e346e | textbox | Panel height
ff177e46-4a81-5184-ac41-d35f6454779d | textbox | Height projection
a1e1a454-c77b-41b5-9b67-6115ab296fb6 | checkpoint | Square
f999388c-f13b-48e2-a96d-686e37ac219d | checkpoint | Silicone Bed
76f2233c-aa24-4324-9e6a-49d89b015b73 | checkpoint | Edge Form/ Fillets
4cd40a6a-0d44-45be-8683-b5d6ca6aa95a | checkpoint | Position of reinforcement
35f855ab-b68c-4c57-bfe7-dcdcf0cde4e2 | checkpoint | Fittings locations
ddf7e8f9-803e-493a-9eab-0c996b420490 | checkpoint | ID Tag
e820a9b8-ad4a-478b-b3d3-c9692d7d9a91 | checkpoint | Lifting devices securely/in place
214a518c-6945-5b0d-bf46-25f6e6aad3ff | dropdown | Top Lifters type | PSA liftMX 10t, PSA liftMX 15t, PSA liftMX 8t, PSA Foot Anchor 2.5t, 2.5t Actech, M20 Prop ferrules, Eye anchor 2.5, None, Other
ad2cbaaf-7f56-5068-a9bd-33d6cfdb7a73 | textbox | Other Top Lifters type
5656b440-59ec-5afe-be8f-6af0333273a2 | dropdown | Edge/Face Lifters type | PSA liftMX 10t, PSA liftMX 15t, Foot Anchor 5t, Foot Anchor 2.5t, Face lifter 7t PSA LiftMX, M20 ferrules, None, Other
b9b33fc0-ee3f-5c6e-a82f-151dac89bfda | textbox | Other Edge/Face Lifters type
911b958a-038f-429a-a94e-a11cfaa8e4c9 | checkpoint | Ready to pour- Take photo of QA drawing
61d57e6d-8ce9-5ecd-bf6a-86ca48949f60 | textbox | Notes/Changes
84c3bd8b-c265-4383-8feb-bf0d7815929f | checkpoint-no-value | Drafting
9e55b8a1-fae5-5fc1-8a50-fd68758546a9 | tickbox | Missing information
065303c2-bc87-54e6-9766-0c1f3069bb3f | tickbox | Inconsistent information
b3d1758f-42f9-5ace-9d27-d2204f83ad5c | tickbox | Wrong information
917ada52-8fe8-56e5-853d-d5fdd8e0d3ab | tickbox | Versions
0543c278-ed49-4b1c-a220-5033eb02dd3c | checkpoint-no-value | Boxing
d13e2848-f94d-5646-9200-8066d4c2988a | tickbox | Squareness
05a1fe8c-336f-5610-8a19-55efd4671c3c | tickbox | dimensions
1a71f4ee-ae69-5e5f-a605-2b11e826efce | tickbox | Rebate
c9a88995-fcc1-5ea7-a036-a8c512121d1e | tickbox | GT
8c3f10d8-c0bc-56c8-baff-0a49ae69f0ca | tickbox | Panel Orientation
2883e29e-8ec6-5bfc-bc53-258c5eccf38b | tickbox | Fitments
1d5a49a5-0d92-5360-b671-006b4e7d9fd0 | tickbox | Tag
a2233ffb-1057-497e-9e11-43f26878ee61 | checkpoint-no-value | Steel
341480b3-a362-556c-b33b-5f4b22849a3c | tickbox | Cover
352b0b51-b5b3-5172-ae53-36047a3a6d6c | tickbox | Missing bars
a6468304-5f9f-5ead-8102-b7f0b1d328c3 | tickbox | Wrong bars
83ce4046-2206-51b1-b255-63be36faebdb | tickbox | Wrong configuration
7be13975-944f-5995-b774-76ec29f25c84 | tickbox | Orientation
fff3ebff-6278-5933-b537-54973861a15a | tickbox | Wrong projection/ embedment
9a4cc952-d51e-4125-a6f0-30d111cd21e4 | section | Pre Pouring
a8a4993d-1fdd-48d0-9527-9616f4c74948 | checkpoint | Take a picture or attach copy of concrete doc
2c0942d6-7c6a-5ba8-be65-589068fa507c | dropdown | Concrete Supplier | Ausmix, Hy-Tec, Other
1a2dc2ae-b6e2-59c3-884b-713bb6de7e15 | textbox | Other Concrete Supplier
a9fde66d-25df-5d9f-ae1e-f6bc2ed535c2 | textbox | Concrete schedule docket #
ea0f0e05-fcaf-5001-82c5-6dad1666ff14 | date | Pouring date DD/MM/YY
db490cbe-7d57-5195-bcef-f4d91b90054c | textbox | Concrete Requisition (m3)
a873c420-a665-426e-8a10-24808505b771 | checkpoint | Correct mix being used
4a4befe9-80a7-5781-ac1c-413aaeda7cbd | dropdown | 28 Mpa required | 40,50,65,80,90,100, Other
ae407ec6-ab4f-5d5d-888f-22581a5bb87e | textbox | Other Mpa required
5f85de56-f257-5475-be71-2cd54e36981d | dropdown | Type of concrete | 40/10/650, 40/10/220,40/20/200, 40/20/220, 50/10/650, 50/20/200,65/10/600, 65/10/650,65/10/200, 65/20/180, 65/20/220, 80/10/650, 80/10/200,80/10/600, 90/20/200, 100/10/600, Other
0db6f9b5-1b7f-54f2-9a8a-5d77faa48e93 | textbox | Other Type of concrete
d5c8c243-2d26-5662-901b-e023fa0a76bc | button | Concrete strength tested | Yes, No
aacb407f-07ec-4cda-b2a0-23c4e9205745 | checkpoint | Concrete
b514966e-f316-53e4-bc19-a9bb396f1e14 | tickbox | Poured with lower Mpa
1f2b5733-91b3-4b91-bfa9-a1e4d1a3f6bd | section | Post Production
74b820bd-06e5-4a23-8dad-bf1c0152c348 | checkpoint | Post Production ready to commence - Lifting Mpa
c8fe346b-8f7b-5289-97b8-3a52923ade8a | date | Date panel stripped
46838219-f9bc-45e1-84f6-5568812b0477 | checkpoint | Fitments removed (GT Caps, fillets, Ferrule caps)
d1e7f50e-3e4a-40c2-90c0-881fa1d06941 | checkpoint | Correct dimensions
49254d76-5b36-4910-addd-e3806eadc0ff | checkpoint | Bulges, Dents and airholes within tolerances
c8b16f02-75a7-40d5-9f9c-4f4222035331 | checkpoint | Cracks within tolerances
6e468544-bf6a-4e59-bc60-4dc3a99d4729 | checkpoint | Marking
affbb2da-03b8-4ce2-ab8a-611623cb6852 | checkpoint | Panel conform to specifications/ tolerances
a2fa3b2e-a546-5457-980f-841ebd3093d2 | textbox | Patching/fixing required
cc04b7bd-3471-4a5c-9680-8d46aa7e42d6 | checkpoint | Concrete Test results
a3b9928f-7864-419a-8476-df6a58736e3b | checkpoint | Post production
9f228e2d-cd3c-5d26-8016-24e230b2e41b | tickbox | Patching required
49808c6c-2d36-419d-bc74-f6eb4c76eda2 | checkpoint-no-value | On site
537e0ec7-18a1-5df7-9d60-ae33ed2345f9 | tickbox | Squareness
03b52284-7153-54c4-844c-23cbc2abff29 | tickbox | dimensions
e30c4828-511e-5dad-b036-9caeda53b8dd | tickbox | Rebate
f163eef2-4747-5b28-b75d-8ff1590c8075 | tickbox | GT
92ad08c1-236e-51cc-a3e5-6c6f040725ea | tickbox | Fitments
d8fe8148-757a-570d-984b-cc655d33edc6 | tickbox | Tag
7a3e13e7-d110-50de-be07-7b8d5b6ab138 | tickbox | Reo
c7acaf43-19fa-4248-968a-7cb07a148e2d | section | Storage
4ec2510c-0e0e-42d6-b0ab-f9a17f97c601 | checkpoint | Inserts/Rebates removed
027b99c5-3b86-487e-8b57-c04795a1c3c4 | checkpoint | Filling points/lifters exposed
438e943e-f226-581f-a0cf-3bd2131bb430 | dropdown | Location (Rack #) | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,21,22,23,24,25,26,27,28,29,30,31,32,101,102,103,104,105,106,107,108,109,110,201,202,203,204,205,206,207,208,209,210,Other
25b45dbe-7f9f-56d9-bf9e-4fbf0412a932 | textbox | Other Location (Rack #)
b4b3125b-52a7-5930-a059-8f2758f22356 | button | Status | Delivered, Rack #
5fb4f1e9-3f5a-4175-b80a-97c4a92766a4 | checklist | SYS - L3-C01 |  | L3-C01
862e55b4-9103-40d4-ac3b-bd2a49a809d4 | section | Reo
08f0738a-c78f-4dc1-a1c3-09f5125a5731 | checkpoint | IFC Drawing
05a7beef-aeff-532f-807e-ff09ac771fc8 | dropdown | Steel Supplier | Mesh & Bar, Other
43945e28-cee7-5c0a-a7f8-db9bc503a5d0 | textbox | Other Steel Supplier
1cbf103f-bfe9-5a32-b878-53fe9cff3dc4 | date | Reo Manufacture date DD/MM/YY
94e0df51-3ddc-47d3-ac54-6c14093d6d42 | checkpoint | Cage dimensions
b36af958-ef53-4702-8354-4989a6c678eb | checkpoint | Fittings marked
eaf374d1-0193-4610-b26b-eb97cb42dcb5 | section | Formwork
c1c9a036-c532-4b31-853a-42b6beeb877f | checkpoint | Formwork ready to commence - Take photos
c4f2563b-d731-5e2a-a2e8-3abae7df61e6 | dropdown | Panel type | Wall, Column, Balustrade, Core panel, Hob, Lid, Other
bcac9d04-bfa5-5c30-a2d5-cca6b1f46af2 | textbox | Other Panel type
0459f7f9-b642-5df8-a2d7-0fc7d5404fce | textbox | Panel difficulty
cea72a0e-913a-5029-94e4-e17442a0a177 | textbox | Other Location
05a89ce6-a5b1-5822-a79e-da489c4b3f51 | textbox | Quantity
4ccd9b66-45c0-5d2f-bbab-b426c05b27d9 | textbox | Panel Weight (t)
24745ad5-f360-56b3-a29c-c9b1e1421a5e | textbox | Volume (m3)
2664a32b-93cf-5331-a1f3-9ff4a8ca9147 | date | Manufacture date DD/MM/YY
6924fe2c-d6c7-4e24-8945-3589c4146c29 | checkpoint | Formwork dimensions
a408c406-798f-54e4-b6e0-e0e3ae194846 | textbox | Panel thickness
44b635cf-c993-5fdc-b85e-c36041da2c13 | textbox | Thickness projection
999e9803-9c31-5873-b8c4-a38db0e905fb | textbox | Panel width
61a56481-48af-5a94-908d-b5544819441b | textbox | Width projection
2a5d52c4-3f83-58ca-8ad2-3025e06e346e | textbox | Panel height
ff177e46-4a81-5184-ac41-d35f6454779d | textbox | Height projection
f296b647-c94d-451c-8b2b-4d0c472a50d4 | checkpoint | Square
472c3a6a-c44b-46d5-a1a2-de902970bb85 | checkpoint | Silicone Bed
83ee81f4-5e60-4472-b1f0-9ed573499cde | checkpoint | Edge Form/ Fillets
c5df2c4f-9a77-4544-9cd9-7c4b9d63256a | checkpoint | Position of reinforcement
6740e4c4-e904-4e3c-abc0-fd674ceda9a4 | checkpoint | Fittings locations
47ee9c39-c175-4939-a7ee-3412a16a7d6a | checkpoint | ID Tag
fdcc9134-36cf-4f48-8da9-0bdc6477dace | checkpoint | Lifting devices securely/in place
214a518c-6945-5b0d-bf46-25f6e6aad3ff | dropdown | Top Lifters type | PSA liftMX 10t, PSA liftMX 15t, PSA liftMX 8t, PSA Foot Anchor 2.5t, 2.5t Actech, M20 Prop ferrules, Eye anchor 2.5, None, Other
ad2cbaaf-7f56-5068-a9bd-33d6cfdb7a73 | textbox | Other Top Lifters type
5656b440-59ec-5afe-be8f-6af0333273a2 | dropdown | Edge/Face Lifters type | PSA liftMX 10t, PSA liftMX 15t, Foot Anchor 5t, Foot Anchor 2.5t, Face lifter 7t PSA LiftMX, M20 ferrules, None, Other
b9b33fc0-ee3f-5c6e-a82f-151dac89bfda | textbox | Other Edge/Face Lifters type
d80f5e66-2d1f-435c-b710-6e671247e0f0 | checkpoint | Ready to pour- Take photo of QA drawing
61d57e6d-8ce9-5ecd-bf6a-86ca48949f60 | textbox | Notes/Changes
1d3422fa-3eda-450b-8e55-126e93ec420c | checkpoint-no-value | Drafting
9e55b8a1-fae5-5fc1-8a50-fd68758546a9 | tickbox | Missing information
065303c2-bc87-54e6-9766-0c1f3069bb3f | tickbox | Inconsistent information
b3d1758f-42f9-5ace-9d27-d2204f83ad5c | tickbox | Wrong information
917ada52-8fe8-56e5-853d-d5fdd8e0d3ab | tickbox | Versions
1745c814-3f8f-4bf4-bbfa-5a310e2002a6 | checkpoint-no-value | Boxing
d13e2848-f94d-5646-9200-8066d4c2988a | tickbox | Squareness
05a1fe8c-336f-5610-8a19-55efd4671c3c | tickbox | dimensions
1a71f4ee-ae69-5e5f-a605-2b11e826efce | tickbox | Rebate
c9a88995-fcc1-5ea7-a036-a8c512121d1e | tickbox | GT
8c3f10d8-c0bc-56c8-baff-0a49ae69f0ca | tickbox | Panel Orientation
2883e29e-8ec6-5bfc-bc53-258c5eccf38b | tickbox | Fitments
1d5a49a5-0d92-5360-b671-006b4e7d9fd0 | tickbox | Tag
36de7c8c-0f29-4cfb-b225-db1e2bfcaa02 | checkpoint-no-value | Steel
341480b3-a362-556c-b33b-5f4b22849a3c | tickbox | Cover
352b0b51-b5b3-5172-ae53-36047a3a6d6c | tickbox | Missing bars
a6468304-5f9f-5ead-8102-b7f0b1d328c3 | tickbox | Wrong bars
83ce4046-2206-51b1-b255-63be36faebdb | tickbox | Wrong configuration
7be13975-944f-5995-b774-76ec29f25c84 | tickbox | Orientation
fff3ebff-6278-5933-b537-54973861a15a | tickbox | Wrong projection/ embedment
123911cf-753b-49dc-87d5-dbc91708550f | section | Pre Pouring
e2a2e57f-0d05-49f7-b89a-7a8ebdfc9361 | checkpoint | Take a picture or attach copy of concrete doc
2c0942d6-7c6a-5ba8-be65-589068fa507c | dropdown | Concrete Supplier | Ausmix, Hy-Tec, Other
1a2dc2ae-b6e2-59c3-884b-713bb6de7e15 | textbox | Other Concrete Supplier
a9fde66d-25df-5d9f-ae1e-f6bc2ed535c2 | textbox | Concrete schedule docket #
ea0f0e05-fcaf-5001-82c5-6dad1666ff14 | date | Pouring date DD/MM/YY
db490cbe-7d57-5195-bcef-f4d91b90054c | textbox | Concrete Requisition (m3)
fedb722e-5717-4bea-b38f-33dcb39f48c9 | checkpoint | Correct mix being used
4a4befe9-80a7-5781-ac1c-413aaeda7cbd | dropdown | 28 Mpa required | 40,50,65,80,90,100, Other
ae407ec6-ab4f-5d5d-888f-22581a5bb87e | textbox | Other Mpa required
5f85de56-f257-5475-be71-2cd54e36981d | dropdown | Type of concrete | 40/10/650, 40/10/220,40/20/200, 40/20/220, 50/10/650, 50/20/200,65/10/600, 65/10/650,65/10/200, 65/20/180, 65/20/220, 80/10/650, 80/10/200,80/10/600, 90/20/200, 100/10/600, Other
0db6f9b5-1b7f-54f2-9a8a-5d77faa48e93 | textbox | Other Type of concrete
d5c8c243-2d26-5662-901b-e023fa0a76bc | button | Concrete strength tested | Yes, No
0c03f9d6-52c6-422b-a93d-3b9ca27a4ad8 | checkpoint | Concrete
b514966e-f316-53e4-bc19-a9bb396f1e14 | tickbox | Poured with lower Mpa
d9bd7024-fb02-48a0-bba5-448624d9b046 | section | Post Production
0d2d4c68-efd1-4b62-9cc9-3bc1cf95e6df | checkpoint | Post Production ready to commence - Lifting Mpa
c8fe346b-8f7b-5289-97b8-3a52923ade8a | date | Date panel stripped
cdc959d7-1f8a-4f8f-a0f6-c5fa598ab29e | checkpoint | Fitments removed (GT Caps, fillets, Ferrule caps)
98740a2f-c936-4603-b55b-80b61e78b5ea | checkpoint | Correct dimensions
a2e545e3-5eb2-4158-b095-ebdc2e23fe67 | checkpoint | Bulges, Dents and airholes within tolerances
4bda15cb-300a-4c70-81d9-394e1e3cf7ce | checkpoint | Cracks within tolerances
e01efecd-b244-4184-99e7-1b922a1d067e | checkpoint | Marking
0de7169d-0140-46ab-ae72-645877d45b4e | checkpoint | Panel conform to specifications/ tolerances
a2fa3b2e-a546-5457-980f-841ebd3093d2 | textbox | Patching/fixing required
1d337cd0-2650-41d9-a1d6-799dd9706edd | checkpoint | Post production
9f228e2d-cd3c-5d26-8016-24e230b2e41b | tickbox | Patching required
fe1b76e4-118e-42df-885b-7c5b35bf273f | checkpoint-no-value | On site
537e0ec7-18a1-5df7-9d60-ae33ed2345f9 | tickbox | Squareness
03b52284-7153-54c4-844c-23cbc2abff29 | tickbox | dimensions
e30c4828-511e-5dad-b036-9caeda53b8dd | tickbox | Rebate
f163eef2-4747-5b28-b75d-8ff1590c8075 | tickbox | GT
92ad08c1-236e-51cc-a3e5-6c6f040725ea | tickbox | Fitments
d8fe8148-757a-570d-984b-cc655d33edc6 | tickbox | Tag
7a3e13e7-d110-50de-be07-7b8d5b6ab138 | tickbox | Reo
d75c02aa-9585-4d44-aa5f-1707034d7ac4 | section | Storage
33b0f311-c749-47b4-a9c2-aacd3b25afa2 | checkpoint | Inserts/Rebates removed
fd1438b5-32c4-449a-9f95-68ec97ac8d60 | checkpoint | Filling points/lifters exposed
438e943e-f226-581f-a0cf-3bd2131bb430 | dropdown | Location (Rack #) | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,21,22,23,24,25,26,27,28,29,30,31,32,101,102,103,104,105,106,107,108,109,110,201,202,203,204,205,206,207,208,209,210,Other
25b45dbe-7f9f-56d9-bf9e-4fbf0412a932 | textbox | Other Location (Rack #)
b4b3125b-52a7-5930-a059-8f2758f22356 | button | Status | Delivered, Rack #