## struct
resource | resource | resource | resource | type | Add Step | Add Post | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Tier 9
|  |  |  | step |  |  | Tier 1: Site QA
|  |  |  | step |  |  | Tier 2: General Levels
|  |  |  | step |  |  | Tier 3: Basement 2
|  |  |  | step |  |  | Tier 4: General
Fire Dampers |  |  |  | checklist |  |  | Tier 5: Fire Dampers
Access Panel |  |  |  | checklist |  |  | Tier 5: Access Panel
|  |  |  | step |  |  | Tier 4: Fans
Fan Installation |  |  |  | checklist |  |  | Tier 5: EF-B2.1
Fan Installation |  |  |  | checklist |  |  | Tier 5: EF-B2.2
Fan Installation |  |  |  | checklist |  |  | Tier 5: SF-B2.1
|  |  |  | step |  |  | Tier 4: Condenser
Condenser |  |  |  | checklist |  |  | Tier 5: CU-B2.1
Condenser |  |  |  | checklist |  |  | Tier 5: CU-B2.2
|  |  |  | step |  |  | Tier 3: Basement 1
|  |  |  | step |  |  | Tier 4: General
Fire Dampers |  |  |  | checklist |  |  | Tier 5: Fire Dampers
Access Panel |  |  |  | checklist |  |  | Tier 5: Access Panel
|  |  |  | step |  |  | Tier 4: FCU's
Fan Coil Unit |  |  |  | checklist |  |  | Tier 5: AC-B1.1
|  |  |  | step |  |  | Tier 4: Condenser
Condenser |  |  |  | checklist |  |  | Tier 5: CU-B1.1
|  |  |  | step |  |  | Tier 4: Fans
Fan Installation |  |  |  | checklist |  |  | Tier 5: EF-B1.1
Fan Installation |  |  |  | checklist |  |  | Tier 5: EF.B1.2
Fan Installation |  |  |  | checklist |  |  | Tier 5: SF-B1.1
Fan Installation |  |  |  | checklist |  |  | Tier 5: SF-B1.2
Fan Installation |  |  |  | checklist |  |  | Tier 5: SF-B1.3
|  |  |  | step |  |  | Tier 3: Ground Floor
|  |  |  | step |  |  | Tier 4: General
Fire Dampers |  |  |  | checklist |  |  | Tier 5: Fire Dampers
Access Panel |  |  |  | checklist |  |  | Tier 5: Access Panel
|  |  |  | step |  |  | Tier 4: FCU's
Fan Coil Unit |  |  |  | checklist |  |  | Tier 5: AC-G.7
Fan Coil Unit |  |  |  | checklist |  |  | Tier 5: AC-G.6
Fan Coil Unit |  |  |  | checklist |  |  | Tier 5: AC-G.8
Fan Coil Unit |  |  |  | checklist |  |  | Tier 5: AC-G.9
Fan Coil Unit |  |  |  | checklist |  |  | Tier 5: AC-G.10
|  |  |  | step |  |  | Tier 4: Condenser
Condenser |  |  |  | checklist |  |  | Tier 5: CU-G.2
Condenser |  |  |  | checklist |  |  | Tier 5: CU-G.1
Condenser |  |  |  | checklist |  |  | Tier 5: CU-G.2
|  |  |  | step |  |  | Tier 4: Fans
Fan Installation |  |  |  | checklist |  |  | Tier 5: EF-G.1
Fan Installation |  |  |  | checklist |  |  | Tier 5: EF-G.2
Fan Installation |  |  |  | checklist |  |  | Tier 5: EF-G.3
Fan Installation |  |  |  | checklist |  |  | Tier 5: SEF-G.1
Fan Installation |  |  |  | checklist |  |  | Tier 5: SEF-G.2
Fan Installation |  |  |  | checklist |  |  | Tier 5: SPF-G.11
Fan Installation |  |  |  | checklist |  |  | Tier 5: SF-G.1
Fan Installation |  |  |  | checklist |  |  | Tier 5: SF-G.2
Fan Installation |  |  |  | checklist |  |  | Tier 5: SF-G.3
Fan Installation |  |  |  | checklist |  |  | Tier 5: SF-G.4
|  |  |  | step |  |  | Tier 2: Building 1
|  |  |  | step |  |  | Tier 3: Level 1
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.1.01 AC-1.101
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.1.02 AC-1.102
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.1.03 AC-1.103
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.1.04 AC-1.104
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.1.05 AC-1.105
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.1.06 AC-1.106
|  |  |  | step |  |  | Tier 3: Level 2
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.2.01 AC-1.201
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.2.02 AC-1.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.2.03 AC-1.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.2.04 AC-1.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.2.05 AC-1.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.2.06 AC-1.206
|  |  |  | step |  |  | Tier 3: Level 3
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.3.01 AC-1.301
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.3.02 AC-1.302
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.3.03 AC-1.303
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.3.04 AC-1.304
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.3.05 AC-1.305
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.3.06 AC-1.306
|  |  |  | step |  |  | Tier 3: Level 4
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.4.01 AC-1.401
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.4.02 AC-1.402
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.4.03 AC-1.403
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.4.04 AC-1.404
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.4.05 AC-1.405
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.4.06 AC-1.406
|  |  |  | step |  |  | Tier 3: Level 5
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.5.01 AC-1.501
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.5.02 AC-1.502
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.5.03 AC-1.503
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.5.04 AC-1.504
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.5.05 AC-1.505
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 1.5.06 AC-1.506
|  |  |  | step |  |  | Tier 3: Roof
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.101
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.102
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.103
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.104
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.105
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.106
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.201
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.202
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.203
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.204
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.205
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.206
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.301
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.302
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.303
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.304
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.305
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.306
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.401
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.402
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.403
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.404
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.405
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.406
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.501
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.502
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.503
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.504
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.505
Condenser |  |  |  | checklist |  |  | Tier 4: CU-1.506
|  |  |  | step |  |  | Tier 2: Building 2
|  |  |  | step |  |  | Tier 3: Level 1
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.1.01 AC-2.101
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.1.02 AC-2.102
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.1.03 AC-2.103
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.1.04 AC-2.104
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.1.05 AC-2.105
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.1.06 AC-2.106
|  |  |  | step |  |  | Tier 3: Level 2
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.2.01 AC-2.201
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.2.02 AC-2.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.2.03 AC-2.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.2.04 AC-2.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.2.05 AC-2.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.2.06 AC-2.206
|  |  |  | step |  |  | Tier 3: Level 3
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.3.01 AC-2.301
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.3.02 AC-2.302
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.3.03 AC-2.303
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.3.04 AC-2.304
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.3.05 AC-2.305
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.3.06 AC-2.306
|  |  |  | step |  |  | Tier 3: Level 4
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.4.01 AC-2.401
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.4.02 AC-2.402
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.4.03 AC-2.403
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.4.04 AC-2.404
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.4.05 AC-2.405
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.4.06 AC-2.406
|  |  |  | step |  |  | Tier 3: Level 5
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.5.01 AC-2.501
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.5.02 AC-2.502
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.5.03 AC-2.503
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.5.04 AC-2.504
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.5.05 AC-2.505
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 2.5.06 AC-2.506
|  |  |  | step |  |  | Tier 3: Roof
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.101
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.102
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.103
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.104
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.105
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.106
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.201
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.202
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.203
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.204
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.205
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.206
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.301
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.302
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.303
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.304
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.305
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.306
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.401
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.402
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.403
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.404
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.405
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.406
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.501
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.502
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.503
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.504
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.505
Condenser |  |  |  | checklist |  |  | Tier 4: CU-2.506
|  |  |  | step |  |  | Tier 2: Building 3
|  |  |  | step |  |  | Tier 3: Level 1
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.01a AC-3.101a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.01b AC-3.101b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.02 AC-3.102
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.03 AC-3.103
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.04 AC-3.104
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.05 AC-3.105
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.06 AC-3.106
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.07 AC-3.107
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.08 AC-3.108
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.09 AC-3.109
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.10 AC-3.110
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.1.11 AC-3.111
|  |  |  | step |  |  | Tier 3: Level 2
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.01 AC-3.2.201
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.02 AC-3.2.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.03 AC-3.2.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.04 AC-3.2.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.05 AC-3.2.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.06 AC-3.2.206
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.07 AC-3.2.207
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.08 AC-3.2.208
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.09 AC-3.2.209
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.10 AC-3.2.210
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.2.11 AC-3.2.211
|  |  |  | step |  |  | Tier 3: Level 3
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.01a AC-3.301a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.01b AC-3.301b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.02 AC-3.3.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.03 AC-3.3.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.04 AC-3.3.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.05 AC-3.3.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.06 AC-3.3.206
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.07 AC-3.3.207
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.08 AC-3.3.208
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.09 AC-3.3.209
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.10 AC-3.3.210
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.3.11 AC-3.3.211
|  |  |  | step |  |  | Tier 3: Level 4
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.01a AC-3.401a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.01b AC-3.401b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.02 AC-3.4.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.03 AC-3.4.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.04 AC-3.4.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.05 AC-3.4.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.06 AC-3.4.206
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.07 AC-3.4.207
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.08 AC-3.4.208
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.09 AC-3.4.209
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.10 AC-3.4.210
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.4.11 AC-3.4.211
|  |  |  | step |  |  | Tier 3: Level 5
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.01a AC-3.501a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.01b AC-3.501b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.02 AC-3.5.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.03 AC-3.5.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.04 AC-3.5.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.05 AC-3.5.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.06 AC-3.5.206
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.07 AC-3.5.207
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.08 AC-3.5.208
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.09 AC-3.5.209
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.10 AC-3.5.210
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.5.11 AC-3.5.211
|  |  |  | step |  |  | Tier 3: Level 6
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.01a AC-3.601a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.01b AC-3.601b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.02 AC-3.6.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.03 AC-3.6.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.04 AC-3.6.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.05 AC-3.6.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.06 AC-3.6.206
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.07 AC-3.6.207
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.08 AC-3.6.208
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.09 AC-3.6.209
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.10 AC-3.6.210
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.6.11 AC-3.6.211
|  |  |  | step |  |  | Tier 3: Level 7
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.01a AC-3.701a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.01b AC-3.701b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.02 AC-3.7.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.03 AC-3.7.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.04 AC-3.7.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.05 AC-3.7.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.06 AC-3.7.206
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.07 AC-3.7.207
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.08 AC-3.7.208
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.09 AC-3.7.209
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.10 AC-3.7.210
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.7.11 AC-3.7.211
|  |  |  | step |  |  | Tier 3: Level 8
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.01a AC-3.801a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.01b AC-3.801b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.02 AC-3.8.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.03 AC-3.8.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.04 AC-3.8.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.05 AC-3.8.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.06 AC-3.8.206
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.07 AC-3.8.207
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.08 AC-3.8.208
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.09 AC-3.8.209
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.10 AC-3.8.210
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.8.11 AC-3.8.211
|  |  |  | step |  |  | Tier 3: Level 9
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.01a AC-3.901a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.01b AC-3.901b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.02 AC-3.9.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.03 AC-3.9.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.04 AC-3.9.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.05 AC-3.9.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.06 AC-3.9.206
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.07 AC-3.9.207
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.08 AC-3.9.208
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.09 AC-3.9.209
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.10 AC-3.9.210
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.9.11 AC-3.9.211
|  |  |  | step |  |  | Tier 3: Level 10
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.01a AC-3.1001a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.01b AC-3.1001b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.02 AC-3.10.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.03 AC-3.10.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.04 AC-3.10.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.05 AC-3.10.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.06 AC-3.10.206
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.07 AC-3.10.207
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.08 AC-3.10.208
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.09 AC-3.10.209
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.10 AC-3.10.210
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.10.11 AC-3.10.211
|  |  |  | step |  |  | Tier 3: Level 11
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.01a AC-3.1101a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.01b AC-3.1101b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.02 AC-3.11.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.03 AC-3.11.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.04 AC-3.11.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.05 AC-3.11.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.06 AC-3.11.206
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.07 AC-3.11.207
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.08 AC-3.11.208
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.09 AC-3.11.209
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.10 AC-3.11.210
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 3.11.11 AC-3.11.211
|  |  |  | step |  |  | Tier 3: Roof
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.101
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.102
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.103
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.104
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.105
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.106
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.107
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.108
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.109
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.110
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.111
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.201
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.202
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.203
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.204
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.205
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.206
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.207
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.208
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.209
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.210
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.211
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.301
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.302
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.303
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.304
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.305
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.306
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.307
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.308
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.309
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.310
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.311
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.401
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.402
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.403
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.404
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.405
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.406
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.407
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.408
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.409
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.410
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.411
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.501
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.502
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.503
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.504
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.505
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.506
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.507
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.508
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.509
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.510
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.511
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.601
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.602
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.603
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.604
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.605
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.606
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.607
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.608
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.609
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.610
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.611
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.612
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.701
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.702
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.703
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.704
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.705
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.706
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.707
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.708
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.709
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.710
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.801
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.802
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.803
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.804
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.805
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.806
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.807
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.808
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.809
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.810
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.901
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.902
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.903
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.904
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.905
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.906
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.907
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.908
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.910
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.911
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1001
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1002
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1003
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1004
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1005
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1006
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1007
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1008
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1009
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1101
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1102
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1103
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1104
Condenser |  |  |  | checklist |  |  | Tier 4: CU-3.1105
|  |  |  | step |  |  | Tier 2: Building 4
|  |  |  | step |  |  | Tier 3: Level 1
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.1.01 AC-4.101
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.1.02 AC-4.102
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.1.03 AC-4.103
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.1.04 AC-4.104
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.1.05 AC-4.105
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.1.06 AC-4.106
|  |  |  | step |  |  | Tier 3: Level 2
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.2.01 AC-4.201
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.2.02 AC-4.202
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.2.03 AC-4.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.2.04 AC-4.204
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.2.05 AC-4.205
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.2.06 AC-4.206
|  |  |  | step |  |  | Tier 3: Level 3
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.3.01 AC-4.301
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.3.02 AC-4.302
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.3.03 AC-4.303
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.3.04 AC-4.304
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.3.05 AC-4.305
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.3.06 AC-4.306
|  |  |  | step |  |  | Tier 3: Level 4
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.4.01 AC-4.401
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.4.02 AC-4.402
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.4.03 AC-4.403
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.4.04 AC-4.404
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.4.05 AC-4.405
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.4.06 AC-4.406
|  |  |  | step |  |  | Tier 3: Level 5
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.5.01 AC-4.501
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.5.02 AC-4.502
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.5.03 AC-4.503
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.5.04 AC-4.504
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.5.05 AC-4.505
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.5.06 AC-4.506
|  |  |  | step |  |  | Tier 3: Level 6
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.6.01 AC-4.601
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.6.02 AC-4.602
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.6.03 AC-4.603
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.6.04 AC-4.604
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.6.05 AC-4.605
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.6.06 AC-4.606
|  |  |  | step |  |  | Tier 3: Level 7
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.7.01 AC-4.701
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.7.02 AC-4.702
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.7.03 AC-4.703
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.7.04 AC-4.704
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.7.05 AC-4.705
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.7.06 AC-4.706
|  |  |  | step |  |  | Tier 3: Level 8
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.8.01 AC-4.801
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.8.02 AC-4.802
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.8.03 AC-4.803
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.8.04 AC-4.804
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.8.05 AC-4.805
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.8.06 AC-4.806
|  |  |  | step |  |  | Tier 3: Level 9
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.9.01 AC-4.901
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.9.02 AC-4.902
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.9.03 AC-4.903
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.9.04 AC-4.904
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.9.05 AC-4.905
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.9.06 AC-4.906
|  |  |  | step |  |  | Tier 3: Level 10
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.10.01 AC-4.1001
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.10.02 AC-4.1002
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.10.03 AC-4.1003
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.10.04 AC-4.1004
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.10.05 AC-4.1005
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.10.06 AC-4.1006
|  |  |  | step |  |  | Tier 3: Level 11
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.11.01 AC-4.1101
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.11.02 AC-4.1102
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.11.03 AC-4.1103
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.11.04 AC-4.1104
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.11.05 AC-4.1105
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 4.11.06 AC-4.1106
|  |  |  | step |  |  | Tier 3: Roof
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.101
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.102
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.103
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.104
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.105
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.106
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.201
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.202
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.203
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.204
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.205
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.206
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.301
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.302
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.303
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.304
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.305
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.306
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.401
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.402
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.403
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.404
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.405
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.406
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.501
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.502
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.503
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.504
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.505
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.601
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.602
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.603
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.604
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.605
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.701
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.702
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.703
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.704
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.705
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.801
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.802
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.803
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.804
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.805
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.901
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.902
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.903
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.904
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.905
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.1001
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.1002
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.1003
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.1004
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.1001
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.1002
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.1003
Condenser |  |  |  | checklist |  |  | Tier 4: CU-4.1004
|  |  |  | step |  |  | Tier 2: Building 5
|  |  |  | step |  |  | Tier 3: Level 1
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.1.01 AC-5.101
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.1.02a AC-5.102a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.1.02b AC-5.102b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.1.03 AC-5.103
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.1.04 AC-5.104
|  |  |  | step |  |  | Tier 3: Level 2
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.2.01 AC-5.201
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.2.02a AC-5.202a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.2.02b AC-5.202b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.2.03 AC-5.203
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.2.04 AC-5.204
|  |  |  | step |  |  | Tier 3: Level 3
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.3.01 AC-5.301
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.3.02a AC-5.302a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.3.02b AC-5.302b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.3.03 AC-5.303
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.3.04 AC-5.304
|  |  |  | step |  |  | Tier 3: Level 4
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.4.01 AC-5.401
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.4.02a AC-5.402a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.4.02b AC-5.402b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.4.03 AC-5.403
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.4.04 AC-5.404
|  |  |  | step |  |  | Tier 3: Level 5
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.5.01 AC-5.501
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.5.02a AC-5.502a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.5.02b AC-5.502b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.5.03 AC-5.503
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.5.04 AC-5.504
|  |  |  | step |  |  | Tier 3: Level 6
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.6.01 AC-5.601
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.6.02a AC-5.602a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.6.02b AC-5.602b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.6.03 AC-5.603
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.6.04 AC-5.604
|  |  |  | step |  |  | Tier 3: Level 7
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.7.01 AC-5.701
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.7.02a AC-5.702a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.7.02b AC-5.702b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.7.03 AC-5.703
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.7.04 AC-5.704
|  |  |  | step |  |  | Tier 3: Level 8
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.8.01 AC-5.801
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.8.02a AC-5.802a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.8.02b AC-5.802b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.8.03 AC-5.803
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.8.04 AC-5.804
|  |  |  | step |  |  | Tier 3: Level 9
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.9.01 AC-5.901
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.9.02a AC-5.902a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.9.02b AC-5.902b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.9.03 AC-5.903
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.9.04 AC-5.904
|  |  |  | step |  |  | Tier 3: Level 10
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.10.01 AC-5.1001
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.10.02a AC-5.1002a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.10.02b AC-5.1002b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.10.03 AC-5.1003
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.10.04 AC-5.1004
|  |  |  | step |  |  | Tier 3: Level 11
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.11.01 AC-5.1101
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.11.02a AC-5.1102a
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.11.02b AC-5.1102b
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.11.03 AC-5.1103
Fan Coil Unit | Pipework | Fan Installation | Ductwork | folder-with-checklists |  |  | Tier 4: 5.11.04 AC-5.1104
|  |  |  | step |  |  | Tier 3: Roof
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.101
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.102
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.103
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.104
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.201
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.202
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.203
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.204
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.301
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.302
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.303
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.304
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.401
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.402
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.403
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.404
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.501
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.502
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.503
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.504
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.601
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.602
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.603
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.604
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.701
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.702
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.703
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.704
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.801
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.802
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.803
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.804
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.901
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.902
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.903
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.904
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.1001
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.1002
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.1003
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.1004
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.1101
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.1102
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.1103
Condenser |  |  |  | checklist |  |  | Tier 4: CU-5.1104