## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 96e8e25a-7731-4daa-ae91-50bc9ae2f399 |  | checklist | Windows Installation Checklist |  |  |  |  | Yes | Windows Installation Checklist | 95a45635-e42c-4428-bb89-8008e03e2cfd
checkpoint-group | 8f5fce6d-0f92-40ce-a9ff-4a6c55b6be1d |  | section | Pre-Install
checkpoint-status | ab2c4040-38f1-4c01-81c3-3fca1221557e |  | checkpoint | Area clean/ clear & substrate acceptable
checkpoint-status | e52f15d2-3933-4ae2-8ab9-b8dea9cac53d |  | checkpoint | Window received in good condition
checkpoint-status | 8a8b999e-bf78-4a2a-b691-b252b3021217 |  | checkpoint | Site measure completed - Opening size correct
checkpoint-status | 14dc22a2-87db-42c4-88ec-1881cbfdd62d |  | checkpoint | Waterproofing in place where applicable (i.e rebate)
checkpoint-group | f3b658d6-2b57-4aeb-b1f8-e12424ffd271 |  | section | Installation & Handover
checkpoint-status | 54ed4ebd-57ca-43fe-8f05-d0ebeddc431a |  | checkpoint | All windows installed in correct location according to drawing provide
checkpoint-status | 3fca5baa-658b-4ecc-847d-7de2aa4c22c5 |  | checkpoint | Sub-head and sub-sill install correctly and fully seal on sub-sill photos as below
checkpoint-status | 7010ab89-55f3-40d3-9928-fa4a07e85144 |  | checkpoint | Level plumb & correct height
checkpoint-status | fe645815-5e93-4c84-a60a-bea41ed888c1 |  | checkpoint | Fixings as 500mm spacing
checkpoint-status | bdac6a5e-a41b-4483-b65c-c507b6dfce8f |  | checkpoint | Window - opening/closing freely & latching correctly
checkpoint-status | e94c2e9f-f7c2-45b5-948b-b54f38d92995 |  | checkpoint | WINDOW JOCKEY SASH INSTALL AND CHECK opening/closing freely & latching correctly
checkpoint-status | 4b3ff1d5-c68d-4cf1-ba24-b76a065a1d28 |  | checkpoint | All Windows and small infill Installed and hardware correctly & area left clean/tidy - Attach photos below
checkpoint-status | 9c56a575-8e0f-439a-9bb3-574ab2dbe2b0 |  | checkpoint | Glass protection applied
checkpoint-status | 7900a955-323c-4d9d-99ba-04090cb08cf3 |  | checkpoint | External Caulking (Photo Require)