## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 180afe2c-6ee7-45a4-bc21-f60a41b006b6 |  | checklist | P |  |  |  |  | Yes | Panel Checklist | 058b5a54-df6e-4d63-8245-9f7363e2a8af
checkpoint-group | 150b7c46-bd44-4b2e-ad8b-581e30ebd77b |  | section | Info
checkpoint-no-status | c0dfdda7-1e35-4a61-8464-551e8401d6dc |  | checkpoint | Information Complete
text | b6c0d723-6964-5560-881c-6662dbe453d0 |  | textbox | Concrete Volume |  |  | m3
text | 5806e478-3ab9-5d7e-8b73-6ca686456a46 |  | textbox | Concrete Strength |  |  | MPa
checkpoint-group | 61a24507-6eea-474a-a89f-e985666e8b65 |  | section | Prepour
checkpoint-status | 4b707046-efc7-4f9c-83a5-2166cb23015e |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | 69203921-cde4-4822-89a7-3d32ecb640f2 |  | checkpoint | Square
checkpoint-status | bbf475fb-16b2-480d-80ea-33bca10b6830 |  | checkpoint | Edge Details & Rebates
checkpoint-status | fb0c33fb-2bc2-40a5-af1a-308cf6cf9f5a |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | e07b8118-a92f-4f9c-aaa9-a4ac41e41c7f |  | checkpoint | Main Reinforcing
checkpoint-status | 59fba47c-627d-48d4-a868-311f1691976f |  | checkpoint | Starters
checkpoint-status | 020d094a-f9fd-4bdd-942d-57707a4d6080 |  | checkpoint | Stirrups
checkpoint-status | 2f8ee292-ff76-40ee-9332-06a91a24e6af |  | checkpoint | Lifters
checkpoint-status | 827302bf-bab7-4853-a696-57e1a0a7ebb4 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | d8bf8386-09b9-4212-975e-b2f303a01cc1 |  | checkpoint | Tie wire Trimmed
checkpoint-status | 2b632de8-f548-461c-aab6-359171455063 |  | checkpoint | Rugasol
checkpoint-status | 39589da9-f6e1-4c86-9b73-fc26deab4593 |  | checkpoint | Drawings & General Photos
checkpoint-group | 11728934-b404-4b08-9bd1-0d4d6a0975c5 |  | section | Concrete
checkpoint-status | f1bf6dd5-e238-4cdf-b273-3ca978b58be3 |  | checkpoint | Concrete Docket Attached (photo)
text | 02d436e8-873b-571f-a8ef-1f514911035d |  | textbox | Concrete Docket Number
checkpoint-group | 6bd955c6-2c00-4266-91a2-a241cad09ebd |  | section | Post Pour
checkpoint-status | 0c356af0-1b86-411a-85ed-71ac10b32f3b |  | checkpoint | Post pour Complete
text | d84e692e-2763-5abc-bef2-357d6705311f |  | textbox | Release Date
text | 79031fc1-1701-573a-a641-8083e564bf94 |  | textbox | Release Strength |  |  | MPa
checkpoint-status | a97cd1ba-6ebf-4d88-9692-6b8775998577 |  | checkpoint | Remedial Required
checkpoint-status | c5fdaf74-4366-480a-96dc-a2b1b594986d |  | checkpoint | Approved
checklist-flat | cc7b3b48-3193-4fde-8af7-dc9c9676cc4b |  | checklist | NCR: |  |  |  |  | Yes | Non Conformance Report | 13b6e8e1-7677-422f-adc7-14db37563508
checkpoint-no-status | ab78a1d5-1b3e-4c66-b16b-a5be6792437f |  | checkpoint | Non Conformance Report
text | 662cbeb6-7c8d-57fd-9bc3-272cbd738f5c |  | textbox | NCR Ref. No.:
date | f48bf943-ce39-5879-b645-5813e13de5ec |  | date | Issue Date:
text | 911ec36b-d7e9-5a44-b940-3685009b1b9f |  | textbox | NCR Description:
text | 2faff796-119e-5601-9fc0-1a14ab9432be |  | textbox | NCR Identified by:
button | cdaf426b-ed7f-557b-a193-ddc691becf63 |  | button | NCR Status | Close, Under Review, Open
checklist-sectioned | 1bd0fe9e-0cea-4d87-a02b-6992ae3abeb9 |  | checklist | Panel |  |  |  |  | Yes | Panel Checklist V3 | 1cc1bd41-70f2-486a-bca1-5bf7dc942f80
checkpoint-group | 469e7f38-9fd6-4710-9fcd-ccc07f46712e |  | section | Info
checkpoint-no-status | 6290ba5c-d690-4a43-826e-2bb64da9dece |  | checkpoint | Information Complete
text | fa109b3f-27a9-55a2-b83d-5240dfc5c75f |  | textbox | Concrete Volume
text | 2aee005a-4dda-560d-9305-038377640e3f |  | textbox | Concrete Strength
checkpoint-group | 70a9439f-48bc-434b-9bb1-be68aa15fe81 |  | section | Prepour
checkpoint-status | aeecf22a-f136-468a-ada3-0c16b47bc01c |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | 6692acbd-3b02-4206-b50e-a378e975451d |  | checkpoint | Square
checkpoint-status | c3c32b42-9271-4693-81d8-f3b805cf8c67 |  | checkpoint | Edge Details & Rebates
checkpoint-status | 9d3d4726-cac5-4467-8e44-bfb673c36a99 |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | fcbd034d-d28f-43a2-9614-b1d544fce67b |  | checkpoint | Main Reinforcing
checkpoint-status | 204f365a-92c9-4c6c-8dd9-1e40a4b6dc9b |  | checkpoint | Starters
checkpoint-status | 6a3c6d87-7edd-4c9b-a0aa-0df8e62b98d2 |  | checkpoint | Stirrups
checkpoint-status | b4c5e880-e44f-4f6b-872b-dd874eca546e |  | checkpoint | Lifters
checkpoint-status | dd03e885-4268-4df3-8749-ead9e2c80439 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | a4dc8fef-994e-4584-a709-7d6b68394daf |  | checkpoint | Tie wire Trimmed
checkpoint-status | f8a34b9b-1805-4d15-903f-3f6efce29bf4 |  | checkpoint | Rugasol
checkpoint-status | ce3bf21b-cf2f-444c-a057-9b0121c2c84e |  | checkpoint | Drawings & General Photos
checkpoint-group | 03f7a572-d1a3-414c-9d15-ac594e9446ae |  | section | Concrete
checkpoint-status | c566c713-2082-4d29-97e0-2f5cc7eda902 |  | checkpoint | Concrete Docket Attached
text | dfd688b4-225f-543f-b554-7171eadf1702 |  | textbox | Concrete Docket Number
checkpoint-group | 9a834eba-fdac-44bb-b1fa-d51fcc58aec8 |  | section | Post Pour
checkpoint-status | 1c2ebc1e-3a7a-4782-b1bd-b500dacafbcf |  | checkpoint | Post pour Complete
text | 9d5460b9-e5d8-5f68-b98b-143e5ad79f65 |  | textbox | Release Date
text | 37279256-aea9-5881-8d0c-089649e3bf28 |  | textbox | Release Strength
checkpoint-status | f7a4d3af-a515-4627-ab29-96d25d7becb6 |  | checkpoint | Remedial Required
checkpoint-status | 491d8846-3261-4a54-bf76-58432ba4951f |  | checkpoint | Mould Face Finish
checkpoint-status | d44e377a-ae09-4c55-9ff0-fa39632e91cc |  | checkpoint | Near Face Finish
checkpoint-status | b8ca5176-46fa-48c9-ada3-fed141a6ff3b |  | checkpoint | Cast -In/Inserts/Penetrations
checkpoint-status | 28258e0b-703f-4567-a64e-9140a5d4dd27 |  | checkpoint | Starter lengths/Positions
checkpoint-status | 84686e66-44e9-4ef1-9990-4ffc49e25cfa |  | checkpoint | Approved
checklist-sectioned | 488422ea-614c-4a05-b3a7-2c73a221cb62 |  | checklist | Test Report |  |  |  |  | Yes | Reo Test Report | 79118647-1a49-4cb7-9cf6-21404c22a037
checkpoint-group | 1325c011-dd97-42eb-a216-18d1dcd958b8 |  | section | Reinforcement / Inserts
checkpoint-status | 07b36607-29d3-4a0f-8761-ab92547afb64 |  | checkpoint | Test Results attached
text | b44ea146-86da-5aef-a07c-26498873497b |  | textbox | Steel Grade
checklist-sectioned | b807219e-87df-4964-a9a8-b8daae155808 |  | checklist | Mill Certificate |  |  |  |  | Yes | Mill Certificate | 7f4a445e-c2c9-4843-b98c-def84fecc614
checkpoint-group | 01e2ac3a-9613-47df-a34c-e202c3f1f156 |  | section | Reinforcement / Inserts
checkpoint-status | e3c86db1-579b-4cea-b43e-22cf4ade7963 |  | checkpoint | Mill Certificate attached
text | b36f1762-55f2-5ac8-8d1f-be2eea915658 |  | textbox | Steel Grade
checklist-sectioned | 256c1a4e-5085-4b02-b529-01f0c48d6570 |  | checklist | Panel |  |  |  |  | Yes | Panel Checklist V2 | 9e310d33-727e-4f7a-aea0-9f1200199dbd
checkpoint-group | 03ab3306-cb78-40ae-aa66-58f8bb637253 |  | section | Info
checkpoint-no-status | f59d3f80-2684-4d50-9058-80d7314424b1 |  | checkpoint | Information Complete
text | 399dcc18-9f0d-55ea-9ebe-d6215736bd4c |  | textbox | Concrete Volume
text | dc088264-ef94-51cb-8495-d6f84196cb31 |  | textbox | Concrete Strength
checkpoint-group | a29de938-64be-457b-9b93-1f5bf84844fd |  | section | Prepour
checkpoint-status | 28a8a1dc-45ee-4748-9c59-5c3dcc5b578d |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | 2c79e9c3-a653-4d5c-b152-6874f7bc9a52 |  | checkpoint | Square
checkpoint-status | ee15a31b-43cd-4056-ba45-3eb0919d96cd |  | checkpoint | Edge Details & Rebates
checkpoint-status | 77c422cf-c054-4172-ad04-3d03bdd83d29 |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | 89398b3c-6838-4f40-81f3-7fd9be775d98 |  | checkpoint | Main Reinforcing
checkpoint-status | 3bd20473-bc8e-4c36-9bb6-2b31562cab6a |  | checkpoint | Starters
checkpoint-status | 36de0294-ef77-4245-84b1-f113b4936977 |  | checkpoint | Stirrups
checkpoint-status | 1fbdf7e7-8a2a-4c05-85df-4ef77992bad3 |  | checkpoint | Lifters
checkpoint-status | 61758461-5a81-411f-96e3-797aa6a42433 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | 44d557d2-53df-4300-b8c9-3b4098d2c57f |  | checkpoint | Tie wire Trimmed
checkpoint-status | 35a9c520-5bb3-4637-848a-e47afe54d779 |  | checkpoint | Rugasol
checkpoint-status | 3fdaeaad-e45c-435f-b06c-b8b4ea6ffd88 |  | checkpoint | Drawings & General Photos
checkpoint-group | 26fa92a6-ae9a-4a61-b389-04796f6fe40f |  | section | Concrete
checkpoint-status | 7232495b-a5ea-4e89-8a8f-d854ab307594 |  | checkpoint | Concrete Docket Attached (photo)
text | 657abb79-7538-5457-bdfe-3a3d0d1cf184 |  | textbox | Concrete Docket Number
checkpoint-group | 31d280f0-0278-4d20-90af-238003bd4d0b |  | section | Post Pour
checkpoint-status | 92443ca4-b573-47f1-8202-d9764c53b07e |  | checkpoint | Post pour Complete
text | e515480f-c4c0-5c3a-9893-5e0e297ef6ec |  | textbox | Release Date
text | 49a92068-39a6-59fe-aeee-21f717a2ec9c |  | textbox | Release Strength
checkpoint-status | f31c3832-ed41-4506-ab2a-1f9aa767341f |  | checkpoint | Remedial Required
checkpoint-status | 84c50dfb-fdcb-4415-a1ba-72835ae16944 |  | checkpoint | Mould Face Finish
checkpoint-status | 3e23a9af-ffd3-45b6-b88a-64b43db8933d |  | checkpoint | Near Face Finish
checkpoint-status | d2b412cd-b177-4b98-9174-73d8a61facfa |  | checkpoint | Cast -In/Inserts/Penetrations
checkpoint-status | 6da2348b-640c-4051-9b9c-6aea515052d5 |  | checkpoint | Starter lengths/Positions
checkpoint-status | 84519c89-f25b-4086-93c1-3ab14f94356d |  | checkpoint | Approved
checklist-flat | 9f8a3897-85a0-49a7-ab7f-d481b554e24f |  | checklist | Job Details |  |  |  |  | Yes | Job Details | a839792a-9167-45d5-a8da-b51fcfa07f81
checkpoint-status | c431e53a-8338-4fde-9d17-d61a2310f429 |  | checkpoint | Project details entered below
text | 4c025dc0-ec1c-5c8a-8634-8f138410f425 |  | textbox | Job File Number
text | 674a0a2c-c58f-5b68-a9ac-d881efc98cba |  | textbox | Project Name
text | 43a67469-ddab-58d4-81df-ccff159d10db |  | textbox | Site Address
text | c64a899c-f972-5695-9362-2bb8472a91f0 |  | textbox | Main Contractor (e.g. Teak)
text | 17a006b3-55d6-52e6-b9d5-6bfe5e5b0130 |  | textbox | Main Contractor POC
text | 8da1ca83-a6ba-58ed-948a-d6bf5b0d91db |  | textbox | Structural Engineer
text | bd1bd9b9-d0f4-52f7-bacb-c7b3f0f07e5c |  | textbox | Architect
checklist-sectioned | 66f66ad5-5d47-437f-a6e1-d89c2feceb77 |  | checklist | Test Report |  |  |  |  | Yes | Concrete Test Report | ff98a8f3-1593-431c-8654-c30e3163ef62
checkpoint-group | b0b7a5ab-3e7b-4c34-80dc-2ebe8ed60f01 |  | section | Concrete
checkpoint-status | 8eea09ac-b225-443b-a30e-4166b95d07da |  | checkpoint | Test Results attached
text | a703a373-530c-5fc8-94de-e12476940150 |  | textbox | Mix Design