## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 180afe2c-6ee7-45a4-bc21-f60a41b006b6 |  | checklist | P |  |  |  |  | Yes | Panel Checklist | 058b5a54-df6e-4d63-8245-9f7363e2a8af
checkpoint-group | 150b7c46-bd44-4b2e-ad8b-581e30ebd77b |  | section | Info
checkpoint-no-status | c0dfdda7-1e35-4a61-8464-551e8401d6dc |  | checkpoint | Information Complete
text | b6c0d723-6964-5560-881c-6662dbe453d0 |  | textbox | Concrete Volume |  |  | m3
text | 5806e478-3ab9-5d7e-8b73-6ca686456a46 |  | textbox | Concrete Strength |  |  | MPa
checkpoint-group | 61a24507-6eea-474a-a89f-e985666e8b65 |  | section | Prepour
checkpoint-status | 4b707046-efc7-4f9c-83a5-2166cb23015e |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | 69203921-cde4-4822-89a7-3d32ecb640f2 |  | checkpoint | Square
checkpoint-status | bbf475fb-16b2-480d-80ea-33bca10b6830 |  | checkpoint | Edge Details & Rebates
checkpoint-status | fb0c33fb-2bc2-40a5-af1a-308cf6cf9f5a |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | e07b8118-a92f-4f9c-aaa9-a4ac41e41c7f |  | checkpoint | Main Reinforcing
checkpoint-status | 59fba47c-627d-48d4-a868-311f1691976f |  | checkpoint | Starters
checkpoint-status | 020d094a-f9fd-4bdd-942d-57707a4d6080 |  | checkpoint | Stirrups
checkpoint-status | 2f8ee292-ff76-40ee-9332-06a91a24e6af |  | checkpoint | Lifters
checkpoint-status | 827302bf-bab7-4853-a696-57e1a0a7ebb4 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | d8bf8386-09b9-4212-975e-b2f303a01cc1 |  | checkpoint | Tie wire Trimmed
checkpoint-status | 2b632de8-f548-461c-aab6-359171455063 |  | checkpoint | Rugasol
checkpoint-status | 39589da9-f6e1-4c86-9b73-fc26deab4593 |  | checkpoint | Drawings & General Photos
checkpoint-group | 11728934-b404-4b08-9bd1-0d4d6a0975c5 |  | section | Concrete
checkpoint-status | f1bf6dd5-e238-4cdf-b273-3ca978b58be3 |  | checkpoint | Concrete Docket Attached (photo)
text | 02d436e8-873b-571f-a8ef-1f514911035d |  | textbox | Concrete Docket Number
checkpoint-group | 6bd955c6-2c00-4266-91a2-a241cad09ebd |  | section | Post Pour
checkpoint-status | 0c356af0-1b86-411a-85ed-71ac10b32f3b |  | checkpoint | Post pour Complete
text | d84e692e-2763-5abc-bef2-357d6705311f |  | textbox | Release Date
text | 79031fc1-1701-573a-a641-8083e564bf94 |  | textbox | Release Strength |  |  | MPa
checkpoint-status | a97cd1ba-6ebf-4d88-9692-6b8775998577 |  | checkpoint | Remedial Required
checkpoint-status | c5fdaf74-4366-480a-96dc-a2b1b594986d |  | checkpoint | Approved
checklist-sectioned | 013a4448-4b65-4b5b-be77-abed430cdb38 |  | checklist | Panel |  |  |  |  | Yes | Panel Checklist V3 | 5736d6c9-5955-49b9-ac66-bf849cfce338
checkpoint-group | 0ebbd8c2-0ae7-4f81-b951-bad1a51bd2b9 |  | section | Info
checkpoint-no-status | de47e679-a803-474d-9687-517ab821a3e1 |  | checkpoint | Information Complete
text | fa109b3f-27a9-55a2-b83d-5240dfc5c75f |  | textbox | Concrete Volume
text | 2aee005a-4dda-560d-9305-038377640e3f |  | textbox | Concrete Strength
checkpoint-group | ba89cea8-9b8c-4afe-bfc6-2d7d8343d9ce |  | section | Prepour
checkpoint-status | f55690f0-b712-41f5-9c20-a2e346ae0ebb |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | 93f13c21-d1a6-4219-bb51-c1425447071b |  | checkpoint | Square
checkpoint-status | e3c360a4-47f4-4da1-86f4-3cf3be666f5e |  | checkpoint | Edge Details & Rebates
checkpoint-status | dfe3c73d-e07f-45be-904f-1af7c962640a |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | e4797e1e-21cf-49c5-82c6-b5f4ea51fd17 |  | checkpoint | Main Reinforcing
checkpoint-status | f79e94b6-863f-4c41-bbcc-f22dcd2c4cbe |  | checkpoint | Starters
checkpoint-status | c744afcd-613f-4382-be01-362bfd1c2faf |  | checkpoint | Stirrups
checkpoint-status | a8777573-4844-4051-a0ed-2749cf2f21ce |  | checkpoint | Lifters
checkpoint-status | cf78205e-8fea-45d9-80c6-78ac1206f214 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | 5d006b57-0938-4e6a-bcf5-996957a7b04a |  | checkpoint | Tie wire Trimmed
checkpoint-status | 147f0278-53ee-4556-84a0-6ccc536eda0e |  | checkpoint | Rugasol
checkpoint-status | 2bd552be-ff26-4c9f-9cdd-95e5e7d15852 |  | checkpoint | Drawings & General Photos
checkpoint-group | 7733d018-23c5-44d9-88fd-1d1464332e7b |  | section | Concrete
checkpoint-status | 8bb09acf-5eaf-4a41-afca-1f2308ca1a5f |  | checkpoint | Concrete Docket Attached
text | dfd688b4-225f-543f-b554-7171eadf1702 |  | textbox | Concrete Docket Number
checkpoint-group | c6430df1-1136-427c-bb3f-68f22f590d93 |  | section | Post Pour
checkpoint-status | 4e645e64-538f-42c2-8df0-0c7f51727d55 |  | checkpoint | Post pour Complete
text | 9d5460b9-e5d8-5f68-b98b-143e5ad79f65 |  | textbox | Release Date
text | 37279256-aea9-5881-8d0c-089649e3bf28 |  | textbox | Release Strength
checkpoint-status | 00772fb0-6c96-4a73-81e5-4e672250e6e6 |  | checkpoint | Remedial Required
checkpoint-status | 6d4ea375-e284-468b-81f9-f1e717491732 |  | checkpoint | Mould Face Finish
checkpoint-status | e8099127-db0f-434b-87aa-b9589d639b6b |  | checkpoint | Near Face Finish
checkpoint-status | f13e2317-30c1-4d32-b591-845a288fe21d |  | checkpoint | Cast -In/Inserts/Penetrations
checkpoint-status | 4c709ccf-b17a-4655-ab6c-52a1a65c683e |  | checkpoint | Starter lengths/Positions
checkpoint-status | 1c79a26f-081c-4a64-9fc8-a86d85fc3ee9 |  | checkpoint | Approved
checklist-sectioned | 488422ea-614c-4a05-b3a7-2c73a221cb62 |  | checklist | Test Report |  |  |  |  | Yes | Reo Test Report | 79118647-1a49-4cb7-9cf6-21404c22a037
checkpoint-group | 1325c011-dd97-42eb-a216-18d1dcd958b8 |  | section | Reinforcement / Inserts
checkpoint-status | 07b36607-29d3-4a0f-8761-ab92547afb64 |  | checkpoint | Test Results attached
text | b44ea146-86da-5aef-a07c-26498873497b |  | textbox | Steel Grade
checklist-sectioned | b807219e-87df-4964-a9a8-b8daae155808 |  | checklist | Mill Certificate |  |  |  |  | Yes | Mill Certificate | 7f4a445e-c2c9-4843-b98c-def84fecc614
checkpoint-group | 01e2ac3a-9613-47df-a34c-e202c3f1f156 |  | section | Reinforcement / Inserts
checkpoint-status | e3c86db1-579b-4cea-b43e-22cf4ade7963 |  | checkpoint | Mill Certificate attached
text | b36f1762-55f2-5ac8-8d1f-be2eea915658 |  | textbox | Steel Grade
checklist-sectioned | 256c1a4e-5085-4b02-b529-01f0c48d6570 |  | checklist | Panel |  |  |  |  | Yes | Panel Checklist V2 | 9e310d33-727e-4f7a-aea0-9f1200199dbd
checkpoint-group | 03ab3306-cb78-40ae-aa66-58f8bb637253 |  | section | Info
checkpoint-no-status | f59d3f80-2684-4d50-9058-80d7314424b1 |  | checkpoint | Information Complete
text | 399dcc18-9f0d-55ea-9ebe-d6215736bd4c |  | textbox | Concrete Volume
text | dc088264-ef94-51cb-8495-d6f84196cb31 |  | textbox | Concrete Strength
checkpoint-group | a29de938-64be-457b-9b93-1f5bf84844fd |  | section | Prepour
checkpoint-status | 28a8a1dc-45ee-4748-9c59-5c3dcc5b578d |  | checkpoint | Length/Width/Thickness/Cutouts
checkpoint-status | 2c79e9c3-a653-4d5c-b152-6874f7bc9a52 |  | checkpoint | Square
checkpoint-status | ee15a31b-43cd-4056-ba45-3eb0919d96cd |  | checkpoint | Edge Details & Rebates
checkpoint-status | 77c422cf-c054-4172-ad04-3d03bdd83d29 |  | checkpoint | Cast in items (Inserts, Weldplates)
checkpoint-status | 89398b3c-6838-4f40-81f3-7fd9be775d98 |  | checkpoint | Main Reinforcing
checkpoint-status | 3bd20473-bc8e-4c36-9bb6-2b31562cab6a |  | checkpoint | Starters
checkpoint-status | 36de0294-ef77-4245-84b1-f113b4936977 |  | checkpoint | Stirrups
checkpoint-status | 1fbdf7e7-8a2a-4c05-85df-4ef77992bad3 |  | checkpoint | Lifters
checkpoint-status | 61758461-5a81-411f-96e3-797aa6a42433 |  | checkpoint | Mould Cleaned & Oiled
checkpoint-status | 44d557d2-53df-4300-b8c9-3b4098d2c57f |  | checkpoint | Tie wire Trimmed
checkpoint-status | 35a9c520-5bb3-4637-848a-e47afe54d779 |  | checkpoint | Rugasol
checkpoint-status | 3fdaeaad-e45c-435f-b06c-b8b4ea6ffd88 |  | checkpoint | Drawings & General Photos
checkpoint-group | 26fa92a6-ae9a-4a61-b389-04796f6fe40f |  | section | Concrete
checkpoint-status | 5e704cf8-1cf7-4a38-978f-891086c8c405 |  | checkpoint | Concrete results obtained
checkpoint-status | 7232495b-a5ea-4e89-8a8f-d854ab307594 |  | checkpoint | Concrete Docket Attached (photo)
text | 657abb79-7538-5457-bdfe-3a3d0d1cf184 |  | textbox | Concrete Docket Number
checkpoint-group | 31d280f0-0278-4d20-90af-238003bd4d0b |  | section | Post Pour
checkpoint-status | 92443ca4-b573-47f1-8202-d9764c53b07e |  | checkpoint | Post pour Complete
text | e515480f-c4c0-5c3a-9893-5e0e297ef6ec |  | textbox | Release Date
text | 49a92068-39a6-59fe-aeee-21f717a2ec9c |  | textbox | Release Strength
checkpoint-status | f31c3832-ed41-4506-ab2a-1f9aa767341f |  | checkpoint | Remedial Required
checkpoint-status | 84c50dfb-fdcb-4415-a1ba-72835ae16944 |  | checkpoint | Mould Face Finish
checkpoint-status | 3e23a9af-ffd3-45b6-b88a-64b43db8933d |  | checkpoint | Near Face Finish
checkpoint-status | d2b412cd-b177-4b98-9174-73d8a61facfa |  | checkpoint | Cast -In/Inserts/Penetrations
checkpoint-status | 6da2348b-640c-4051-9b9c-6aea515052d5 |  | checkpoint | Starter lengths/Positions
checkpoint-status | 84519c89-f25b-4086-93c1-3ab14f94356d |  | checkpoint | Approved
checkpoint-status | fb01bfec-d175-4a2b-9426-6b1135481f15 |  | checkpoint | Mill certificate attached
checklist-flat | 9f8a3897-85a0-49a7-ab7f-d481b554e24f |  | checklist | Job Details |  |  |  |  | Yes | Job Details | a839792a-9167-45d5-a8da-b51fcfa07f81
checkpoint-status | c431e53a-8338-4fde-9d17-d61a2310f429 |  | checkpoint | Project details entered below
text | 4c025dc0-ec1c-5c8a-8634-8f138410f425 |  | textbox | Job File Number
text | 674a0a2c-c58f-5b68-a9ac-d881efc98cba |  | textbox | Project Name
text | 43a67469-ddab-58d4-81df-ccff159d10db |  | textbox | Site Address
text | c64a899c-f972-5695-9362-2bb8472a91f0 |  | textbox | Main Contractor (e.g. Teak)
text | 17a006b3-55d6-52e6-b9d5-6bfe5e5b0130 |  | textbox | Main Contractor POC
text | 8da1ca83-a6ba-58ed-948a-d6bf5b0d91db |  | textbox | Structural Engineer
text | bd1bd9b9-d0f4-52f7-bacb-c7b3f0f07e5c |  | textbox | Architect
checklist-flat | cc7b3b48-3193-4fde-8af7-dc9c9676cc4b |  | checklist | NCR: |  |  |  |  | Yes | Non Conformance Report | e965ec95-d0a3-4275-bdf7-234016ce6b79
checkpoint-no-status | ab78a1d5-1b3e-4c66-b16b-a5be6792437f |  | checkpoint | Non Conformance Report
text | 662cbeb6-7c8d-57fd-9bc3-272cbd738f5c |  | textbox | NCR Ref. No.:
date | f48bf943-ce39-5879-b645-5813e13de5ec |  | date | Issue Date:
text | 911ec36b-d7e9-5a44-b940-3685009b1b9f |  | textbox | NCR Description:
text | 2faff796-119e-5601-9fc0-1a14ab9432be |  | textbox | NCR Identified by:
button | cdaf426b-ed7f-557b-a193-ddc691becf63 |  | button | NCR Status | Close, Under Review, Open
checklist-sectioned | 66f66ad5-5d47-437f-a6e1-d89c2feceb77 |  | checklist | Test Report |  |  |  |  | Yes | Concrete Test Report | ff98a8f3-1593-431c-8654-c30e3163ef62
checkpoint-group | b0b7a5ab-3e7b-4c34-80dc-2ebe8ed60f01 |  | section | Concrete
checkpoint-status | 8eea09ac-b225-443b-a30e-4166b95d07da |  | checkpoint | Test Results attached
text | a703a373-530c-5fc8-94de-e12476940150 |  | textbox | Mix Design