## Project Structure
Folders |  |  |  | Checklists
Site QA
Level 1
1.01
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.02
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.03
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.04
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.05
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.06
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.07
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.08
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.09
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.1
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.11
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.12
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.13
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.14
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
1.15
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
Level 2
2.01
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.02
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.03
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.04
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.05
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.06
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.07
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.08
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.09
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.1
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.11
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.12
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.13
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.14
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.15
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
2.16
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
Level 3
3.01
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.02
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.03
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.04
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.05
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.06
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.07
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.08
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.09
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.1
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.11
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.12
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.13
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
3.14
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
Level 4
4.01
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.02
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.03
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.04
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.05
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.06
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.07
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.08
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.09
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.1
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.11
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
4.12
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
Level 5
5.01
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
5.02
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
5.03
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
5.04
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
5.05
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
5.06
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
5.07
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
5.08
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
Level 6
6.01
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
6.02
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
6.03
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning
6.04
|  |  | Apartment fit off checklist | Apartment Fit Off checklist
|  |  | Apartment commissioning checklist | Apartment Commissioning

## Checklist
type | name | values
checklist | Penetrations
checkpoint | Penetrations exist and correct location and size
checkpoint | Penetrations marked to be cut
checklist | Fans
checkpoint | Fan position marked
checkpoint | Rods Installed
checkpoint | Flex fan connections installed
checkpoint | Fan installed
checkpoint | Fan connected to adjacent ducts/grilles
checklist-sectioned | Ducts
section | Solid Ducts
checkpoint | Run + hanger positions marked
checkpoint | Rods installed
checkpoint | Straight ducts installed
checkpoint | Bends/Transitions installed
checkpoint | Riser ducts complete
checkpoint | Foam tape / gaps sealed on all ducts
checkpoint | Cleats installed
checkpoint | Peno flashings installed and siliconed
checkpoint | Cushion boxes installed
section | MOS
checkpoint | MOS ducts measured
checkpoint | MOS ducts delivered
checkpoint | MOS ducts installed
section | Flexible Ducts
checkpoint | Flexible ducts hung
checkpoint | Ducts fixed with panduit straps and duct tape
checkpoint | Hanging straps installed to hang ducts
checklist | Fire Spray/Wrap
checkpoint | ducts fire sprayed/wrapped
checkpoint | Access panels every 3m and bends for kitchen exhaust
checklist | Fire Dampers
checkpoint | Fire damper correctly installed in position
checkpoint | fire damper packing
checkpoint | breakaway bolts securing FD to ducts
checkpoint | Fire rated mastic
checkpoint | Fire damper labelled
checkpoint | Access panels on ducts
checklist | Roof Cowls
checkpoint | Roof cowl installed
checkpoint | Dectite/flashing installed and sealed
checklist | Air Dampers
checkpoint | Air damper installed
checkpoint | Air damper set to correct opening amount
checklist | Filters
checkpoint | Filter plenums/ducts installed
checkpoint | Filters installed
checklist | Grilles
checkpoint | Plasterer/carpenter has framed out grilles
checkpoint | Cutout done
checkpoint | Grille installed
checklist | Door Grilles
checkpoint | Door Grilles given to builder
checkpoint | Builder has installed door grilles
checklist-sectioned | Apartment Rough In checklist
section | Duct
checkpoint | Duct run marked out on ceiling
checkpoint | Flat Duct
checkpoint | Flat duct connected to cushion box/plate
checkpoint | Flex Duct, including duct tape
checkpoint | Rangehood Semi Rigid
checkpoint | Ceiling fan marked on ground
section | Air Conditioning (Common VRF)
checkpoint | AC unit/cushion box positions marked on ceiling
checkpoint | IDU installed
checkpoint | Plenum(s) installed
checkpoint | piping connected to IDU
checkpoint | refnets installed
checkpoint | piping connected to branch box
checkpoint | pipes insulated
checkpoint | IDU cushion boxes installed
checkpoint | AC flex ducts run
checkpoint | Drain connected to IDU
checkpoint | Drains run from IDU to tundish
checkpoint | Access panel marked on ground
checkpoint | AC grilles framed out by plasterer/carpenter
checkpoint | Penetrations fire rated
section | AC Wiring
checkpoint | Power cable run from IDU to IDU/BB
checkpoint | Comms cable run from IDU to IDU/BB
checkpoint | Controller cable
checklist-sectioned | Apartment Fit Off checklist
section | Exhaust Diffusers
checkpoint | Main Bath
checkpoint | Ensuite
checkpoint | Laundry
section | AC Grilles
checkpoint | Living room grille
checkpoint | Bed 1 grille
checkpoint | Bed 2 grille
checkpoint | Bed 3 grille
checkpoint | IDU Tundish Connected
section | AC Wiring Fitoff
checkpoint | IDU Comms cable fitoff
checkpoint | IDU power cable fitoff, incl. isolator/plug
checkpoint | IDU controller cable fitoff
section | Rangehoods
checkpoint | Rangehood duct connected and plugged in
checkpoint | Rangehood installed
section | External WPLs
checkpoint | External WPLs installed
checklist | Apartment Commissioning
checkpoint | Main Bath Airflow (25L/s pass) | (need to be able to enter a number)
checkpoint | Ensuite Airflow (25L/s pass) | (need to be able to enter a number)
checkpoint | Laundry Airflow (40L/s pass) | (need to be able to enter a number)
checkpoint | Rangehood Airflow (40L/s pass) | (need to be able to enter a number)
checkpoint | AC Heating / Cooling correctly
checklist | ODU / Mini VRF
checkpoint | blocks/waffle pad/brackets secured
checkpoint | ODU installed
checkpoint | ODU piping run
checkpoint | ODU piping connected to outdoor unit
checkpoint | Piping insulated
checkpoint | Pipes Capped
checklist-sectioned | VRF Wall IDU
section | Rough In
checkpoint | Ref piping run and sticking out of wall at correct height
checkpoint | Refnets installed
checkpoint | piping connected to branch box
checkpoint | Drains run from IDU to tundish
checkpoint | Drain correct spacing from ref. piping
section | Fit off
checkpoint | IDU installed
checkpoint | piping connected to IDU
checkpoint | Drain connected to IDU
checklist | VRF Ducted IDU
checkpoint | AC unit/cushion box positions marked on ceiling
checkpoint | IDU installed
checkpoint | Plenum(s) installed
checkpoint | piping connected to IDU
checkpoint | Refnets installed
checkpoint | piping connected to branch box
checkpoint | IDU cushion boxes installed
checkpoint | pipes insulated
checkpoint | AC flex ducts run
checkpoint | Drain connected to IDU
checkpoint | Drains run from IDU to tundish
checkpoint | Access panel marked on ground
checkpoint | AC grilles framed out by plasterer/carpenter
checkpoint | Penetrations fire rated
checklist | VRF ODU
checkpoint | blocks mounted
checkpoint | ODU installed
checkpoint | cable tray installed
checkpoint | ODU piping run in cable tray (after cables)
checkpoint | Piping insulated to BB
checkpoint | ODU piping connected to outdoor unit
checkpoint | Pipes Capped / Cable tray lid installed
checklist | Refrigerant Pipe Riser
checkpoint | All refrigerant pipes in the riser complete for this floor
checklist | Branch Boxes
checkpoint | Branch box position marked out
checkpoint | Branch Box Installed
checkpoint | IDU side piping connected to BB
checkpoint | IDU side piping insulated
checkpoint | ODU side piping connected to BB
checkpoint | ODU side piping insulated
checkpoint | Access panel marked on ground
checklist | MSSB
checkpoint | MSSB Mounted/installed
checkpoint | Breakers Installed
checkpoint | Submains connected
checkpoint | Cables brought in and terminated
checkpoint | GFA stop, start, run indication, fault/phase fail indication fit off
checkpoint | VRF Refrigerant schematic printed, inside board
checklist | VSDs
checkpoint | VSDs installed
checkpoint | VSDs programmed
checklist | Power Proportioning
checkpoint | PDIs installed
checkpoint | Watt meters installed
checklist | Central Controller
checkpoint | Comms cable run to CC location from ODU
checkpoint | Comms cable fitoff to CC
checkpoint | Power cable plugged into wall socket and CC
checkpoint | Ethernet cable plugged into CC
checkpoint | CC mounted on wall
checklist | Elec Connections
checkpoint | power cables run
checkpoint | Isolator installed
checkpoint | power cable fit off to isolator and plant
checkpoint | power cable fit off in VSD/MSSB
checklist | Light Switch Elec
checkpoint | Plug base installed on light circuit
checkpoint | Fan plugged into plug base
checklist | Temp Sensors
checkpoint | temperature sensor installed
checkpoint | temperature sensor ranges set
checkpoint | Comms cable for temp sensor run
checkpoint | Comms cable fit off to temp sensor
checkpoint | Comms cable fit off in MSSB
checklist | Fire Pump Elec
checkpoint | 24VAC cable run from MSSB to elec box
checkpoint | 24VAC cable fit off in elec box
checkpoint | 24VAC cable fit off MSSB
checklist | VRF IDU Elec
checkpoint | Power cable run from IDU to IDU/BB
checkpoint | Comms cable run from IDU to IDU/BB
checkpoint | Controller cable run
checkpoint | IDU power cable fitoff, incl. isolator/plug
checkpoint | IDU Comms cable fitoff
checkpoint | IDU controller cable fitoff
checkpoint | power cable fit off in MSSB
checklist | CO Sensors and Alarms
checkpoint | CO Sensor/Alarm Installed
checkpoint | Cable run from CO sensor/alarm to MSSB
checkpoint | Cable fit off to CO sensor/alarm
checkpoint | Cable fit off in MSSB
checklist | VRF ODU Elec
checkpoint | power cable fit off in MSSB
checkpoint | Power cable run from MSSB/DB to isolator
checkpoint | Isolator installed
checkpoint | power cable fit off to isolator and plant
checkpoint | comms cable run to ODU
checkpoint | comms cable fitoff in ODU
checklist | VRF BB Elec
checkpoint | Power cables run from MSSB to BB
checkpoint | Comms cable run from ODU to BB
checkpoint | Power cables fit off in BB
checkpoint | Comms cable fit off in BB
checklist | VRF Commissioning
checkpoint | Pressure test pass
checkpoint | Vac Pass and refrigerant added
checkpoint | Auto Addressing Pass
checkpoint | Auto Piping Pass
checkpoint | Central Controller LG Setup
checkpoint | LG PDI Commissioning Complete
checklist | Labelling
checkpoint | Plant labelled (not on removable panels)
checkpoint | Access Panel/Controller labelled
(for future checklist)
checklist | Air Conditioning (balcony)
checkpoint | AC unit/cushion box positions marked on ceiling
checkpoint | IDU installed
checkpoint | Plenum(s) installed
checkpoint | piping connected to IDU
checkpoint | piping connected to branch box
checkpoint | IDU cushion boxes installed
checkpoint | AC flex ducts run
checkpoint | Drain connected to IDU
checkpoint | Drains run from IDU to tundish
checkpoint | Access panel marked on ground
checkpoint | AC grilles framed out by plasterer/carpenter
checkpoint | pair coil roughed in to window
checkpoint | pair coil run through window/wall
checkpoint | noodles installed