## matrix
Matrix Name | Dimension | Name | Type / Data Field | Tag 1 | Tag 2
H&S - Daily Prestart
| Scope |  |  | Pre-Start
Rows
|  | March 2023 | dynamic | March 2023 | Pre-Start | Health and Safety
|  | April 2023 | dynamic | April 2023 | Pre-Start | Health and Safety
|  | May 2023 | dynamic | May 2023 | Pre-Start | Health and Safety
|  | June 2023 | dynamic | June 2023 | Pre-Start | Health and Safety
|  | July 2023 | dynamic | July 2023 | Pre-Start | Health and Safety
|  | August 2023 | dynamic | August 2023 | Pre-Start | Health and Safety
|  | September 2023 | dynamic | September 2023 | Pre-Start | Health and Safety
|  | October 2023 | dynamic | October 2023 | Pre-Start | Health and Safety
|  | November 2023 | dynamic | November 2023 | Pre-Start | Health and Safety
|  | December 2023 | dynamic | December 2023 | Pre-Start | Health and Safety
Columns
|  | Person/s in charge of site operations |  | Person/s in charge of site operations
|  | Weather conditions |  | Weather conditions
|  | Conditions | Conditions | Weather conditions
|  | Wind Conditions |  | Wind Conditions
|  | Conditions | Conditions | Wind Conditions
|  | Meeting minutes |  | Meeting minutes
|  | Safety minutes |  | Safety minutes
|  | Main contractor supplied minutes |  | Main contractor supplied minutes
|  | Signatures of all attendees |  | Signatures of all attendees
H&S - Toolbox Meeting Minutes
| Scope |  |  | Toolbox
Rows
|  | March 2023 | dynamic | March 2023 | Toolbox | Health and Safety
|  | April 2023 | dynamic | April 2023 | Toolbox | Health and Safety
|  | May 2023 | dynamic | May 2023 | Toolbox | Health and Safety
|  | June 2023 | dynamic | June 2023 | Toolbox | Health and Safety
|  | July 2023 | dynamic | July 2023 | Toolbox | Health and Safety
|  | August 2023 | dynamic | August 2023 | Toolbox | Health and Safety
|  | September 2023 | dynamic | September 2023 | Toolbox | Health and Safety
|  | October 2023 | dynamic | October 2023 | Toolbox | Health and Safety
|  | November 2023 | dynamic | November 2023 | Toolbox | Health and Safety
|  | December 2023 | dynamic | December 2023 | Toolbox | Health and Safety
Columns
|  | Details |  | Details
|  | Health & safety issues |  | Health and safety issues
|  | Job plans reviewed |  | Job plans reviewed
|  | Operational issues |  | Operational issues
|  | Other business |  | Other business
|  | Attendees |  | Attendees
|  | Review by management |  | Review by management
H&S - Site Inspection
| Scope |  |  | Site Inspection
Rows
|  | March 2023 | dynamic | March 2023 | Site Inspection | Health and Safety
|  | April 2023 | dynamic | April 2023 | Site Inspection | Health and Safety
|  | May 2023 | dynamic | May 2023 | Site Inspection | Health and Safety
|  | June 2023 | dynamic | June 2023 | Site Inspection | Health and Safety
|  | July 2023 | dynamic | July 2023 | Site Inspection | Health and Safety
|  | August 2023 | dynamic | August 2023 | Site Inspection | Health and Safety
|  | September 2023 | dynamic | September 2023 | Site Inspection | Health and Safety
|  | October 2023 | dynamic | October 2023 | Site Inspection | Health and Safety
|  | November 2023 | dynamic | November 2023 | Site Inspection | Health and Safety
|  | December 2023 | dynamic | December 2023 | Site Inspection | Health and Safety
Columns
|  | Details |  | Details
|  | Site Control |  | Site Control
|  | Site Facilities |  | Site Facilities
|  | General Site Tidiness & Access ways |  | General Site Tidiness and Access ways
|  | Personal Safety Equipment |  | Personal Safety Equipment
|  | First Aid/Fire Prevention |  | First Aid/Fire Prevention
|  | Cranes/hoist/lifting equipment |  | Cranes/hoist/lifting equipment
|  | Tools and equipment |  | Tools and equipment
|  | Excavations |  | Excavations
|  | Hot Works |  | Hot Works
|  | Electrical Equipment |  | Electrical Equipment
|  | Chemicals |  | Chemicals
|  | P.A.T Tools |  | P.A.T Tools
|  | Ladders |  | Ladders
|  | Fall Hazards |  | Fall Hazards
|  | EWP |  | EWP
|  | Signoff |  | Signoff
QA - Switchboard
| Scope |  |  | Switchboards
Rows
|  | Switchboards | dynamic | Switchboards | Site QA
Columns
|  | Fixings installed in wall correctly if board is wall mounted |  | Fixings installed in wall correctly if board is wall mounted
|  | All clearances sighted to ensure location is compliant |  | All clearances sighted to ensure location is compliant
|  | All cables correctly installed in protection device/earth/neutral bars & fully secured |  | All cables correctly installed in protection device and earth and neutral bars and fully secured
|  | Cables neatly dressed |  | Cables neatly dressed
|  | Phase tabs on chassy covered |  | Phase tabs on chassy covered
|  | All earths & neutrals labelled to match phase numbers |  | All earths and neutrals labelled to match phase numbers
|  | Switchboard is clean on the inside & outside |  | Switchboard is clean on the inside and outside
|  | Masking blanks installed |  | Masking blanks installed
|  | Feisst label on the door installed |  | Feisst label on the door installed
|  | Switchboard Tested & Passed, results uploaded to drive via iPad |  | Switchboard Tested & Passed, results uploaded to drive via iPad
|  | DB legend installed |  | DB legend installed
QA - Cable Tray
| Scope |  |  | Cable Tray
Rows
|  | Cable Tray | dynamic | Cable Tray | Site QA
Columns
|  | Unistrutt Filed & Painted |  | Unistrutt Filed & Painted
|  | Hangers Spaced as Specified |  | Hangers Spaced as Specified
|  | Correct Size Tray Installed |  | Correct Size Tray Installed
|  | Tray Joined Correctly |  | Tray Joined Correctly
|  | Hangers Seismic Restrained as per Design |  | Hangers Seismic Restrained as per Design
|  | Tray Fastened to Hangers |  | Tray Fastened to Hangers
|  | Correct Anchors used fixing to Ceiling |  | Correct Anchors used fixing to Ceiling
|  | Cable Tray Bonded |  | Cable Tray Bonded
|  | Photos uploaded |  | Photos uploaded
QA - First Fix/Rough In
| Scope |  |  | First Fix/Rough In
Rows
|  | Ground level | dynamic | Ground level | First Fix/Rough In | Site QA
|  | Level 1 | dynamic | Level 1 | First Fix/Rough In | Site QA
|  | Level 2 | dynamic | Level 2 | First Fix/Rough In | Site QA
|  | Level 3 | dynamic | Level 3 | First Fix/Rough In | Site QA
|  | Level 4 | dynamic | Level 4 | First Fix/Rough In | Site QA
|  | Level 5 | dynamic | Level 5 | First Fix/Rough In | Site QA
|  | Level 6 | dynamic | Level 6 | First Fix/Rough In | Site QA
|  | Level 7 | dynamic | Level 7 | First Fix/Rough In | Site QA
|  | Level 8 | dynamic | Level 8 | First Fix/Rough In | Site QA
|  | Level 9 | dynamic | Level 9 | First Fix/Rough In | Site QA
|  | Level 10 | dynamic | Level 10 | First Fix/Rough In | Site QA
Columns
|  | Area clear, tidy & accessible |  | Area clear, tidy and accessible
|  | Rough In Hard Actives to all switches |  | Rough In Hard Actives to all switches
|  | Rough In of Switched Actives, lights |  | Rough In of Switched Actives from switches to lights & Second Fix Quick connects whilst on ladder
|  | Rough In GPOs |  | Rough In GPOs
|  | Rough In of kitchen |  | Rough In of all kitchen general power (including island bench) above bench, gas cooktop, fridge, microwave, rangehood & dishwasher
|  | Rough In A/C & Oven |  | Rough In A/C & Oven
|  | Rough In single tail island bench Pendant to downlight |  | Rough In single tail island bench Pendant to the nearest downlight
|  | Rough In a loop from Pendant to LED strip at rangehood |  | Rough In a loop from Pendant to LED strip at rangehood
|  | Rough In bathroom LED Fig 8 downight |  | Rough In bathroom LED Fig 8 downight location and switch separately
|  | Rough In LED fig 8 to study desk |  | Rough In LED fig 8 to study desk to nearest downlight
|  | Rough In all internal lights |  | Rough In all internal lights
|  | Rough In Balcony |  | Rough In Balcony wall light- If 2 lights, bring 2 switch wires back to switch
|  | Rough In smoke detector |  | Rough In smoke detector and interconnect to other detectors.
|  | Rough In bathroom fans |  | Rough In bathroom fans off power circuit and HA loop at fan
|  | Rough In WM/DR from dryer |  | Rough In WM/DR and install SDI from dryer gpo to laundry switch
|  | Rough In WP GPO to balcony if applicable |  | Rough In WP GPO to balcony if applicable
|  | Rough In intercom patch lead to LBNCO hub |  | Rough In intercom patch lead to LBNCO hub
|  | Rough In tv points to LBNCO hub |  | Rough In tv points to LBNCO hub
|  | Rough In data points to LBNCO hub |  | Rough In data points to LBNCO hub
|  | Ensure LBNCO draw string is in | Ensure LBNCO draw string is in | Rough In data points to LBNCO hub
|  | Ensure Sub Mains are at Switchboard Location | Ensure Sub Mains are at Switchboard Location | Rough In data points to LBNCO hub
|  | Install switchboard & Second Fix |  | Install switchboard & Second Fix
|  | Install 150mm stud protecting sub main | Install 150mm stud protecting sub main and earth with nut & bolt | Install switchboard & Second Fix
|  | Install 2.5mm earth tags | Install 2.5mm earth tags | Install switchboard & Second Fix
|  | Fire caulk sub main into DB and all cable entries | Fire caulk sub main into DB and all cable entries | Install switchboard & Second Fix
|  | Second Fix 4 pin plug base | Second Fix 4 pin plug base | Install switchboard & Second Fix
|  | Ensure all Quick Connects are Second Fix |  | Ensure all Quick Connects are Second Fix
|  | Ensure all cables are neat | Ensure all cables are neat, taped to studs and easily accessible for cut out | Ensure all Quick Connects are Second Fix
|  | Ensure all cables are clearly additional textled | Ensure all cables are clearly additional textled at DB and at party walls | Ensure all Quick Connects are Second Fix
|  | Ensure area is left clean |  | Ensure area is left clean
QA - Second Fix/Fitoff
| Scope |  |  | Second Fix/Fitoff
Rows
|  | Ground level | dynamic | Ground level | Second Fix/Fitoff | Site QA
|  | Level 1 | dynamic | Level 1 | Second Fix/Fitoff | Site QA
|  | Level 2 | dynamic | Level 2 | Second Fix/Fitoff | Site QA
|  | Level 3 | dynamic | Level 3 | Second Fix/Fitoff | Site QA
|  | Level 4 | dynamic | Level 4 | Second Fix/Fitoff | Site QA
|  | Level 5 | dynamic | Level 5 | Second Fix/Fitoff | Site QA
|  | Level 6 | dynamic | Level 6 | Second Fix/Fitoff | Site QA
|  | Level 7 | dynamic | Level 7 | Second Fix/Fitoff | Site QA
|  | Level 8 | dynamic | Level 8 | Second Fix/Fitoff | Site QA
|  | Level 9 | dynamic | Level 9 | Second Fix/Fitoff | Site QA
|  | Level 10 | dynamic | Level 10 | Second Fix/Fitoff | Site QA
Columns
|  | Area clear, tidy & accessible |  | Area clear, tidy and accessible
|  | Fitoff Downlights |  | Fitoff Downlights
|  | Fitoff Smoke Detectors |  | Fitoff Smoke Detectors ( leave tab & dust cover on )
|  | Fitoff joinery GPO's & install cover plates |  | Fitoff joinery GPO's & install cover plates.
|  | Fitoff Laundry GPO & switch |  | Fitoff Laundry GPO & switch
|  | Fitoff all GPOs - Install cover plates & switches where required |  | Fitoff all GPOs - Install cover plates & switches where required
|  | Fitoff light switches |  | Fitoff light switches
|  | Fitoff TV Point |  | Fitoff TV Point
|  | Fitoff Data Points |  | Fitoff Data Points
|  | Fitoff Balcony Light |  | Fitoff Balcony Light
|  | Fitoff AC Isolator |  | Fitoff AC Isolator
|  | Fitoff WP GPO |  | Fitoff WP GPO ( if applicable )
|  | Fitoff LED Strips |  | Fitoff LED Strips
|  | Fitoff Pendant |  | Fitoff Pendant
|  | Install Oven |  | Install Oven
|  | Ensure area is left clean |  | Ensure area is left clean
QA - Commissioning
| Scope |  |  | Commissioning
Rows
|  | Ground level | dynamic | Ground level | Commissioning | Site QA
|  | Level 1 | dynamic | Level 1 | Commissioning | Site QA
|  | Level 2 | dynamic | Level 2 | Commissioning | Site QA
|  | Level 3 | dynamic | Level 3 | Commissioning | Site QA
|  | Level 4 | dynamic | Level 4 | Commissioning | Site QA
|  | Level 5 | dynamic | Level 5 | Commissioning | Site QA
|  | Level 6 | dynamic | Level 6 | Commissioning | Site QA
|  | Level 7 | dynamic | Level 7 | Commissioning | Site QA
|  | Level 8 | dynamic | Level 8 | Commissioning | Site QA
|  | Level 9 | dynamic | Level 9 | Commissioning | Site QA
|  | Level 10 | dynamic | Level 10 | Commissioning | Site QA
Columns
|  | Energisation permit completed prior to energisation |  | Energisation permit completed prior to energisation
|  | Visual Check all items | Visual Check all items | Energisation permit completed prior to energisation
|  | Dead Testing |  | Dead Testing
|  | Live Test |  | Live Test
|  | Record Metrel Results & log | Record Metrel Results and log | Live Test
|  | Test 4 pin plug base for switching |  | Test 4 pin plug base for switching
|  | Check light switches for correct switching functions |  | Check light switches for correct switching functions
|  | Fit Cover Plates to GPOs & Switches |  | Fit Cover Plates to GPOs & Switches (take photos)
|  | Install switchboard cover/additional text |  | Install switchboard cover / additional text (take photos)
|  | Remove battery tabs on smoke detectors |  | Remove battery tabs on smoke detectors ( after MFB certification )
|  | Ensure area is left clean |  | Ensure area is left clean