## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | EQUIPMENT Testing
section | Details
checkpoint | AS3000 Testing Completed
checkpoint | Voltage and Amp Draw Tested
checkpoint | All labels installed
checkpoint | Conduit, decktites installed, penetrations watersealed
checkpoint | Ensure all rubbish and materials have been picked up and area is clean
checklist | Mechanical Switchboard Commissioning
section | Details
checkpoint | AS3000 Testing Completed
checkpoint | All Circuits Fitoff and Operational
checkpoint | Fire Trip Tested with Fire Contractor
checkpoint | All AOM's Operational
checkpoint | All labels installed
checkpoint | As-installed Drawings and legend in MSSB
checkpoint | All penetrations/glands sealed
checkpoint | MSSB cleaned (photos)
checklist | Defect
section | Details
checkpoint | Complete
checkpoint | Photo
checklist | Variation
section | Details
checkpoint | Equipment Type, Name
checkpoint | Complete
checkpoint | Tested and Photo