## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | QA 33A - Sewer Pumpwell Installation | [5 empty] | QA 33A - Sewer Pumpwell Installation
section | Details
checkpoint | Tank Installation Report Details:
textbox | Number / Name:
textbox | Tank Type:
textbox | Drawing & Revision no.:
textbox | Shop Drawings no:
checkpoint | Bedding material, placement and compaction meets specification and manufacturer's reqs
textbox | Bedding Material used:
button | Is chamber installed level? | Yes,No
button | Was the proper amount and type of ballast used? | Yes,No
checkpoint | Tank installation
textbox | Date Installed:
textbox | Pit Base:
textbox | Inlet IL
textbox | Outlet IL
button | Are all penetrations through the pump chamber wall sealed water-tight? | Yes,No
button | Are all piping connections tight and required valves installed properly? | Yes,No
button | Has the vent been installed (if required). | Yes,No, N/A
checkpoint | Backfill
textbox | Material used:
button | Was proper backfill and compaction done to support piping? | Yes,No
button | Has minimum of 500mm of water been put into the tank? | Yes,No
checkpoint | Hand-over Photos
checkpoint | Foreman/QA Officer Sign-Offs completed - Click to Attach Signature(s) below
button | Geschke Group Signature Sign-Off added below | Yes,No
button | Builder Group Signature Sign-Off added below | Yes,No