## Project Structure
QA Folder Structure |  |  |  |  | Instructions | Checklists
Site QA
Ingrounds
Basement 2
|  |  | Pour Zone 1 |  |  | Ingrounds
|  |  | Pour Zone 2 |  |  | Ingrounds
|  |  | Pour Zone 3 |  |  | Ingrounds
|  |  | Pour Zone 4 |  |  | Ingrounds
|  |  | Pour Zone 5 |  |  | Ingrounds
|  |  | Pour Zone 6 |  |  | Ingrounds
Plant and Equipment
|  | Rainwater Tanks |  |  |  | Rainwater Tanks
|  | Stormwater Diversion |  |  |  | Stormwater Diversion
|  | Additional Sewer Pump |  |  |  | Additional Sewer Pump
|  | Hot Water Plant |  |  |  | Hot Water Plant
|  | 5000L GIT |  |  |  | 5000L GIT
|  | 600L GIT |  |  |  | 600L GIT
|  | Sewer Wet Well 1 |  |  |  | Sewer Wet Well 1
|  | Sewer Wet Well 2 |  |  |  | Sewer Wet Well 2
Penetrations
|  | Level 6 |  |  |  | Penetrations
|  | Level 7 |  |  |  | Penetrations
|  | Level 8 |  |  |  | Penetrations
|  | Level 9 |  |  |  | Penetrations
|  | Level 10 |  |  |  | Penetrations
|  | Level 11 |  |  |  | Penetrations
|  | Level 12 |  |  |  | Penetrations
|  | Level 13 |  |  |  | Penetrations
|  | Level 14 |  |  |  | Penetrations
|  | Level 15 |  |  |  | Penetrations
|  | Level 16 |  |  |  | Penetrations
|  | Level 17 |  |  |  | Penetrations
|  | Level 18 |  |  |  | Penetrations
|  | Level 19 |  |  |  | Penetrations
|  | Level 20 |  |  |  | Penetrations
|  | Level 21 |  |  |  | Penetrations
|  | Level 22 |  |  |  | Penetrations
|  | Level 23 |  |  |  | Penetrations
|  | Level 24 |  |  |  | Penetrations
|  | Level 25 |  |  |  | Penetrations
|  | Level 26 |  |  |  | Penetrations
|  | Level 27 |  |  |  | Penetrations
|  | Level 28 |  |  |  | Penetrations
|  | Level 29 |  |  |  | Penetrations
|  | Level 30 |  |  |  | Penetrations
|  | Level 31 |  |  |  | Penetrations
|  | Level 32 |  |  |  | Penetrations
Rough In
Level 6
|  |  | 601 |  |  | Rough In
|  |  | 602 |  |  | Rough In
|  |  | 603 |  |  | Rough In
|  |  | 604 |  |  | Rough In
|  |  | 605 |  |  | Rough In
|  |  | 606 |  |  | Rough In
|  |  | 607 |  |  | Rough In
|  |  | 608 |  |  | Rough In
|  |  | 609 |  |  | Rough In
|  |  | 610 |  |  | Rough In
|  |  | 611 |  |  | Rough In
|  |  | 612 |  |  | Rough In
|  |  | 613 |  |  | Rough In
|  |  | 614 |  |  | Rough In
|  |  | 615 |  |  | Rough In
Level 7 -8
|  |  | 701-801 |  |  | Rough In
|  |  | 702-802 |  |  | Rough In
|  |  | 703-803 |  |  | Rough In
|  |  | 704-804 |  |  | Rough In
|  |  | 705-805 |  |  | Rough In
|  |  | 706-806 |  |  | Rough In
|  |  | 707-807 |  |  | Rough In
|  |  | 708-808 |  |  | Rough In
|  |  | 709-809 |  |  | Rough In
|  |  | 710-810 |  |  | Rough In
|  |  | 711-811 |  |  | Rough In
|  |  | 712-812 |  |  | Rough In
|  |  | 713-813 |  |  | Rough In
|  |  | 714-814 |  |  | Rough In
|  |  | 715-815 |  |  | Rough In
Level 9 - 11
|  |  | 901-1101 |  |  | Rough In
|  |  | 902-1102 |  |  | Rough In
|  |  | 903-1103 |  |  | Rough In
|  |  | 904-1104 |  |  | Rough In
|  |  | 905-1105 |  |  | Rough In
|  |  | 906-1106 |  |  | Rough In
|  |  | 907-1107 |  |  | Rough In
|  |  | 908-1108 |  |  | Rough In
|  |  | 909-1109 |  |  | Rough In
|  |  | 910-1110 |  |  | Rough In
|  |  | 911-1111 |  |  | Rough In
|  |  | 912-1112 |  |  | Rough In
|  |  | 913-1113 |  |  | Rough In
|  |  | 914-1114 |  |  | Rough In
|  |  | 915-1115 |  |  | Rough In
Level 12
|  |  | 1201 |  |  | Rough In
|  |  | 1202 |  |  | Rough In
|  |  | 1203 |  |  | Rough In
|  |  | 1204 |  |  | Rough In
|  |  | 1205 |  |  | Rough In
|  |  | 1206 |  |  | Rough In
|  |  | 1207 |  |  | Rough In
|  |  | 1208 |  |  | Rough In
|  |  | 1209 |  |  | Rough In
|  |  | 1210 |  |  | Rough In
Level 13 -28
|  |  | 1301-2801 |  |  | Rough In
|  |  | 1302-2802 |  |  | Rough In
|  |  | 1303-2803 |  |  | Rough In
|  |  | 1304-2804 |  |  | Rough In
|  |  | 1305-2805 |  |  | Rough In
|  |  | 1306-2806 |  |  | Rough In
|  |  | 1307-2807 |  |  | Rough In
|  |  | 1308-2808 |  |  | Rough In
|  |  | 1309-2809 |  |  | Rough In
|  |  | 1310-2810 |  |  | Rough In
Level 29
|  |  | 2901 |  |  | Rough In
|  |  | 2902 |  |  | Rough In
|  |  | 2903 |  |  | Rough In
|  |  | 2904 |  |  | Rough In
|  |  | 2905 |  |  | Rough In
|  |  | 2906 |  |  | Rough In
Level 30 -32
|  |  | 3001-3201 |  |  | Rough In
|  |  | 3002-3202 |  |  | Rough In
|  |  | 3003-3203 |  |  | Rough In
|  |  | 3004-3204 |  |  | Rough In
|  |  | 3005-3205 |  |  | Rough In
|  |  | 3006-3206 |  |  | Rough In
Drains
Level 6
|  |  | 601 |  |  | Drains
|  |  | 602 |  |  | Drains
|  |  | 603 |  |  | Drains
|  |  | 604 |  |  | Drains
|  |  | 605 |  |  | Drains
|  |  | 606 |  |  | Drains
|  |  | 607 |  |  | Drains
|  |  | 608 |  |  | Drains
|  |  | 609 |  |  | Drains
|  |  | 610 |  |  | Drains
|  |  | 611 |  |  | Drains
|  |  | 612 |  |  | Drains
|  |  | 613 |  |  | Drains
|  |  | 614 |  |  | Drains
|  |  | 615 |  |  | Drains
Level 7 -8
|  |  | 701-801 |  |  | Drains
|  |  | 702-802 |  |  | Drains
|  |  | 703-803 |  |  | Drains
|  |  | 704-804 |  |  | Drains
|  |  | 705-805 |  |  | Drains
|  |  | 706-806 |  |  | Drains
|  |  | 707-807 |  |  | Drains
|  |  | 708-808 |  |  | Drains
|  |  | 709-809 |  |  | Drains
|  |  | 710-810 |  |  | Drains
|  |  | 711-811 |  |  | Drains
|  |  | 712-812 |  |  | Drains
|  |  | 713-813 |  |  | Drains
|  |  | 714-814 |  |  | Drains
|  |  | 715-815 |  |  | Drains
Level 9 - 11
|  |  | 901-1101 |  |  | Drains
|  |  | 902-1102 |  |  | Drains
|  |  | 903-1103 |  |  | Drains
|  |  | 904-1104 |  |  | Drains
|  |  | 905-1105 |  |  | Drains
|  |  | 906-1106 |  |  | Drains
|  |  | 907-1107 |  |  | Drains
|  |  | 908-1108 |  |  | Drains
|  |  | 909-1109 |  |  | Drains
|  |  | 910-1110 |  |  | Drains
|  |  | 911-1111 |  |  | Drains
|  |  | 912-1112 |  |  | Drains
|  |  | 913-1113 |  |  | Drains
|  |  | 914-1114 |  |  | Drains
|  |  | 915-1115 |  |  | Drains
Level 12
|  |  | 1201 |  |  | Drains
|  |  | 1202 |  |  | Drains
|  |  | 1203 |  |  | Drains
|  |  | 1204 |  |  | Drains
|  |  | 1205 |  |  | Drains
|  |  | 1206 |  |  | Drains
|  |  | 1207 |  |  | Drains
|  |  | 1208 |  |  | Drains
|  |  | 1209 |  |  | Drains
|  |  | 1210 |  |  | Drains
Level 13 -28
|  |  | 1301-2801 |  |  | Drains
|  |  | 1302-2802 |  |  | Drains
|  |  | 1303-2803 |  |  | Drains
|  |  | 1304-2804 |  |  | Drains
|  |  | 1305-2805 |  |  | Drains
|  |  | 1306-2806 |  |  | Drains
|  |  | 1307-2807 |  |  | Drains
|  |  | 1308-2808 |  |  | Drains
|  |  | 1309-2809 |  |  | Drains
|  |  | 1310-2810 |  |  | Drains
Level 29
|  |  | 2901 |  |  | Drains
|  |  | 2902 |  |  | Drains
|  |  | 2903 |  |  | Drains
|  |  | 2904 |  |  | Drains
|  |  | 2905 |  |  | Drains
|  |  | 2906 |  |  | Drains
Level 30 -32
|  |  | 3001-3201 |  |  | Drains
|  |  | 3002-3202 |  |  | Drains
|  |  | 3003-3203 |  |  | Drains
|  |  | 3004-3204 |  |  | Drains
|  |  | 3005-3205 |  |  | Drains
|  |  | 3006-3206 |  |  | Drains
Lagging
Level 6
|  |  | 601 |  |  | Lagging
|  |  | 602 |  |  | Lagging
|  |  | 603 |  |  | Lagging
|  |  | 604 |  |  | Lagging
|  |  | 605 |  |  | Lagging
|  |  | 606 |  |  | Lagging
|  |  | 607 |  |  | Lagging
|  |  | 608 |  |  | Lagging
|  |  | 609 |  |  | Lagging
|  |  | 610 |  |  | Lagging
|  |  | 611 |  |  | Lagging
|  |  | 612 |  |  | Lagging
|  |  | 613 |  |  | Lagging
|  |  | 614 |  |  | Lagging
|  |  | 615 |  |  | Lagging
Level 7 -8
|  |  | 701-801 |  |  | Lagging
|  |  | 702-802 |  |  | Lagging
|  |  | 703-803 |  |  | Lagging
|  |  | 704-804 |  |  | Lagging
|  |  | 705-805 |  |  | Lagging
|  |  | 706-806 |  |  | Lagging
|  |  | 707-807 |  |  | Lagging
|  |  | 708-808 |  |  | Lagging
|  |  | 709-809 |  |  | Lagging
|  |  | 710-810 |  |  | Lagging
|  |  | 711-811 |  |  | Lagging
|  |  | 712-812 |  |  | Lagging
|  |  | 713-813 |  |  | Lagging
|  |  | 714-814 |  |  | Lagging
|  |  | 715-815 |  |  | Lagging
Level 9 - 11
|  |  | 901-1101 |  |  | Lagging
|  |  | 902-1102 |  |  | Lagging
|  |  | 903-1103 |  |  | Lagging
|  |  | 904-1104 |  |  | Lagging
|  |  | 905-1105 |  |  | Lagging
|  |  | 906-1106 |  |  | Lagging
|  |  | 907-1107 |  |  | Lagging
|  |  | 908-1108 |  |  | Lagging
|  |  | 909-1109 |  |  | Lagging
|  |  | 910-1110 |  |  | Lagging
|  |  | 911-1111 |  |  | Lagging
|  |  | 912-1112 |  |  | Lagging
|  |  | 913-1113 |  |  | Lagging
|  |  | 914-1114 |  |  | Lagging
|  |  | 915-1115 |  |  | Lagging
Level 12
|  |  | 1201 |  |  | Lagging
|  |  | 1202 |  |  | Lagging
|  |  | 1203 |  |  | Lagging
|  |  | 1204 |  |  | Lagging
|  |  | 1205 |  |  | Lagging
|  |  | 1206 |  |  | Lagging
|  |  | 1207 |  |  | Lagging
|  |  | 1208 |  |  | Lagging
|  |  | 1209 |  |  | Lagging
|  |  | 1210 |  |  | Lagging
Level 13 -28
|  |  | 1301-2801 |  |  | Lagging
|  |  | 1302-2802 |  |  | Lagging
|  |  | 1303-2803 |  |  | Lagging
|  |  | 1304-2804 |  |  | Lagging
|  |  | 1305-2805 |  |  | Lagging
|  |  | 1306-2806 |  |  | Lagging
|  |  | 1307-2807 |  |  | Lagging
|  |  | 1308-2808 |  |  | Lagging
|  |  | 1309-2809 |  |  | Lagging
|  |  | 1310-2810 |  |  | Lagging
Level 29
|  |  | 2901 |  |  | Lagging
|  |  | 2902 |  |  | Lagging
|  |  | 2903 |  |  | Lagging
|  |  | 2904 |  |  | Lagging
|  |  | 2905 |  |  | Lagging
|  |  | 2906 |  |  | Lagging
Level 30 -32
|  |  | 3001-3201 |  |  | Lagging
|  |  | 3002-3202 |  |  | Lagging
|  |  | 3003-3203 |  |  | Lagging
|  |  | 3004-3204 |  |  | Lagging
|  |  | 3005-3205 |  |  | Lagging
|  |  | 3006-3206 |  |  | Lagging
Fitoff
Level 6
601
|  |  |  | Kitchen |  | Kitchen Fit Off
|  |  |  | Bathroom |  | BATHROOM Fit Off
|  |  |  | Laundry |  | LAUNDRY Fit Off
602
|  |  |  | Kitchen |  | Kitchen Fit Off
|  |  |  | Bathroom |  | BATHROOM Fit Off
|  |  |  | Ensuite |  | ENSUITE Fit Off
|  |  |  | Laundry |  | LAUNDRY Fit Off
|  |  | 603 |  | same as 602
|  |  | 604 |  | same as 602
|  |  | 605 |  | same as 602
|  |  | 606 |  | same as 602
|  |  | 607 |  | same as 601
|  |  | 608 |  | same as 601
|  |  | 609 |  | same as 601
|  |  | 610 |  | same as 601
|  |  | 611 |  | same as 601
|  |  | 612 |  | same as 601
|  |  | 613 |  | same as 602
|  |  | 614 |  | same as 602
|  |  | 615 |  | same as 602
Level 7 -8
|  |  | 701-801 |  | same as 601
|  |  | 702-802 |  | same as 602
|  |  | 703-803 |  | same as 602
|  |  | 704-804 |  | same as 602
|  |  | 705-805 |  | same as 602
|  |  | 706-806 |  | same as 602
|  |  | 707-807 |  | same as 601
|  |  | 708-808 |  | same as 601
|  |  | 709-809 |  | same as 601
|  |  | 710-810 |  | same as 601
|  |  | 711-811 |  | same as 601
|  |  | 712-812 |  | same as 601
|  |  | 713-813 |  | same as 602
|  |  | 714-814 |  | same as 602
|  |  | 715-815 |  | same as 602
Level 9 - 11
|  |  | 901-1101 |  | same as 601
|  |  | 902-1102 |  | same as 602
|  |  | 903-1103 |  | same as 602
|  |  | 904-1104 |  | same as 602
|  |  | 905-1105 |  | same as 602
|  |  | 906-1106 |  | same as 602
|  |  | 907-1107 |  | same as 601
|  |  | 908-1108 |  | same as 601
|  |  | 909-1109 |  | same as 601
|  |  | 910-1110 |  | same as 601
|  |  | 911-1111 |  | same as 601
|  |  | 912-1112 |  | same as 601
|  |  | 913-1113 |  | same as 602
|  |  | 914-1114 |  | same as 602
|  |  | 915-1115 |  | same as 602
Level 12
|  |  | 1201 |  | same as 601
|  |  | 1202 |  | same as 602
|  |  | 1203 |  | same as 602
|  |  | 1204 |  | same as 602
|  |  | 1205 |  | same as 602
|  |  | 1206 |  | same as 602
|  |  | 1207 |  | same as 602
|  |  | 1208 |  | same as 602
|  |  | 1209 |  | same as 602
|  |  | 1210 |  | same as 602
Level 13 -28
|  |  | 1301-2801 |  | same as 601
|  |  | 1302-2802 |  | same as 602
|  |  | 1303-2803 |  | same as 602
|  |  | 1304-2804 |  | same as 602
|  |  | 1305-2805 |  | same as 602
|  |  | 1306-2806 |  | same as 602
|  |  | 1307-2807 |  | same as 602
|  |  | 1308-2808 |  | same as 602
|  |  | 1309-2809 |  | same as 602
|  |  | 1310-2810 |  | same as 602
Level 29
|  |  | 2901 |  | same as 601
|  |  | 2902 |  | same as 602
|  |  | 2903 |  | same as 602
|  |  | 2904 |  | same as 602
|  |  | 2905 |  | same as 602
|  |  | 2906 |  | same as 602
Level 30 -32
|  |  | 3001-3201 |  | same as 601
|  |  | 3002-3202 |  | same as 602
|  |  | 3003-3203 |  | same as 602
|  |  | 3004-3204 |  | same as 602
|  |  | 3005-3205 |  | same as 602
|  |  | 3006-3206 |  | same as 602
Corrdors
|  | Level 6 |  |  |  | Corridors
|  | Level 7 |  |  |  | Corridors
|  | Level 8 |  |  |  | Corridors
|  | Level 9 |  |  |  | Corridors
|  | Level 10 |  |  |  | Corridors
|  | Level 11 |  |  |  | Corridors
|  | Level 12 |  |  |  | Corridors
|  | Level 13 |  |  |  | Corridors
|  | Level 14 |  |  |  | Corridors
|  | Level 15 |  |  |  | Corridors
|  | Level 16 |  |  |  | Corridors
|  | Level 17 |  |  |  | Corridors
|  | Level 18 |  |  |  | Corridors
|  | Level 19 |  |  |  | Corridors
|  | Level 20 |  |  |  | Corridors
|  | Level 21 |  |  |  | Corridors
|  | Level 22 |  |  |  | Corridors
|  | Level 23 |  |  |  | Corridors
|  | Level 24 |  |  |  | Corridors
|  | Level 25 |  |  |  | Corridors
|  | Level 26 |  |  |  | Corridors
|  | Level 27 |  |  |  | Corridors
|  | Level 28 |  |  |  | Corridors
|  | Level 29 |  |  |  | Corridors
|  | Level 30 |  |  |  | Corridors
|  | Level 31 |  |  |  | Corridors
|  | Level 32 |  |  |  | Corridors
Meter Assembilies & Risers
|  | Level 6 |  |  |  | Meter Assemblies & Risers
|  | Level 7 |  |  |  | Meter Assemblies & Risers
|  | Level 8 |  |  |  | Meter Assemblies & Risers
|  | Level 9 |  |  |  | Meter Assemblies & Risers
|  | Level 10 |  |  |  | Meter Assemblies & Risers
|  | Level 11 |  |  |  | Meter Assemblies & Risers
|  | Level 12 |  |  |  | Meter Assemblies & Risers
|  | Level 13 |  |  |  | Meter Assemblies & Risers
|  | Level 14 |  |  |  | Meter Assemblies & Risers
|  | Level 15 |  |  |  | Meter Assemblies & Risers
|  | Level 16 |  |  |  | Meter Assemblies & Risers
|  | Level 17 |  |  |  | Meter Assemblies & Risers
|  | Level 18 |  |  |  | Meter Assemblies & Risers
|  | Level 19 |  |  |  | Meter Assemblies & Risers
|  | Level 20 |  |  |  | Meter Assemblies & Risers
|  | Level 21 |  |  |  | Meter Assemblies & Risers
|  | Level 22 |  |  |  | Meter Assemblies & Risers
|  | Level 23 |  |  |  | Meter Assemblies & Risers
|  | Level 24 |  |  |  | Meter Assemblies & Risers
|  | Level 25 |  |  |  | Meter Assemblies & Risers
|  | Level 26 |  |  |  | Meter Assemblies & Risers
|  | Level 27 |  |  |  | Meter Assemblies & Risers
|  | Level 28 |  |  |  | Meter Assemblies & Risers
|  | Level 29 |  |  |  | Meter Assemblies & Risers
|  | Level 30 |  |  |  | Meter Assemblies & Risers
|  | Level 31 |  |  |  | Meter Assemblies & Risers
|  | Level 32 |  |  |  | Meter Assemblies & Risers
Commissioning
Level 6
601
|  |  |  | Kitchen |  | KITCHEN Commissioning
|  |  |  | Bathroom |  | BATHROOM Commissioning
|  |  |  | Laundry |  | LAUNDRY Commissioning
602
|  |  |  | Kitchen |  | KITCHEN Commissioning
|  |  |  | Bathroom |  | BATHROOM Commissioning
|  |  |  | Ensuite |  | ENSUITE Commissioning
|  |  |  | Laundry |  | LAUNDRY Commissioning
|  |  | 603 |  | same as 602
|  |  | 604 |  | same as 602
|  |  | 605 |  | same as 602
|  |  | 606 |  | same as 602
|  |  | 607 |  | same as 601
|  |  | 608 |  | same as 601
|  |  | 609 |  | same as 601
|  |  | 610 |  | same as 601
|  |  | 611 |  | same as 601
|  |  | 612 |  | same as 601
|  |  | 613 |  | same as 602
|  |  | 614 |  | same as 602
|  |  | 615 |  | same as 602
Level 7 -8
|  |  | 701-801 |  | same as 601
|  |  | 702-802 |  | same as 602
|  |  | 703-803 |  | same as 602
|  |  | 704-804 |  | same as 602
|  |  | 705-805 |  | same as 602
|  |  | 706-806 |  | same as 602
|  |  | 707-807 |  | same as 601
|  |  | 708-808 |  | same as 601
|  |  | 709-809 |  | same as 601
|  |  | 710-810 |  | same as 601
|  |  | 711-811 |  | same as 601
|  |  | 712-812 |  | same as 601
|  |  | 713-813 |  | same as 602
|  |  | 714-814 |  | same as 602
|  |  | 715-815 |  | same as 602
Level 9 - 11
|  |  | 901-1101 |  | same as 601
|  |  | 902-1102 |  | same as 602
|  |  | 903-1103 |  | same as 602
|  |  | 904-1104 |  | same as 602
|  |  | 905-1105 |  | same as 602
|  |  | 906-1106 |  | same as 602
|  |  | 907-1107 |  | same as 601
|  |  | 908-1108 |  | same as 601
|  |  | 909-1109 |  | same as 601
|  |  | 910-1110 |  | same as 601
|  |  | 911-1111 |  | same as 601
|  |  | 912-1112 |  | same as 601
|  |  | 913-1113 |  | same as 602
|  |  | 914-1114 |  | same as 602
|  |  | 915-1115 |  | same as 602
Level 12
|  |  | 1201 |  | same as 601
|  |  | 1202 |  | same as 602
|  |  | 1203 |  | same as 602
|  |  | 1204 |  | same as 602
|  |  | 1205 |  | same as 602
|  |  | 1206 |  | same as 602
|  |  | 1207 |  | same as 602
|  |  | 1208 |  | same as 602
|  |  | 1209 |  | same as 602
|  |  | 1210 |  | same as 602
Level 13 -28
|  |  | 1301-2801 |  | same as 601
|  |  | 1302-2802 |  | same as 602
|  |  | 1303-2803 |  | same as 602
|  |  | 1304-2804 |  | same as 602
|  |  | 1305-2805 |  | same as 602
|  |  | 1306-2806 |  | same as 602
|  |  | 1307-2807 |  | same as 602
|  |  | 1308-2808 |  | same as 602
|  |  | 1309-2809 |  | same as 602
|  |  | 1310-2810 |  | same as 602
Level 29
|  |  | 2901 |  | same as 601
|  |  | 2902 |  | same as 602
|  |  | 2903 |  | same as 602
|  |  | 2904 |  | same as 602
|  |  | 2905 |  | same as 602
|  |  | 2906 |  | same as 602
Level 30 -32
|  |  | 3001-3201 |  | same as 601
|  |  | 3002-3202 |  | same as 602
|  |  | 3003-3203 |  | same as 602
|  |  | 3004-3204 |  | same as 602
|  |  | 3005-3205 |  | same as 602
|  |  | 3006-3206 |  | same as 602

## Checklists
type | name
checklist | Ingrounds
checkpoint | Pipes installed as per plan
checkpoint | Pipes installed to correct inverts
checkpoint | Backfill
checkpoint | Test prior complete if necessary.
checklist | Pour Schedule
Checkpoint | Upload PDF
checklist | Rainwater Tanks
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Stormwater Diversion
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Additional Sewer Pump
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Hot Water Plant
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | 5000L GIT
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | 600L GIT
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Sewer Wet Well 1
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Sewer Wet Well 2
checkpoint | Check agasint Sample Submission
checkpoint | Installed as per manufactors Guidelines
checkpoint | Commissioning Complete
checklist | Penetrations
checkpoint | Slab Penetrations (All slab penetations installed as per Plan)
checklist | Rough In
checkpoint | DRAIN COMPLETE
checkpoint | OVERFLOW EXPOSED AND CHOPPED DOWN
checkpoint | UN-USED PENO'S SEALED
checkpoint | ROUGH IN COMPLETE
checkpoint | HEADER PIPES FIRE CAULKED
checkpoint | TMV ACCESSIBLE TO A/P
checkpoint | HOT WATER METERS INSTALLED
checkpoint | CROSS CONNECTIONS
checkpoint | MIXER STRAIGHT, SET BACK CORRECT
checkpoint | WATER PRESSURE TESTED
checkpoint | ROLL OVERS COMPLETE AND SECURE
checkpoint | APARTMENT CLEAN OF MATERIALS
checkpoint | FW CLEANNED, COVERED AND CLEAR OF DEBRIS
checkpoint | AAV REQUIRED?
checkpoint | FIXTURE SET OUT CORRECT
checkpoint | CLIENT VARIATION CHECKED AGAINST SCHEDULE
checklist | Drains
checkpoint | All drains installed as per Plan referenced on spreadsheet
checkpoint | Caulking Complete
checkpoint | Photos must be attached
checklist | Lagging
checkpoint | Lagging Complete
checkpoint | Photos must be attached
checklist-sectioned | Kitchen Fit Off
section | SINK
checkpoint | JOINERY
checkpoint | STONE
checkpoint | MIXER
checkpoint | WASTE
checkpoint | DW CONNECT
section | COOKTOP
checkpoint | STONE/ SPLASH
checkpoint | COOKTOP
checkpoint | CONNECTION
checklist-sectioned | BATHROOM Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
section | SHOWER
checkpoint | TILE
checkpoint | GROUT
checkpoint | RAIL
checkpoint | BATH
checklist-sectioned | ENSUITE Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
section | SHOWER
checkpoint | TILE
checkpoint | GROUT
checkpoint | RAIL
checkpoint | BATH
checklist | LAUNDRY Fit Off
checkpoint | TILE
checkpoint | TROUGH
checkpoint | MINI STOP
checkpoint | STAND PIPE
checklist-sectioned | POWDER ROOM Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
checklist-sectioned | DDA Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
section | SHOWER
checkpoint | TILE
checkpoint | GROUT
checkpoint | RAIL
checklist-sectioned | Residential Amenities Fit Off
section | SINK
checkpoint | JOINERY
checkpoint | STONE
checkpoint | MIXER
checkpoint | WASTE
checkpoint | DW CONNECT
section | COOKTOP
checkpoint | STONE/ SPLASH
checkpoint | COOKTOP
checkpoint | CONNECTION
checklist-sectioned | Male WC Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
checkpoint | Urinal
checklist-sectioned | Female WC Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
checklist | Cleaners Fit Off
checkpoint | SINK
checkpoint | MIXER
checkpoint | WASTE
checklist-sectioned | Male Locker Amenities Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
section | SHOWER
checkpoint | TILE
checkpoint | GROUT
checkpoint | RAIL
checklist-sectioned | Female Locker Amenities Fit Off
section | BASIN
checkpoint | JOINERY
checkpoint | STONE
checkpoint | BASIN
checkpoint | MIXER
section | WC
checkpoint | TILE
checkpoint | GROUT
checkpoint | WC
section | SHOWER
checkpoint | TILE
checkpoint | GROUT
checkpoint | RAIL
checklist | Corridors
checkpoint | Hot Water
checkpoint | Cold Water
checkpoint | Hot Water Lagging
checkpoint | Testing
checkpoint | Pipes clipped
checkpoint | Valves Tagged
checkpoint | Door Headers (Fire rated with Hilti 611A)
checkpoint | Hot Water Meters Installed
checkpoint | Photos must be attached
checklist | Meter Assemblies & Risers
checkpoint | Valves Tagged
checkpoint | Meters on
checkpoint | Assembly Complete
checkpoint | Pipe Support
checklist | KITCHEN Commissioning
checkpoint | KITCHEN SINK
checkpoint | SINK MIXER
checkpoint | DISHWASHER
checkpoint | DISHWASHER RAN
checkpoint | HOT PLATE
checkpoint | SINK WASTE
checkpoint | COVERPLATES
checklist | BATHROOM Commissioning
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | SHOWER MIXER
checkpoint | SHOWER ROSE
checkpoint | SHOWER WASTE CLEANED
checkpoint | TEMP VALVE
checkpoint | BATH MIXER
checkpoint | BATH OUTLET
checkpoint | AAV
checkpoint | BATH
checklist | ENSUITE Commissioning
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | SHOWER MIXER
checkpoint | SHOWER ROSE
checkpoint | SHOWER WASTE CLEANED
checkpoint | TEMP VALVE
checkpoint | BATH MIXER
checkpoint | BATH OUTLET
checkpoint | AAV
checkpoint | BATH
checklist | LAUNDRY Commissioning
checkpoint | W.M STOPS
checkpoint | TROUGH
checkpoint | TROUGH MIXER
checkpoint | TROUGH WASTE
checkpoint | STAND PIPE
checkpoint | FLOOR WASTE
checklist | DDA Commissioning
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | SHOWER MIXER
checkpoint | SHOWER ROSE
checkpoint | SHOWER WASTE CLEANED
checkpoint | TEMP VALVE
checkpoint | AAV
checklist | Residential Amenities Commissioning
checkpoint | KITCHEN SINK
checkpoint | SINK MIXER
checkpoint | DISHWASHER
checkpoint | DISHWASHER RAN
checkpoint | HOT PLATE
checkpoint | SINK WASTE
checkpoint | COVERPLATES
checklist | Male WC Commissioning
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | TEMP VALVE
checklist | Female WC Commissioning
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | TEMP VALVE
checklist | Male Locker Amenities Commissioning
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | SHOWER MIXER
checkpoint | SHOWER ROSE
checkpoint | SHOWER WASTE CLEANED
checkpoint | TEMP VALVE
checklist | Female Locker Amenities Commissioning
checkpoint | W.C
checkpoint | BASIN
checkpoint | CLEAN BASIN FW
checkpoint | SHOWER MIXER
checkpoint | SHOWER ROSE
checkpoint | SHOWER WASTE CLEANED
checkpoint | TEMP VALVE
checklist | Clearners Commissioning
checkpoint | SINK
checkpoint | SINK MIXER
checkpoint | CHECK SINK OVERFLOWS FOR LEAKS