## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
ba14de60-01c1-4128-89ef-2e5a372adcc9 | checklist | Add Dayworks Checklist |  | Add Dayworks Checklist | 3fe8e3ba-8f93-4db0-bc73-4de5217b2860
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
8c1c9014-744d-4308-b850-4c063c14631d | checkpoint | Has an ATS / SI been received for this work
33d59e72-efdf-58ca-b703-1453f37d6a6c | textbox | Person requesting work:
b8c0ffc8-aef1-5bb4-8f1a-d36c5ea2fc89 | textbox | Description of work
f7ac6772-3151-5efd-bba0-d0ff9f64f9ef | textbox | Labour / operative undertaking work
28a0590f-1105-5d33-8820-2412a1fad432 | textbox | Hours Worked:
670c3339-5853-5a1b-a06f-5ebc8a57402e | textbox | Materials Used:
cf77f4f0-5ed5-4c28-a697-c06f36e2c251 | checkpoint | Job Completed Satisfactorily
4d080832-2526-4d12-9fbc-ba032faf5c8c | checkpoint | Signed Off
| checklist | CLT Floor/Wall/Stairs Checklist |  | CLT Floor/Wall/Stairs Checklist | b170878c-1eda-4ea9-8f56-6d7084ae63f0
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Correct Panel and location
| checkpoint | Fixings in joint installed prior to next panel install
| checkpoint | Fire sealant applied
| checkpoint | CLT panels screwed to structure (Walls,LVL or beams)
| checkpoint | Ply spline joints made
| checkpoint | Straps installed
| checkpoint | Area complete ready for inspection
| checkpoint | Adhero wrap to CLT for moisture management
| checkpoint | Drains installed
dca081ba-ba66-4f47-9822-5b6cb8a659f8 | checklist | H&S - Accident & Incident Investigation Report |  | H&S - Accident & Incident Investigation Report | 5eeb4b7b-e51c-41e6-989b-dea868cc3e5e
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
e30f9ba3-2e32-4e5f-b4d2-73df74c2c201 | checkpoint | Particulars of Incident details completed
f0557a80-89e8-5563-9cf2-cef3fe5ce464 | textbox | Name of Investigator:
47edd1ab-2a8f-5752-b5d2-b107d0c590f2 | textbox | Date:
f78224d8-862f-5999-911e-6d397af9c44e | textbox | Time:
97728647-b1dd-5928-a37f-d75b94d273c3 | textbox | Project/Site:
2d34dbf1-8d93-596c-b98e-84972c0fc583 | textbox | Date Reported:
375ad370-6625-4d6f-b87b-7e1f8e42f6b8 | checkpoint | Injured Person details completed
5b6b42cd-57af-5a1d-989e-790947034b8f | textbox | Name:
54514bd7-cb9c-5131-b8cd-8271bf723335 | textbox | Age:
882c31cc-5ef3-599b-8af7-6fe6b0581adc | textbox | Phone Number:
0ef3eead-dabf-5b60-a328-b56d84d8d00e | textbox | Address:
2b5deaaf-d688-5cd6-a353-18fc1f20fb8f | textbox | Reported date of incident:
21110a53-08c5-5dfc-b922-5052b6b65893 | textbox | Length of employment:
76a7f4c7-b0eb-5a4f-9030-24b2de4551ab | textbox | Time on job:
75245d20-8505-4aa9-9bf0-90d38c9cc885 | checkpoint | Type Of Injury:
34707213-145d-5774-90b6-b1bef78df545 | tickbox | Strain/sprain
8576223c-90da-52f9-a5cc-29830e6fcf70 | tickbox | Fracture
04b61cd2-6ba3-5734-9347-42b5fec5c604 | tickbox | Laceration/cut
71ebd68f-a3ca-5752-ba76-bda4506e6f2c | tickbox | Bruising
d618244e-5b2a-57d1-8d58-2ba5ebeb2790 | tickbox | Scratch/abrasion
3d42eed1-1381-539f-a6ec-5923b113ba30 | tickbox | Amputation
2a8413b5-d752-5cfd-8e52-7d94ed4202b3 | tickbox | Burn scald
83698a61-92c3-568b-b3de-5b0b0524582a | tickbox | Dislocation
3102745c-51cc-5b32-ad27-f7811282425f | tickbox | Internal
3c8ddebf-cd78-5286-932e-b45648deb29a | tickbox | Foreign body
2fe403bc-7711-5103-a126-a84bcca09fc8 | tickbox | Chemical reaction
b2dce672-c076-5884-9595-2b6908182e14 | tickbox | Other
ebdd8482-3701-55ae-98ec-7a97d93ae6b0 | textbox | If other please specify:
e1a15fa3-f657-5eff-98a0-9d983fbfa955 | textbox | Injured Part of Body:
04be056e-6356-4951-8d4f-45b20e2ae31c | checkpoint | Damaged Property details
3d614d86-fe93-556a-a4c4-0f921929755d | textbox | Property/material damaged:
721643da-523e-5c35-86d2-67619364edf2 | textbox | Nature of damage:
f8d140a4-8bcd-5296-9733-278d40c13e51 | textbox | Object/substance inflicting damage:
dab24842-14cd-42ca-a450-b1a1d5b6d03e | checkpoint | Incident Details Complete
6ebe94fe-436c-5e58-9bef-0c96115ae6bf | textbox | Describe what happened:
b847453b-9789-4ed6-ac89-d9d2b709bc14 | checkpoint | Analysis Details Completed
c258272d-6f20-5e2c-a065-5d698f63550a | textbox | What were the causes (root and contributing causes) of the incident?
4fa68354-d971-595c-ae3e-258aae31da1d | textbox | Root causes / safety system failures:
bf0cd5af-d8b2-52bc-b207-24f144614aaa | textbox | Contributing causes / unsafe acts and conditions:
e9f98c33-3673-4f2f-8b82-5f5978e9f176 | checkpoint | Prevention Details Completed
4da6a010-9069-5081-a57e-85a8828fb615 | textbox | What action has or will be taken to prevent a recurrence?
c2a8550b-605c-5473-94e1-2b436f1954f4 | textbox | By Whom:
73dba80e-b874-5472-ac32-d067c60bc3df | textbox | When:
b05f113c-9ff5-4b27-a366-0b66edf03f92 | checkpoint | Treatment and Investigation of Incident Details Completed
a71fd28e-4332-51f6-b452-d9ddebb7db5b | textbox | Treatment and Investigation of Incident :
1a7ef90f-5923-58a1-823d-4fa65e59a387 | textbox | Name of person giving First Aid:
4d8583ba-024d-53bb-b2aa-ca98a25294d8 | textbox | Doctor/Hospital:
80920336-8d56-5e98-81d1-58715f7e24a3 | textbox | Incident investigated by:
2d38521a-4028-5609-bf6e-496c7497e2eb | textbox | Date:
0767c91f-6f44-5029-80c8-8bd53ebbaf23 | dropdown | Worksafe NZ advised | Yes,No
7ce65f79-7878-5eb7-a3d5-103ecc2290fb | textbox | Date:
afd95e54-9d60-490c-9e3a-fdc6a8049ee2 | checklist | H&S - Daily Pre Start Checklist |  | H&S - Daily Pre Start Checklist | ec370559-c366-4030-a049-2fe46fbe5cc6
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
29cb5fa4-a4c6-4922-8f80-5160097256ab | checkpoint | Attendees documented
28fb0ddb-174e-43b6-aadb-7b0c0473886c | checkpoint | Where is each person working and what are they doing?
cf2174d4-8a32-42d8-afc1-38627f2a4d56 | checkpoint | Are any permits required?
90a711b4-35b1-59cc-acec-bfac38485926 | button |  | No,Yes
ebc90078-4861-4506-b445-37d6e73179f3 | checkpoint | Are there any work Hazards?
4fdaf85b-33d9-5588-a4b5-4c6ab4b96047 | button |  | No,Yes
c6db01b3-e347-4d84-95d1-993a82ed7c2a | checkpoint | A JSEA been completed & Approved?
ff64eebd-d1ff-4ba7-9815-d6b62b88720e | checkpoint | Are there any concerns; Safety or Production?
c8ab0932-7172-5c3d-bfc4-802ea5deea48 | button |  | No,Yes
1551a102-62ac-4c62-b344-ef08621077a4 | checkpoint | Everyone has got their minimum PPE for site and task related PPE
b10772ef-2902-46cb-b46a-861974f5454a | checkpoint | All plant tagged and in good condition
3ef27d3d-9bfe-4327-b9d5-a822f824c5ca | checkpoint | All employees have attended this meeting and are aware of their roles in safety and the daily hazards
9fb10340-ed0f-4965-913e-e9248b68abc4 | checklist | H&S - Site Toolbox Checklist |  | H&S - Site Toolbox Checklist | c76e3a38-8581-4bdb-981b-231d8df691f3
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
d4fd86ea-a6f4-4811-a0e3-f7680da06c2a | checkpoint | Employees Attending
4fccfa7b-23fe-41c6-9ebf-c4488154e2a5 | checkpoint | Site Activity / Safe Work Practices / Accident-Incident Investigations Discussed
2dff9346-05f2-40ab-bace-b2d32c310362 | checkpoint | Employee issue raised
1a34917a-ecc3-4f61-a772-ef65285087ef | checkpoint | Safe Observations
849e1728-cd3c-44a9-95cf-af36229afdf2 | checkpoint | JSEA completed
| checklist | H&S - Weekly Site Inspection Checklist |  | H&S - Weekly Site Inspection Checklist | 7007e396-5c3e-408c-96c0-0f1ab0eab074
| section | Weekly Site Inspection
| checkpoint | Weekly Site Inspection Checklist
f68711da-05da-5f1b-a981-66e84f013a82 | textbox | Location:
53d8e4fe-6472-51c8-ab93-7d2eaa36aa5f | textbox | Date:
a6f37e8f-14f3-505d-ad5c-b7c4b9a12274 | textbox | Name of Inspector:
| section | Site Control
| checkpoint | Hazard board up to date
| checkpoint | Toolbox talk
| checkpoint | Inductions up to date
| section | Site Facilities
| checkpoint | Offices Clean
| checkpoint | Smoko Sheds
| checkpoint | Fridge
| checkpoint | Toilets
| checkpoint | Containers
| section | General Site
| checkpoint | Access Ways
| checkpoint | Stairways Clear
| section | PPE
| checkpoint | Signage Displayed
| checkpoint | Hardhats
| checkpoint | Glasses worn
| checkpoint | Gloves
| section | First Aid
| checkpoint | Box Available and stocked
| checkpoint | Fire Extinguishers Available
| section | Cutting/Grinding
| checkpoint | Hot work permits
| checkpoint | Fire Extinguishers on hand
| checkpoint | Full Face Shield
| section | Electrical Equipment
| checkpoint | Current Tags
| checkpoint | Leads placed safely
| checkpoint | Equipment in good condition
| checkpoint | Adequate lighting
| section | Chemicals
| checkpoint | Correctly stored
| checkpoint | MSDS Available
| checkpoint | Operators using PPE
| section | PAT Tools
| checkpoint | PAT Tool WOF
| checkpoint | PAT signage
| checkpoint | Staff trained
| section | EWP
| checkpoint | Current WOF
| checkpoint | Log Books being used
| checkpoint | Staff Competent
| section | Scaffolding
| checkpoint | Tags
| checkpoint | Midrails/Handrails
| checkpoint | Toe Boards
| checkpoint | Ladders
| checkpoint | Platforms Clear
| checklist | Pre nail framing Checklist |  | Pre nail framing Checklist | 14ad275b-3d25-43ac-91b9-c410f78b880b
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Correct frame and loaction as per Carters framing plan
| checkpoint | DPC or seperation required
| checkpoint | Walls installed to correct RL
| checkpoint | Walls installed plumb
| checkpoint | Special studs and noggs installed
| checkpoint | Bottom plate fixings installed as per HFC ( holdowns and screws )
| checkpoint | Top plate fixings installed as per HFC ( plates and screws )
| checkpoint | Frame to frame connetions installed
| checkpoint | Nailplates and starps installed as per HFC
| checkpoint | Stud packs nailed/screwed together
| checkpoint | Correct bracing ply installed as per HFC ply
| checkpoint | Correct screw/nail centres for ply braced walls as per HFC
| checkpoint | Temporary Bracing complete to accapt CLT floor
| checkpoint | Area clean and ready for inspection/handover
ba19ee31-359c-45d0-bb1a-75c60f309b43 | checklist | QA - Doors Checklist |  | QA - Doors Checklist | ff0bd28a-cd88-4f67-aca8-21c9bc297448
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
ef9d2ef7-e51f-41af-aedc-d9402ee7b284 | checkpoint | Correct door to location
8ed5abde-8ae9-4d92-b3a7-a61d368e6fc0 | checkpoint | Door fixed to location with correct undercut
b649dea5-28ae-455b-b1d1-3d0bd634745e | checkpoint | Hinge Side Plumb and fixed at correct intervals
9dbbbcfb-4d73-4ace-861d-8f10635a7aac | checkpoint | All margins neat with no Whind in door frame
91096cb0-adb1-4707-9f60-7ae25c233c8b | checkpoint | Slider/Bifold/Wardrobe margins and closes correctly
97b3f9f9-3479-4d46-baf7-97362e888101 | checkpoint | Door stop fixed correctly
2c58cab8-1e87-41cb-bd9c-196293a54683 | checkpoint | Door complete
7f3dc87b-dd7f-4b1a-9b67-c76ed1782e99 | checklist | QA - Sheet Linning Checklist |  | QA - Sheet Linning Checklist | 61fe56e7-35c0-42b5-86c8-72c2ce80c9fd
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
be8efb8e-cd78-4887-b95b-87c31180fc0e | checkpoint | Framing ready/signed off for linings
394a6eaa-9fc0-413f-9906-78a61253a092 | checkpoint | Sheet linnings as per Specs
49fa7937-6cc2-41fd-9f9d-33b35f2cfbf7 | checkpoint | Correct fixings and centers
85374c43-f071-41fb-9112-828c0e4f0163 | checkpoint | Sheet joints/expansion joints or rebates formed correctly
159ad904-529f-40b5-8415-d7c98339d5ea | checkpoint | Area ready for Wraps or plastering
23bdcfe4-ed85-4777-bde5-0e5f7d742ab0 | checkpoint | Plastering complete and ready for paint
6b113283-0857-4a58-88ff-e5d8ff11edea | checklist | QA - Timber Framing Checklist |  | QA - Timber Framing Checklist | 53e9cabf-ec4a-4dc0-9b42-b375304f0a87
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
8994bbba-460d-40ce-a302-02dbd52094df | checkpoint | Plans / Specs followed and correct type of timber used
3c958d9a-86bd-42f7-86cf-e8239671cd48 | checkpoint | Check for location
0ad2d70e-fd5e-4f22-9887-6a9a274b08bf | checkpoint | Bolted at correct centres (please indicate)
472eb428-2446-4188-982e-d8bc004561d3 | checkpoint | Studs installed (Plumb)
968acffe-aaf8-49a3-8d45-401354da2256 | checkpoint | Nogs installed (Level)
5ac70a25-61d3-422d-bb13-3b172d2bc06d | checkpoint | Correct centres (please indicate)
6f48d45c-fcc6-4acf-9cbf-79853ce363e1 | checkpoint | Check for Straight
47c35e58-1a1c-4d23-9ddb-f3d278542900 | checkpoint | Check for Level
740a8f76-07bb-4314-b18d-07eb51f3768e | checkpoint | Seismic/Engineer details apply
35d96314-b050-4507-b0bd-bcde12be6e6a | checklist | QA - Trims Checklist |  | QA - Trims Checklist | 88736faf-1c9e-46f0-90db-576a640e54bb
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
bbde319e-3588-4036-9444-acb924b99f3c | checkpoint | Correct trim used
352c1503-e7c3-434b-8037-6d27fb82f102 | checkpoint | All internal comers scribed
fa67bab9-36c1-48f1-a4a5-809efff2df57 | checkpoint | Adhesive applied to skirting
45ca4a4a-5e42-4640-acee-305a018200be | checkpoint | All external comers neat
dc098ec9-8322-43cf-b0ab-16d94d8100ce | checkpoint | Skirting fixed correctly and all edges sanded
61a6c2ec-cd07-4f3c-ac23-bf95e15e83d8 | checkpoint | Areas complete ready for paint
bacee08e-4342-47b5-8727-4f299b99120c | checklist | QA - Wraps/Tape Install Checklist |  | QA - Wraps/Tape Install Checklist | 1e3f9ed9-4f5c-4dd2-8714-62dc62ebf379
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
0245bd98-1991-4c25-b76a-68109480dcd1 | checkpoint | Plans / Specs followed and correct type of paper/wraps used
bcccc87b-4b98-4749-b8a5-1c421c86a26c | checkpoint | Paper install level
a0b3c245-5b64-4d04-b568-253b2a3da930 | checkpoint | Packing tape applied
2e57f2a3-7f0b-494f-a62e-baa173d217c3 | checkpoint | All Flashing Tape installed prior taped onto paper
e67e7584-1a97-4d63-8bf8-caa2e43d8585 | checkpoint | All tapes applied around window
049a3306-cf02-4483-946b-b46a31903859 | checkpoint | Signoff prior to claddings