## Master List Templates
Id | Type | Name | Values | Prompting Name | Resource Id
4ae276f1-cf3e-5fa0-8dcb-96b5daf5fbf1 | checklist | Cable Drum Visual Inspection Checklist |  | Cable Drum Visual Inspection Checklist | 91855d65-27fe-4405-a8a7-b868390fed04
c890688f-10f2-51cd-a602-d014e31022b9 | section | Cable drum details
47c8874b-b19d-4c62-b8ae-b6bdddd676c8 | checkpoint | Cable drum details
4948eb78-f45c-507a-a67f-50df02c7b46c | textbox | Details:
27ba9c97-120f-5af0-9bb6-f054167aab68 | date | Date:
a3a62083-419c-55e2-adbf-73bcf947b62e | section | Visual inspection
936cd766-3f80-54ab-af0d-9732c29e4ee3 | checkpoint | Record drum number
67c2ff95-36f0-505e-97de-714ebdd0e9d7 | textbox | Drum number:
ee15a81b-dd59-5679-9652-b0b135fc5ed8 | checkpoint | Damage signs photographed and uploaded
7ec58e5e-1464-5a3e-8fa6-41c9472cf818 | checkpoint | Damage 1
466e5340-7957-541b-a769-8788beaf7315 | textbox | Damage type:
c4e3746c-fe68-5584-810a-edc8fb9a4bda | textbox | Severity:
046e468f-c48c-5ac6-b62d-5bc9f6c0893b | textbox | Labelled gas pressure:
23fd0182-b06d-5232-8ade-c48ec053912d | textbox | Tested pressure:
e512475d-21bd-5795-bcaa-238cf9cd8c1e | checkpoint | Damage 2
df0aac37-a053-55fd-b850-8edb5137186e | textbox | Damage type:
75c8c259-6c69-5cd3-9616-472a9bfcabba | textbox | Severity:
b4012385-14ea-5612-be85-12f0f9f7c0e4 | textbox | Labelled gas pressure:
974e49ed-30a2-565d-b2f0-ccfcc720c171 | textbox | Tested pressure:
c398712a-6afd-5b3a-92f1-76e98f64c371 | checkpoint | Damage 3
216b8ca8-3a99-542a-bb41-a0ee947f11e4 | textbox | Damage type:
aebd3a63-34af-56a4-87f9-d43f4dee1330 | textbox | Severity:
2e88545f-4e93-59fd-85ac-dbce5cf412ac | textbox | Labelled gas pressure:
e39c2b26-9211-5913-99b3-24afc0b15fdd | textbox | Tested pressure:
4bc37aa2-184e-40f3-b2da-2ed8652e1a5a | checklist | Cable Insulation Testing Record Checklist |  | Cable Insulation Testing Record Checklist | 375ff26d-b3ce-4f58-b0a7-bb52f30c612d
3a0ade55-af45-419d-a552-f7f81e0944a3 | section | Details
ff708c25-81ce-426b-b28b-25c491799aee | checkpoint-no-value | General details
4f8877a8-7411-548f-85ce-f100071d2578 | textbox | Cable ID:
d6e8f36a-13ce-588b-ac2a-50512a1eba80 | date | Test Date:
e9c34b70-8c87-5f61-af20-a2ca6b87cc69 | textbox | Test Technician:
345d31a1-d311-5cff-9497-c5b307659ac3 | textbox | From/Cct Source:
ffaad822-4e4d-5768-81e9-45a959ee227e | textbox | To/Cct Destination:
11245efc-a1cb-5260-b418-22ac9d901c7c | textbox | Rated Voltage (kV):
04021784-d48d-56ba-900a-831bc25981db | textbox | Size/Type/Cores:
848cb42b-a627-50ea-b820-0ca05d2bb840 | textbox | Cable Type:
dd411d26-531d-5354-a8cb-b51f14a70073 | textbox | Circuit/Drum Length:
980cc1a5-3921-51ee-bf41-f8a95c221ded | textbox | Identifying Notes:
7785b302-0d42-49cf-8b1b-daeea072eaf7 | section | Sheath to Earth Insulation Resistance
c71c7cb6-0402-4e32-958e-634ad3f0cd07 | checkpoint-no-value | Details
b76e8d6d-b240-5499-9ce8-ce22163c88c1 | textbox | Instrument used:
15d8d0ec-bbfe-5257-9f80-f18a3727bfef | textbox | Serial Number:
a9c81803-4597-52b2-bb86-4362c0055831 | date | Cal. Expiry Date:
c702b93a-63d5-54ca-a5b9-1319d3789725 | textbox | Test Voltage (kV):
a85ed98b-f72c-5564-80bc-44a5da41e109 | textbox | Duration (mins):
94dcb558-6d47-58f6-a5d2-0659e6f96008 | textbox | Air Temp (degrees C):
452441b1-803e-5c31-8584-70cec783f63d | textbox | Humidity (%):
30fc6186-fcdd-4b6d-a029-7b0406e5b0ac | checkpoint | Singe Core Cables
711a42e8-e44e-5836-bf41-b1c8ad2ef9c5 | textbox | L1 Screen to Earth (Ohms):
21c8fb5c-93b1-5eea-bb1c-3793b1b037d9 | textbox | L2 Screen to Earth (Ohms):
a2f4af11-f782-5df8-b432-0e6dcfe2a186 | textbox | L3 Screen to Earth (Ohms):
9c300933-4726-468b-b343-d7435f4575e3 | checkpoint | Three Core Cable
31a34e9e-02fa-53e9-868f-fb723e192f32 | textbox | Screen(s) to Earth (Ohms):
85c03ec6-7fca-4469-8b8c-689484b5870a | section | Core to Screen Insulation Resistance
186d82a5-388d-4875-97b7-e6934eac6754 | checkpoint-no-value | Details
1bc1a73d-7028-52f7-9543-e92ff3b30f43 | textbox | Instrument used:
d8bf6715-3117-5249-baf7-497949049e64 | textbox | Serial Number:
1895b13e-a2f2-5b08-ad3f-55b540314034 | date | Cal. Expiry Date:
5b72dc68-3604-550f-8e97-08b9d58a236b | textbox | Test Voltage (kV):
6d028f80-339d-53b9-bffb-cfb0c53f1a9d | textbox | Duration (mins):
b58e18f7-0f9c-54da-b895-3e0109b79a76 | textbox | Air Temp (degrees C):
e3d11fb9-fc4b-54a1-b2ad-003b798c1738 | textbox | Humidity (%):
40cf785c-c6b7-444a-a503-68df6cd776e7 | checkpoint | Singe & Three Core Cables
2071842f-24e4-55db-a9a6-3f6ea783ca5d | textbox | L1 Core to Screen (Ohms):
69316d11-4c2f-5d2e-b178-6c4704bc628c | textbox | L2 Core to Screen (Ohms):
ffd3f512-d4bb-5caa-ac3e-1ed73f37a545 | textbox | L3 Core to Screen (Ohms):
4a2ba902-1c38-4aae-b664-b37678c2aa85 | section | Core to Core Insulation Resistance
d236c055-e477-4c37-976f-02ae0ce067cf | checkpoint-no-value | Details
2b8a609b-71a9-51be-84f5-2bacfb666c33 | textbox | Instrument used:
fe63115d-4922-55b4-ba75-bf438c7f6458 | textbox | Serial Number:
31465ed5-46c1-53a1-afd2-72ab23d27c9f | date | Cal. Expiry Date:
ecfeedc0-9db3-574b-959e-ec7acbd67e23 | textbox | Test Voltage (kV):
54eaccc6-c5da-5484-a353-494952866e8a | textbox | Duration (mins):
1aaa028f-c082-5195-ab96-2f68487625b2 | textbox | Air Temp (degrees C):
a0930471-8aec-5757-ad56-c7410ca56ab8 | textbox | Humidity (%):
c16c8162-e284-40bf-b20e-32462fa7a8bf | checkpoint | Singe & Three Core Cables
d060ea8e-bfd1-51c0-bb75-71787b10cd76 | textbox | L1 to L2 (Ohms):
c59a6d88-8156-564c-8f7f-be60a7fb9972 | textbox | L1 to L3 (Ohms):
b5f0e61c-e03e-5b51-a65a-f606edbcea35 | textbox | L2 to L3 (Ohms):
33276a0a-4eaf-4d99-b8a3-58408e7941d8 | section | Signoff
c6fd424e-d5ee-4033-8660-f7ff537cf592 | checkpoint | Technician Signoff
10fd0f55-4dbd-4bc5-a4f5-261fddc8c6bd | signoff | SIGN HERE OR REQUEST SIGNOFF
8aa5dd7b-c827-5794-a0d1-265777fb5836 | checklist | Cable Pulling Record Checklist |  | Cable Pulling Record Checklist | 5c1bb803-3dd5-469c-9f96-c55f25499ea6
9d51497a-32d0-5818-9e4b-2d4cf127c673 | checkpoint | General details
49fffe2c-348d-532d-9b03-e06486bc5640 | date | Date:
4ca6ffc3-7a59-5fa7-bfb2-54d6b1ad38c6 | textbox | Section from:
c4d18dbd-b566-57a5-9b5d-d085bf99b0c9 | textbox | Section to:
e26e6cd9-a6b2-5123-8885-52e8cfdf734c | checkpoint | Item details
5c2e535c-9dfc-53f8-b8ea-900d6e81779f | textbox | From:
e3582136-b379-5793-a584-84cfdb735ee1 | textbox | To:
a29a998f-660e-5e46-b219-84a877f35390 | textbox | Phase:
d5b9a7ec-8505-52ad-bdf1-b7452cd0f68e | textbox | Drum no:
cf65722b-78e1-5b83-85a7-8dbe47aa4212 | textbox | Length:
1bd5dca1-8038-5caa-8617-25c51fe60b4f | textbox | Calculated force:
e5e0093d-fd8f-541d-93b4-db631c7f4b96 | textbox | Installed force:
8e461ff5-9ec4-5ec0-9565-6df1fa98b46f | textbox | Difference:
65a918d7-5f39-5aac-871b-9968e9616a91 | checkpoint | AIS Signoff
ff57bd4d-c07f-57f2-ba10-d1bb9e55dfa9 | signoff | AIS to signoff here
3e510829-be0b-53d1-8a6b-7678804e539b | checkpoint | Client Signoff
8df34b37-0e3d-5127-b8d2-b56b50632631 | signoff | Client to signoff here
c17f0731-6763-4036-aa5f-1e69f5098cce | checklist | Cable Sheath Test (Gas) Checklist |  | Cable Sheath Test (Gas) Checklist | 55f7088d-c7c5-471e-9052-d9b02a41e906
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
8b05d9df-3ba9-48ba-9f48-a0cba08449b2 | checkpoint | Date
3229bdcc-0ef0-5ccf-ad95-49f0dbbb92a4 | date | Date:
89908541-7caa-4323-80f0-6036feab2d5e | checkpoint-no-value | Equipment details
0fa97291-b127-5e6d-927b-72fc87ed1ed2 | textbox | Equipment:
31579691-7bc3-50aa-bfd4-05e74afa1832 | textbox | Serial number:
43d83b33-d267-5674-b67f-bc8924f3ed1a | textbox | Make:
948da125-2811-47bc-a90c-2823571afee0 | checkpoint | Gas Pressure Applied (PSI)
873accde-91c7-56ae-8fbc-32cbbafbf081 | button | Please select | 10 PSI, 15 PSI
d3fed123-d1fd-46c6-92a8-51665f852a4a | checkpoint | Gas Pressure At Start Of Test (PSI)
373ffc51-afc5-5f2a-b1bd-5e0a80470e3d | textbox
339f2f8a-1477-40cd-82d1-ec185de09c5c | checkpoint | Gas Pressure After 30 Minutes (PSI)
8778f4b1-91ba-561f-9c8f-54bcb9d5341d | textbox
a26ac152-a9a8-4c3a-b0a4-f62ba0586791 | checkpoint | Gas Pressure After 60 Minutes (PSI)
821149f9-6c11-5b0f-a971-857390091b02 | textbox
3a2ecdfd-ea78-48ea-9160-4729e3ae09b0 | checkpoint-no-value | Technician Name
c8fb0201-7618-524b-b39b-79a2c6e59a35 | textbox | Tested by:
2a566ca0-e1f2-4e7e-abd5-a3b8b9a54812 | checklist | IR Testing For Single Core Cables Checklist |  | IR Testing For Single Core Cables Checklist | c681a3df-79c6-429b-bb4d-84c4bb744579
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
80e3d926-7e03-46ca-ad42-ab578342244b | checkpoint | Date
5c4f6b17-93cd-5122-b1c0-549b026b4cbc | date | Date:
3f91b77c-1697-4131-b4d7-9a9fdd4b56b9 | checkpoint-no-value | Equipment details
e3bfe51b-2954-5416-87f5-6bf14bef498d | textbox | Equipment:
6cb7cbaf-a801-575d-9a50-6844b0e0911b | textbox | Serial number:
7adf9dba-9c6b-55b5-afdd-92b8362e2e31 | textbox | Make:
4ed3127f-340a-4be4-a9dd-7d650501ce14 | checkpoint | Red Phase 1 - Screen
ef32a0bb-dd44-579a-b3c2-3a7dd4ba32fa | textbox | Test Voltage:
3d47d5e0-289b-5c9c-a3ed-7c1d9fa86566 | textbox | Result:
2a17ed1f-d281-469b-86a0-d05b4ed9bc54 | checkpoint | Red Phase 2 - Screen
21f49f3c-3cff-53c9-9f09-58d7fbd76985 | textbox | Test Voltage:
00940c93-f89c-5a4a-a1ed-761fd08f60c4 | textbox | Result:
59711cfe-69d2-4fae-8c35-851d4c684f02 | checkpoint | Red Phase 1 - Earth
c188a3a2-cfc7-565b-8128-2fa47810e5f9 | textbox | Test Voltage:
b6aae098-1731-568f-906b-801b8b8be257 | textbox | Result:
ee238cc9-459f-4b4c-89d6-beb0b6566cba | checkpoint | Red Phase 2 - Earth
7ddf6711-b628-5a09-9a3f-81508b88dc0a | textbox | Test Voltage:
960999c4-8925-5a10-be97-37d7dc63eb58 | textbox | Result:
3c734930-7092-41f4-9e16-960f7440d854 | checkpoint | White Phase 1 - Screen
c688229e-a92a-58d0-a622-d3b452e2e20d | textbox | Test Voltage:
7c766696-30d8-59b4-839d-873370a085cc | textbox | Result:
c47b7c18-a216-4750-80e4-beb089e468fc | checkpoint | White Phase 2 - Screen
512df42a-e0e0-59b3-819e-aacb6dd1ca33 | textbox | Test Voltage:
5124cbf7-118a-57de-9548-9b3166fb7b0c | textbox | Result:
c7c96d13-b3e1-4175-8329-6202f8df6047 | checkpoint | White Phase 1 - Earth
e6a54faa-292b-5b4a-bb67-a9a7a5729b44 | textbox | Test Voltage:
fb760d45-f0c1-548f-868b-dcdcd641ef3b | textbox | Result:
fbd0b2c7-39c3-475a-8a76-244d940bfc8f | checkpoint | White Phase 2 - Earth
86f246a6-1423-5181-a546-9db67b674908 | textbox | Test Voltage:
bf5478ff-f69a-591a-abe8-50aadf6b900b | textbox | Result:
65e1c57c-2859-4399-be6a-4d2e10f9dcd7 | checkpoint | Blue Phase 1 - Screen
bf97d282-0618-506f-a1c4-4b5343f477c7 | textbox | Test Voltage:
d7edde00-bf84-5092-bb82-53652bdae987 | textbox | Result:
450c4df5-50a6-4c17-9a0c-a4fc1da041c5 | checkpoint | Blue Phase 2 - Screen
894c3c6d-9a07-5ffe-b2b6-17ed31975249 | textbox | Test Voltage:
584f72fb-3321-581e-972b-20719ade9207 | textbox | Result:
e3afb936-647c-4462-88e7-8d9b6b2648b6 | checkpoint | Blue Phase 1 - Earth
52493554-3ef0-507c-b1d6-10b6f9ccdfb4 | textbox | Test Voltage:
48173800-7d47-519e-aa98-055204189e37 | textbox | Result:
40d01349-2863-4734-8f6a-6e64342a7c6f | checkpoint | Blue Phase 2 - Earth
311c818f-a158-514c-9218-8f958df774da | textbox | Test Voltage:
2d874582-d5fd-50c8-b7dc-7a001bca6d0a | textbox | Result:
46a24b48-8443-4676-89e6-8b2de10eb214 | checkpoint-no-value | Technician Name
2c4e9e3c-152e-58bb-b71f-359533b70beb | textbox | Tested by:
22f5cd24-d7b9-4a00-a505-1c32d1a0ce58 | checklist | IR Testing For Three Core Cables Checklist |  | IR Testing For Three Core Cables Checklist | 30b47922-acda-4acf-b9ef-63c69ba04347
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
4ce90d2f-bea4-4836-9b6b-461d2d60bfb0 | checkpoint | Date
72b53a6a-3694-54ad-ad7b-d643359609df | date | Date:
689938d4-ceae-4503-822a-1e4947c54a39 | checkpoint-no-value | Equipment details
a07de129-917d-5168-8f96-b4bf0ad5250c | textbox | Equipment:
12bc67e1-87eb-508a-a6f5-8483c118d49e | textbox | Serial number:
f2320d49-479a-5965-b085-0058308d516b | textbox | Make:
e466d4c9-1428-4035-be6d-32114dfa9d00 | checkpoint | R - W
036c8cc3-0adf-5f3e-9a37-ab11e1d2c5a2 | textbox | Test Voltage:
cf46549d-e181-5b91-9ae5-af3c4ab05509 | textbox | Result:
8deb7c31-39fa-45e1-85ae-e23c7521c69e | checkpoint | R - B
d094da7b-4aa8-5474-a476-39c06be45450 | textbox | Test Voltage:
ca062c08-fc22-54df-9d48-4408187c08d4 | textbox | Result:
681a5144-152a-4cef-a1be-987bd8b2bab0 | checkpoint | W - B
e031e16b-2347-52a6-8278-73da0a7bf3d3 | textbox | Test Voltage:
cb84268b-a179-58d3-a900-911b7cfd4d1f | textbox | Result:
1484742b-cf0f-44a6-8c63-47ec962a83fa | checkpoint | R - E
a75b3aee-8187-5a4c-a6b4-1a3a652dcf47 | textbox | Test Voltage:
1345192a-6a9b-5a0e-ada3-49e1e61eefdd | textbox | Result:
72fce641-686c-48e5-a2e3-cbaf2a8a03a3 | checkpoint | W - E
9aa69c29-1019-5213-a4dc-81e5acb43670 | textbox | Test Voltage:
99099b54-62af-5fa7-860a-e894bb8d1aaf | textbox | Result:
7214ea6a-8675-43be-a00a-c8c745d10381 | checkpoint | B - E
473f640a-bfcd-5028-9fe1-274723a19aed | textbox | Test Voltage:
b8deb5e4-882a-526f-8447-13fe81426669 | textbox | Result:
37f0e38f-83eb-43d6-960d-a7b981963905 | checkpoint | R - W - B - E
c316b904-df90-59ac-b3b7-6b95f051537f | textbox | Test Voltage:
63737b75-580f-574e-92c8-ecaa0d5a94b1 | textbox | Result:
4aded23f-1cb5-4457-bbb6-77654470345f | checkpoint | W - R - B - E
38c3591a-7635-59e0-ad21-0b2df466551c | textbox | Test Voltage:
54f9fe7a-337e-50a9-a368-af5bcbcb17da | textbox | Result:
39b8bbd1-85e1-4493-a3ed-5897ae61adc3 | checkpoint | B - R - W - E
d514ae7b-5563-5c59-bcac-654e487646b4 | textbox | Test Voltage:
0b4350a1-9874-5cf3-a9a9-0f5e4a12a506 | textbox | Result:
2b8f99c3-1760-4c3a-8cbd-33840f3587f4 | checkpoint-no-value | Technician Name
1f249d6f-261a-54f5-8a4d-50a86ee59699 | textbox | Tested by:
878113b8-bd0f-58da-b67e-14a6f4a3de53 | checklist | Photos |  | Photos | 4a50d093-c46e-4877-a92a-18b81fb24fd7
70763b3b-9c56-5006-84dd-3008db2cc680 | checkpoint | Please upload all relevant photos and press PASS.
42c7ce00-81cd-52b7-babc-e6d813c36467 | date | Date:
64def538-a6df-47be-beed-0c45bfe8c37c | checklist | Polarization Index Checklist |  | Polarization Index Checklist | 6bcf5103-0a9c-41cf-b0a7-e0e2c91a337b
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
b456eae4-5a9e-4c99-aafe-bfb4e98fad2a | checkpoint | Date
4fe8b6e6-46ca-5ba4-8cc6-13771d61c9a7 | date | Date:
307314b8-33fa-4a42-aee1-973ea2b717a2 | checkpoint-no-value | Equipment details
b0734835-4335-5c60-9249-629b913531f8 | textbox | Equipment:
70c3533a-95ba-5ace-8e59-51e66f9c6799 | textbox | Serial number:
bb93a4d7-0f2a-5529-a3ea-51a6e7f41e7a | textbox | Make:
fdb2b844-fc33-4319-beeb-b4fcbf8b0cf8 | checkpoint | Red phase
6ecd8542-5fda-553d-9582-98353d1c41fc | textbox | Test Voltage:
46561f78-44a5-5674-a170-49862c897f46 | textbox | Reading After 1 Minute:
c3acf178-1276-5444-8c64-370392f93e6e | textbox | Reading After 10 Minutes:
09cb6b11-9635-5c29-b9ad-c8cde2eba2c3 | textbox | PI:
54e29ffc-0e91-4267-ab9f-4d5d816ff664 | checkpoint | White phase
474206a8-60b0-5a18-ab53-7e80ee411762 | textbox | Test Voltage:
f8021ea7-97ae-5324-a482-db9204897d4f | textbox | Reading After 1 Minute:
cc32d181-f828-526c-9042-92b92c5a4663 | textbox | Reading After 10 Minutes:
d91827cd-f36f-5b9e-a229-5d9f5d98c4f8 | textbox | PI:
43461a90-5bce-42d3-beae-4948fea250ca | checkpoint | Blue phase
5bb945fa-dec0-5934-a30a-f87095ab47cf | textbox | Test Voltage:
10f6fad5-5c21-5468-bd32-979ceea0c281 | textbox | Reading After 1 Minute:
d0cd7728-3d6d-55be-894b-5188bcfc0638 | textbox | Reading After 10 Minutes:
ab0ac166-53ba-5b82-a419-2d272774f778 | textbox | PI:
b792b192-2db1-4b58-85e1-dbbd5e28c1c8 | checkpoint-no-value | Technician Name
8eec8460-dc5f-5984-88b6-1b0db97a3467 | textbox | Tested by:
ed8c6de7-b539-50f1-9299-ee77365a55cb | checklist | Pulling Equipment Inspection Checklist |  | Pulling Equipment Inspection Checklist | 55026a2f-d812-4580-8711-6a7ffdc16e95
9d51497a-32d0-5818-9e4b-2d4cf127c673 | section | General details
7f6f856a-61b9-404f-9704-f868669d5ed3 | checkpoint | General details
6316d74c-817e-5711-8f75-447e77378517 | date | Date:
ae2a117e-3252-5a42-a288-7f16cdab9be7 | textbox | Section from:
c457daaf-7848-5965-97dc-1b78613fd46c | textbox | Section to:
151fb224-e4d0-5672-bff2-eba4a425ed31 | section | Pre-site Setup Inspection
d04724ca-2955-5e7c-b770-c46fd0f4be7b | checkpoint | Vehicles WoF/CoF and registrations are current
73f3346e-bbbf-59f5-b85e-56df554d9dbb | checkpoint | Cable Drum stand securely fastened to truck
4099c33e-ae2f-54e4-bf8c-e9d54f9d1361 | checkpoint | Cable Drum is in correct rotation (cable end to roll over the top of the drum)
c28785ed-7dfd-57ce-ae25-5266ac3f5479 | checkpoint | Cable Drum is securely fastened to truck and stand
e82bf9e8-6088-5107-b8f3-f7c4d56192e7 | checkpoint | Cable Ramp is securely fastened to truck
9cadbc00-0008-5c54-a167-283808086c48 | checkpoint | Cable rollers are clean and greased
0f175eea-1cef-5842-b8cd-1e772a63276f | checkpoint | Generators are fuelled up and starting correctly
c9a1867a-b076-5e3c-8a27-7373296dbf84 | checkpoint | Hydraulic Power packs are operating correctly
3f66f7da-1e55-565a-b8ca-92ee6c8ae216 | checkpoint | Cable Puller is fuelled up and starting correctly
9991b7eb-c9cd-500e-937c-28cc15c37f8c | checkpoint | Pulling ropes are in good working order
ff4c4e45-a850-5c18-ac8c-627e6088e967 | checkpoint | Communication devices are functioning and operational
e5322261-70e0-55be-abba-87baa36943c7 | section | On-site Setup Inspection - Cable Drum End
8f70841e-cb1e-521d-8975-74026cb32bd7 | checkpoint | Cable Drum stand is securely fastened to truck
e076b10d-6e55-55e7-87d1-e01cb32ce840 | checkpoint | Cable Drum is rotating freely and motorised wheels are correctly rotating the drum
ec7e1c6c-c957-5ef9-81b4-65c9a68b279b | checkpoint | Cable Rollers/Sandbags are well positioned to ensure cable cannot touch the ground if slack occurs
546af70f-20ac-5d13-9cbf-8af2c6423da4 | checkpoint | Bell-mouths are installed at Duct entry
7bcc2378-0202-522a-9213-1239e14070c9 | checkpoint | Lube station setup at Duct entry
b9d19dae-c3e6-5e7d-b721-e30ed9f30f81 | section | On-site Setup Inspection - Cable Puller End
2bde012a-cc1c-5964-a937-236a3e05557e | checkpoint | Cable Puller is in position, Legs are down, Puller is level and securely fastened to truck/ute
54776db4-9bf9-504f-b310-ba35e299a000 | checkpoint | Cable Puller has adequate fuel to pull in cable
3b48d9b5-6b99-44bf-9652-c5f2712ebae7 | checkpoint | Cable Rollers/Sandbags are well positioned to ensure cable cannot touch the ground if slack occurs
6f2e1122-6c1b-43ec-ae6a-1b98d488db10 | checkpoint | Communication devices are functioning and operational
48999da3-078c-43ea-af38-48b9e613d26c | checklist | Screen Continuity Checklist |  | Screen Continuity Checklist | 277a9d7d-252e-44f5-9141-d85783e0cc2d
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
20881220-f7ab-46c8-8695-7bf876d8f3ea | checkpoint | Date
51ac62df-4a25-519a-bd56-05f909526edd | date | Date:
d1b62727-1f16-4bb3-9dc7-86144f572d68 | checkpoint-no-value | Equipment details
7cc742c4-7401-5fd6-b47b-e649c032de94 | textbox | Equipment:
d31b76c0-a23a-5bd3-abb8-e24cd49308c6 | textbox | Serial number:
410b9098-c716-5fad-b49e-487fddfa7e4f | textbox | Make:
f6d58e84-0a07-4dfc-8c1f-86fbf013132d | checkpoint | Test 1
89e5d871-8dcb-5e35-b144-f668005bc078 | textbox | Phase colour:
d2893114-11fc-5976-974a-1d24d155e1a5 | textbox | Result:
fa8b30b0-957f-4a04-8cf4-d0809d65c438 | checkpoint | Test 2
77c728ee-a166-5607-9209-429a384044e6 | textbox | Phase colour:
0e7376d3-c67b-5c48-b0ea-a7104d969ddb | textbox | Result:
cb107f56-97ba-4b36-b6c1-ee4cb105b09a | checkpoint | Test 3
560a0f0b-e01b-5608-ab50-bceda3302dee | textbox | Phase colour:
adc7a137-ab2e-5295-af50-e991193f9858 | textbox | Result:
c966a889-9568-4c5c-ac06-43b984539d75 | checkpoint-no-value | Technician Name
6b9f2b10-d1db-553c-a5bf-28d252853048 | textbox | Tested by:
01fea2ef-7194-4cb1-a91a-20aa58f85e42 | checklist | Sheath Testing Checklist |  | Sheath Testing Checklist | 0f901ebf-bbda-4d3f-ad09-69f380d098cc
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
0ff44b3d-879a-42dd-b7b2-75add0d1efa0 | checkpoint | Date
ba684863-f354-5576-aa48-fe3d7cb47c71 | date | Date:
248a7d30-9149-42a1-885f-0751dd5fe425 | checkpoint-no-value | Equipment details
3c3e0537-b4c3-5588-aef2-696ce88aa358 | textbox | Equipment:
de4a44ed-5dad-5bbd-9424-5777d0a3972c | textbox | Serial number:
749e97c4-97f2-5af6-9b79-d5beb24727f9 | textbox | Make:
1eb78b9f-2356-42e5-bc18-c6a39cdabf51 | checkpoint | Test 1
90125cd3-b3b0-5a71-b149-54dfafc18b5f | textbox | Phase colour:
d8fee8f8-7a9f-5e53-b9bd-98fe0515a081 | textbox | Test Voltage:
29d54ec6-ed12-5b32-854c-642c6208cd32 | textbox | Result:
35dea0bf-2c15-4467-90fb-85e4f6961273 | checkpoint | Test 2
897474ec-657d-503d-89e8-63ec96efc39b | textbox | Phase colour:
3c49718c-bf4d-5ae2-b170-b23d08c84263 | textbox | Test Voltage:
4c1279a8-2138-5833-bce2-b9983740c3e4 | textbox | Result:
b32d11bf-c4a4-4a97-891a-bdb070651bd8 | checkpoint | Test 3
ecdc2943-0346-515c-b8ec-c4a4519ba255 | textbox | Phase colour:
e214d3a2-1407-5355-b1a1-85e59b22b89c | textbox | Test Voltage:
fc008b16-278a-512f-a939-e8a193ad154b | textbox | Result:
c235d74a-b7e2-4070-8ee3-ec021e81bd2c | checkpoint-no-value | Technician Name
23fb0f26-b3ce-5be2-9326-931bd0cf8db8 | textbox | Tested by:
6624eff6-3a52-46d6-be73-90c27b959f1a | checklist | VLF Testing Checklist |  | VLF Testing Checklist | 729a341f-153a-4fcf-91d1-dc687b681113
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
2ddee5ac-2dc6-44d6-a85f-333dc65b39ae | checkpoint | Date
f8adb130-b988-5f9b-85a6-109f7db0ebeb | date | Date:
bb7a9ba5-6989-42fb-aa89-3b855af910fb | checkpoint-no-value | Equipment details
fb4f6ff8-6cb3-55e3-afea-ad7ed2ee8263 | textbox | Equipment:
a02055f6-24be-5673-bd87-d0a2fbcb6d01 | textbox | Serial number:
621699b3-86e8-5912-a699-c0c793ad85cb | textbox | Make:
b36e4bd4-a13f-4124-9a04-4e5040d70982 | checkpoint | Red phase
9b097f54-1752-5d5d-a326-010d159aa6c4 | textbox | Test Voltage:
9153fd33-b5bc-5d1a-b8a8-92d26694c98e | textbox | Current:
52813c21-2719-59fc-9294-69c4508dbeee | textbox | Partial Discharge:
e21df313-7466-50d7-83af-177b226ca199 | textbox | Duration of test:
3706e4db-c99e-5a30-97b0-7667d47a494d | note | VLF frequency chart:
c4eb8a12-aa00-53f3-944d-0e579d565413 | note | 0.01-1.1 microfarad > 0.1 Hz > 30 min
4ee7ce1c-367a-5bc9-93c2-c2b9d9f992dd | note | 1.1-2.2 microfarad > 0.05 Hz > 60 min
c9ccf9ce-ab58-544c-b035-3faaea7725a6 | note | 2.2-5.5 microfarad > 0.02 Hz > 90 min
6df65bac-9ef9-44f7-ad95-7ea0149804b4 | checkpoint | White phase
6dca77a5-92f7-5fcc-9107-f53bd1073de2 | textbox | Test Voltage:
0e90c6cc-323a-5162-b6b4-434f32070f14 | textbox | Current:
ca13db7e-d582-51cf-a31a-06a39b6217a0 | textbox | Partial Discharge:
0ec43125-d36a-580b-a78b-a59e5852a32d | textbox | Duration of test:
4c61e20f-0416-5306-bd5c-68fd495d10f8 | note | VLF frequency chart:
0e67cad3-17b6-5550-984c-9a766d7f4e96 | note | 0.01-1.1 microfarad > 0.1 Hz > 30 min
f35d7ca7-eb24-56fa-ace4-920603965ce9 | note | 1.1-2.2 microfarad > 0.05 Hz > 60 min
a6bc8dd2-4e79-5120-811f-3fd9a75051c5 | note | 2.2-5.5 microfarad > 0.02 Hz > 90 min
2a7a5711-9d75-4f71-8407-1d7c10070237 | checkpoint | Blue phase
04ce581e-c7c2-5da4-9bbf-0b22d8fed6ec | textbox | Test Voltage:
c3426e0d-f325-5478-a2cc-ccc190dd87fa | textbox | Current:
bfe6d4ba-2045-51ad-a36f-306eeb93d27f | textbox | Partial Discharge:
16023a1f-16ca-5bf0-8a30-713ef2f9c5ba | textbox | Duration of test:
2da69957-6167-50c6-a9af-25f04f721014 | note | VLF frequency chart:
4d3c59ab-198a-529c-b89e-f949028188b1 | note | 0.01-1.1 microfarad > 0.1 Hz > 30 min
0934bd70-662c-534e-a2c3-51efaf692345 | note | 1.1-2.2 microfarad > 0.05 Hz > 60 min
9baa64b3-6f99-5989-a4e3-9164976dc9d0 | note | 2.2-5.5 microfarad > 0.02 Hz > 90 min
5f821388-5a82-4765-bb8b-c6734213853b | checkpoint-no-value | Technician Name
12f840b0-4bfe-5f75-826b-71ae31d5e85f | textbox | Tested by:

## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
| checklist | Cable Sheath Test (Gas) Checklist |  | Cable Sheath Test (Gas) Checklist |  | 038f18c3-085b-427b-8a09-d68e08db9a62
| checkpoint | Date
a08924d8-3c72-59da-aba4-30e9d874bef1 | date | Date:
| checkpoint | Gas Pressure Applied (PSI)
be560e7b-a23e-5f1f-a2a5-b95b153c4954 | button | Please select | 10 PSI, 15 PSI
| checkpoint | Gas Pressure At Start Of Test (PSI)
93bb7fe7-353f-583a-ab8f-09489f12632d | textbox |  |  |  | PSI
| checkpoint | Gas Pressure After 30 Minutes (PSI)
17f523bc-c680-5074-b098-d44bae05279b | textbox |  |  |  | PSI
| checkpoint | Gas Pressure After 60 Minutes (PSI)
fd62779b-bc22-53f5-950a-f7d95d2d682f | textbox |  |  |  | PSI
| checklist | Neutral Earthing Resistor Installation Checklist |  | Neutral Earthing Resistor Installation Checklist |  | a77ea996-ccb6-4006-9e80-025d23c7c282
| section | Details
| checkpoint | Visual inspection
| checkpoint-no-value | Serial number
791631f2-10c6-5332-a696-f5cf0466d702 | textbox
| checkpoint-no-value | Voltage (L - L)
41a38a91-3592-5d01-82bd-a7f84f9d0bf4 | textbox
| checkpoint-no-value | Voltage (L - N)
e5d531e1-d0f3-552f-b5b0-dcd6d3790734 | textbox
| checkpoint-no-value | Rated Current
d95e4cac-d946-5d4c-a6b9-6ffbed05f259 | textbox
| checkpoint-no-value | Ohms
4f3d0443-4c04-5c89-b089-029d0ecc39c5 | textbox
| checkpoint-no-value | Type of mounting
106ef3eb-a304-5530-bd34-20efae517301 | button | Select: | Pad Mounted, Platform Mounted
| checkpoint-no-value | Neutral Earthing Resistor Secured?
e3a47abf-8c69-531d-a9ed-e0a2d88cdfbd | button | Select: | PASS, FAIL, N/A
| checkpoint-no-value | Date installed
61ff4619-bc1c-5bae-a394-d955104bef5c | date | Select:
| checklist | Polarization Index Checklist |  | Polarization Index Checklist |  | 05ccd562-987b-4828-aaf5-5acd408aa5ce
| checkpoint | Date
22d79d7b-96e4-5fd7-ac36-5590e96b278e | date | Date:
| checkpoint | Red phase
eaf76443-4de9-5b5f-81d4-57c2c993901a | textbox | Test Voltage:
969bbe7b-181c-50eb-a1a2-6f1b3975e3cd | textbox | Reading After 1 Minute:
57fc98e8-1bd5-51b6-a486-798cd5efd47f | textbox | Reading After 10 Minutes:
a6266f7d-fb22-58fc-89b5-6adf3267792d | textbox | PI:
| checkpoint | White phase
b2693a6f-fb1a-5621-b76c-f1d04c3b905e | textbox | Test Voltage:
4a5e7883-d043-5750-9857-8c953f39326b | textbox | Reading After 1 Minute:
5e0ca54f-700e-58df-996e-7b1736e28e83 | textbox | Reading After 10 Minutes:
3fea5416-a666-58e5-b284-d80efddae650 | textbox | PI:
| checkpoint | Blue phase
499ba6c6-1c3f-51e9-8927-1a3d58f3a9f7 | textbox | Test Voltage:
e209045c-d5be-5321-8905-709826b35ff6 | textbox | Reading After 1 Minute:
59796bbe-1400-5d47-ba7d-7ad69bb77098 | textbox | Reading After 10 Minutes:
153e28f8-1a49-5598-b6ee-15134d3c378a | textbox | PI:
| checklist | Step Voltage Checklist |  | Step Voltage Checklist |  | 64e40117-9f7b-460f-9e74-416d7c533d84
| section | Details
| checkpoint | Date
b4a6c40e-d866-52db-86af-ab90bfedeab2 | date | Date:
| checkpoint-no-value | Equipment details
ce99e909-d5c6-55ce-90ee-09a6ab16beb8 | textbox | Equipment:
dd0ee286-f8ab-5081-976a-ba1926356b98 | textbox | Serial number:
a9f650d5-4066-53ed-9771-20c81a27ed19 | textbox | Make:
| checkpoint | Red phase to W+B+E
2574652b-46be-5ab9-862a-10c78b9129c1 | textbox | Test Voltage:
63a7f9c2-9e62-5df1-b5bf-5b4251619fbf | textbox | 1st min Test Result:
48d78d69-e456-5855-a564-47adaece7d58 | textbox | Test Voltage:
022a0bd8-a423-52fd-a277-a5549c9bfd86 | textbox | 2nd min Test Result:
d9d15f27-d9cf-5904-a3fa-280fd4bab508 | textbox | Test Voltage:
bbc3b397-43eb-5e56-b137-1130a473c9f8 | textbox | 3rd min Test Result:
d0077157-2044-5be8-894f-60f2f9ea2142 | textbox | Test Voltage:
45cde743-9b4d-5a6b-b8d8-79117ec81160 | textbox | 4th min Test Result:
a5128aac-2a9a-55b6-bb30-6e86aa911a09 | textbox | Test Voltage:
e79d651b-6887-5402-aba3-f9281b672654 | textbox | 5th min Test Result:
0b39bd9f-f629-5083-ac77-9823ba87c70d | textbox | Test Voltage:
c6020c0f-307f-5815-9f39-fe0726a29848 | textbox | 6th min Test Result:
3fd91441-bd83-516e-b1be-6579c434d3f2 | textbox | Test Voltage:
343d40ec-daf2-5196-aa39-7b0769ae6be9 | textbox | 7th min Test Result:
8acafa77-f35f-50b3-a5cc-652431a23f59 | textbox | Test Voltage:
2fb4e567-ea87-5616-9f6d-cd380b40287f | textbox | 8th min Test Result:
c836606d-f918-54be-b014-247dfba90cb8 | textbox | Test Voltage:
b5d594dd-2be7-5c53-b352-c7c69b3205cc | textbox | 9th min Test Result:
5c989890-cdf3-58d0-af6f-e9c8885a8c48 | textbox | Test Voltage:
8f446a75-5482-5d0a-abad-a6660bc63bbf | textbox | 10th min Test Result:
| checkpoint | White phase to R+B+E
788265fe-e5e6-586c-a29c-c451c1367fb3 | textbox | Test Voltage:
b6dfebbd-21ac-5c2f-a1c0-9b598701ab47 | textbox | 1st min Test Result:
bbb40e6f-0f75-5693-89c1-925a4417cc41 | textbox | Test Voltage:
f5734fe5-6dde-58b8-8a70-6c8e960476bb | textbox | 2nd min Test Result:
7c970f81-d600-5415-b209-1d5ae376c193 | textbox | Test Voltage:
efac716d-f477-574a-9d13-e911be6f7b75 | textbox | 3rd min Test Result:
dba7d8c3-9226-5783-916d-a374ca063f15 | textbox | Test Voltage:
90c073a4-4265-525c-ad71-43c5044049a5 | textbox | 4th min Test Result:
d612dd45-ce8c-5e16-9ae5-22c5f48b3f68 | textbox | Test Voltage:
dc771f0a-eb02-51e1-991f-e3c5e2babf36 | textbox | 5th min Test Result:
dbc28a13-a99d-5c6e-968b-bbb49919dc00 | textbox | Test Voltage:
50dbcf17-1a98-5aff-a1e3-c362a3f3ce46 | textbox | 6th min Test Result:
0bad077b-c243-5f6e-b4e6-ffe95e3ed8e3 | textbox | Test Voltage:
fd168e0f-f3cc-528f-b282-7a07396ff2f4 | textbox | 7th min Test Result:
f627958f-5233-5ee1-9135-6f6a92055431 | textbox | Test Voltage:
5304ecba-60d4-58cc-94b8-6ed5ec11c84a | textbox | 8th min Test Result:
03902dc8-1e5a-5ae8-83f9-1596213a43fa | textbox | Test Voltage:
147b29f5-1903-565c-9c9c-8e37fad7dd7a | textbox | 9th min Test Result:
aa0e0ff4-3d6e-50da-927e-b33636882269 | textbox | Test Voltage:
aec9d85d-da21-5c45-a728-d1237aab98d0 | textbox | 10th min Test Result:
| checkpoint | Blue phase to R+W+E
6398d728-3869-57df-a977-daf28886ba5e | textbox | Test Voltage:
7504fb31-ea69-5785-9666-c84369c8cbaf | textbox | 1st min Test Result:
e0d7f9cd-cc59-542a-a4be-7caa04b628a7 | textbox | Test Voltage:
ea067d52-f177-5143-8a65-fb4492e760b4 | textbox | 2nd min Test Result:
2acd92a2-e75e-51cc-9cad-e329a1541770 | textbox | Test Voltage:
581569b5-2e57-57ab-982a-b7d5d695a13b | textbox | 3rd min Test Result:
11886fd0-40d3-5847-b25b-c4cdb0f0336b | textbox | Test Voltage:
8ca1e865-38df-59c4-bf79-68a4d3944fe7 | textbox | 4th min Test Result:
680de49c-2d81-5cb3-b3ee-d8fc6a144b84 | textbox | Test Voltage:
afa0f99e-344c-531c-82b0-5ee34c3213b4 | textbox | 5th min Test Result:
22240912-5c8e-58f7-aca7-18a1e85d2e65 | textbox | Test Voltage:
81761b05-cd8f-5be3-8f0a-d6884efc19ca | textbox | 6th min Test Result:
164c1d48-ac70-5432-b1eb-88a7bd3362d2 | textbox | Test Voltage:
cd0ce501-218f-56fe-91b7-f3d47e8e4db5 | textbox | 7th min Test Result:
ce603eb3-a7e2-5649-8df8-598e78eaac60 | textbox | Test Voltage:
8ef1aa88-253c-5596-832b-8d54b5fd13c5 | textbox | 8th min Test Result:
71186e2e-81ab-59ae-83a7-5b06e6945b69 | textbox | Test Voltage:
59a6e8b4-9b16-536a-8078-bc16fd692885 | textbox | 9th min Test Result:
1f684f71-6d3f-5c69-9669-a4ab7d014b10 | textbox | Test Voltage:
19c1f19f-bd2b-58ad-a60d-f4b88b0dda35 | textbox | 10th min Test Result:
| checkpoint-no-value | Technician Name
2b9d5a29-fd6e-5653-b31a-62dfe21a635e | textbox | Tested by:
| checklist | Transformer Installation Checklist |  | Transformer Installation Checklist |  | bcf70560-b8c6-4492-81a7-dfcdea94f76a
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Visual inspection
| checkpoint-no-value | Transformer serial number
ca248036-dcc2-553f-b8dc-ecb61c2edd13 | textbox
| checkpoint-no-value | Transformer reference number
fe0fe5c7-657a-5a36-aa39-337cfc55068d | textbox
| checkpoint-no-value | Transformer Rating (KVA)
6bbd1054-f75c-5879-9454-4972a59ca3c5 | textbox
| checkpoint-no-value | Voltage ratio
ae845c46-68a0-5a05-8a22-d8420b1fedac | textbox
| checkpoint-no-value | Type of mounting
78555cfc-2daf-559b-8b47-088b988e303a | button | Select: | Pad Mounted, Pole Mounted, Platform Mounted
| checkpoint-no-value | Transformer secured
68b4d827-8540-5ad4-b27e-db5f4b73a81e | button | Select: | PASS, FAIL, N/A
| checkpoint-no-value | Date installed
a4bcc733-fa1a-53db-833e-4e8dbc111474 | date | Select:
| checklist | VLF Testing Checklist |  | VLF Testing Checklist |  | 711fe699-c505-451c-a30e-618ca5d746c8
| checkpoint | Date
8018c27e-f2cc-57c2-90c3-e6436ba3ab6a | date | Date:
| checkpoint | Red phase
af204f6b-77bd-5f12-bb48-1fa30b9963af | textbox | Test Voltage:
82e87571-b9cd-56ed-a9fb-8b2e5242e356 | textbox | Duration of test:
| checkpoint | White phase
a643568e-0484-5564-b668-a5349e8daffc | textbox | Test Voltage:
91c18498-ac65-5814-925a-d85199071eee | textbox | Duration of test:
| checkpoint | Blue phase
a017cf4e-259a-583f-a672-ae14f89eeb97 | textbox | Test Voltage:
da0d65a4-dc8d-5b5d-923a-356042bf0929 | textbox | Duration of test: