## Structure Internal
Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Resource to use
External Works QA
Internal Checklist Ground Floor
| Stage 1A | G50 |  |  |  | Internal checklists
|  | G52 |  |  |  | Internal checklists
|  | G53 |  |  |  | Internal checklists
|  | G56 |  |  |  | Internal checklists
| Stage 1B | G72 |  |  |  | Internal checklists
|  | G74 |  |  |  | Internal checklists
|  | G75 |  |  |  | Internal checklists
|  | GOOC9 |  |  |  | Internal checklists
|  | GOOC9A |  |  |  | Internal checklists
| Stage 2 | G73 |  |  |  | Internal checklists
|  | G80 |  |  |  | Internal checklists
|  | G82 |  |  |  | Internal checklists
|  | G83 |  |  |  | Internal checklists
|  | G90 |  |  |  | Internal checklists
|  | G92 |  |  |  | Internal checklists
|  | G94 |  |  |  | Internal checklists
|  | G96 |  |  |  | Internal checklists
| Stage 3 | G01 |  |  |  | Internal checklists
|  | G03 |  |  |  | Internal checklists
|  | G79 |  |  |  | Internal checklists
|  | GOOL1 |  |  |  | Internal checklists
| Stage 4A | G63 |  |  |  | Internal checklists
|  | G65 |  |  |  | Internal checklists
|  | G67 |  |  |  | Internal checklists
|  | G69 |  |  |  | Internal checklists
|  | G41 |  |  |  | Internal checklists
|  | G47 |  |  |  | Internal checklists
|  | G49 |  |  |  | Internal checklists
|  | GOOC7 |  |  |  | Internal checklists
|  | G40 |  |  |  | Internal checklists
|  | G45 |  |  |  | Internal checklists
|  | G46 |  |  |  | Internal checklists
| Stage 4B | G30 |  |  |  | Internal checklists
| Stage 5 | G39 |  |  |  | Internal checklists
|  | G09 |  |  |  | Internal checklists
|  | GOOC2 |  |  |  | Internal checklists
|  | GOOC1 |  |  |  | Internal checklists
|  | G02 |  |  |  | Internal checklists
|  | G02A |  |  |  | Internal checklists
|  | G04 |  |  |  | Internal checklists
|  | G00C3 |  |  |  | Internal checklists
|  | G22 |  |  |  | Internal checklists
|  | G24 |  |  |  | Internal checklists
|  | G26 |  |  |  | Internal checklists
| Stage 6 | G00G2 |  |  |  | Internal checklists
|  | G00C8 |  |  |  | Internal checklists
|  | G00L3 |  |  |  | Internal checklists
| Internal Checklist First Floor |  |  |  |  | Internal checklists
| Stage 1A | 150 |  |  |  | Internal checklists
|  | 150C |  |  |  | Internal checklists
|  | 152 |  |  |  | Internal checklists
|  | 154 |  |  |  | Internal checklists
|  | 156 |  |  |  | Internal checklists
|  | 158 |  |  |  | Internal checklists
|  | 160 |  |  |  | Internal checklists
|  | 162 |  |  |  | Internal checklists
| Stage 1B | 170 |  |  |  | Internal checklists
|  | 172 |  |  |  | Internal checklists
|  | 175 |  |  |  | Internal checklists
|  | 100C9 |  |  |  | Internal checklists
| Stage 2 | 180 |  |  |  | Internal checklists
|  | 182 |  |  |  | Internal checklists
|  | 186 |  |  |  | Internal checklists
|  | 188 |  |  |  | Internal checklists
|  | 190 |  |  |  | Internal checklists
|  | 192 |  |  |  | Internal checklists
|  | 194 |  |  |  | Internal checklists
|  | 196 |  |  |  | Internal checklists
|  | 197 |  |  |  | Internal checklists
|  | 199 |  |  |  | Internal checklists
|  | 100C11 |  |  |  | Internal checklists
|  | 100S3 |  |  |  | Internal checklists
| Stage 3 | 100L1 |  |  |  | Internal checklists
| Stage 4A | 101 |  |  |  | Internal checklists
|  | 103 |  |  |  | Internal checklists
|  | 100C10 |  |  |  | Internal checklists
|  | 145 |  |  |  | Internal checklists
|  | 100C6 |  |  |  | Internal checklists
|  | 142 |  |  |  | Internal checklists
|  | 144 |  |  |  | Internal checklists
|  | 146 |  |  |  | Internal checklists
|  | 148 |  |  |  | Internal checklists
|  | 100C5 |  |  |  | Internal checklists
| Stage 4B | 100C3 |  |  |  | Internal checklists
|  | 126 |  |  |  | Internal checklists
|  | 128 |  |  |  | Internal checklists
|  | 130 |  |  |  | Internal checklists
|  | 132 |  |  |  | Internal checklists
| Stage 5 | 100C1 |  |  |  | Internal checklists
|  | 102 |  |  |  | Internal checklists
|  | 104 |  |  |  | Internal checklists
|  | 106 |  |  |  | Internal checklists
|  | 107 |  |  |  | Internal checklists
|  | 108 |  |  |  | Internal checklists
|  | 110 |  |  |  | Internal checklists
|  | 112 |  |  |  | Internal checklists
|  | 114 |  |  |  | Internal checklists
|  | 115 |  |  |  | Internal checklists
|  | 116 |  |  |  | Internal checklists
|  | 118 |  |  |  | Internal checklists
|  | 120 |  |  |  | Internal checklists
|  | 122 |  |  |  | Internal checklists
|  | 124 |  |  |  | Internal checklists
|  | 100C3 |  |  |  | Internal checklists

## Structure External
Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Resource to use
Stage 1A Roof
Stage 1B Roof
Stage 2 Roof
Stage 3 Roof
Stage 4a Roof
Stage 4b Roof
Stage 5 Roof
Stage 6 Roof

## Resources
Type | Name | Values | Prefix | Postfix | Usage Count | User Addable | Template Name

## Exterior checklists
checklist | External Framing ( Pre Weatherline )
checkpoint | General info/comments recorded
checkpoint | Walls in correct location off grid
checkpoint | Walls built within building tolerances.
checkpoint | DPC under bottom plate against concrete
checkpoint | M16 threaded rods/epoxy installed at correct centres
checkpoint | Timber framing installed at correct centres and size of timber as per drwgs
checkpoint | Amount of timber studs per wall type installed and at wall junctions.
checkpoint | All external openings ( doors and windows ) checks, correct openings and approved
checkpoint | Building Hardware installed on exterior face, i.e. tylok plates
checkpoint | Correct lintel sizes installed as per dwgs S1-03 / S8-10
checklist | External Framing ( Post Weatherline )
checkpoint | Plywood strip installed to take steel brick edge angle
checkpoint | Wrap shield installed into window openings with liquid flash
checkpoint | Wrap shield installed to face of weatherline / interstory installed if req
checkpoint | Soffit framing and linings to balconies
checkpoint | Additional nogs for exterior face ( that will be installed from interior )
checkpoint | Rotheblass or Simpson brackets installed as per S1-03

## Interior Checklists
checklist | Interior Framing
checkpoint | Structural Steel QA received and correct
checkpoint | General information recorded
textbox | installed as per wall type
textbox | Correct timber size/treatment installed
checkpoint | DPC installed, checked and correct as per specification
checkpoint | Wall locations checked, correct and approved as per latest revised drawing
checkpoint | Fixings and hold down bolts checked and correct as per structural dwgs
checkpoint | All openings (doors / windows etc) checked - Refer door supplier shop drawings
tickbox | Track locks installed
checkpoint | Wall checked (straight and plumb) and within tolerance
Checkpoint | Spax screws installed as per structural design
checkpoint | Bracing elements installed as per S1-03
checkpoint | Gib quiet ties installed
checkpoint | All relevant nogs (service and special/fixtures) installed, checked and correct
tickbox | Service nogs checked and approved
tickbox | All other nogs checked and approved
checkpoint | All Wall framing checks completed & Inspections carried out
checklist | Timber Architraves & Skirtings & Jamb liners
checkpoint | Type of skirtings as per drawings
checkpoint | Type of architraves installed as per drawings
checkpoint | Have all the architraves/skirtings been installed with consistent even margin?
checkpoint | Jamb liners installed
Checklist | Doors
Checkpoint | Check opening is correct and plumb
Checkpoint | Doors installed within tolerances
Checkpoint | Fire seal installed if fire foor
Checkpoint | Floor gap is correct