## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | 2e149de9-95ab-4b7d-badb-ecaade0c208c |  | checklist | Building Commissioning |  |  |  |  | Yes | Building Commissioning Checklist | 5179b175-3eba-44e0-a3c7-6edc99ff7c3d
checkpoint-status | bdfdd45b-b7bd-4e6c-b619-84730704b284 |  | checkpoint | Build Comms Room (add signature)
checkpoint-status | c49410c0-0fb3-402e-9205-c45c2b3d30b7 |  | checkpoint | Build Patch Panels (add signature)
checkpoint-status | e7d16cb6-5e0e-49b2-a7b2-43d482b5a604 |  | checkpoint | Build Nurse Call System (add signature)
checkpoint-status | 23c116e7-bafd-44c1-a63d-3809e3dcd492 |  | checkpoint | Build MATV System (add signature)
checkpoint-status | 306e327c-27db-4a3c-ac40-aae25131703a |  | checkpoint | Separate Security Cables (add signature)
checkpoint-status | d79ad5f1-b30e-46f9-87a4-12c27eaec830 |  | checkpoint | LAN test (add signature)
checkpoint-status | 45626328-f222-40ed-926d-c16b1c2d9485 |  | checkpoint | Program Nurse Call (add signature)
checkpoint-status | 75dd566f-8f40-460a-af58-740d29dfb1ef |  | checkpoint | Commission Nurse Call (add signature)
checkpoint-status | c4a24789-a591-4bb7-9d02-f93cae1e9613 |  | checkpoint | Fire Interface (add signature)
checkpoint-status | 553a7304-c26d-4b73-956b-0494a01e88b3 |  | checkpoint | Commission Security System (add signature)
checklist-sectioned | bb25e45b-a296-485c-9341-0efbcdf24f2e |  | checklist | Common Area Install |  |  |  |  | Yes | Common Area Install Checklist | d3965c3a-3bf5-44cc-8ada-7999d5c9eeec
checkpoint-group | 851b2bd9-ed2e-4caa-bef6-0c6f7cce81bd |  | section | Prewire
checkpoint-status | f2c0214d-e91d-40f1-b555-989d5bc78012 |  | checkpoint | Access available
checkpoint-status | 9b5d85a7-8f01-479e-b7c1-abb672b8b5f9 |  | checkpoint | Framework available
checkpoint-status | c3ed9187-8118-487d-8c83-27faf39fa4b1 |  | checkpoint | Cabling completed (photos attached)
checkpoint-status | 89707767-9ab2-4197-aebd-41cbdb34a86d |  | checkpoint | Nogs installed
checkpoint-status | 1b381edc-967a-4085-a8f5-6ece49237f51 |  | checkpoint | Flush/Fire boxes installed (photos attached)
checkpoint-status | 86630ffa-c457-4897-84ac-e55ed4398c9c |  | checkpoint | Attach photos of Fire Baffles & specify location
checkpoint-status | 46967cb2-8eaf-49c5-8581-70e2a34ac6e1 |  | checkpoint | Attach photos of Fire penetrations & specify location
checkpoint-group | c4e1e558-ad29-4c5b-86a6-33cd9b36a609 |  | section | Termination & Testing
checkpoint-status | 72f8ec09-ee3a-4908-aed4-e9923f2dae6b |  | checkpoint | LAN test completed (add signature)
checkpoint-status | 3b375fed-8dad-4b39-b6e9-734228ae788f |  | checkpoint | Endpoints bagged (photos attached)
checkpoint-group | af8330c2-4da7-4131-97d5-4e0ebcb57bd8 |  | section | Fitoff
checkpoint-status | 68e2f23a-d6dc-46f5-b1a5-6d11b3592a08 |  | checkpoint | Nurse Call faceplates fitted off (photos attached)
checkpoint-status | c586949f-0f31-4977-aa7f-53c8539a8067 |  | checkpoint | Camera faceplates fitted off (photos attached)
checkpoint-status | 543d7d18-c2a2-4e38-9eb8-040d54713155 |  | checkpoint | Intercom faceplates fitted off (photos attached)
checkpoint-status | 44dfc158-a7ef-48c6-8ba4-635994a63d47 |  | checkpoint | AC- Mags faceplates fitted off (photos attached)
checkpoint-status | 28d01e5f-0b86-4c8f-9ff5-b982268bb748 |  | checkpoint | AC- Plates fitted off (photos attached)
checklist-sectioned | 455e6756-b130-4767-9612-c3ea8487c407 |  | checklist | Rooms Install |  |  |  |  | Yes | Rooms Install Checklist | b228ca21-a6f1-4dff-9716-595e668321cd
checkpoint-group | 46d7f58c-c2c3-48bf-853d-eb945a8fc73e |  | section | Prewire
checkpoint-status | 261c9dda-2011-4d0a-a791-49a3a3eabfbf |  | checkpoint | Access available
checkpoint-status | 14b468a4-cb8c-4a62-be24-094631611875 |  | checkpoint | Framework available
checkpoint-status | 7013a824-2cf0-4ad2-a56d-5590358b92b9 |  | checkpoint | Cabling completed (photos attached)
checkpoint-status | 81dc5f0e-54ca-4eb1-add9-0d3035dbe839 |  | checkpoint | Nogs installed
checkpoint-status | 90545b26-2398-45c6-a2da-ab1b02837d5e |  | checkpoint | Flush/Fire boxes installed (photos attached)
checkpoint-status | 8417af27-25d7-485c-905e-8ad20b0a1fcc |  | checkpoint | Attach photos of Fire Baffles & specify location
checkpoint-status | 3d62414d-bff7-4321-8c4d-24d9d2d74974 |  | checkpoint | Attach photos of Fire penetrations & specify location
checkpoint-group | bb746923-c067-43cb-9f78-7c964de1d4f9 |  | section | Termination & Testing
checkpoint-status | ca2e78f8-c0dd-4588-868c-01971e6c3b66 |  | checkpoint | LAN test completed (add signature)
checkpoint-status | c6afa4f8-1455-4d07-9086-989db709da97 |  | checkpoint | Endpoints bagged (photos attached)
checkpoint-group | 79ef8c27-d0f7-4acd-99f6-44594ed69475 |  | section | Fitoff
checkpoint-status | b03b3a77-7b90-46ab-888f-1e16d42b8a3b |  | checkpoint | Nurse Call faceplates fitted off (photos attached)
checkpoint-status | 126b970a-1481-4f11-8eb5-99fea8d8b59e |  | checkpoint | Camera faceplates fitted off (photos attached)
checkpoint-status | 01136470-9bca-48e0-9ca2-7691e6a66414 |  | checkpoint | Intercom faceplates fitted off (photos attached)
checkpoint-status | dd5f50ca-4219-41fc-814d-df804178ca6e |  | checkpoint | AC- Mags faceplates fitted off (photos attached)
checkpoint-status | 1e6f0c55-45e4-4573-8016-1be631fe2fbd |  | checkpoint | AC- Plates fitted off (photos attached)
checklist-sectioned | 9f5106f6-61ca-4ba0-86fe-1dfb66500729 |  | checklist | Townhouse Install |  |  |  |  | Yes | Add Townhouse Install | b16e93cf-0c45-48ec-86c4-f85274e83c1a
checkpoint-group | c74356fe-4d92-4473-9fe0-8a0bb949564a |  | section | Prewire
checkpoint-status | fdeb7f99-94c4-4eb2-86d1-a4bbec41dbbb |  | checkpoint | Access available
checkpoint-status | 009d8b10-2ad7-4f14-9e82-e975c0443b27 |  | checkpoint | Framework available
checkpoint-status | 336c7501-4d8a-402d-b392-d12d407d98bb |  | checkpoint | Internal Cabling completed (photos attached)
checkpoint-status | 81ace5d8-1f7f-4125-b896-1b599f926f15 |  | checkpoint | Mains Cabling completed (photos attached)
checkpoint-status | efdb4a84-332f-4da8-8d46-a73ed1929afb |  | checkpoint | UFF Tube installed to ETP location (Photos attached)
checkpoint-status | 4576900e-2153-4862-ad87-50a3b5b348c7 |  | checkpoint | Nogs installed
checkpoint-status | cc0d2d9a-2acc-4cc0-9b61-48f53b6b57cb |  | checkpoint | Flush boxes installed
checkpoint-status | 63cee9d7-ff2a-48be-929b-9866b0464a56 |  | checkpoint | Fire boxes installed (photos attached)
checkpoint-status | 0a56602f-b5ea-4f40-b1e5-6b9891e34d70 |  | checkpoint | Attach photos of Cabling (Point of entry/Within Fire wall
checkpoint-status | 753848d2-3aad-4c2c-a03f-1ed5b9e1dd06 |  | checkpoint | Attach photos of Fire box (Attach photos of each fire box)
checkpoint-group | 19597fa7-5ad0-4489-a0a4-1a16835f01b3 |  | section | Termination & Testing
checkpoint-status | af669609-e86d-4656-84b9-711ebc9dc7d6 |  | checkpoint | Install Comms Panel
checkpoint-status | 38f84d67-4abd-4055-b99e-fad100e627d6 |  | checkpoint | Fitoff data jacks
checkpoint-status | 387c284a-0a48-44a2-b981-c8c0f7a55839 |  | checkpoint | Fitoff F connectors for TV
checkpoint-status | 775a4371-6522-458d-be5c-7c74aa4950fa |  | checkpoint | Fitoff Comms Panel
checkpoint-status | 21964ee1-0dfb-4cfd-bc9b-b20114ec3429 |  | checkpoint | LAN test internals (add signature)
checkpoint-status | 5403fda7-606b-45ee-841f-29003b2ea8b6 |  | checkpoint | Endpoints bagged (photos attached)
checkpoint-group | 9a509ee2-8b31-4b97-a0f4-e915e2bf72c4 |  | section | Fitoff
checkpoint-status | 8a2cc43c-3f1c-4040-8aa1-37f64c08ac1c |  | checkpoint | TV/Data faceplate fitted off (photos attached)
checkpoint-status | 76d750c4-3c42-49e4-a061-b76d4c713f63 |  | checkpoint | Nurse Call faceplates fitted off (photos attached)
checkpoint-status | 8b80bed3-2a98-44dd-b281-0ff674c5cd01 |  | checkpoint | Smoke Detectors fitted off (photos attached)
checklist-flat | 2a3a8143-969a-4bc1-ac62-703627125f3a |  | checklist | Floor Commissioning |  |  |  |  | Yes | Floor Commissioning Checklist | bc342b03-1d95-4023-9d1d-bef7862f7540
checkpoint-status | 94bc1344-c22d-4b8b-b4fa-fd5d616429d9 |  | checkpoint | Build Comms Room (add signature)
checkpoint-status | 5de46937-17e4-4c8b-8f0f-f385898c71f4 |  | checkpoint | Cable Riser Installed (add signature)
checkpoint-status | 840a009f-f3d4-45cf-9563-444e8e8eadcd |  | checkpoint | Tone Cables (add signature)
checkpoint-status | 4c4de1a6-dccd-4d28-9f92-ce59c7645ca1 |  | checkpoint | Separate Cables (add signature)