## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
80ff9957-b433-4ce1-ae0f-f7036b010ab1 | checklist | ITP 7 Gutters |  | Gutters
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
8662a189-fd44-46a6-8f29-d46bcc47aba8 | checkpoint | Gutters have correct fall
3af1a96b-a0ee-4537-b64b-48bdf6a21cf8 | checkpoint | Gutters have expansions joins(where necessary)
56b42474-a6f1-4500-8f4d-1648e8459cd2 | checkpoint | Gutters have compliant overflow precautions
1e190eb9-ae19-4d1a-9aa0-e6f8d5f78259 | checkpoint | Gutters/sumps clean of swarf
a83c0475-840d-42c0-bb9e-ecc742ee886d | checkpoint | Eaves gutters have correct bracket spacings to suit manufacturers tech data
5b5e1aaf-c637-4c02-bfb2-abb119d3f7ad | checkpoint | Downpipe clip spacings as per regulations
d7534b8a-1d34-435f-8292-70ff4997860c | checkpoint | Spreaders include ½ stop ends where needed
9335e93e-fcfb-4774-ba23-43d073efcacb | checkpoint | Downpipes are located as per Hydraulic plans
d971d81c-8141-44b9-90d1-b0bf2288b802 | checkpoint | Overflows are located as per Hydraulic plans
989788ec-9b0a-4c3c-98c2-b6ac076e4859 | checkpoint | Sumps installed where located on Hydraulic plans
7b58b678-a8fa-465c-ae1c-155b1beed87f | checkpoint | Correct size outlets to match Hydraulic plans
7b45d986-2572-4c29-923c-25c794fdb50a | checkpoint | Correct size overflows to match Hydraulic plans
| checkpoint | Box gutter Corrosion break strip installed between bird flashing and boxy
| checkpoint | Box gutters use 4mm stainless rivets
| checkpoint | Box gutters use activator cleaner and sikaseal for joint sealants
f9d34bc7-d148-4e4e-b735-4bc22983c70f | checkpoint | All works have been carried out in accordance with above ITP
f154ae13-2891-5d05-be55-a7a52c1241cb | note | Attach Faulkner Roofing representative signature
95780f49-a562-41c8-8bce-abd1f489baad | signoff | Builder representative sign off: ITP has been conducted and signed by Faulkner Roofing